LED Measurement

L. M. So and L. W. Ma

Christian Alliance Cheng Wing Gee College,

12-14 Chik Wan Street,

Tai Wai, Shatin, N.T.
Supervised by: Dr. K.W. Cheah, BU

Abstract


This experiment is aimed at comparing the wavelength of light coming from different types of LEDs and laser beam and investigating their constituent colour. We also found whether the LEDs are precisely fabricated by comparing angles corresponding to the value of vo/e, vo is the maximum light intensity, e the natural logarithm.


The experiment consists of two parts—measurement of spectrum of light emitted from different types of LEDs and a laser with various angles and measurement of maximum light intensity of different LEDs and the laser.


After obtaining the results from experiment, we plotted two sets of graphs—one comparing the different wavelengths of LEDs and the laser, and the other set of graphs contains the light intensity of 6 types of LEDs measured from various angles.


We also calculated the 3dB point of the intensity (vo/e, where vo is the maximum light intensity, e the natural logarithm) and found from the set of graphs of light intensity against various angles, the corresponding intensity as a function of angle for different types of LEDs, and hence the accuracy of fabrication of the LEDs.
Introduction


The purpose of the experimental investigation on the performance of LEDs and laser beam described in the following report were as follows:


The establishment of a series of experimental values derived from models and intended for use as a basis for (1) comparison between the wavelength of light coming from different types of LEDs and a laser, (2) investigating their constituent colour, and (3) finding if the LEDs’ light emission is evenly distributed with different angles.

       The report comprises of three parts, as follows:

I. The equipment installed with special reference to test on LEDs and the laser.
II. Tests on 6 types of LEDs and a laser, with analysis and discussion of results and presentation of the same in graphical form.
III. A brief discussion of the properties of LEDs and lasers.

The design of the instrumental equipment, the planning of the experimental work on the LEDs and laser, together with the preparation of the report in its present form, are the joint work of the present authors and of Prof. K. W. Cheah and Mr. H. L. Tam, at the Hong Kong Baptist University.

Properties of LED

Light emitting diodes, commonly called LEDs, are tiny semiconductor light bulbs that fit easily into an electrical circuit. But unlike ordinary incandescent bulbs, they do not have a filament that will burn out, and they do not get especially hot. They last much longer and are illuminated solely by the movement of electrons in a semiconductor material.

Doping is a process of addition of impurities (atoms of another material) to a poor conductor (such as silicon). In pure silicon, all of the silicon atoms bond perfectly to their neighbors, leaving no free electrons to conduct electric current. In doped silicon, additional atoms change the balance, either adding free electrons or creating holes where electrons can go. n-type material and p-type material are respectively semiconductors with extra electrons and with extra holes. In n-type material, free electrons move from a negatively charged area to a positively charged area while the holes in p-type material appear to move from a positively charged area to a negatively charged area.

The essential part of a LED, the LED chip, is composed of a diode, which is a sort of semiconductor. And, a diode comprises a section of n-type material connected to a section of p-type material, with electrodes on each end. This arrangement conducts electricity in only one direction. Free electrons moving across a diode can fall into empty holes from the p-type layer. This involves a drop from the conduction band to a lower orbital, so the electrons release energy in the form of photons. A greater energy drop releases a higher-energy photon, which is characterized by a higher frequency, and vice versa. Therefore, the size of the gap between the conduction band and the lower orbitals determines the frequency of the photon and hence the colour of light emitted by the LED.

Experiment

In this experiment we are going to measure the LED spectrum. We should prepare Fiber Optics Spectrometer, optical fiber, A/D converter, operating software, LED and sampling optics.

 First, we should set up the appliances like fig1.

[image: image10.wmf]0

100

200

300

400

Red

Yellow

Green

Blue

Utraviolet

White (*10)

Laser (*100)

light source

intensity(mcd)

      [image: image2.jpg]



Fig.1(a) Setup for measurement of LEDs
Fig.1(b) Research radiometer
Procedures of setting up the appliances

· Install the operating software in the computer

· Connect the optical fiber with the spectrum and plugs the spectrometer directly into computer

· Place the light source face to the optical fiber 
   Light enters the optical fiber and is transmitted to the spectrometer and disperses via a fixed grating across the linear CCD array detector. In the spectrometer, a spherical mirror collimates the divergent light emerging from the optical fiber. A plane grating diffracts the collimated light, the resulting diffracted light is focused by a second spherical mirror. The data is then transferred to a computer through an A/D card. An analog-to-digital converter is necessary to interface spectrometers to computer. It integrates curette holder and light source.
Results & discussion


[image: image3.wmf]Spectrum of LEDs

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

1

1.1

350

400

450

500

550

600

650

700

wavelength(nm)

ratio

white

yellow

red

ultraviolet

green

laser

blue

Fig. 2 The spectrum of LEDs

[image: image4.png]Wavelength

N

420

nm

470

530

620 580

700

BI0IA

an|g

usaI9

MOJ[PA

abueig

pay




Fig.3 The visible spectrum in the electromagnetic spectrum

In this experiment, we noticed that different-colored LEDs have different spectrum. White LED has two peaks, this is because it is composed of many color. So it has the widest wavelength range. He-Ne laser has the narrowest wavelength range. This is because the form of light emission of laser is stimulated emission. The emission of laser consists of two types of light emission—either spontaneous or stimulated one. Spontaneous emission occurs as the principle of LED light emission, and the photons from flashtubes inside the laser tube stimulate the emission of more photons with the same frequency. This is called stimulated emission. The laser beam intensity is strengthened due to continuous reflection by a total reflector and a partial reflector. The laser beam can escape from the tube when the intensity is high enough. This results in a monochromatic, high intensity, coherent beam of electromagnetic energy. And each LED has the peak at the corresponding wavelength at fig.3.

The frequency of light is related to the wavelength of light .It is inversely related to wavelength
[image: image5.wmf]l

v

f

=

, where f is frequency, v is velocity of light and 
[image: image6.wmf]l

 is wavelength. The higher the frequency of the signal, the shorter the wavelength The spectrometer can be used to examine the light from the LED, and to estimate the peak wavelength of the light emitted by the LED.

Light source
1/lne
1/lne

Red 
23.354282
-16.5797

Yellow 
26.2859
-27.5175

Green 
21.2942
-29.0987

Blue
13.5292
-15.312

Ultraviolet
36.4279
-14.9158

White
15.9062
-7.2301

Laser
1.52720
-1.5582

[image: image1.jpg]


Fig.4 The angular distribution of LED intensity

Light source
Integrated intensity

Red
223

Yellow
80.5

Green
115.8

Blue
125.7

Ultraviolet
59

White
3460

Laser
40960

Fig.5 The maximum intensity of LEDs

Laser has the highest intensity, while ultraviolet has the lowest. Intensity also shows the brightness of the LEDs. This shows why laser is widely used today. White LED also has high intensity. It is bright, so some types of white LED can replace fluorescence/incandescent light.

Conclusion

In this experiment, we know that different LEDs have different spectrum. Different color spectrums have peaks at the corresponding wavelength of visible light. 

LEDs consume less power than lamp. So many lamps will be replaced by LEDs. This also can save energy. So scientists are going to invent brighter LEDs.
[image: image7.jpg]


      [image: image8.jpg]e




Fig 6 Different types of LEDs

Acknowledgement

Prof. Cheah Kok Wai, Hong Kong Baptist University

Mr. Tam Hoi Lam, Hong Kong Baptist University

Mr. Chan Mau Hing, Hong Kong Baptist University

Mr. Wong Wai Ming, Christian Alliance Cheng Wing Gee College

� EMBED Excel.Chart.8 \s ���








[image: image9.wmf]0

100

200

300

400

Red

Yellow

Green

Blue

Utraviolet

White (*10)

Laser (*100)

light source

intensity(mcd)

_1080154526.unknown

_1081419301.xls
Chart1

		347.57		347.57		347.57		347.57		347.57		347.57		347.57

		347.93		347.93		347.93		347.93		347.93		347.93		347.93

		348.3		348.3		348.3		348.3		348.3		348.3		348.3

		348.66		348.66		348.66		348.66		348.66		348.66		348.66

		349.02		349.02		349.02		349.02		349.02		349.02		349.02

		349.38		349.38		349.38		349.38		349.38		349.38		349.38

		349.74		349.74		349.74		349.74		349.74		349.74		349.74

		350.11		350.11		350.11		350.11		350.11		350.11		350.11

		350.47		350.47		350.47		350.47		350.47		350.47		350.47

		350.83		350.83		350.83		350.83		350.83		350.83		350.83

		351.19		351.19		351.19		351.19		351.19		351.19		351.19

		351.55		351.55		351.55		351.55		351.55		351.55		351.55

		351.91		351.91		351.91		351.91		351.91		351.91		351.91

		352.28		352.28		352.28		352.28		352.28		352.28		352.28

		352.64		352.64		352.64		352.64		352.64		352.64		352.64

		353		353		353		353		353		353		353

		353.36		353.36		353.36		353.36		353.36		353.36		353.36

		353.72		353.72		353.72		353.72		353.72		353.72		353.72

		354.08		354.08		354.08		354.08		354.08		354.08		354.08

		354.44		354.44		354.44		354.44		354.44		354.44		354.44

		354.81		354.81		354.81		354.81		354.81		354.81		354.81

		355.17		355.17		355.17		355.17		355.17		355.17		355.17

		355.53		355.53		355.53		355.53		355.53		355.53		355.53

		355.89		355.89		355.89		355.89		355.89		355.89		355.89

		356.25		356.25		356.25		356.25		356.25		356.25		356.25

		356.61		356.61		356.61		356.61		356.61		356.61		356.61

		356.97		356.97		356.97		356.97		356.97		356.97		356.97

		357.33		357.33		357.33		357.33		357.33		357.33		357.33

		357.69		357.69		357.69		357.69		357.69		357.69		357.69

		358.06		358.06		358.06		358.06		358.06		358.06		358.06

		358.42		358.42		358.42		358.42		358.42		358.42		358.42

		358.78		358.78		358.78		358.78		358.78		358.78		358.78

		359.14		359.14		359.14		359.14		359.14		359.14		359.14

		359.5		359.5		359.5		359.5		359.5		359.5		359.5

		359.86		359.86		359.86		359.86		359.86		359.86		359.86

		360.22		360.22		360.22		360.22		360.22		360.22		360.22

		360.58		360.58		360.58		360.58		360.58		360.58		360.58

		360.94		360.94		360.94		360.94		360.94		360.94		360.94

		361.3		361.3		361.3		361.3		361.3		361.3		361.3

		361.66		361.66		361.66		361.66		361.66		361.66		361.66

		362.02		362.02		362.02		362.02		362.02		362.02		362.02

		362.38		362.38		362.38		362.38		362.38		362.38		362.38

		362.75		362.75		362.75		362.75		362.75		362.75		362.75

		363.11		363.11		363.11		363.11		363.11		363.11		363.11

		363.47		363.47		363.47		363.47		363.47		363.47		363.47

		363.83		363.83		363.83		363.83		363.83		363.83		363.83

		364.19		364.19		364.19		364.19		364.19		364.19		364.19

		364.55		364.55		364.55		364.55		364.55		364.55		364.55

		364.91		364.91		364.91		364.91		364.91		364.91		364.91

		365.27		365.27		365.27		365.27		365.27		365.27		365.27

		365.63		365.63		365.63		365.63		365.63		365.63		365.63

		365.99		365.99		365.99		365.99		365.99		365.99		365.99

		366.35		366.35		366.35		366.35		366.35		366.35		366.35

		366.71		366.71		366.71		366.71		366.71		366.71		366.71

		367.07		367.07		367.07		367.07		367.07		367.07		367.07

		367.43		367.43		367.43		367.43		367.43		367.43		367.43

		367.79		367.79		367.79		367.79		367.79		367.79		367.79

		368.15		368.15		368.15		368.15		368.15		368.15		368.15

		368.51		368.51		368.51		368.51		368.51		368.51		368.51

		368.87		368.87		368.87		368.87		368.87		368.87		368.87

		369.23		369.23		369.23		369.23		369.23		369.23		369.23

		369.59		369.59		369.59		369.59		369.59		369.59		369.59

		369.95		369.95		369.95		369.95		369.95		369.95		369.95

		370.31		370.31		370.31		370.31		370.31		370.31		370.31

		370.67		370.67		370.67		370.67		370.67		370.67		370.67

		371.03		371.03		371.03		371.03		371.03		371.03		371.03

		371.39		371.39		371.39		371.39		371.39		371.39		371.39

		371.75		371.75		371.75		371.75		371.75		371.75		371.75

		372.11		372.11		372.11		372.11		372.11		372.11		372.11

		372.47		372.47		372.47		372.47		372.47		372.47		372.47

		372.83		372.83		372.83		372.83		372.83		372.83		372.83

		373.19		373.19		373.19		373.19		373.19		373.19		373.19

		373.55		373.55		373.55		373.55		373.55		373.55		373.55

		373.9		373.9		373.9		373.9		373.9		373.9		373.9

		374.26		374.26		374.26		374.26		374.26		374.26		374.26

		374.62		374.62		374.62		374.62		374.62		374.62		374.62

		374.98		374.98		374.98		374.98		374.98		374.98		374.98

		375.34		375.34		375.34		375.34		375.34		375.34		375.34

		375.7		375.7		375.7		375.7		375.7		375.7		375.7

		376.06		376.06		376.06		376.06		376.06		376.06		376.06

		376.42		376.42		376.42		376.42		376.42		376.42		376.42

		376.78		376.78		376.78		376.78		376.78		376.78		376.78

		377.14		377.14		377.14		377.14		377.14		377.14		377.14

		377.5		377.5		377.5		377.5		377.5		377.5		377.5

		377.86		377.86		377.86		377.86		377.86		377.86		377.86

		378.22		378.22		378.22		378.22		378.22		378.22		378.22

		378.57		378.57		378.57		378.57		378.57		378.57		378.57

		378.93		378.93		378.93		378.93		378.93		378.93		378.93

		379.29		379.29		379.29		379.29		379.29		379.29		379.29

		379.65		379.65		379.65		379.65		379.65		379.65		379.65

		380.01		380.01		380.01		380.01		380.01		380.01		380.01

		380.37		380.37		380.37		380.37		380.37		380.37		380.37

		380.73		380.73		380.73		380.73		380.73		380.73		380.73

		381.09		381.09		381.09		381.09		381.09		381.09		381.09

		381.44		381.44		381.44		381.44		381.44		381.44		381.44

		381.8		381.8		381.8		381.8		381.8		381.8		381.8

		382.16		382.16		382.16		382.16		382.16		382.16		382.16

		382.52		382.52		382.52		382.52		382.52		382.52		382.52

		382.88		382.88		382.88		382.88		382.88		382.88		382.88

		383.24		383.24		383.24		383.24		383.24		383.24		383.24

		383.6		383.6		383.6		383.6		383.6		383.6		383.6

		383.95		383.95		383.95		383.95		383.95		383.95		383.95

		384.31		384.31		384.31		384.31		384.31		384.31		384.31

		384.67		384.67		384.67		384.67		384.67		384.67		384.67

		385.03		385.03		385.03		385.03		385.03		385.03		385.03

		385.39		385.39		385.39		385.39		385.39		385.39		385.39

		385.75		385.75		385.75		385.75		385.75		385.75		385.75

		386.1		386.1		386.1		386.1		386.1		386.1		386.1

		386.46		386.46		386.46		386.46		386.46		386.46		386.46

		386.82		386.82		386.82		386.82		386.82		386.82		386.82

		387.18		387.18		387.18		387.18		387.18		387.18		387.18

		387.54		387.54		387.54		387.54		387.54		387.54		387.54

		387.9		387.9		387.9		387.9		387.9		387.9		387.9

		388.25		388.25		388.25		388.25		388.25		388.25		388.25

		388.61		388.61		388.61		388.61		388.61		388.61		388.61

		388.97		388.97		388.97		388.97		388.97		388.97		388.97

		389.33		389.33		389.33		389.33		389.33		389.33		389.33

		389.68		389.68		389.68		389.68		389.68		389.68		389.68

		390.04		390.04		390.04		390.04		390.04		390.04		390.04

		390.4		390.4		390.4		390.4		390.4		390.4		390.4

		390.76		390.76		390.76		390.76		390.76		390.76		390.76

		391.12		391.12		391.12		391.12		391.12		391.12		391.12

		391.47		391.47		391.47		391.47		391.47		391.47		391.47

		391.83		391.83		391.83		391.83		391.83		391.83		391.83

		392.19		392.19		392.19		392.19		392.19		392.19		392.19

		392.55		392.55		392.55		392.55		392.55		392.55		392.55

		392.9		392.9		392.9		392.9		392.9		392.9		392.9

		393.26		393.26		393.26		393.26		393.26		393.26		393.26

		393.62		393.62		393.62		393.62		393.62		393.62		393.62

		393.98		393.98		393.98		393.98		393.98		393.98		393.98

		394.33		394.33		394.33		394.33		394.33		394.33		394.33

		394.69		394.69		394.69		394.69		394.69		394.69		394.69

		395.05		395.05		395.05		395.05		395.05		395.05		395.05

		395.41		395.41		395.41		395.41		395.41		395.41		395.41

		395.76		395.76		395.76		395.76		395.76		395.76		395.76

		396.12		396.12		396.12		396.12		396.12		396.12		396.12

		396.48		396.48		396.48		396.48		396.48		396.48		396.48

		396.83		396.83		396.83		396.83		396.83		396.83		396.83

		397.19		397.19		397.19		397.19		397.19		397.19		397.19

		397.55		397.55		397.55		397.55		397.55		397.55		397.55

		397.91		397.91		397.91		397.91		397.91		397.91		397.91

		398.26		398.26		398.26		398.26		398.26		398.26		398.26

		398.62		398.62		398.62		398.62		398.62		398.62		398.62

		398.98		398.98		398.98		398.98		398.98		398.98		398.98

		399.33		399.33		399.33		399.33		399.33		399.33		399.33

		399.69		399.69		399.69		399.69		399.69		399.69		399.69

		400.05		400.05		400.05		400.05		400.05		400.05		400.05

		400.4		400.4		400.4		400.4		400.4		400.4		400.4

		400.76		400.76		400.76		400.76		400.76		400.76		400.76

		401.12		401.12		401.12		401.12		401.12		401.12		401.12

		401.47		401.47		401.47		401.47		401.47		401.47		401.47

		401.83		401.83		401.83		401.83		401.83		401.83		401.83

		402.19		402.19		402.19		402.19		402.19		402.19		402.19

		402.54		402.54		402.54		402.54		402.54		402.54		402.54

		402.9		402.9		402.9		402.9		402.9		402.9		402.9

		403.26		403.26		403.26		403.26		403.26		403.26		403.26

		403.61		403.61		403.61		403.61		403.61		403.61		403.61

		403.97		403.97		403.97		403.97		403.97		403.97		403.97

		404.33		404.33		404.33		404.33		404.33		404.33		404.33

		404.68		404.68		404.68		404.68		404.68		404.68		404.68

		405.04		405.04		405.04		405.04		405.04		405.04		405.04

		405.4		405.4		405.4		405.4		405.4		405.4		405.4

		405.75		405.75		405.75		405.75		405.75		405.75		405.75

		406.11		406.11		406.11		406.11		406.11		406.11		406.11

		406.46		406.46		406.46		406.46		406.46		406.46		406.46

		406.82		406.82		406.82		406.82		406.82		406.82		406.82

		407.18		407.18		407.18		407.18		407.18		407.18		407.18

		407.53		407.53		407.53		407.53		407.53		407.53		407.53

		407.89		407.89		407.89		407.89		407.89		407.89		407.89

		408.24		408.24		408.24		408.24		408.24		408.24		408.24

		408.6		408.6		408.6		408.6		408.6		408.6		408.6

		408.96		408.96		408.96		408.96		408.96		408.96		408.96

		409.31		409.31		409.31		409.31		409.31		409.31		409.31

		409.67		409.67		409.67		409.67		409.67		409.67		409.67

		410.02		410.02		410.02		410.02		410.02		410.02		410.02

		410.38		410.38		410.38		410.38		410.38		410.38		410.38

		410.73		410.73		410.73		410.73		410.73		410.73		410.73

		411.09		411.09		411.09		411.09		411.09		411.09		411.09

		411.45		411.45		411.45		411.45		411.45		411.45		411.45

		411.8		411.8		411.8		411.8		411.8		411.8		411.8

		412.16		412.16		412.16		412.16		412.16		412.16		412.16

		412.51		412.51		412.51		412.51		412.51		412.51		412.51

		412.87		412.87		412.87		412.87		412.87		412.87		412.87

		413.22		413.22		413.22		413.22		413.22		413.22		413.22

		413.58		413.58		413.58		413.58		413.58		413.58		413.58

		413.93		413.93		413.93		413.93		413.93		413.93		413.93

		414.29		414.29		414.29		414.29		414.29		414.29		414.29

		414.65		414.65		414.65		414.65		414.65		414.65		414.65

		415		415		415		415		415		415		415

		415.36		415.36		415.36		415.36		415.36		415.36		415.36

		415.71		415.71		415.71		415.71		415.71		415.71		415.71

		416.07		416.07		416.07		416.07		416.07		416.07		416.07

		416.42		416.42		416.42		416.42		416.42		416.42		416.42

		416.78		416.78		416.78		416.78		416.78		416.78		416.78

		417.13		417.13		417.13		417.13		417.13		417.13		417.13

		417.49		417.49		417.49		417.49		417.49		417.49		417.49

		417.84		417.84		417.84		417.84		417.84		417.84		417.84

		418.2		418.2		418.2		418.2		418.2		418.2		418.2

		418.55		418.55		418.55		418.55		418.55		418.55		418.55

		418.91		418.91		418.91		418.91		418.91		418.91		418.91

		419.26		419.26		419.26		419.26		419.26		419.26		419.26

		419.62		419.62		419.62		419.62		419.62		419.62		419.62

		419.97		419.97		419.97		419.97		419.97		419.97		419.97

		420.33		420.33		420.33		420.33		420.33		420.33		420.33

		420.68		420.68		420.68		420.68		420.68		420.68		420.68

		421.03		421.03		421.03		421.03		421.03		421.03		421.03

		421.39		421.39		421.39		421.39		421.39		421.39		421.39

		421.74		421.74		421.74		421.74		421.74		421.74		421.74

		422.1		422.1		422.1		422.1		422.1		422.1		422.1

		422.45		422.45		422.45		422.45		422.45		422.45		422.45

		422.81		422.81		422.81		422.81		422.81		422.81		422.81

		423.16		423.16		423.16		423.16		423.16		423.16		423.16

		423.52		423.52		423.52		423.52		423.52		423.52		423.52

		423.87		423.87		423.87		423.87		423.87		423.87		423.87

		424.22		424.22		424.22		424.22		424.22		424.22		424.22

		424.58		424.58		424.58		424.58		424.58		424.58		424.58

		424.93		424.93		424.93		424.93		424.93		424.93		424.93

		425.29		425.29		425.29		425.29		425.29		425.29		425.29

		425.64		425.64		425.64		425.64		425.64		425.64		425.64

		426		426		426		426		426		426		426

		426.35		426.35		426.35		426.35		426.35		426.35		426.35

		426.7		426.7		426.7		426.7		426.7		426.7		426.7

		427.06		427.06		427.06		427.06		427.06		427.06		427.06

		427.41		427.41		427.41		427.41		427.41		427.41		427.41

		427.77		427.77		427.77		427.77		427.77		427.77		427.77

		428.12		428.12		428.12		428.12		428.12		428.12		428.12

		428.47		428.47		428.47		428.47		428.47		428.47		428.47

		428.83		428.83		428.83		428.83		428.83		428.83		428.83

		429.18		429.18		429.18		429.18		429.18		429.18		429.18

		429.53		429.53		429.53		429.53		429.53		429.53		429.53

		429.89		429.89		429.89		429.89		429.89		429.89		429.89

		430.24		430.24		430.24		430.24		430.24		430.24		430.24

		430.6		430.6		430.6		430.6		430.6		430.6		430.6

		430.95		430.95		430.95		430.95		430.95		430.95		430.95

		431.3		431.3		431.3		431.3		431.3		431.3		431.3

		431.66		431.66		431.66		431.66		431.66		431.66		431.66

		432.01		432.01		432.01		432.01		432.01		432.01		432.01

		432.36		432.36		432.36		432.36		432.36		432.36		432.36

		432.72		432.72		432.72		432.72		432.72		432.72		432.72

		433.07		433.07		433.07		433.07		433.07		433.07		433.07

		433.42		433.42		433.42		433.42		433.42		433.42		433.42

		433.78		433.78		433.78		433.78		433.78		433.78		433.78

		434.13		434.13		434.13		434.13		434.13		434.13		434.13

		434.48		434.48		434.48		434.48		434.48		434.48		434.48

		434.84		434.84		434.84		434.84		434.84		434.84		434.84

		435.19		435.19		435.19		435.19		435.19		435.19		435.19

		435.54		435.54		435.54		435.54		435.54		435.54		435.54

		435.9		435.9		435.9		435.9		435.9		435.9		435.9

		436.25		436.25		436.25		436.25		436.25		436.25		436.25

		436.6		436.6		436.6		436.6		436.6		436.6		436.6

		436.96		436.96		436.96		436.96		436.96		436.96		436.96

		437.31		437.31		437.31		437.31		437.31		437.31		437.31

		437.66		437.66		437.66		437.66		437.66		437.66		437.66

		438.01		438.01		438.01		438.01		438.01		438.01		438.01

		438.37		438.37		438.37		438.37		438.37		438.37		438.37

		438.72		438.72		438.72		438.72		438.72		438.72		438.72

		439.07		439.07		439.07		439.07		439.07		439.07		439.07

		439.42		439.42		439.42		439.42		439.42		439.42		439.42

		439.78		439.78		439.78		439.78		439.78		439.78		439.78

		440.13		440.13		440.13		440.13		440.13		440.13		440.13

		440.48		440.48		440.48		440.48		440.48		440.48		440.48

		440.84		440.84		440.84		440.84		440.84		440.84		440.84

		441.19		441.19		441.19		441.19		441.19		441.19		441.19

		441.54		441.54		441.54		441.54		441.54		441.54		441.54

		441.89		441.89		441.89		441.89		441.89		441.89		441.89

		442.25		442.25		442.25		442.25		442.25		442.25		442.25

		442.6		442.6		442.6		442.6		442.6		442.6		442.6

		442.95		442.95		442.95		442.95		442.95		442.95		442.95

		443.3		443.3		443.3		443.3		443.3		443.3		443.3

		443.65		443.65		443.65		443.65		443.65		443.65		443.65

		444.01		444.01		444.01		444.01		444.01		444.01		444.01

		444.36		444.36		444.36		444.36		444.36		444.36		444.36

		444.71		444.71		444.71		444.71		444.71		444.71		444.71

		445.06		445.06		445.06		445.06		445.06		445.06		445.06

		445.42		445.42		445.42		445.42		445.42		445.42		445.42

		445.77		445.77		445.77		445.77		445.77		445.77		445.77

		446.12		446.12		446.12		446.12		446.12		446.12		446.12

		446.47		446.47		446.47		446.47		446.47		446.47		446.47

		446.82		446.82		446.82		446.82		446.82		446.82		446.82

		447.18		447.18		447.18		447.18		447.18		447.18		447.18

		447.53		447.53		447.53		447.53		447.53		447.53		447.53

		447.88		447.88		447.88		447.88		447.88		447.88		447.88

		448.23		448.23		448.23		448.23		448.23		448.23		448.23

		448.58		448.58		448.58		448.58		448.58		448.58		448.58

		448.93		448.93		448.93		448.93		448.93		448.93		448.93

		449.29		449.29		449.29		449.29		449.29		449.29		449.29

		449.64		449.64		449.64		449.64		449.64		449.64		449.64

		449.99		449.99		449.99		449.99		449.99		449.99		449.99

		450.34		450.34		450.34		450.34		450.34		450.34		450.34

		450.69		450.69		450.69		450.69		450.69		450.69		450.69

		451.04		451.04		451.04		451.04		451.04		451.04		451.04

		451.39		451.39		451.39		451.39		451.39		451.39		451.39

		451.75		451.75		451.75		451.75		451.75		451.75		451.75

		452.1		452.1		452.1		452.1		452.1		452.1		452.1

		452.45		452.45		452.45		452.45		452.45		452.45		452.45

		452.8		452.8		452.8		452.8		452.8		452.8		452.8

		453.15		453.15		453.15		453.15		453.15		453.15		453.15

		453.5		453.5		453.5		453.5		453.5		453.5		453.5

		453.85		453.85		453.85		453.85		453.85		453.85		453.85

		454.2		454.2		454.2		454.2		454.2		454.2		454.2

		454.56		454.56		454.56		454.56		454.56		454.56		454.56

		454.91		454.91		454.91		454.91		454.91		454.91		454.91

		455.26		455.26		455.26		455.26		455.26		455.26		455.26

		455.61		455.61		455.61		455.61		455.61		455.61		455.61

		455.96		455.96		455.96		455.96		455.96		455.96		455.96

		456.31		456.31		456.31		456.31		456.31		456.31		456.31

		456.66		456.66		456.66		456.66		456.66		456.66		456.66

		457.01		457.01		457.01		457.01		457.01		457.01		457.01

		457.36		457.36		457.36		457.36		457.36		457.36		457.36

		457.71		457.71		457.71		457.71		457.71		457.71		457.71

		458.06		458.06		458.06		458.06		458.06		458.06		458.06

		458.42		458.42		458.42		458.42		458.42		458.42		458.42

		458.77		458.77		458.77		458.77		458.77		458.77		458.77

		459.12		459.12		459.12		459.12		459.12		459.12		459.12

		459.47		459.47		459.47		459.47		459.47		459.47		459.47

		459.82		459.82		459.82		459.82		459.82		459.82		459.82

		460.17		460.17		460.17		460.17		460.17		460.17		460.17

		460.52		460.52		460.52		460.52		460.52		460.52		460.52

		460.87		460.87		460.87		460.87		460.87		460.87		460.87

		461.22		461.22		461.22		461.22		461.22		461.22		461.22

		461.57		461.57		461.57		461.57		461.57		461.57		461.57

		461.92		461.92		461.92		461.92		461.92		461.92		461.92

		462.27		462.27		462.27		462.27		462.27		462.27		462.27

		462.62		462.62		462.62		462.62		462.62		462.62		462.62

		462.97		462.97		462.97		462.97		462.97		462.97		462.97

		463.32		463.32		463.32		463.32		463.32		463.32		463.32

		463.67		463.67		463.67		463.67		463.67		463.67		463.67

		464.02		464.02		464.02		464.02		464.02		464.02		464.02

		464.37		464.37		464.37		464.37		464.37		464.37		464.37

		464.72		464.72		464.72		464.72		464.72		464.72		464.72

		465.07		465.07		465.07		465.07		465.07		465.07		465.07

		465.42		465.42		465.42		465.42		465.42		465.42		465.42

		465.77		465.77		465.77		465.77		465.77		465.77		465.77

		466.12		466.12		466.12		466.12		466.12		466.12		466.12

		466.47		466.47		466.47		466.47		466.47		466.47		466.47

		466.82		466.82		466.82		466.82		466.82		466.82		466.82

		467.17		467.17		467.17		467.17		467.17		467.17		467.17

		467.52		467.52		467.52		467.52		467.52		467.52		467.52

		467.87		467.87		467.87		467.87		467.87		467.87		467.87

		468.22		468.22		468.22		468.22		468.22		468.22		468.22

		468.57		468.57		468.57		468.57		468.57		468.57		468.57

		468.92		468.92		468.92		468.92		468.92		468.92		468.92

		469.27		469.27		469.27		469.27		469.27		469.27		469.27

		469.62		469.62		469.62		469.62		469.62		469.62		469.62

		469.97		469.97		469.97		469.97		469.97		469.97		469.97

		470.32		470.32		470.32		470.32		470.32		470.32		470.32

		470.66		470.66		470.66		470.66		470.66		470.66		470.66

		471.01		471.01		471.01		471.01		471.01		471.01		471.01

		471.36		471.36		471.36		471.36		471.36		471.36		471.36

		471.71		471.71		471.71		471.71		471.71		471.71		471.71

		472.06		472.06		472.06		472.06		472.06		472.06		472.06

		472.41		472.41		472.41		472.41		472.41		472.41		472.41

		472.76		472.76		472.76		472.76		472.76		472.76		472.76

		473.11		473.11		473.11		473.11		473.11		473.11		473.11

		473.46		473.46		473.46		473.46		473.46		473.46		473.46

		473.81		473.81		473.81		473.81		473.81		473.81		473.81

		474.16		474.16		474.16		474.16		474.16		474.16		474.16

		474.5		474.5		474.5		474.5		474.5		474.5		474.5

		474.85		474.85		474.85		474.85		474.85		474.85		474.85

		475.2		475.2		475.2		475.2		475.2		475.2		475.2

		475.55		475.55		475.55		475.55		475.55		475.55		475.55

		475.9		475.9		475.9		475.9		475.9		475.9		475.9

		476.25		476.25		476.25		476.25		476.25		476.25		476.25

		476.6		476.6		476.6		476.6		476.6		476.6		476.6

		476.95		476.95		476.95		476.95		476.95		476.95		476.95

		477.29		477.29		477.29		477.29		477.29		477.29		477.29

		477.64		477.64		477.64		477.64		477.64		477.64		477.64

		477.99		477.99		477.99		477.99		477.99		477.99		477.99

		478.34		478.34		478.34		478.34		478.34		478.34		478.34

		478.69		478.69		478.69		478.69		478.69		478.69		478.69

		479.04		479.04		479.04		479.04		479.04		479.04		479.04

		479.38		479.38		479.38		479.38		479.38		479.38		479.38

		479.73		479.73		479.73		479.73		479.73		479.73		479.73

		480.08		480.08		480.08		480.08		480.08		480.08		480.08

		480.43		480.43		480.43		480.43		480.43		480.43		480.43

		480.78		480.78		480.78		480.78		480.78		480.78		480.78

		481.13		481.13		481.13		481.13		481.13		481.13		481.13

		481.47		481.47		481.47		481.47		481.47		481.47		481.47

		481.82		481.82		481.82		481.82		481.82		481.82		481.82

		482.17		482.17		482.17		482.17		482.17		482.17		482.17

		482.52		482.52		482.52		482.52		482.52		482.52		482.52

		482.87		482.87		482.87		482.87		482.87		482.87		482.87

		483.21		483.21		483.21		483.21		483.21		483.21		483.21

		483.56		483.56		483.56		483.56		483.56		483.56		483.56

		483.91		483.91		483.91		483.91		483.91		483.91		483.91

		484.26		484.26		484.26		484.26		484.26		484.26		484.26

		484.61		484.61		484.61		484.61		484.61		484.61		484.61

		484.95		484.95		484.95		484.95		484.95		484.95		484.95

		485.3		485.3		485.3		485.3		485.3		485.3		485.3

		485.65		485.65		485.65		485.65		485.65		485.65		485.65

		486		486		486		486		486		486		486

		486.34		486.34		486.34		486.34		486.34		486.34		486.34

		486.69		486.69		486.69		486.69		486.69		486.69		486.69

		487.04		487.04		487.04		487.04		487.04		487.04		487.04

		487.39		487.39		487.39		487.39		487.39		487.39		487.39

		487.73		487.73		487.73		487.73		487.73		487.73		487.73

		488.08		488.08		488.08		488.08		488.08		488.08		488.08

		488.43		488.43		488.43		488.43		488.43		488.43		488.43

		488.78		488.78		488.78		488.78		488.78		488.78		488.78

		489.12		489.12		489.12		489.12		489.12		489.12		489.12

		489.47		489.47		489.47		489.47		489.47		489.47		489.47

		489.82		489.82		489.82		489.82		489.82		489.82		489.82

		490.16		490.16		490.16		490.16		490.16		490.16		490.16

		490.51		490.51		490.51		490.51		490.51		490.51		490.51

		490.86		490.86		490.86		490.86		490.86		490.86		490.86

		491.21		491.21		491.21		491.21		491.21		491.21		491.21

		491.55		491.55		491.55		491.55		491.55		491.55		491.55

		491.9		491.9		491.9		491.9		491.9		491.9		491.9

		492.25		492.25		492.25		492.25		492.25		492.25		492.25

		492.59		492.59		492.59		492.59		492.59		492.59		492.59

		492.94		492.94		492.94		492.94		492.94		492.94		492.94

		493.29		493.29		493.29		493.29		493.29		493.29		493.29

		493.63		493.63		493.63		493.63		493.63		493.63		493.63

		493.98		493.98		493.98		493.98		493.98		493.98		493.98

		494.33		494.33		494.33		494.33		494.33		494.33		494.33

		494.67		494.67		494.67		494.67		494.67		494.67		494.67

		495.02		495.02		495.02		495.02		495.02		495.02		495.02

		495.37		495.37		495.37		495.37		495.37		495.37		495.37

		495.71		495.71		495.71		495.71		495.71		495.71		495.71

		496.06		496.06		496.06		496.06		496.06		496.06		496.06

		496.41		496.41		496.41		496.41		496.41		496.41		496.41

		496.75		496.75		496.75		496.75		496.75		496.75		496.75

		497.1		497.1		497.1		497.1		497.1		497.1		497.1

		497.45		497.45		497.45		497.45		497.45		497.45		497.45

		497.79		497.79		497.79		497.79		497.79		497.79		497.79

		498.14		498.14		498.14		498.14		498.14		498.14		498.14

		498.48		498.48		498.48		498.48		498.48		498.48		498.48

		498.83		498.83		498.83		498.83		498.83		498.83		498.83

		499.18		499.18		499.18		499.18		499.18		499.18		499.18

		499.52		499.52		499.52		499.52		499.52		499.52		499.52

		499.87		499.87		499.87		499.87		499.87		499.87		499.87

		500.21		500.21		500.21		500.21		500.21		500.21		500.21

		500.56		500.56		500.56		500.56		500.56		500.56		500.56

		500.91		500.91		500.91		500.91		500.91		500.91		500.91

		501.25		501.25		501.25		501.25		501.25		501.25		501.25

		501.6		501.6		501.6		501.6		501.6		501.6		501.6

		501.94		501.94		501.94		501.94		501.94		501.94		501.94

		502.29		502.29		502.29		502.29		502.29		502.29		502.29

		502.64		502.64		502.64		502.64		502.64		502.64		502.64

		502.98		502.98		502.98		502.98		502.98		502.98		502.98

		503.33		503.33		503.33		503.33		503.33		503.33		503.33

		503.67		503.67		503.67		503.67		503.67		503.67		503.67

		504.02		504.02		504.02		504.02		504.02		504.02		504.02

		504.36		504.36		504.36		504.36		504.36		504.36		504.36

		504.71		504.71		504.71		504.71		504.71		504.71		504.71

		505.05		505.05		505.05		505.05		505.05		505.05		505.05

		505.4		505.4		505.4		505.4		505.4		505.4		505.4

		505.75		505.75		505.75		505.75		505.75		505.75		505.75

		506.09		506.09		506.09		506.09		506.09		506.09		506.09

		506.44		506.44		506.44		506.44		506.44		506.44		506.44

		506.78		506.78		506.78		506.78		506.78		506.78		506.78

		507.13		507.13		507.13		507.13		507.13		507.13		507.13

		507.47		507.47		507.47		507.47		507.47		507.47		507.47

		507.82		507.82		507.82		507.82		507.82		507.82		507.82

		508.16		508.16		508.16		508.16		508.16		508.16		508.16

		508.51		508.51		508.51		508.51		508.51		508.51		508.51

		508.85		508.85		508.85		508.85		508.85		508.85		508.85

		509.2		509.2		509.2		509.2		509.2		509.2		509.2

		509.54		509.54		509.54		509.54		509.54		509.54		509.54

		509.89		509.89		509.89		509.89		509.89		509.89		509.89

		510.23		510.23		510.23		510.23		510.23		510.23		510.23

		510.58		510.58		510.58		510.58		510.58		510.58		510.58

		510.92		510.92		510.92		510.92		510.92		510.92		510.92

		511.27		511.27		511.27		511.27		511.27		511.27		511.27

		511.61		511.61		511.61		511.61		511.61		511.61		511.61

		511.96		511.96		511.96		511.96		511.96		511.96		511.96

		512.3		512.3		512.3		512.3		512.3		512.3		512.3

		512.65		512.65		512.65		512.65		512.65		512.65		512.65

		512.99		512.99		512.99		512.99		512.99		512.99		512.99

		513.33		513.33		513.33		513.33		513.33		513.33		513.33

		513.68		513.68		513.68		513.68		513.68		513.68		513.68

		514.02		514.02		514.02		514.02		514.02		514.02		514.02

		514.37		514.37		514.37		514.37		514.37		514.37		514.37

		514.71		514.71		514.71		514.71		514.71		514.71		514.71

		515.06		515.06		515.06		515.06		515.06		515.06		515.06

		515.4		515.4		515.4		515.4		515.4		515.4		515.4

		515.74		515.74		515.74		515.74		515.74		515.74		515.74

		516.09		516.09		516.09		516.09		516.09		516.09		516.09

		516.43		516.43		516.43		516.43		516.43		516.43		516.43

		516.78		516.78		516.78		516.78		516.78		516.78		516.78

		517.12		517.12		517.12		517.12		517.12		517.12		517.12

		517.47		517.47		517.47		517.47		517.47		517.47		517.47

		517.81		517.81		517.81		517.81		517.81		517.81		517.81

		518.15		518.15		518.15		518.15		518.15		518.15		518.15

		518.5		518.5		518.5		518.5		518.5		518.5		518.5

		518.84		518.84		518.84		518.84		518.84		518.84		518.84

		519.18		519.18		519.18		519.18		519.18		519.18		519.18

		519.53		519.53		519.53		519.53		519.53		519.53		519.53

		519.87		519.87		519.87		519.87		519.87		519.87		519.87

		520.22		520.22		520.22		520.22		520.22		520.22		520.22

		520.56		520.56		520.56		520.56		520.56		520.56		520.56

		520.9		520.9		520.9		520.9		520.9		520.9		520.9

		521.25		521.25		521.25		521.25		521.25		521.25		521.25

		521.59		521.59		521.59		521.59		521.59		521.59		521.59

		521.93		521.93		521.93		521.93		521.93		521.93		521.93

		522.28		522.28		522.28		522.28		522.28		522.28		522.28

		522.62		522.62		522.62		522.62		522.62		522.62		522.62

		522.96		522.96		522.96		522.96		522.96		522.96		522.96

		523.31		523.31		523.31		523.31		523.31		523.31		523.31

		523.65		523.65		523.65		523.65		523.65		523.65		523.65

		523.99		523.99		523.99		523.99		523.99		523.99		523.99

		524.34		524.34		524.34		524.34		524.34		524.34		524.34

		524.68		524.68		524.68		524.68		524.68		524.68		524.68

		525.02		525.02		525.02		525.02		525.02		525.02		525.02

		525.37		525.37		525.37		525.37		525.37		525.37		525.37

		525.71		525.71		525.71		525.71		525.71		525.71		525.71

		526.05		526.05		526.05		526.05		526.05		526.05		526.05

		526.4		526.4		526.4		526.4		526.4		526.4		526.4

		526.74		526.74		526.74		526.74		526.74		526.74		526.74

		527.08		527.08		527.08		527.08		527.08		527.08		527.08

		527.42		527.42		527.42		527.42		527.42		527.42		527.42

		527.77		527.77		527.77		527.77		527.77		527.77		527.77

		528.11		528.11		528.11		528.11		528.11		528.11		528.11

		528.45		528.45		528.45		528.45		528.45		528.45		528.45

		528.8		528.8		528.8		528.8		528.8		528.8		528.8

		529.14		529.14		529.14		529.14		529.14		529.14		529.14

		529.48		529.48		529.48		529.48		529.48		529.48		529.48

		529.82		529.82		529.82		529.82		529.82		529.82		529.82

		530.17		530.17		530.17		530.17		530.17		530.17		530.17

		530.51		530.51		530.51		530.51		530.51		530.51		530.51

		530.85		530.85		530.85		530.85		530.85		530.85		530.85

		531.19		531.19		531.19		531.19		531.19		531.19		531.19

		531.54		531.54		531.54		531.54		531.54		531.54		531.54

		531.88		531.88		531.88		531.88		531.88		531.88		531.88

		532.22		532.22		532.22		532.22		532.22		532.22		532.22

		532.56		532.56		532.56		532.56		532.56		532.56		532.56

		532.9		532.9		532.9		532.9		532.9		532.9		532.9

		533.25		533.25		533.25		533.25		533.25		533.25		533.25

		533.59		533.59		533.59		533.59		533.59		533.59		533.59

		533.93		533.93		533.93		533.93		533.93		533.93		533.93

		534.27		534.27		534.27		534.27		534.27		534.27		534.27

		534.62		534.62		534.62		534.62		534.62		534.62		534.62

		534.96		534.96		534.96		534.96		534.96		534.96		534.96

		535.3		535.3		535.3		535.3		535.3		535.3		535.3

		535.64		535.64		535.64		535.64		535.64		535.64		535.64

		535.98		535.98		535.98		535.98		535.98		535.98		535.98

		536.32		536.32		536.32		536.32		536.32		536.32		536.32

		536.67		536.67		536.67		536.67		536.67		536.67		536.67

		537.01		537.01		537.01		537.01		537.01		537.01		537.01

		537.35		537.35		537.35		537.35		537.35		537.35		537.35

		537.69		537.69		537.69		537.69		537.69		537.69		537.69

		538.03		538.03		538.03		538.03		538.03		538.03		538.03

		538.37		538.37		538.37		538.37		538.37		538.37		538.37

		538.72		538.72		538.72		538.72		538.72		538.72		538.72

		539.06		539.06		539.06		539.06		539.06		539.06		539.06

		539.4		539.4		539.4		539.4		539.4		539.4		539.4

		539.74		539.74		539.74		539.74		539.74		539.74		539.74

		540.08		540.08		540.08		540.08		540.08		540.08		540.08

		540.42		540.42		540.42		540.42		540.42		540.42		540.42

		540.76		540.76		540.76		540.76		540.76		540.76		540.76

		541.11		541.11		541.11		541.11		541.11		541.11		541.11

		541.45		541.45		541.45		541.45		541.45		541.45		541.45

		541.79		541.79		541.79		541.79		541.79		541.79		541.79

		542.13		542.13		542.13		542.13		542.13		542.13		542.13

		542.47		542.47		542.47		542.47		542.47		542.47		542.47

		542.81		542.81		542.81		542.81		542.81		542.81		542.81

		543.15		543.15		543.15		543.15		543.15		543.15		543.15

		543.49		543.49		543.49		543.49		543.49		543.49		543.49

		543.83		543.83		543.83		543.83		543.83		543.83		543.83

		544.18		544.18		544.18		544.18		544.18		544.18		544.18

		544.52		544.52		544.52		544.52		544.52		544.52		544.52

		544.86		544.86		544.86		544.86		544.86		544.86		544.86

		545.2		545.2		545.2		545.2		545.2		545.2		545.2

		545.54		545.54		545.54		545.54		545.54		545.54		545.54

		545.88		545.88		545.88		545.88		545.88		545.88		545.88

		546.22		546.22		546.22		546.22		546.22		546.22		546.22

		546.56		546.56		546.56		546.56		546.56		546.56		546.56

		546.9		546.9		546.9		546.9		546.9		546.9		546.9

		547.24		547.24		547.24		547.24		547.24		547.24		547.24

		547.58		547.58		547.58		547.58		547.58		547.58		547.58

		547.92		547.92		547.92		547.92		547.92		547.92		547.92

		548.26		548.26		548.26		548.26		548.26		548.26		548.26

		548.6		548.6		548.6		548.6		548.6		548.6		548.6

		548.94		548.94		548.94		548.94		548.94		548.94		548.94

		549.28		549.28		549.28		549.28		549.28		549.28		549.28

		549.62		549.62		549.62		549.62		549.62		549.62		549.62

		549.96		549.96		549.96		549.96		549.96		549.96		549.96

		550.3		550.3		550.3		550.3		550.3		550.3		550.3

		550.64		550.64		550.64		550.64		550.64		550.64		550.64

		550.98		550.98		550.98		550.98		550.98		550.98		550.98

		551.32		551.32		551.32		551.32		551.32		551.32		551.32

		551.66		551.66		551.66		551.66		551.66		551.66		551.66

		552		552		552		552		552		552		552

		552.34		552.34		552.34		552.34		552.34		552.34		552.34

		552.68		552.68		552.68		552.68		552.68		552.68		552.68

		553.02		553.02		553.02		553.02		553.02		553.02		553.02

		553.36		553.36		553.36		553.36		553.36		553.36		553.36

		553.7		553.7		553.7		553.7		553.7		553.7		553.7

		554.04		554.04		554.04		554.04		554.04		554.04		554.04

		554.38		554.38		554.38		554.38		554.38		554.38		554.38

		554.72		554.72		554.72		554.72		554.72		554.72		554.72

		555.06		555.06		555.06		555.06		555.06		555.06		555.06

		555.4		555.4		555.4		555.4		555.4		555.4		555.4

		555.74		555.74		555.74		555.74		555.74		555.74		555.74

		556.08		556.08		556.08		556.08		556.08		556.08		556.08

		556.42		556.42		556.42		556.42		556.42		556.42		556.42

		556.76		556.76		556.76		556.76		556.76		556.76		556.76

		557.1		557.1		557.1		557.1		557.1		557.1		557.1

		557.44		557.44		557.44		557.44		557.44		557.44		557.44

		557.78		557.78		557.78		557.78		557.78		557.78		557.78

		558.12		558.12		558.12		558.12		558.12		558.12		558.12

		558.46		558.46		558.46		558.46		558.46		558.46		558.46

		558.79		558.79		558.79		558.79		558.79		558.79		558.79

		559.13		559.13		559.13		559.13		559.13		559.13		559.13

		559.47		559.47		559.47		559.47		559.47		559.47		559.47

		559.81		559.81		559.81		559.81		559.81		559.81		559.81

		560.15		560.15		560.15		560.15		560.15		560.15		560.15

		560.49		560.49		560.49		560.49		560.49		560.49		560.49

		560.83		560.83		560.83		560.83		560.83		560.83		560.83

		561.17		561.17		561.17		561.17		561.17		561.17		561.17

		561.51		561.51		561.51		561.51		561.51		561.51		561.51

		561.84		561.84		561.84		561.84		561.84		561.84		561.84

		562.18		562.18		562.18		562.18		562.18		562.18		562.18

		562.52		562.52		562.52		562.52		562.52		562.52		562.52

		562.86		562.86		562.86		562.86		562.86		562.86		562.86

		563.2		563.2		563.2		563.2		563.2		563.2		563.2

		563.54		563.54		563.54		563.54		563.54		563.54		563.54

		563.88		563.88		563.88		563.88		563.88		563.88		563.88

		564.21		564.21		564.21		564.21		564.21		564.21		564.21

		564.55		564.55		564.55		564.55		564.55		564.55		564.55

		564.89		564.89		564.89		564.89		564.89		564.89		564.89

		565.23		565.23		565.23		565.23		565.23		565.23		565.23

		565.57		565.57		565.57		565.57		565.57		565.57		565.57

		565.91		565.91		565.91		565.91		565.91		565.91		565.91

		566.24		566.24		566.24		566.24		566.24		566.24		566.24

		566.58		566.58		566.58		566.58		566.58		566.58		566.58

		566.92		566.92		566.92		566.92		566.92		566.92		566.92

		567.26		567.26		567.26		567.26		567.26		567.26		567.26

		567.6		567.6		567.6		567.6		567.6		567.6		567.6

		567.93		567.93		567.93		567.93		567.93		567.93		567.93

		568.27		568.27		568.27		568.27		568.27		568.27		568.27

		568.61		568.61		568.61		568.61		568.61		568.61		568.61

		568.95		568.95		568.95		568.95		568.95		568.95		568.95

		569.29		569.29		569.29		569.29		569.29		569.29		569.29

		569.62		569.62		569.62		569.62		569.62		569.62		569.62

		569.96		569.96		569.96		569.96		569.96		569.96		569.96

		570.3		570.3		570.3		570.3		570.3		570.3		570.3

		570.64		570.64		570.64		570.64		570.64		570.64		570.64

		570.97		570.97		570.97		570.97		570.97		570.97		570.97

		571.31		571.31		571.31		571.31		571.31		571.31		571.31

		571.65		571.65		571.65		571.65		571.65		571.65		571.65

		571.99		571.99		571.99		571.99		571.99		571.99		571.99

		572.32		572.32		572.32		572.32		572.32		572.32		572.32

		572.66		572.66		572.66		572.66		572.66		572.66		572.66

		573		573		573		573		573		573		573

		573.34		573.34		573.34		573.34		573.34		573.34		573.34

		573.67		573.67		573.67		573.67		573.67		573.67		573.67

		574.01		574.01		574.01		574.01		574.01		574.01		574.01

		574.35		574.35		574.35		574.35		574.35		574.35		574.35

		574.69		574.69		574.69		574.69		574.69		574.69		574.69

		575.02		575.02		575.02		575.02		575.02		575.02		575.02

		575.36		575.36		575.36		575.36		575.36		575.36		575.36

		575.7		575.7		575.7		575.7		575.7		575.7		575.7

		576.03		576.03		576.03		576.03		576.03		576.03		576.03

		576.37		576.37		576.37		576.37		576.37		576.37		576.37

		576.71		576.71		576.71		576.71		576.71		576.71		576.71

		577.04		577.04		577.04		577.04		577.04		577.04		577.04

		577.38		577.38		577.38		577.38		577.38		577.38		577.38

		577.72		577.72		577.72		577.72		577.72		577.72		577.72

		578.06		578.06		578.06		578.06		578.06		578.06		578.06

		578.39		578.39		578.39		578.39		578.39		578.39		578.39

		578.73		578.73		578.73		578.73		578.73		578.73		578.73

		579.07		579.07		579.07		579.07		579.07		579.07		579.07

		579.4		579.4		579.4		579.4		579.4		579.4		579.4

		579.74		579.74		579.74		579.74		579.74		579.74		579.74

		580.07		580.07		580.07		580.07		580.07		580.07		580.07

		580.41		580.41		580.41		580.41		580.41		580.41		580.41

		580.75		580.75		580.75		580.75		580.75		580.75		580.75

		581.08		581.08		581.08		581.08		581.08		581.08		581.08

		581.42		581.42		581.42		581.42		581.42		581.42		581.42

		581.76		581.76		581.76		581.76		581.76		581.76		581.76

		582.09		582.09		582.09		582.09		582.09		582.09		582.09

		582.43		582.43		582.43		582.43		582.43		582.43		582.43

		582.77		582.77		582.77		582.77		582.77		582.77		582.77

		583.1		583.1		583.1		583.1		583.1		583.1		583.1

		583.44		583.44		583.44		583.44		583.44		583.44		583.44

		583.77		583.77		583.77		583.77		583.77		583.77		583.77

		584.11		584.11		584.11		584.11		584.11		584.11		584.11

		584.45		584.45		584.45		584.45		584.45		584.45		584.45

		584.78		584.78		584.78		584.78		584.78		584.78		584.78

		585.12		585.12		585.12		585.12		585.12		585.12		585.12

		585.45		585.45		585.45		585.45		585.45		585.45		585.45

		585.79		585.79		585.79		585.79		585.79		585.79		585.79

		586.12		586.12		586.12		586.12		586.12		586.12		586.12

		586.46		586.46		586.46		586.46		586.46		586.46		586.46

		586.8		586.8		586.8		586.8		586.8		586.8		586.8

		587.13		587.13		587.13		587.13		587.13		587.13		587.13

		587.47		587.47		587.47		587.47		587.47		587.47		587.47

		587.8		587.8		587.8		587.8		587.8		587.8		587.8

		588.14		588.14		588.14		588.14		588.14		588.14		588.14

		588.47		588.47		588.47		588.47		588.47		588.47		588.47

		588.81		588.81		588.81		588.81		588.81		588.81		588.81

		589.14		589.14		589.14		589.14		589.14		589.14		589.14

		589.48		589.48		589.48		589.48		589.48		589.48		589.48

		589.82		589.82		589.82		589.82		589.82		589.82		589.82

		590.15		590.15		590.15		590.15		590.15		590.15		590.15

		590.49		590.49		590.49		590.49		590.49		590.49		590.49

		590.82		590.82		590.82		590.82		590.82		590.82		590.82

		591.16		591.16		591.16		591.16		591.16		591.16		591.16

		591.49		591.49		591.49		591.49		591.49		591.49		591.49

		591.83		591.83		591.83		591.83		591.83		591.83		591.83

		592.16		592.16		592.16		592.16		592.16		592.16		592.16

		592.5		592.5		592.5		592.5		592.5		592.5		592.5

		592.83		592.83		592.83		592.83		592.83		592.83		592.83

		593.17		593.17		593.17		593.17		593.17		593.17		593.17

		593.5		593.5		593.5		593.5		593.5		593.5		593.5

		593.84		593.84		593.84		593.84		593.84		593.84		593.84

		594.17		594.17		594.17		594.17		594.17		594.17		594.17

		594.5		594.5		594.5		594.5		594.5		594.5		594.5

		594.84		594.84		594.84		594.84		594.84		594.84		594.84

		595.17		595.17		595.17		595.17		595.17		595.17		595.17

		595.51		595.51		595.51		595.51		595.51		595.51		595.51

		595.84		595.84		595.84		595.84		595.84		595.84		595.84

		596.18		596.18		596.18		596.18		596.18		596.18		596.18

		596.51		596.51		596.51		596.51		596.51		596.51		596.51

		596.85		596.85		596.85		596.85		596.85		596.85		596.85

		597.18		597.18		597.18		597.18		597.18		597.18		597.18

		597.51		597.51		597.51		597.51		597.51		597.51		597.51

		597.85		597.85		597.85		597.85		597.85		597.85		597.85

		598.18		598.18		598.18		598.18		598.18		598.18		598.18

		598.52		598.52		598.52		598.52		598.52		598.52		598.52

		598.85		598.85		598.85		598.85		598.85		598.85		598.85

		599.19		599.19		599.19		599.19		599.19		599.19		599.19

		599.52		599.52		599.52		599.52		599.52		599.52		599.52

		599.85		599.85		599.85		599.85		599.85		599.85		599.85

		600.19		600.19		600.19		600.19		600.19		600.19		600.19

		600.52		600.52		600.52		600.52		600.52		600.52		600.52

		600.86		600.86		600.86		600.86		600.86		600.86		600.86

		601.19		601.19		601.19		601.19		601.19		601.19		601.19

		601.52		601.52		601.52		601.52		601.52		601.52		601.52

		601.86		601.86		601.86		601.86		601.86		601.86		601.86

		602.19		602.19		602.19		602.19		602.19		602.19		602.19

		602.52		602.52		602.52		602.52		602.52		602.52		602.52

		602.86		602.86		602.86		602.86		602.86		602.86		602.86

		603.19		603.19		603.19		603.19		603.19		603.19		603.19

		603.53		603.53		603.53		603.53		603.53		603.53		603.53

		603.86		603.86		603.86		603.86		603.86		603.86		603.86

		604.19		604.19		604.19		604.19		604.19		604.19		604.19

		604.53		604.53		604.53		604.53		604.53		604.53		604.53

		604.86		604.86		604.86		604.86		604.86		604.86		604.86

		605.19		605.19		605.19		605.19		605.19		605.19		605.19

		605.53		605.53		605.53		605.53		605.53		605.53		605.53

		605.86		605.86		605.86		605.86		605.86		605.86		605.86

		606.19		606.19		606.19		606.19		606.19		606.19		606.19

		606.52		606.52		606.52		606.52		606.52		606.52		606.52

		606.86		606.86		606.86		606.86		606.86		606.86		606.86

		607.19		607.19		607.19		607.19		607.19		607.19		607.19

		607.52		607.52		607.52		607.52		607.52		607.52		607.52

		607.86		607.86		607.86		607.86		607.86		607.86		607.86

		608.19		608.19		608.19		608.19		608.19		608.19		608.19

		608.52		608.52		608.52		608.52		608.52		608.52		608.52

		608.86		608.86		608.86		608.86		608.86		608.86		608.86

		609.19		609.19		609.19		609.19		609.19		609.19		609.19

		609.52		609.52		609.52		609.52		609.52		609.52		609.52

		609.85		609.85		609.85		609.85		609.85		609.85		609.85

		610.19		610.19		610.19		610.19		610.19		610.19		610.19

		610.52		610.52		610.52		610.52		610.52		610.52		610.52

		610.85		610.85		610.85		610.85		610.85		610.85		610.85

		611.18		611.18		611.18		611.18		611.18		611.18		611.18

		611.52		611.52		611.52		611.52		611.52		611.52		611.52

		611.85		611.85		611.85		611.85		611.85		611.85		611.85

		612.18		612.18		612.18		612.18		612.18		612.18		612.18

		612.51		612.51		612.51		612.51		612.51		612.51		612.51

		612.85		612.85		612.85		612.85		612.85		612.85		612.85

		613.18		613.18		613.18		613.18		613.18		613.18		613.18

		613.51		613.51		613.51		613.51		613.51		613.51		613.51

		613.84		613.84		613.84		613.84		613.84		613.84		613.84

		614.18		614.18		614.18		614.18		614.18		614.18		614.18

		614.51		614.51		614.51		614.51		614.51		614.51		614.51

		614.84		614.84		614.84		614.84		614.84		614.84		614.84

		615.17		615.17		615.17		615.17		615.17		615.17		615.17

		615.5		615.5		615.5		615.5		615.5		615.5		615.5

		615.84		615.84		615.84		615.84		615.84		615.84		615.84

		616.17		616.17		616.17		616.17		616.17		616.17		616.17

		616.5		616.5		616.5		616.5		616.5		616.5		616.5

		616.83		616.83		616.83		616.83		616.83		616.83		616.83

		617.16		617.16		617.16		617.16		617.16		617.16		617.16

		617.5		617.5		617.5		617.5		617.5		617.5		617.5

		617.83		617.83		617.83		617.83		617.83		617.83		617.83

		618.16		618.16		618.16		618.16		618.16		618.16		618.16

		618.49		618.49		618.49		618.49		618.49		618.49		618.49

		618.82		618.82		618.82		618.82		618.82		618.82		618.82

		619.15		619.15		619.15		619.15		619.15		619.15		619.15

		619.48		619.48		619.48		619.48		619.48		619.48		619.48

		619.82		619.82		619.82		619.82		619.82		619.82		619.82

		620.15		620.15		620.15		620.15		620.15		620.15		620.15

		620.48		620.48		620.48		620.48		620.48		620.48		620.48

		620.81		620.81		620.81		620.81		620.81		620.81		620.81

		621.14		621.14		621.14		621.14		621.14		621.14		621.14

		621.47		621.47		621.47		621.47		621.47		621.47		621.47

		621.8		621.8		621.8		621.8		621.8		621.8		621.8

		622.13		622.13		622.13		622.13		622.13		622.13		622.13

		622.47		622.47		622.47		622.47		622.47		622.47		622.47

		622.8		622.8		622.8		622.8		622.8		622.8		622.8

		623.13		623.13		623.13		623.13		623.13		623.13		623.13

		623.46		623.46		623.46		623.46		623.46		623.46		623.46

		623.79		623.79		623.79		623.79		623.79		623.79		623.79

		624.12		624.12		624.12		624.12		624.12		624.12		624.12

		624.45		624.45		624.45		624.45		624.45		624.45		624.45

		624.78		624.78		624.78		624.78		624.78		624.78		624.78

		625.11		625.11		625.11		625.11		625.11		625.11		625.11

		625.44		625.44		625.44		625.44		625.44		625.44		625.44

		625.77		625.77		625.77		625.77		625.77		625.77		625.77

		626.11		626.11		626.11		626.11		626.11		626.11		626.11

		626.44		626.44		626.44		626.44		626.44		626.44		626.44

		626.77		626.77		626.77		626.77		626.77		626.77		626.77

		627.1		627.1		627.1		627.1		627.1		627.1		627.1

		627.43		627.43		627.43		627.43		627.43		627.43		627.43

		627.76		627.76		627.76		627.76		627.76		627.76		627.76

		628.09		628.09		628.09		628.09		628.09		628.09		628.09

		628.42		628.42		628.42		628.42		628.42		628.42		628.42

		628.75		628.75		628.75		628.75		628.75		628.75		628.75

		629.08		629.08		629.08		629.08		629.08		629.08		629.08

		629.41		629.41		629.41		629.41		629.41		629.41		629.41

		629.74		629.74		629.74		629.74		629.74		629.74		629.74

		630.07		630.07		630.07		630.07		630.07		630.07		630.07

		630.4		630.4		630.4		630.4		630.4		630.4		630.4

		630.73		630.73		630.73		630.73		630.73		630.73		630.73

		631.06		631.06		631.06		631.06		631.06		631.06		631.06

		631.39		631.39		631.39		631.39		631.39		631.39		631.39

		631.72		631.72		631.72		631.72		631.72		631.72		631.72

		632.05		632.05		632.05		632.05		632.05		632.05		632.05

		632.38		632.38		632.38		632.38		632.38		632.38		632.38

		632.71		632.71		632.71		632.71		632.71		632.71		632.71

		633.04		633.04		633.04		633.04		633.04		633.04		633.04

		633.37		633.37		633.37		633.37		633.37		633.37		633.37

		633.7		633.7		633.7		633.7		633.7		633.7		633.7

		634.03		634.03		634.03		634.03		634.03		634.03		634.03

		634.36		634.36		634.36		634.36		634.36		634.36		634.36

		634.69		634.69		634.69		634.69		634.69		634.69		634.69

		635.02		635.02		635.02		635.02		635.02		635.02		635.02

		635.34		635.34		635.34		635.34		635.34		635.34		635.34

		635.67		635.67		635.67		635.67		635.67		635.67		635.67

		636		636		636		636		636		636		636

		636.33		636.33		636.33		636.33		636.33		636.33		636.33

		636.66		636.66		636.66		636.66		636.66		636.66		636.66

		636.99		636.99		636.99		636.99		636.99		636.99		636.99

		637.32		637.32		637.32		637.32		637.32		637.32		637.32

		637.65		637.65		637.65		637.65		637.65		637.65		637.65

		637.98		637.98		637.98		637.98		637.98		637.98		637.98

		638.31		638.31		638.31		638.31		638.31		638.31		638.31

		638.64		638.64		638.64		638.64		638.64		638.64		638.64

		638.97		638.97		638.97		638.97		638.97		638.97		638.97

		639.29		639.29		639.29		639.29		639.29		639.29		639.29

		639.62		639.62		639.62		639.62		639.62		639.62		639.62

		639.95		639.95		639.95		639.95		639.95		639.95		639.95

		640.28		640.28		640.28		640.28		640.28		640.28		640.28

		640.61		640.61		640.61		640.61		640.61		640.61		640.61

		640.94		640.94		640.94		640.94		640.94		640.94		640.94

		641.27		641.27		641.27		641.27		641.27		641.27		641.27

		641.59		641.59		641.59		641.59		641.59		641.59		641.59

		641.92		641.92		641.92		641.92		641.92		641.92		641.92

		642.25		642.25		642.25		642.25		642.25		642.25		642.25

		642.58		642.58		642.58		642.58		642.58		642.58		642.58

		642.91		642.91		642.91		642.91		642.91		642.91		642.91

		643.24		643.24		643.24		643.24		643.24		643.24		643.24

		643.57		643.57		643.57		643.57		643.57		643.57		643.57

		643.89		643.89		643.89		643.89		643.89		643.89		643.89

		644.22		644.22		644.22		644.22		644.22		644.22		644.22

		644.55		644.55		644.55		644.55		644.55		644.55		644.55

		644.88		644.88		644.88		644.88		644.88		644.88		644.88

		645.21		645.21		645.21		645.21		645.21		645.21		645.21

		645.53		645.53		645.53		645.53		645.53		645.53		645.53

		645.86		645.86		645.86		645.86		645.86		645.86		645.86

		646.19		646.19		646.19		646.19		646.19		646.19		646.19

		646.52		646.52		646.52		646.52		646.52		646.52		646.52

		646.85		646.85		646.85		646.85		646.85		646.85		646.85

		647.17		647.17		647.17		647.17		647.17		647.17		647.17

		647.5		647.5		647.5		647.5		647.5		647.5		647.5

		647.83		647.83		647.83		647.83		647.83		647.83		647.83

		648.16		648.16		648.16		648.16		648.16		648.16		648.16

		648.48		648.48		648.48		648.48		648.48		648.48		648.48

		648.81		648.81		648.81		648.81		648.81		648.81		648.81

		649.14		649.14		649.14		649.14		649.14		649.14		649.14

		649.47		649.47		649.47		649.47		649.47		649.47		649.47

		649.79		649.79		649.79		649.79		649.79		649.79		649.79

		650.12		650.12		650.12		650.12		650.12		650.12		650.12

		650.45		650.45		650.45		650.45		650.45		650.45		650.45

		650.78		650.78		650.78		650.78		650.78		650.78		650.78

		651.1		651.1		651.1		651.1		651.1		651.1		651.1

		651.43		651.43		651.43		651.43		651.43		651.43		651.43

		651.76		651.76		651.76		651.76		651.76		651.76		651.76

		652.09		652.09		652.09		652.09		652.09		652.09		652.09

		652.41		652.41		652.41		652.41		652.41		652.41		652.41

		652.74		652.74		652.74		652.74		652.74		652.74		652.74

		653.07		653.07		653.07		653.07		653.07		653.07		653.07

		653.39		653.39		653.39		653.39		653.39		653.39		653.39

		653.72		653.72		653.72		653.72		653.72		653.72		653.72

		654.05		654.05		654.05		654.05		654.05		654.05		654.05

		654.37		654.37		654.37		654.37		654.37		654.37		654.37

		654.7		654.7		654.7		654.7		654.7		654.7		654.7

		655.03		655.03		655.03		655.03		655.03		655.03		655.03

		655.35		655.35		655.35		655.35		655.35		655.35		655.35

		655.68		655.68		655.68		655.68		655.68		655.68		655.68

		656.01		656.01		656.01		656.01		656.01		656.01		656.01

		656.33		656.33		656.33		656.33		656.33		656.33		656.33

		656.66		656.66		656.66		656.66		656.66		656.66		656.66

		656.99		656.99		656.99		656.99		656.99		656.99		656.99

		657.31		657.31		657.31		657.31		657.31		657.31		657.31

		657.64		657.64		657.64		657.64		657.64		657.64		657.64

		657.97		657.97		657.97		657.97		657.97		657.97		657.97

		658.29		658.29		658.29		658.29		658.29		658.29		658.29

		658.62		658.62		658.62		658.62		658.62		658.62		658.62

		658.95		658.95		658.95		658.95		658.95		658.95		658.95

		659.27		659.27		659.27		659.27		659.27		659.27		659.27

		659.6		659.6		659.6		659.6		659.6		659.6		659.6

		659.92		659.92		659.92		659.92		659.92		659.92		659.92

		660.25		660.25		660.25		660.25		660.25		660.25		660.25

		660.58		660.58		660.58		660.58		660.58		660.58		660.58

		660.9		660.9		660.9		660.9		660.9		660.9		660.9

		661.23		661.23		661.23		661.23		661.23		661.23		661.23

		661.55		661.55		661.55		661.55		661.55		661.55		661.55

		661.88		661.88		661.88		661.88		661.88		661.88		661.88

		662.21		662.21		662.21		662.21		662.21		662.21		662.21

		662.53		662.53		662.53		662.53		662.53		662.53		662.53

		662.86		662.86		662.86		662.86		662.86		662.86		662.86

		663.18		663.18		663.18		663.18		663.18		663.18		663.18

		663.51		663.51		663.51		663.51		663.51		663.51		663.51

		663.83		663.83		663.83		663.83		663.83		663.83		663.83

		664.16		664.16		664.16		664.16		664.16		664.16		664.16

		664.48		664.48		664.48		664.48		664.48		664.48		664.48

		664.81		664.81		664.81		664.81		664.81		664.81		664.81

		665.14		665.14		665.14		665.14		665.14		665.14		665.14

		665.46		665.46		665.46		665.46		665.46		665.46		665.46

		665.79		665.79		665.79		665.79		665.79		665.79		665.79

		666.11		666.11		666.11		666.11		666.11		666.11		666.11

		666.44		666.44		666.44		666.44		666.44		666.44		666.44

		666.76		666.76		666.76		666.76		666.76		666.76		666.76

		667.09		667.09		667.09		667.09		667.09		667.09		667.09

		667.41		667.41		667.41		667.41		667.41		667.41		667.41

		667.74		667.74		667.74		667.74		667.74		667.74		667.74

		668.06		668.06		668.06		668.06		668.06		668.06		668.06

		668.39		668.39		668.39		668.39		668.39		668.39		668.39

		668.71		668.71		668.71		668.71		668.71		668.71		668.71

		669.04		669.04		669.04		669.04		669.04		669.04		669.04

		669.36		669.36		669.36		669.36		669.36		669.36		669.36

		669.69		669.69		669.69		669.69		669.69		669.69		669.69

		670.01		670.01		670.01		670.01		670.01		670.01		670.01

		670.34		670.34		670.34		670.34		670.34		670.34		670.34

		670.66		670.66		670.66		670.66		670.66		670.66		670.66

		670.98		670.98		670.98		670.98		670.98		670.98		670.98

		671.31		671.31		671.31		671.31		671.31		671.31		671.31

		671.63		671.63		671.63		671.63		671.63		671.63		671.63

		671.96		671.96		671.96		671.96		671.96		671.96		671.96

		672.28		672.28		672.28		672.28		672.28		672.28		672.28

		672.61		672.61		672.61		672.61		672.61		672.61		672.61

		672.93		672.93		672.93		672.93		672.93		672.93		672.93

		673.26		673.26		673.26		673.26		673.26		673.26		673.26

		673.58		673.58		673.58		673.58		673.58		673.58		673.58

		673.9		673.9		673.9		673.9		673.9		673.9		673.9

		674.23		674.23		674.23		674.23		674.23		674.23		674.23

		674.55		674.55		674.55		674.55		674.55		674.55		674.55

		674.88		674.88		674.88		674.88		674.88		674.88		674.88

		675.2		675.2		675.2		675.2		675.2		675.2		675.2

		675.52		675.52		675.52		675.52		675.52		675.52		675.52

		675.85		675.85		675.85		675.85		675.85		675.85		675.85

		676.17		676.17		676.17		676.17		676.17		676.17		676.17

		676.5		676.5		676.5		676.5		676.5		676.5		676.5

		676.82		676.82		676.82		676.82		676.82		676.82		676.82

		677.14		677.14		677.14		677.14		677.14		677.14		677.14

		677.47		677.47		677.47		677.47		677.47		677.47		677.47

		677.79		677.79		677.79		677.79		677.79		677.79		677.79

		678.11		678.11		678.11		678.11		678.11		678.11		678.11

		678.44		678.44		678.44		678.44		678.44		678.44		678.44

		678.76		678.76		678.76		678.76		678.76		678.76		678.76

		679.08		679.08		679.08		679.08		679.08		679.08		679.08

		679.41		679.41		679.41		679.41		679.41		679.41		679.41

		679.73		679.73		679.73		679.73		679.73		679.73		679.73

		680.05		680.05		680.05		680.05		680.05		680.05		680.05

		680.38		680.38		680.38		680.38		680.38		680.38		680.38

		680.7		680.7		680.7		680.7		680.7		680.7		680.7

		681.02		681.02		681.02		681.02		681.02		681.02		681.02

		681.35		681.35		681.35		681.35		681.35		681.35		681.35

		681.67		681.67		681.67		681.67		681.67		681.67		681.67

		681.99		681.99		681.99		681.99		681.99		681.99		681.99

		682.32		682.32		682.32		682.32		682.32		682.32		682.32

		682.64		682.64		682.64		682.64		682.64		682.64		682.64

		682.96		682.96		682.96		682.96		682.96		682.96		682.96

		683.29		683.29		683.29		683.29		683.29		683.29		683.29

		683.61		683.61		683.61		683.61		683.61		683.61		683.61

		683.93		683.93		683.93		683.93		683.93		683.93		683.93

		684.25		684.25		684.25		684.25		684.25		684.25		684.25

		684.58		684.58		684.58		684.58		684.58		684.58		684.58

		684.9		684.9		684.9		684.9		684.9		684.9		684.9

		685.22		685.22		685.22		685.22		685.22		685.22		685.22

		685.54		685.54		685.54		685.54		685.54		685.54		685.54

		685.87		685.87		685.87		685.87		685.87		685.87		685.87

		686.19		686.19		686.19		686.19		686.19		686.19		686.19

		686.51		686.51		686.51		686.51		686.51		686.51		686.51

		686.83		686.83		686.83		686.83		686.83		686.83		686.83

		687.16		687.16		687.16		687.16		687.16		687.16		687.16

		687.48		687.48		687.48		687.48		687.48		687.48		687.48

		687.8		687.8		687.8		687.8		687.8		687.8		687.8

		688.12		688.12		688.12		688.12		688.12		688.12		688.12

		688.45		688.45		688.45		688.45		688.45		688.45		688.45

		688.77		688.77		688.77		688.77		688.77		688.77		688.77

		689.09		689.09		689.09		689.09		689.09		689.09		689.09

		689.41		689.41		689.41		689.41		689.41		689.41		689.41

		689.73		689.73		689.73		689.73		689.73		689.73		689.73

		690.06		690.06		690.06		690.06		690.06		690.06		690.06

		690.38		690.38		690.38		690.38		690.38		690.38		690.38

		690.7		690.7		690.7		690.7		690.7		690.7		690.7

		691.02		691.02		691.02		691.02		691.02		691.02		691.02

		691.34		691.34		691.34		691.34		691.34		691.34		691.34

		691.66		691.66		691.66		691.66		691.66		691.66		691.66

		691.99		691.99		691.99		691.99		691.99		691.99		691.99

		692.31		692.31		692.31		692.31		692.31		692.31		692.31

		692.63		692.63		692.63		692.63		692.63		692.63		692.63

		692.95		692.95		692.95		692.95		692.95		692.95		692.95

		693.27		693.27		693.27		693.27		693.27		693.27		693.27

		693.59		693.59		693.59		693.59		693.59		693.59		693.59

		693.91		693.91		693.91		693.91		693.91		693.91		693.91

		694.24		694.24		694.24		694.24		694.24		694.24		694.24

		694.56		694.56		694.56		694.56		694.56		694.56		694.56

		694.88		694.88		694.88		694.88		694.88		694.88		694.88

		695.2		695.2		695.2		695.2		695.2		695.2		695.2

		695.52		695.52		695.52		695.52		695.52		695.52		695.52

		695.84		695.84		695.84		695.84		695.84		695.84		695.84

		696.16		696.16		696.16		696.16		696.16		696.16		696.16

		696.48		696.48		696.48		696.48		696.48		696.48		696.48

		696.81		696.81		696.81		696.81		696.81		696.81		696.81

		697.13		697.13		697.13		697.13		697.13		697.13		697.13

		697.45		697.45		697.45		697.45		697.45		697.45		697.45

		697.77		697.77		697.77		697.77		697.77		697.77		697.77

		698.09		698.09		698.09		698.09		698.09		698.09		698.09

		698.41		698.41		698.41		698.41		698.41		698.41		698.41

		698.73		698.73		698.73		698.73		698.73		698.73		698.73

		699.05		699.05		699.05		699.05		699.05		699.05		699.05

		699.37		699.37		699.37		699.37		699.37		699.37		699.37

		699.69		699.69		699.69		699.69		699.69		699.69		699.69

		700.01		700.01		700.01		700.01		700.01		700.01		700.01

		692.8		692.8		692.8		692.8		692.8		692.8		692.8

		700.65		700.65		700.65		700.65		700.65		700.65		700.65

		700.97		700.97		700.97		700.97		700.97		700.97		700.97

		701.29		701.29		701.29		701.29		701.29		701.29		701.29

		701.61		701.61		701.61		701.61		701.61		701.61		701.61

		701.93		701.93		701.93		701.93		701.93		701.93		701.93

		702.25		702.25		702.25		702.25		702.25		702.25		702.25

		702.57		702.57		702.57		702.57		702.57		702.57		702.57

		702.89		702.89		702.89		702.89		702.89		702.89		702.89

		703.21		703.21		703.21		703.21		703.21		703.21		703.21

		703.53		703.53		703.53		703.53		703.53		703.53		703.53

		703.85		703.85		703.85		703.85		703.85		703.85		703.85

		704.17		704.17		704.17		704.17		704.17		704.17		704.17

		704.49		704.49		704.49		704.49		704.49		704.49		704.49

		704.81		704.81		704.81		704.81		704.81		704.81		704.81

		705.13		705.13		705.13		705.13		705.13		705.13		705.13

		705.45		705.45		705.45		705.45		705.45		705.45		705.45

		705.77		705.77		705.77		705.77		705.77		705.77		705.77

		706.09		706.09		706.09		706.09		706.09		706.09		706.09

		706.41		706.41		706.41		706.41		706.41		706.41		706.41

		706.73		706.73		706.73		706.73		706.73		706.73		706.73

		707.05		707.05		707.05		707.05		707.05		707.05		707.05

		707.37		707.37		707.37		707.37		707.37		707.37		707.37

		707.69		707.69		707.69		707.69		707.69		707.69		707.69

		708.01		708.01		708.01		708.01		708.01		708.01		708.01

		708.33		708.33		708.33		708.33		708.33		708.33		708.33

		708.65		708.65		708.65		708.65		708.65		708.65		708.65

		708.97		708.97		708.97		708.97		708.97		708.97		708.97

		709.29		709.29		709.29		709.29		709.29		709.29		709.29

		709.61		709.61		709.61		709.61		709.61		709.61		709.61

		709.92		709.92		709.92		709.92		709.92		709.92		709.92

		710.24		710.24		710.24		710.24		710.24		710.24		710.24

		710.56		710.56		710.56		710.56		710.56		710.56		710.56

		710.88		710.88		710.88		710.88		710.88		710.88		710.88

		711.2		711.2		711.2		711.2		711.2		711.2		711.2

		711.52		711.52		711.52		711.52		711.52		711.52		711.52

		711.84		711.84		711.84		711.84		711.84		711.84		711.84

		712.16		712.16		712.16		712.16		712.16		712.16		712.16

		712.48		712.48		712.48		712.48		712.48		712.48		712.48

		712.79		712.79		712.79		712.79		712.79		712.79		712.79

		713.11		713.11		713.11		713.11		713.11		713.11		713.11

		713.43		713.43		713.43		713.43		713.43		713.43		713.43

		713.75		713.75		713.75		713.75		713.75		713.75		713.75

		714.07		714.07		714.07		714.07		714.07		714.07		714.07

		714.39		714.39		714.39		714.39		714.39		714.39		714.39

		714.71		714.71		714.71		714.71		714.71		714.71		714.71

		715.02		715.02		715.02		715.02		715.02		715.02		715.02

		715.34		715.34		715.34		715.34		715.34		715.34		715.34

		715.66		715.66		715.66		715.66		715.66		715.66		715.66

		715.98		715.98		715.98		715.98		715.98		715.98		715.98

		716.3		716.3		716.3		716.3		716.3		716.3		716.3

		716.61		716.61		716.61		716.61		716.61		716.61		716.61

		716.93		716.93		716.93		716.93		716.93		716.93		716.93

		717.25		717.25		717.25		717.25		717.25		717.25		717.25

		717.57		717.57		717.57		717.57		717.57		717.57		717.57

		717.89		717.89		717.89		717.89		717.89		717.89		717.89

		718.2		718.2		718.2		718.2		718.2		718.2		718.2

		718.52		718.52		718.52		718.52		718.52		718.52		718.52

		718.84		718.84		718.84		718.84		718.84		718.84		718.84

		719.16		719.16		719.16		719.16		719.16		719.16		719.16

		719.48		719.48		719.48		719.48		719.48		719.48		719.48

		719.79		719.79		719.79		719.79		719.79		719.79		719.79

		720.11		720.11		720.11		720.11		720.11		720.11		720.11

		720.43		720.43		720.43		720.43		720.43		720.43		720.43

		720.75		720.75		720.75		720.75		720.75		720.75		720.75

		721.06		721.06		721.06		721.06		721.06		721.06		721.06

		721.38		721.38		721.38		721.38		721.38		721.38		721.38

		721.7		721.7		721.7		721.7		721.7		721.7		721.7

		722.02		722.02		722.02		722.02		722.02		722.02		722.02

		722.33		722.33		722.33		722.33		722.33		722.33		722.33

		722.65		722.65		722.65		722.65		722.65		722.65		722.65

		722.97		722.97		722.97		722.97		722.97		722.97		722.97

		723.28		723.28		723.28		723.28		723.28		723.28		723.28

		723.6		723.6		723.6		723.6		723.6		723.6		723.6

		723.92		723.92		723.92		723.92		723.92		723.92		723.92

		724.24		724.24		724.24		724.24		724.24		724.24		724.24

		724.55		724.55		724.55		724.55		724.55		724.55		724.55

		724.87		724.87		724.87		724.87		724.87		724.87		724.87

		725.19		725.19		725.19		725.19		725.19		725.19		725.19

		725.5		725.5		725.5		725.5		725.5		725.5		725.5

		725.82		725.82		725.82		725.82		725.82		725.82		725.82

		726.14		726.14		726.14		726.14		726.14		726.14		726.14

		726.45		726.45		726.45		726.45		726.45		726.45		726.45

		726.77		726.77		726.77		726.77		726.77		726.77		726.77

		727.09		727.09		727.09		727.09		727.09		727.09		727.09

		727.4		727.4		727.4		727.4		727.4		727.4		727.4

		727.72		727.72		727.72		727.72		727.72		727.72		727.72

		728.04		728.04		728.04		728.04		728.04		728.04		728.04

		728.35		728.35		728.35		728.35		728.35		728.35		728.35

		728.67		728.67		728.67		728.67		728.67		728.67		728.67

		728.98		728.98		728.98		728.98		728.98		728.98		728.98

		729.3		729.3		729.3		729.3		729.3		729.3		729.3

		729.62		729.62		729.62		729.62		729.62		729.62		729.62

		729.93		729.93		729.93		729.93		729.93		729.93		729.93

		730.25		730.25		730.25		730.25		730.25		730.25		730.25

		730.57		730.57		730.57		730.57		730.57		730.57		730.57

		730.88		730.88		730.88		730.88		730.88		730.88		730.88

		731.2		731.2		731.2		731.2		731.2		731.2		731.2

		731.51		731.51		731.51		731.51		731.51		731.51		731.51

		731.83		731.83		731.83		731.83		731.83		731.83		731.83

		732.15		732.15		732.15		732.15		732.15		732.15		732.15

		732.46		732.46		732.46		732.46		732.46		732.46		732.46

		732.78		732.78		732.78		732.78		732.78		732.78		732.78

		733.09		733.09		733.09		733.09		733.09		733.09		733.09

		733.41		733.41		733.41		733.41		733.41		733.41		733.41

		733.72		733.72		733.72		733.72		733.72		733.72		733.72

		734.04		734.04		734.04		734.04		734.04		734.04		734.04

		734.35		734.35		734.35		734.35		734.35		734.35		734.35

		734.67		734.67		734.67		734.67		734.67		734.67		734.67

		734.99		734.99		734.99		734.99		734.99		734.99		734.99

		735.3		735.3		735.3		735.3		735.3		735.3		735.3

		735.62		735.62		735.62		735.62		735.62		735.62		735.62

		735.93		735.93		735.93		735.93		735.93		735.93		735.93

		736.25		736.25		736.25		736.25		736.25		736.25		736.25

		736.56		736.56		736.56		736.56		736.56		736.56		736.56

		736.88		736.88		736.88		736.88		736.88		736.88		736.88

		737.19		737.19		737.19		737.19		737.19		737.19		737.19

		737.51		737.51		737.51		737.51		737.51		737.51		737.51

		737.82		737.82		737.82		737.82		737.82		737.82		737.82

		738.14		738.14		738.14		738.14		738.14		738.14		738.14

		738.45		738.45		738.45		738.45		738.45		738.45		738.45

		738.77		738.77		738.77		738.77		738.77		738.77		738.77

		739.08		739.08		739.08		739.08		739.08		739.08		739.08

		739.4		739.4		739.4		739.4		739.4		739.4		739.4

		739.71		739.71		739.71		739.71		739.71		739.71		739.71

		740.03		740.03		740.03		740.03		740.03		740.03		740.03

		740.34		740.34		740.34		740.34		740.34		740.34		740.34

		740.65		740.65		740.65		740.65		740.65		740.65		740.65

		740.97		740.97		740.97		740.97		740.97		740.97		740.97

		741.28		741.28		741.28		741.28		741.28		741.28		741.28

		741.6		741.6		741.6		741.6		741.6		741.6		741.6

		741.91		741.91		741.91		741.91		741.91		741.91		741.91

		742.23		742.23		742.23		742.23		742.23		742.23		742.23

		742.54		742.54		742.54		742.54		742.54		742.54		742.54

		742.86		742.86		742.86		742.86		742.86		742.86		742.86

		743.17		743.17		743.17		743.17		743.17		743.17		743.17

		743.48		743.48		743.48		743.48		743.48		743.48		743.48

		743.8		743.8		743.8		743.8		743.8		743.8		743.8

		744.11		744.11		744.11		744.11		744.11		744.11		744.11

		744.43		744.43		744.43		744.43		744.43		744.43		744.43

		744.74		744.74		744.74		744.74		744.74		744.74		744.74

		745.05		745.05		745.05		745.05		745.05		745.05		745.05

		745.37		745.37		745.37		745.37		745.37		745.37		745.37

		745.68		745.68		745.68		745.68		745.68		745.68		745.68

		746		746		746		746		746		746		746

		746.31		746.31		746.31		746.31		746.31		746.31		746.31

		746.62		746.62		746.62		746.62		746.62		746.62		746.62

		746.94		746.94		746.94		746.94		746.94		746.94		746.94

		747.25		747.25		747.25		747.25		747.25		747.25		747.25

		747.56		747.56		747.56		747.56		747.56		747.56		747.56

		747.88		747.88		747.88		747.88		747.88		747.88		747.88

		748.19		748.19		748.19		748.19		748.19		748.19		748.19

		748.5		748.5		748.5		748.5		748.5		748.5		748.5

		748.82		748.82		748.82		748.82		748.82		748.82		748.82

		749.13		749.13		749.13		749.13		749.13		749.13		749.13

		749.44		749.44		749.44		749.44		749.44		749.44		749.44

		749.76		749.76		749.76		749.76		749.76		749.76		749.76

		750.07		750.07		750.07		750.07		750.07		750.07		750.07

		750.38		750.38		750.38		750.38		750.38		750.38		750.38

		750.7		750.7		750.7		750.7		750.7		750.7		750.7

		751.01		751.01		751.01		751.01		751.01		751.01		751.01

		751.32		751.32		751.32		751.32		751.32		751.32		751.32

		751.63		751.63		751.63		751.63		751.63		751.63		751.63

		751.95		751.95		751.95		751.95		751.95		751.95		751.95

		752.26		752.26		752.26		752.26		752.26		752.26		752.26

		752.57		752.57		752.57		752.57		752.57		752.57		752.57

		752.89		752.89		752.89		752.89		752.89		752.89		752.89

		753.2		753.2		753.2		753.2		753.2		753.2		753.2

		753.51		753.51		753.51		753.51		753.51		753.51		753.51

		753.82		753.82		753.82		753.82		753.82		753.82		753.82

		754.14		754.14		754.14		754.14		754.14		754.14		754.14

		754.45		754.45		754.45		754.45		754.45		754.45		754.45

		754.76		754.76		754.76		754.76		754.76		754.76		754.76

		755.07		755.07		755.07		755.07		755.07		755.07		755.07

		755.39		755.39		755.39		755.39		755.39		755.39		755.39

		755.7		755.7		755.7		755.7		755.7		755.7		755.7

		756.01		756.01		756.01		756.01		756.01		756.01		756.01

		756.32		756.32		756.32		756.32		756.32		756.32		756.32

		756.63		756.63		756.63		756.63		756.63		756.63		756.63

		756.95		756.95		756.95		756.95		756.95		756.95		756.95

		757.26		757.26		757.26		757.26		757.26		757.26		757.26

		757.57		757.57		757.57		757.57		757.57		757.57		757.57

		757.88		757.88		757.88		757.88		757.88		757.88		757.88

		758.19		758.19		758.19		758.19		758.19		758.19		758.19

		758.51		758.51		758.51		758.51		758.51		758.51		758.51

		758.82		758.82		758.82		758.82		758.82		758.82		758.82

		759.13		759.13		759.13		759.13		759.13		759.13		759.13

		759.44		759.44		759.44		759.44		759.44		759.44		759.44

		759.75		759.75		759.75		759.75		759.75		759.75		759.75

		760.06		760.06		760.06		760.06		760.06		760.06		760.06

		760.38		760.38		760.38		760.38		760.38		760.38		760.38

		760.69		760.69		760.69		760.69		760.69		760.69		760.69

		761		761		761		761		761		761		761

		761.31		761.31		761.31		761.31		761.31		761.31		761.31

		761.62		761.62		761.62		761.62		761.62		761.62		761.62

		761.93		761.93		761.93		761.93		761.93		761.93		761.93

		762.24		762.24		762.24		762.24		762.24		762.24		762.24

		762.56		762.56		762.56		762.56		762.56		762.56		762.56

		762.87		762.87		762.87		762.87		762.87		762.87		762.87

		763.18		763.18		763.18		763.18		763.18		763.18		763.18

		763.49		763.49		763.49		763.49		763.49		763.49		763.49

		763.8		763.8		763.8		763.8		763.8		763.8		763.8

		764.11		764.11		764.11		764.11		764.11		764.11		764.11

		764.42		764.42		764.42		764.42		764.42		764.42		764.42

		764.73		764.73		764.73		764.73		764.73		764.73		764.73

		765.04		765.04		765.04		765.04		765.04		765.04		765.04

		765.36		765.36		765.36		765.36		765.36		765.36		765.36

		765.67		765.67		765.67		765.67		765.67		765.67		765.67

		765.98		765.98		765.98		765.98		765.98		765.98		765.98

		766.29		766.29		766.29		766.29		766.29		766.29		766.29

		766.6		766.6		766.6		766.6		766.6		766.6		766.6

		766.91		766.91		766.91		766.91		766.91		766.91		766.91

		767.22		767.22		767.22		767.22		767.22		767.22		767.22

		767.53		767.53		767.53		767.53		767.53		767.53		767.53

		767.84		767.84		767.84		767.84		767.84		767.84		767.84

		768.15		768.15		768.15		768.15		768.15		768.15		768.15

		768.46		768.46		768.46		768.46		768.46		768.46		768.46

		768.77		768.77		768.77		768.77		768.77		768.77		768.77

		769.08		769.08		769.08		769.08		769.08		769.08		769.08

		769.39		769.39		769.39		769.39		769.39		769.39		769.39

		769.7		769.7		769.7		769.7		769.7		769.7		769.7

		770.01		770.01		770.01		770.01		770.01		770.01		770.01

		770.32		770.32		770.32		770.32		770.32		770.32		770.32

		770.63		770.63		770.63		770.63		770.63		770.63		770.63

		770.94		770.94		770.94		770.94		770.94		770.94		770.94

		771.25		771.25		771.25		771.25		771.25		771.25		771.25

		771.56		771.56		771.56		771.56		771.56		771.56		771.56

		771.87		771.87		771.87		771.87		771.87		771.87		771.87

		772.18		772.18		772.18		772.18		772.18		772.18		772.18

		772.49		772.49		772.49		772.49		772.49		772.49		772.49

		772.8		772.8		772.8		772.8		772.8		772.8		772.8

		773.11		773.11		773.11		773.11		773.11		773.11		773.11

		773.42		773.42		773.42		773.42		773.42		773.42		773.42

		773.73		773.73		773.73		773.73		773.73		773.73		773.73

		774.04		774.04		774.04		774.04		774.04		774.04		774.04

		774.35		774.35		774.35		774.35		774.35		774.35		774.35

		774.66		774.66		774.66		774.66		774.66		774.66		774.66

		774.97		774.97		774.97		774.97		774.97		774.97		774.97

		775.28		775.28		775.28		775.28		775.28		775.28		775.28

		775.58		775.58		775.58		775.58		775.58		775.58		775.58

		775.89		775.89		775.89		775.89		775.89		775.89		775.89

		776.2		776.2		776.2		776.2		776.2		776.2		776.2

		776.51		776.51		776.51		776.51		776.51		776.51		776.51

		776.82		776.82		776.82		776.82		776.82		776.82		776.82

		777.13		777.13		777.13		777.13		777.13		777.13		777.13

		777.44		777.44		777.44		777.44		777.44		777.44		777.44

		777.75		777.75		777.75		777.75		777.75		777.75		777.75

		778.06		778.06		778.06		778.06		778.06		778.06		778.06

		778.37		778.37		778.37		778.37		778.37		778.37		778.37

		778.67		778.67		778.67		778.67		778.67		778.67		778.67

		778.98		778.98		778.98		778.98		778.98		778.98		778.98

		779.29		779.29		779.29		779.29		779.29		779.29		779.29

		779.6		779.6		779.6		779.6		779.6		779.6		779.6

		779.91		779.91		779.91		779.91		779.91		779.91		779.91

		780.22		780.22		780.22		780.22		780.22		780.22		780.22

		780.53		780.53		780.53		780.53		780.53		780.53		780.53

		780.83		780.83		780.83		780.83		780.83		780.83		780.83

		781.14		781.14		781.14		781.14		781.14		781.14		781.14

		781.45		781.45		781.45		781.45		781.45		781.45		781.45

		781.76		781.76		781.76		781.76		781.76		781.76		781.76

		782.07		782.07		782.07		782.07		782.07		782.07		782.07

		782.38		782.38		782.38		782.38		782.38		782.38		782.38

		782.68		782.68		782.68		782.68		782.68		782.68		782.68

		782.99		782.99		782.99		782.99		782.99		782.99		782.99

		783.3		783.3		783.3		783.3		783.3		783.3		783.3

		783.61		783.61		783.61		783.61		783.61		783.61		783.61

		783.92		783.92		783.92		783.92		783.92		783.92		783.92

		784.22		784.22		784.22		784.22		784.22		784.22		784.22

		784.53		784.53		784.53		784.53		784.53		784.53		784.53

		784.84		784.84		784.84		784.84		784.84		784.84		784.84

		785.15		785.15		785.15		785.15		785.15		785.15		785.15

		785.45		785.45		785.45		785.45		785.45		785.45		785.45

		785.76		785.76		785.76		785.76		785.76		785.76		785.76

		786.07		786.07		786.07		786.07		786.07		786.07		786.07

		786.38		786.38		786.38		786.38		786.38		786.38		786.38

		786.68		786.68		786.68		786.68		786.68		786.68		786.68

		786.99		786.99		786.99		786.99		786.99		786.99		786.99

		787.3		787.3		787.3		787.3		787.3		787.3		787.3

		787.61		787.61		787.61		787.61		787.61		787.61		787.61

		787.91		787.91		787.91		787.91		787.91		787.91		787.91

		788.22		788.22		788.22		788.22		788.22		788.22		788.22

		788.53		788.53		788.53		788.53		788.53		788.53		788.53

		788.83		788.83		788.83		788.83		788.83		788.83		788.83

		789.14		789.14		789.14		789.14		789.14		789.14		789.14

		789.45		789.45		789.45		789.45		789.45		789.45		789.45

		789.76		789.76		789.76		789.76		789.76		789.76		789.76

		790.06		790.06		790.06		790.06		790.06		790.06		790.06

		790.37		790.37		790.37		790.37		790.37		790.37		790.37

		790.68		790.68		790.68		790.68		790.68		790.68		790.68

		790.98		790.98		790.98		790.98		790.98		790.98		790.98

		791.29		791.29		791.29		791.29		791.29		791.29		791.29

		791.6		791.6		791.6		791.6		791.6		791.6		791.6

		791.9		791.9		791.9		791.9		791.9		791.9		791.9

		792.21		792.21		792.21		792.21		792.21		792.21		792.21

		792.52		792.52		792.52		792.52		792.52		792.52		792.52

		792.82		792.82		792.82		792.82		792.82		792.82		792.82

		793.13		793.13		793.13		793.13		793.13		793.13		793.13

		793.44		793.44		793.44		793.44		793.44		793.44		793.44

		793.74		793.74		793.74		793.74		793.74		793.74		793.74

		794.05		794.05		794.05		794.05		794.05		794.05		794.05

		794.35		794.35		794.35		794.35		794.35		794.35		794.35

		794.66		794.66		794.66		794.66		794.66		794.66		794.66

		794.97		794.97		794.97		794.97		794.97		794.97		794.97

		795.27		795.27		795.27		795.27		795.27		795.27		795.27

		795.58		795.58		795.58		795.58		795.58		795.58		795.58

		795.89		795.89		795.89		795.89		795.89		795.89		795.89

		796.19		796.19		796.19		796.19		796.19		796.19		796.19

		796.5		796.5		796.5		796.5		796.5		796.5		796.5

		796.8		796.8		796.8		796.8		796.8		796.8		796.8

		797.11		797.11		797.11		797.11		797.11		797.11		797.11

		797.41		797.41		797.41		797.41		797.41		797.41		797.41

		797.72		797.72		797.72		797.72		797.72		797.72		797.72

		798.03		798.03		798.03		798.03		798.03		798.03		798.03

		798.33		798.33		798.33		798.33		798.33		798.33		798.33

		798.64		798.64		798.64		798.64		798.64		798.64		798.64

		798.94		798.94		798.94		798.94		798.94		798.94		798.94

		799.25		799.25		799.25		799.25		799.25		799.25		799.25

		799.55		799.55		799.55		799.55		799.55		799.55		799.55

		799.86		799.86		799.86		799.86		799.86		799.86		799.86

		800.16		800.16		800.16		800.16		800.16		800.16		800.16

		800.47		800.47		800.47		800.47		800.47		800.47		800.47

		800.77		800.77		800.77		800.77		800.77		800.77		800.77

		801.08		801.08		801.08		801.08		801.08		801.08		801.08

		801.39		801.39		801.39		801.39		801.39		801.39		801.39

		801.69		801.69		801.69		801.69		801.69		801.69		801.69

		802		802		802		802		802		802		802

		802.3		802.3		802.3		802.3		802.3		802.3		802.3

		802.61		802.61		802.61		802.61		802.61		802.61		802.61

		802.91		802.91		802.91		802.91		802.91		802.91		802.91

		803.21		803.21		803.21		803.21		803.21		803.21		803.21

		803.52		803.52		803.52		803.52		803.52		803.52		803.52

		803.82		803.82		803.82		803.82		803.82		803.82		803.82

		804.13		804.13		804.13		804.13		804.13		804.13		804.13

		804.43		804.43		804.43		804.43		804.43		804.43		804.43

		804.74		804.74		804.74		804.74		804.74		804.74		804.74

		805.04		805.04		805.04		805.04		805.04		805.04		805.04

		805.35		805.35		805.35		805.35		805.35		805.35		805.35

		805.65		805.65		805.65		805.65		805.65		805.65		805.65

		805.96		805.96		805.96		805.96		805.96		805.96		805.96

		806.26		806.26		806.26		806.26		806.26		806.26		806.26

		806.56		806.56		806.56		806.56		806.56		806.56		806.56

		806.87		806.87		806.87		806.87		806.87		806.87		806.87

		807.17		807.17		807.17		807.17		807.17		807.17		807.17

		807.48		807.48		807.48		807.48		807.48		807.48		807.48

		807.78		807.78		807.78		807.78		807.78		807.78		807.78

		808.09		808.09		808.09		808.09		808.09		808.09		808.09

		808.39		808.39		808.39		808.39		808.39		808.39		808.39

		808.69		808.69		808.69		808.69		808.69		808.69		808.69

		809		809		809		809		809		809		809

		809.3		809.3		809.3		809.3		809.3		809.3		809.3

		809.6		809.6		809.6		809.6		809.6		809.6		809.6

		809.91		809.91		809.91		809.91		809.91		809.91		809.91

		810.21		810.21		810.21		810.21		810.21		810.21		810.21

		810.52		810.52		810.52		810.52		810.52		810.52		810.52

		810.82		810.82		810.82		810.82		810.82		810.82		810.82

		811.12		811.12		811.12		811.12		811.12		811.12		811.12

		811.43		811.43		811.43		811.43		811.43		811.43		811.43

		811.73		811.73		811.73		811.73		811.73		811.73		811.73

		812.03		812.03		812.03		812.03		812.03		812.03		812.03

		812.34		812.34		812.34		812.34		812.34		812.34		812.34

		812.64		812.64		812.64		812.64		812.64		812.64		812.64

		812.94		812.94		812.94		812.94		812.94		812.94		812.94

		813.25		813.25		813.25		813.25		813.25		813.25		813.25

		813.55		813.55		813.55		813.55		813.55		813.55		813.55

		813.85		813.85		813.85		813.85		813.85		813.85		813.85

		814.16		814.16		814.16		814.16		814.16		814.16		814.16

		814.46		814.46		814.46		814.46		814.46		814.46		814.46

		814.76		814.76		814.76		814.76		814.76		814.76		814.76

		815.06		815.06		815.06		815.06		815.06		815.06		815.06

		815.37		815.37		815.37		815.37		815.37		815.37		815.37

		815.67		815.67		815.67		815.67		815.67		815.67		815.67

		815.97		815.97		815.97		815.97		815.97		815.97		815.97

		816.28		816.28		816.28		816.28		816.28		816.28		816.28

		816.58		816.58		816.58		816.58		816.58		816.58		816.58

		816.88		816.88		816.88		816.88		816.88		816.88		816.88

		817.18		817.18		817.18		817.18		817.18		817.18		817.18

		817.49		817.49		817.49		817.49		817.49		817.49		817.49

		817.79		817.79		817.79		817.79		817.79		817.79		817.79

		818.09		818.09		818.09		818.09		818.09		818.09		818.09

		818.39		818.39		818.39		818.39		818.39		818.39		818.39

		818.7		818.7		818.7		818.7		818.7		818.7		818.7

		819		819		819		819		819		819		819

		819.3		819.3		819.3		819.3		819.3		819.3		819.3

		819.6		819.6		819.6		819.6		819.6		819.6		819.6

		819.9		819.9		819.9		819.9		819.9		819.9		819.9

		820.21		820.21		820.21		820.21		820.21		820.21		820.21

		820.51		820.51		820.51		820.51		820.51		820.51		820.51

		820.81		820.81		820.81		820.81		820.81		820.81		820.81

		821.11		821.11		821.11		821.11		821.11		821.11		821.11

		821.41		821.41		821.41		821.41		821.41		821.41		821.41

		821.72		821.72		821.72		821.72		821.72		821.72		821.72

		822.02		822.02		822.02		822.02		822.02		822.02		822.02

		822.32		822.32		822.32		822.32		822.32		822.32		822.32

		822.62		822.62		822.62		822.62		822.62		822.62		822.62

		822.92		822.92		822.92		822.92		822.92		822.92		822.92

		823.22		823.22		823.22		823.22		823.22		823.22		823.22

		823.53		823.53		823.53		823.53		823.53		823.53		823.53

		823.83		823.83		823.83		823.83		823.83		823.83		823.83

		824.13		824.13		824.13		824.13		824.13		824.13		824.13

		824.43		824.43		824.43		824.43		824.43		824.43		824.43

		824.73		824.73		824.73		824.73		824.73		824.73		824.73

		825.03		825.03		825.03		825.03		825.03		825.03		825.03

		825.33		825.33		825.33		825.33		825.33		825.33		825.33

		825.63		825.63		825.63		825.63		825.63		825.63		825.63

		825.94		825.94		825.94		825.94		825.94		825.94		825.94

		826.24		826.24		826.24		826.24		826.24		826.24		826.24

		826.54		826.54		826.54		826.54		826.54		826.54		826.54

		826.84		826.84		826.84		826.84		826.84		826.84		826.84

		827.14		827.14		827.14		827.14		827.14		827.14		827.14

		827.44		827.44		827.44		827.44		827.44		827.44		827.44

		827.74		827.74		827.74		827.74		827.74		827.74		827.74

		828.04		828.04		828.04		828.04		828.04		828.04		828.04

		828.34		828.34		828.34		828.34		828.34		828.34		828.34

		828.64		828.64		828.64		828.64		828.64		828.64		828.64

		828.94		828.94		828.94		828.94		828.94		828.94		828.94

		829.24		829.24		829.24		829.24		829.24		829.24		829.24

		829.54		829.54		829.54		829.54		829.54		829.54		829.54

		829.85		829.85		829.85		829.85		829.85		829.85		829.85

		830.15		830.15		830.15		830.15		830.15		830.15		830.15

		830.45		830.45		830.45		830.45		830.45		830.45		830.45

		830.75		830.75		830.75		830.75		830.75		830.75		830.75

		831.05		831.05		831.05		831.05		831.05		831.05		831.05

		831.35		831.35		831.35		831.35		831.35		831.35		831.35

		831.65		831.65		831.65		831.65		831.65		831.65		831.65

		831.95		831.95		831.95		831.95		831.95		831.95		831.95

		832.25		832.25		832.25		832.25		832.25		832.25		832.25

		832.55		832.55		832.55		832.55		832.55		832.55		832.55

		832.85		832.85		832.85		832.85		832.85		832.85		832.85

		833.15		833.15		833.15		833.15		833.15		833.15		833.15

		833.45		833.45		833.45		833.45		833.45		833.45		833.45

		833.75		833.75		833.75		833.75		833.75		833.75		833.75

		834.05		834.05		834.05		834.05		834.05		834.05		834.05

		834.35		834.35		834.35		834.35		834.35		834.35		834.35

		834.65		834.65		834.65		834.65		834.65		834.65		834.65

		834.95		834.95		834.95		834.95		834.95		834.95		834.95

		835.24		835.24		835.24		835.24		835.24		835.24		835.24

		835.54		835.54		835.54		835.54		835.54		835.54		835.54

		835.84		835.84		835.84		835.84		835.84		835.84		835.84

		836.14		836.14		836.14		836.14		836.14		836.14		836.14

		836.44		836.44		836.44		836.44		836.44		836.44		836.44

		836.74		836.74		836.74		836.74		836.74		836.74		836.74

		837.04		837.04		837.04		837.04		837.04		837.04		837.04

		837.34		837.34		837.34		837.34		837.34		837.34		837.34

		837.64		837.64		837.64		837.64		837.64		837.64		837.64

		837.94		837.94		837.94		837.94		837.94		837.94		837.94

		838.24		838.24		838.24		838.24		838.24		838.24		838.24

		838.54		838.54		838.54		838.54		838.54		838.54		838.54

		838.84		838.84		838.84		838.84		838.84		838.84		838.84

		839.13		839.13		839.13		839.13		839.13		839.13		839.13

		839.43		839.43		839.43		839.43		839.43		839.43		839.43

		839.73		839.73		839.73		839.73		839.73		839.73		839.73

		840.03		840.03		840.03		840.03		840.03		840.03		840.03

		840.33		840.33		840.33		840.33		840.33		840.33		840.33

		840.63		840.63		840.63		840.63		840.63		840.63		840.63

		840.93		840.93		840.93		840.93		840.93		840.93		840.93

		841.23		841.23		841.23		841.23		841.23		841.23		841.23

		841.52		841.52		841.52		841.52		841.52		841.52		841.52

		841.82		841.82		841.82		841.82		841.82		841.82		841.82

		842.12		842.12		842.12		842.12		842.12		842.12		842.12

		842.42		842.42		842.42		842.42		842.42		842.42		842.42

		842.72		842.72		842.72		842.72		842.72		842.72		842.72

		843.02		843.02		843.02		843.02		843.02		843.02		843.02

		843.31		843.31		843.31		843.31		843.31		843.31		843.31

		843.61		843.61		843.61		843.61		843.61		843.61		843.61

		843.91		843.91		843.91		843.91		843.91		843.91		843.91

		844.21		844.21		844.21		844.21		844.21		844.21		844.21

		844.51		844.51		844.51		844.51		844.51		844.51		844.51

		844.8		844.8		844.8		844.8		844.8		844.8		844.8

		845.1		845.1		845.1		845.1		845.1		845.1		845.1

		845.4		845.4		845.4		845.4		845.4		845.4		845.4

		845.7		845.7		845.7		845.7		845.7		845.7		845.7

		845.99		845.99		845.99		845.99		845.99		845.99		845.99

		846.29		846.29		846.29		846.29		846.29		846.29		846.29

		846.59		846.59		846.59		846.59		846.59		846.59		846.59

		846.89		846.89		846.89		846.89		846.89		846.89		846.89

		847.19		847.19		847.19		847.19		847.19		847.19		847.19

		847.48		847.48		847.48		847.48		847.48		847.48		847.48

		847.78		847.78		847.78		847.78		847.78		847.78		847.78

		848.08		848.08		848.08		848.08		848.08		848.08		848.08

		848.37		848.37		848.37		848.37		848.37		848.37		848.37

		848.67		848.67		848.67		848.67		848.67		848.67		848.67

		848.97		848.97		848.97		848.97		848.97		848.97		848.97

		849.27		849.27		849.27		849.27		849.27		849.27		849.27

		849.56		849.56		849.56		849.56		849.56		849.56		849.56

		849.86		849.86		849.86		849.86		849.86		849.86		849.86

		850.16		850.16		850.16		850.16		850.16		850.16		850.16

		850.45		850.45		850.45		850.45		850.45		850.45		850.45

		850.75		850.75		850.75		850.75		850.75		850.75		850.75

		851.05		851.05		851.05		851.05		851.05		851.05		851.05

		851.35		851.35		851.35		851.35		851.35		851.35		851.35

		851.64		851.64		851.64		851.64		851.64		851.64		851.64

		851.94		851.94		851.94		851.94		851.94		851.94		851.94

		852.24		852.24		852.24		852.24		852.24		852.24		852.24

		852.53		852.53		852.53		852.53		852.53		852.53		852.53

		852.83		852.83		852.83		852.83		852.83		852.83		852.83

		853.13		853.13		853.13		853.13		853.13		853.13		853.13

		853.42		853.42		853.42		853.42		853.42		853.42		853.42

		853.72		853.72		853.72		853.72		853.72		853.72		853.72

		854.01		854.01		854.01		854.01		854.01		854.01		854.01

		854.31		854.31		854.31		854.31		854.31		854.31		854.31

		854.61		854.61		854.61		854.61		854.61		854.61		854.61

		854.9		854.9		854.9		854.9		854.9		854.9		854.9

		855.2		855.2		855.2		855.2		855.2		855.2		855.2

		855.5		855.5		855.5		855.5		855.5		855.5		855.5

		855.79		855.79		855.79		855.79		855.79		855.79		855.79

		856.09		856.09		856.09		856.09		856.09		856.09		856.09

		856.38		856.38		856.38		856.38		856.38		856.38		856.38

		856.68		856.68		856.68		856.68		856.68		856.68		856.68

		856.98		856.98		856.98		856.98		856.98		856.98		856.98

		857.27		857.27		857.27		857.27		857.27		857.27		857.27

		857.57		857.57		857.57		857.57		857.57		857.57		857.57

		857.86		857.86		857.86		857.86		857.86		857.86		857.86

		858.16		858.16		858.16		858.16		858.16		858.16		858.16

		858.45		858.45		858.45		858.45		858.45		858.45		858.45

		858.75		858.75		858.75		858.75		858.75		858.75		858.75

		859.04		859.04		859.04		859.04		859.04		859.04		859.04

		859.34		859.34		859.34		859.34		859.34		859.34		859.34

		859.64		859.64		859.64		859.64		859.64		859.64		859.64

		859.93		859.93		859.93		859.93		859.93		859.93		859.93

		860.23		860.23		860.23		860.23		860.23		860.23		860.23

		860.52		860.52		860.52		860.52		860.52		860.52		860.52

		860.82		860.82		860.82		860.82		860.82		860.82		860.82

		861.11		861.11		861.11		861.11		861.11		861.11		861.11

		861.41		861.41		861.41		861.41		861.41		861.41		861.41

		861.7		861.7		861.7		861.7		861.7		861.7		861.7

		862		862		862		862		862		862		862

		862.29		862.29		862.29		862.29		862.29		862.29		862.29

		862.59		862.59		862.59		862.59		862.59		862.59		862.59

		862.88		862.88		862.88		862.88		862.88		862.88		862.88

		863.18		863.18		863.18		863.18		863.18		863.18		863.18

		863.47		863.47		863.47		863.47		863.47		863.47		863.47

		863.77		863.77		863.77		863.77		863.77		863.77		863.77

		864.06		864.06		864.06		864.06		864.06		864.06		864.06

		864.35		864.35		864.35		864.35		864.35		864.35		864.35

		864.65		864.65		864.65		864.65		864.65		864.65		864.65

		864.94		864.94		864.94		864.94		864.94		864.94		864.94

		865.24		865.24		865.24		865.24		865.24		865.24		865.24

		865.53		865.53		865.53		865.53		865.53		865.53		865.53

		865.83		865.83		865.83		865.83		865.83		865.83		865.83

		866.12		866.12		866.12		866.12		866.12		866.12		866.12

		866.41		866.41		866.41		866.41		866.41		866.41		866.41

		866.71		866.71		866.71		866.71		866.71		866.71		866.71

		867		867		867		867		867		867		867

		867.3		867.3		867.3		867.3		867.3		867.3		867.3

		867.59		867.59		867.59		867.59		867.59		867.59		867.59

		867.89		867.89		867.89		867.89		867.89		867.89		867.89

		868.18		868.18		868.18		868.18		868.18		868.18		868.18

		868.47		868.47		868.47		868.47		868.47		868.47		868.47

		868.77		868.77		868.77		868.77		868.77		868.77		868.77

		869.06		869.06		869.06		869.06		869.06		869.06		869.06

		869.35		869.35		869.35		869.35		869.35		869.35		869.35

		869.65		869.65		869.65		869.65		869.65		869.65		869.65

		869.94		869.94		869.94		869.94		869.94		869.94		869.94

		870.23		870.23		870.23		870.23		870.23		870.23		870.23

		870.53		870.53		870.53		870.53		870.53		870.53		870.53

		870.82		870.82		870.82		870.82		870.82		870.82		870.82

		871.12		871.12		871.12		871.12		871.12		871.12		871.12

		871.41		871.41		871.41		871.41		871.41		871.41		871.41

		871.7		871.7		871.7		871.7		871.7		871.7		871.7

		871.99		871.99		871.99		871.99		871.99		871.99		871.99

		872.29		872.29		872.29		872.29		872.29		872.29		872.29

		872.58		872.58		872.58		872.58		872.58		872.58		872.58

		872.87		872.87		872.87		872.87		872.87		872.87		872.87

		873.17		873.17		873.17		873.17		873.17		873.17		873.17

		873.46		873.46		873.46		873.46		873.46		873.46		873.46

		873.75		873.75		873.75		873.75		873.75		873.75		873.75

		874.05		874.05		874.05		874.05		874.05		874.05		874.05

		874.34		874.34		874.34		874.34		874.34		874.34		874.34

		874.63		874.63		874.63		874.63		874.63		874.63		874.63

		874.92		874.92		874.92		874.92		874.92		874.92		874.92

		875.22		875.22		875.22		875.22		875.22		875.22		875.22

		875.51		875.51		875.51		875.51		875.51		875.51		875.51

		875.8		875.8		875.8		875.8		875.8		875.8		875.8

		876.09		876.09		876.09		876.09		876.09		876.09		876.09

		876.39		876.39		876.39		876.39		876.39		876.39		876.39

		876.68		876.68		876.68		876.68		876.68		876.68		876.68

		876.97		876.97		876.97		876.97		876.97		876.97		876.97

		877.26		877.26		877.26		877.26		877.26		877.26		877.26

		877.56		877.56		877.56		877.56		877.56		877.56		877.56

		877.85		877.85		877.85		877.85		877.85		877.85		877.85

		878.14		878.14		878.14		878.14		878.14		878.14		878.14

		878.43		878.43		878.43		878.43		878.43		878.43		878.43

		878.72		878.72		878.72		878.72		878.72		878.72		878.72

		879.02		879.02		879.02		879.02		879.02		879.02		879.02

		879.31		879.31		879.31		879.31		879.31		879.31		879.31

		879.6		879.6		879.6		879.6		879.6		879.6		879.6

		879.89		879.89		879.89		879.89		879.89		879.89		879.89

		880.18		880.18		880.18		880.18		880.18		880.18		880.18

		880.48		880.48		880.48		880.48		880.48		880.48		880.48

		880.77		880.77		880.77		880.77		880.77		880.77		880.77

		881.06		881.06		881.06		881.06		881.06		881.06		881.06

		881.35		881.35		881.35		881.35		881.35		881.35		881.35

		881.64		881.64		881.64		881.64		881.64		881.64		881.64

		881.93		881.93		881.93		881.93		881.93		881.93		881.93

		882.22		882.22		882.22		882.22		882.22		882.22		882.22

		882.52		882.52		882.52		882.52		882.52		882.52		882.52

		882.81		882.81		882.81		882.81		882.81		882.81		882.81

		883.1		883.1		883.1		883.1		883.1		883.1		883.1

		883.39		883.39		883.39		883.39		883.39		883.39		883.39

		883.68		883.68		883.68		883.68		883.68		883.68		883.68

		883.97		883.97		883.97		883.97		883.97		883.97		883.97

		884.26		884.26		884.26		884.26		884.26		884.26		884.26

		884.55		884.55		884.55		884.55		884.55		884.55		884.55

		884.85		884.85		884.85		884.85		884.85		884.85		884.85

		885.14		885.14		885.14		885.14		885.14		885.14		885.14

		885.43		885.43		885.43		885.43		885.43		885.43		885.43

		885.72		885.72		885.72		885.72		885.72		885.72		885.72

		886.01		886.01		886.01		886.01		886.01		886.01		886.01

		886.3		886.3		886.3		886.3		886.3		886.3		886.3

		886.59		886.59		886.59		886.59		886.59		886.59		886.59

		886.88		886.88		886.88		886.88		886.88		886.88		886.88

		887.17		887.17		887.17		887.17		887.17		887.17		887.17

		887.46		887.46		887.46		887.46		887.46		887.46		887.46

		887.75		887.75		887.75		887.75		887.75		887.75		887.75

		888.04		888.04		888.04		888.04		888.04		888.04		888.04

		888.33		888.33		888.33		888.33		888.33		888.33		888.33

		888.62		888.62		888.62		888.62		888.62		888.62		888.62

		888.91		888.91		888.91		888.91		888.91		888.91		888.91

		889.2		889.2		889.2		889.2		889.2		889.2		889.2

		889.49		889.49		889.49		889.49		889.49		889.49		889.49

		889.78		889.78		889.78		889.78		889.78		889.78		889.78

		890.07		890.07		890.07		890.07		890.07		890.07		890.07

		890.36		890.36		890.36		890.36		890.36		890.36		890.36

		890.65		890.65		890.65		890.65		890.65		890.65		890.65

		890.94		890.94		890.94		890.94		890.94		890.94		890.94

		891.23		891.23		891.23		891.23		891.23		891.23		891.23

		891.52		891.52		891.52		891.52		891.52		891.52		891.52

		891.81		891.81		891.81		891.81		891.81		891.81		891.81

		892.1		892.1		892.1		892.1		892.1		892.1		892.1

		892.39		892.39		892.39		892.39		892.39		892.39		892.39

		892.68		892.68		892.68		892.68		892.68		892.68		892.68

		892.97		892.97		892.97		892.97		892.97		892.97		892.97

		893.26		893.26		893.26		893.26		893.26		893.26		893.26

		893.55		893.55		893.55		893.55		893.55		893.55		893.55

		893.84		893.84		893.84		893.84		893.84		893.84		893.84

		894.13		894.13		894.13		894.13		894.13		894.13		894.13

		894.42		894.42		894.42		894.42		894.42		894.42		894.42

		894.71		894.71		894.71		894.71		894.71		894.71		894.71

		894.99		894.99		894.99		894.99		894.99		894.99		894.99

		895.28		895.28		895.28		895.28		895.28		895.28		895.28

		895.57		895.57		895.57		895.57		895.57		895.57		895.57

		895.86		895.86		895.86		895.86		895.86		895.86		895.86

		896.15		896.15		896.15		896.15		896.15		896.15		896.15

		896.44		896.44		896.44		896.44		896.44		896.44		896.44

		896.73		896.73		896.73		896.73		896.73		896.73		896.73

		897.02		897.02		897.02		897.02		897.02		897.02		897.02

		897.31		897.31		897.31		897.31		897.31		897.31		897.31

		897.59		897.59		897.59		897.59		897.59		897.59		897.59

		897.88		897.88		897.88		897.88		897.88		897.88		897.88

		898.17		898.17		898.17		898.17		898.17		898.17		898.17

		898.46		898.46		898.46		898.46		898.46		898.46		898.46

		898.75		898.75		898.75		898.75		898.75		898.75		898.75

		899.04		899.04		899.04		899.04		899.04		899.04		899.04

		899.33		899.33		899.33		899.33		899.33		899.33		899.33

		899.61		899.61		899.61		899.61		899.61		899.61		899.61

		899.9		899.9		899.9		899.9		899.9		899.9		899.9

		900.19		900.19		900.19		900.19		900.19		900.19		900.19

		900.48		900.48		900.48		900.48		900.48		900.48		900.48

		900.77		900.77		900.77		900.77		900.77		900.77		900.77

		901.05		901.05		901.05		901.05		901.05		901.05		901.05

		901.34		901.34		901.34		901.34		901.34		901.34		901.34

		901.63		901.63		901.63		901.63		901.63		901.63		901.63

		901.92		901.92		901.92		901.92		901.92		901.92		901.92

		902.21		902.21		902.21		902.21		902.21		902.21		902.21

		902.49		902.49		902.49		902.49		902.49		902.49		902.49

		902.78		902.78		902.78		902.78		902.78		902.78		902.78

		903.07		903.07		903.07		903.07		903.07		903.07		903.07

		903.36		903.36		903.36		903.36		903.36		903.36		903.36

		903.64		903.64		903.64		903.64		903.64		903.64		903.64

		903.93		903.93		903.93		903.93		903.93		903.93		903.93

		904.22		904.22		904.22		904.22		904.22		904.22		904.22

		904.51		904.51		904.51		904.51		904.51		904.51		904.51

		904.79		904.79		904.79		904.79		904.79		904.79		904.79

		905.08		905.08		905.08		905.08		905.08		905.08		905.08

		905.37		905.37		905.37		905.37		905.37		905.37		905.37

		905.65		905.65		905.65		905.65		905.65		905.65		905.65

		905.94		905.94		905.94		905.94		905.94		905.94		905.94

		906.23		906.23		906.23		906.23		906.23		906.23		906.23

		906.52		906.52		906.52		906.52		906.52		906.52		906.52

		906.8		906.8		906.8		906.8		906.8		906.8		906.8

		907.09		907.09		907.09		907.09		907.09		907.09		907.09

		907.38		907.38		907.38		907.38		907.38		907.38		907.38

		907.66		907.66		907.66		907.66		907.66		907.66		907.66

		907.95		907.95		907.95		907.95		907.95		907.95		907.95

		908.24		908.24		908.24		908.24		908.24		908.24		908.24

		908.52		908.52		908.52		908.52		908.52		908.52		908.52

		908.81		908.81		908.81		908.81		908.81		908.81		908.81

		909.1		909.1		909.1		909.1		909.1		909.1		909.1

		909.38		909.38		909.38		909.38		909.38		909.38		909.38

		909.67		909.67		909.67		909.67		909.67		909.67		909.67

		909.96		909.96		909.96		909.96		909.96		909.96		909.96

		910.24		910.24		910.24		910.24		910.24		910.24		910.24

		910.53		910.53		910.53		910.53		910.53		910.53		910.53

		910.81		910.81		910.81		910.81		910.81		910.81		910.81

		911.1		911.1		911.1		911.1		911.1		911.1		911.1

		911.39		911.39		911.39		911.39		911.39		911.39		911.39

		911.67		911.67		911.67		911.67		911.67		911.67		911.67

		911.96		911.96		911.96		911.96		911.96		911.96		911.96

		912.24		912.24		912.24		912.24		912.24		912.24		912.24

		912.53		912.53		912.53		912.53		912.53		912.53		912.53

		912.82		912.82		912.82		912.82		912.82		912.82		912.82

		913.1		913.1		913.1		913.1		913.1		913.1		913.1

		913.39		913.39		913.39		913.39		913.39		913.39		913.39

		913.67		913.67		913.67		913.67		913.67		913.67		913.67

		913.96		913.96		913.96		913.96		913.96		913.96		913.96

		914.24		914.24		914.24		914.24		914.24		914.24		914.24

		914.53		914.53		914.53		914.53		914.53		914.53		914.53

		914.82		914.82		914.82		914.82		914.82		914.82		914.82

		915.1		915.1		915.1		915.1		915.1		915.1		915.1

		915.39		915.39		915.39		915.39		915.39		915.39		915.39

		915.67		915.67		915.67		915.67		915.67		915.67		915.67

		915.96		915.96		915.96		915.96		915.96		915.96		915.96

		916.24		916.24		916.24		916.24		916.24		916.24		916.24

		916.53		916.53		916.53		916.53		916.53		916.53		916.53

		916.81		916.81		916.81		916.81		916.81		916.81		916.81

		917.1		917.1		917.1		917.1		917.1		917.1		917.1

		917.38		917.38		917.38		917.38		917.38		917.38		917.38

		917.67		917.67		917.67		917.67		917.67		917.67		917.67

		917.95		917.95		917.95		917.95		917.95		917.95		917.95

		918.24		918.24		918.24		918.24		918.24		918.24		918.24

		918.52		918.52		918.52		918.52		918.52		918.52		918.52

		918.81		918.81		918.81		918.81		918.81		918.81		918.81

		919.09		919.09		919.09		919.09		919.09		919.09		919.09

		919.38		919.38		919.38		919.38		919.38		919.38		919.38

		919.66		919.66		919.66		919.66		919.66		919.66		919.66

		919.94		919.94		919.94		919.94		919.94		919.94		919.94

		920.23		920.23		920.23		920.23		920.23		920.23		920.23

		920.51		920.51		920.51		920.51		920.51		920.51		920.51

		920.8		920.8		920.8		920.8		920.8		920.8		920.8

		921.08		921.08		921.08		921.08		921.08		921.08		921.08

		921.37		921.37		921.37		921.37		921.37		921.37		921.37

		921.65		921.65		921.65		921.65		921.65		921.65		921.65

		921.93		921.93		921.93		921.93		921.93		921.93		921.93

		922.22		922.22		922.22		922.22		922.22		922.22		922.22

		922.5		922.5		922.5		922.5		922.5		922.5		922.5

		922.79		922.79		922.79		922.79		922.79		922.79		922.79

		923.07		923.07		923.07		923.07		923.07		923.07		923.07

		923.35		923.35		923.35		923.35		923.35		923.35		923.35

		923.64		923.64		923.64		923.64		923.64		923.64		923.64

		923.92		923.92		923.92		923.92		923.92		923.92		923.92

		924.21		924.21		924.21		924.21		924.21		924.21		924.21

		924.49		924.49		924.49		924.49		924.49		924.49		924.49

		924.77		924.77		924.77		924.77		924.77		924.77		924.77

		925.06		925.06		925.06		925.06		925.06		925.06		925.06

		925.34		925.34		925.34		925.34		925.34		925.34		925.34

		925.62		925.62		925.62		925.62		925.62		925.62		925.62

		925.91		925.91		925.91		925.91		925.91		925.91		925.91

		926.19		926.19		926.19		926.19		926.19		926.19		926.19

		926.47		926.47		926.47		926.47		926.47		926.47		926.47

		926.76		926.76		926.76		926.76		926.76		926.76		926.76

		927.04		927.04		927.04		927.04		927.04		927.04		927.04

		927.32		927.32		927.32		927.32		927.32		927.32		927.32

		927.61		927.61		927.61		927.61		927.61		927.61		927.61

		927.89		927.89		927.89		927.89		927.89		927.89		927.89

		928.17		928.17		928.17		928.17		928.17		928.17		928.17

		928.45		928.45		928.45		928.45		928.45		928.45		928.45

		928.74		928.74		928.74		928.74		928.74		928.74		928.74

		929.02		929.02		929.02		929.02		929.02		929.02		929.02

		929.3		929.3		929.3		929.3		929.3		929.3		929.3

		929.59		929.59		929.59		929.59		929.59		929.59		929.59

		929.87		929.87		929.87		929.87		929.87		929.87		929.87

		930.15		930.15		930.15		930.15		930.15		930.15		930.15

		930.43		930.43		930.43		930.43		930.43		930.43		930.43

		930.72		930.72		930.72		930.72		930.72		930.72		930.72

		931		931		931		931		931		931		931

		931.28		931.28		931.28		931.28		931.28		931.28		931.28

		931.56		931.56		931.56		931.56		931.56		931.56		931.56

		931.85		931.85		931.85		931.85		931.85		931.85		931.85

		932.13		932.13		932.13		932.13		932.13		932.13		932.13

		932.41		932.41		932.41		932.41		932.41		932.41		932.41

		932.69		932.69		932.69		932.69		932.69		932.69		932.69

		932.97		932.97		932.97		932.97		932.97		932.97		932.97

		933.26		933.26		933.26		933.26		933.26		933.26		933.26

		933.54		933.54		933.54		933.54		933.54		933.54		933.54

		933.82		933.82		933.82		933.82		933.82		933.82		933.82

		934.1		934.1		934.1		934.1		934.1		934.1		934.1

		934.38		934.38		934.38		934.38		934.38		934.38		934.38

		934.66		934.66		934.66		934.66		934.66		934.66		934.66

		934.95		934.95		934.95		934.95		934.95		934.95		934.95

		935.23		935.23		935.23		935.23		935.23		935.23		935.23

		935.51		935.51		935.51		935.51		935.51		935.51		935.51

		935.79		935.79		935.79		935.79		935.79		935.79		935.79

		936.07		936.07		936.07		936.07		936.07		936.07		936.07

		936.35		936.35		936.35		936.35		936.35		936.35		936.35

		936.63		936.63		936.63		936.63		936.63		936.63		936.63

		936.92		936.92		936.92		936.92		936.92		936.92		936.92

		937.2		937.2		937.2		937.2		937.2		937.2		937.2

		937.48		937.48		937.48		937.48		937.48		937.48		937.48

		937.76		937.76		937.76		937.76		937.76		937.76		937.76

		938.04		938.04		938.04		938.04		938.04		938.04		938.04

		938.32		938.32		938.32		938.32		938.32		938.32		938.32

		938.6		938.6		938.6		938.6		938.6		938.6		938.6

		938.88		938.88		938.88		938.88		938.88		938.88		938.88

		939.16		939.16		939.16		939.16		939.16		939.16		939.16

		939.45		939.45		939.45		939.45		939.45		939.45		939.45

		939.73		939.73		939.73		939.73		939.73		939.73		939.73

		940.01		940.01		940.01		940.01		940.01		940.01		940.01

		940.29		940.29		940.29		940.29		940.29		940.29		940.29

		940.57		940.57		940.57		940.57		940.57		940.57		940.57

		940.85		940.85		940.85		940.85		940.85		940.85		940.85

		941.13		941.13		941.13		941.13		941.13		941.13		941.13

		941.41		941.41		941.41		941.41		941.41		941.41		941.41

		941.69		941.69		941.69		941.69		941.69		941.69		941.69

		941.97		941.97		941.97		941.97		941.97		941.97		941.97

		942.25		942.25		942.25		942.25		942.25		942.25		942.25

		942.53		942.53		942.53		942.53		942.53		942.53		942.53

		942.81		942.81		942.81		942.81		942.81		942.81		942.81

		943.09		943.09		943.09		943.09		943.09		943.09		943.09

		943.37		943.37		943.37		943.37		943.37		943.37		943.37

		943.65		943.65		943.65		943.65		943.65		943.65		943.65

		943.93		943.93		943.93		943.93		943.93		943.93		943.93

		944.21		944.21		944.21		944.21		944.21		944.21		944.21

		944.49		944.49		944.49		944.49		944.49		944.49		944.49

		944.77		944.77		944.77		944.77		944.77		944.77		944.77

		945.05		945.05		945.05		945.05		945.05		945.05		945.05

		945.33		945.33		945.33		945.33		945.33		945.33		945.33

		945.61		945.61		945.61		945.61		945.61		945.61		945.61

		945.89		945.89		945.89		945.89		945.89		945.89		945.89

		946.17		946.17		946.17		946.17		946.17		946.17		946.17

		946.45		946.45		946.45		946.45		946.45		946.45		946.45

		946.73		946.73		946.73		946.73		946.73		946.73		946.73

		947.01		947.01		947.01		947.01		947.01		947.01		947.01

		947.29		947.29		947.29		947.29		947.29		947.29		947.29

		947.56		947.56		947.56		947.56		947.56		947.56		947.56

		947.84		947.84		947.84		947.84		947.84		947.84		947.84

		948.12		948.12		948.12		948.12		948.12		948.12		948.12

		948.4		948.4		948.4		948.4		948.4		948.4		948.4

		948.68		948.68		948.68		948.68		948.68		948.68		948.68

		948.96		948.96		948.96		948.96		948.96		948.96		948.96

		949.24		949.24		949.24		949.24		949.24		949.24		949.24

		949.52		949.52		949.52		949.52		949.52		949.52		949.52

		949.8		949.8		949.8		949.8		949.8		949.8		949.8

		950.07		950.07		950.07		950.07		950.07		950.07		950.07

		950.35		950.35		950.35		950.35		950.35		950.35		950.35

		950.63		950.63		950.63		950.63		950.63		950.63		950.63

		950.91		950.91		950.91		950.91		950.91		950.91		950.91

		951.19		951.19		951.19		951.19		951.19		951.19		951.19

		951.47		951.47		951.47		951.47		951.47		951.47		951.47

		951.75		951.75		951.75		951.75		951.75		951.75		951.75

		952.02		952.02		952.02		952.02		952.02		952.02		952.02

		952.3		952.3		952.3		952.3		952.3		952.3		952.3

		952.58		952.58		952.58		952.58		952.58		952.58		952.58

		952.86		952.86		952.86		952.86		952.86		952.86		952.86

		953.14		953.14		953.14		953.14		953.14		953.14		953.14

		953.41		953.41		953.41		953.41		953.41		953.41		953.41

		953.69		953.69		953.69		953.69		953.69		953.69		953.69

		953.97		953.97		953.97		953.97		953.97		953.97		953.97

		954.25		954.25		954.25		954.25		954.25		954.25		954.25

		954.53		954.53		954.53		954.53		954.53		954.53		954.53

		954.8		954.8		954.8		954.8		954.8		954.8		954.8

		955.08		955.08		955.08		955.08		955.08		955.08		955.08

		955.36		955.36		955.36		955.36		955.36		955.36		955.36

		955.64		955.64		955.64		955.64		955.64		955.64		955.64

		955.92		955.92		955.92		955.92		955.92		955.92		955.92

		956.19		956.19		956.19		956.19		956.19		956.19		956.19

		956.47		956.47		956.47		956.47		956.47		956.47		956.47

		956.75		956.75		956.75		956.75		956.75		956.75		956.75

		957.02		957.02		957.02		957.02		957.02		957.02		957.02

		957.3		957.3		957.3		957.3		957.3		957.3		957.3

		957.58		957.58		957.58		957.58		957.58		957.58		957.58

		957.86		957.86		957.86		957.86		957.86		957.86		957.86

		958.13		958.13		958.13		958.13		958.13		958.13		958.13

		958.41		958.41		958.41		958.41		958.41		958.41		958.41

		958.69		958.69		958.69		958.69		958.69		958.69		958.69

		958.96		958.96		958.96		958.96		958.96		958.96		958.96

		959.24		959.24		959.24		959.24		959.24		959.24		959.24

		959.52		959.52		959.52		959.52		959.52		959.52		959.52

		959.8		959.8		959.8		959.8		959.8		959.8		959.8

		960.07		960.07		960.07		960.07		960.07		960.07		960.07

		960.35		960.35		960.35		960.35		960.35		960.35		960.35

		960.63		960.63		960.63		960.63		960.63		960.63		960.63

		960.9		960.9		960.9		960.9		960.9		960.9		960.9

		961.18		961.18		961.18		961.18		961.18		961.18		961.18

		961.45		961.45		961.45		961.45		961.45		961.45		961.45

		961.73		961.73		961.73		961.73		961.73		961.73		961.73

		962.01		962.01		962.01		962.01		962.01		962.01		962.01

		962.28		962.28		962.28		962.28		962.28		962.28		962.28

		962.56		962.56		962.56		962.56		962.56		962.56		962.56

		962.84		962.84		962.84		962.84		962.84		962.84		962.84

		963.11		963.11		963.11		963.11		963.11		963.11		963.11

		963.39		963.39		963.39		963.39		963.39		963.39		963.39

		963.66		963.66		963.66		963.66		963.66		963.66		963.66

		963.94		963.94		963.94		963.94		963.94		963.94		963.94

		964.22		964.22		964.22		964.22		964.22		964.22		964.22

		964.49		964.49		964.49		964.49		964.49		964.49		964.49

		964.77		964.77		964.77		964.77		964.77		964.77		964.77

		965.04		965.04		965.04		965.04		965.04		965.04		965.04

		965.32		965.32		965.32		965.32		965.32		965.32		965.32

		965.6		965.6		965.6		965.6		965.6		965.6		965.6

		965.87		965.87		965.87		965.87		965.87		965.87		965.87

		966.15		966.15		966.15		966.15		966.15		966.15		966.15

		966.42		966.42		966.42		966.42		966.42		966.42		966.42

		966.7		966.7		966.7		966.7		966.7		966.7		966.7

		966.97		966.97		966.97		966.97		966.97		966.97		966.97

		967.25		967.25		967.25		967.25		967.25		967.25		967.25

		967.52		967.52		967.52		967.52		967.52		967.52		967.52

		967.8		967.8		967.8		967.8		967.8		967.8		967.8

		968.07		968.07		968.07		968.07		968.07		968.07		968.07

		968.35		968.35		968.35		968.35		968.35		968.35		968.35

		968.62		968.62		968.62		968.62		968.62		968.62		968.62

		968.9		968.9		968.9		968.9		968.9		968.9		968.9

		969.17		969.17		969.17		969.17		969.17		969.17		969.17

		969.45		969.45		969.45		969.45		969.45		969.45		969.45

		969.72		969.72		969.72		969.72		969.72		969.72		969.72

		970		970		970		970		970		970		970

		970.27		970.27		970.27		970.27		970.27		970.27		970.27

		970.55		970.55		970.55		970.55		970.55		970.55		970.55

		970.82		970.82		970.82		970.82		970.82		970.82		970.82

		971.1		971.1		971.1		971.1		971.1		971.1		971.1

		971.37		971.37		971.37		971.37		971.37		971.37		971.37

		971.65		971.65		971.65		971.65		971.65		971.65		971.65

		971.92		971.92		971.92		971.92		971.92		971.92		971.92

		972.19		972.19		972.19		972.19		972.19		972.19		972.19

		972.47		972.47		972.47		972.47		972.47		972.47		972.47

		972.74		972.74		972.74		972.74		972.74		972.74		972.74

		973.02		973.02		973.02		973.02		973.02		973.02		973.02

		973.29		973.29		973.29		973.29		973.29		973.29		973.29

		973.56		973.56		973.56		973.56		973.56		973.56		973.56

		973.84		973.84		973.84		973.84		973.84		973.84		973.84

		974.11		974.11		974.11		974.11		974.11		974.11		974.11

		974.39		974.39		974.39		974.39		974.39		974.39		974.39

		974.66		974.66		974.66		974.66		974.66		974.66		974.66

		974.93		974.93		974.93		974.93		974.93		974.93		974.93

		975.21		975.21		975.21		975.21		975.21		975.21		975.21

		975.48		975.48		975.48		975.48		975.48		975.48		975.48

		975.76		975.76		975.76		975.76		975.76		975.76		975.76

		976.03		976.03		976.03		976.03		976.03		976.03		976.03

		976.3		976.3		976.3		976.3		976.3		976.3		976.3

		976.58		976.58		976.58		976.58		976.58		976.58		976.58

		976.85		976.85		976.85		976.85		976.85		976.85		976.85

		977.12		977.12		977.12		977.12		977.12		977.12		977.12

		977.4		977.4		977.4		977.4		977.4		977.4		977.4

		977.67		977.67		977.67		977.67		977.67		977.67		977.67

		977.94		977.94		977.94		977.94		977.94		977.94		977.94

		978.22		978.22		978.22		978.22		978.22		978.22		978.22

		978.49		978.49		978.49		978.49		978.49		978.49		978.49

		978.76		978.76		978.76		978.76		978.76		978.76		978.76

		979.03		979.03		979.03		979.03		979.03		979.03		979.03

		979.31		979.31		979.31		979.31		979.31		979.31		979.31

		979.58		979.58		979.58		979.58		979.58		979.58		979.58

		979.85		979.85		979.85		979.85		979.85		979.85		979.85

		980.13		980.13		980.13		980.13		980.13		980.13		980.13

		980.4		980.4		980.4		980.4		980.4		980.4		980.4

		980.67		980.67		980.67		980.67		980.67		980.67		980.67

		980.94		980.94		980.94		980.94		980.94		980.94		980.94

		981.22		981.22		981.22		981.22		981.22		981.22		981.22

		981.49		981.49		981.49		981.49		981.49		981.49		981.49

		981.76		981.76		981.76		981.76		981.76		981.76		981.76

		982.03		982.03		982.03		982.03		982.03		982.03		982.03

		982.3		982.3		982.3		982.3		982.3		982.3		982.3

		982.58		982.58		982.58		982.58		982.58		982.58		982.58

		982.85		982.85		982.85		982.85		982.85		982.85		982.85

		983.12		983.12		983.12		983.12		983.12		983.12		983.12

		983.39		983.39		983.39		983.39		983.39		983.39		983.39

		983.67		983.67		983.67		983.67		983.67		983.67		983.67

		983.94		983.94		983.94		983.94		983.94		983.94		983.94

		984.21		984.21		984.21		984.21		984.21		984.21		984.21

		984.48		984.48		984.48		984.48		984.48		984.48		984.48

		984.75		984.75		984.75		984.75		984.75		984.75		984.75

		985.02		985.02		985.02		985.02		985.02		985.02		985.02

		985.3		985.3		985.3		985.3		985.3		985.3		985.3

		985.57		985.57		985.57		985.57		985.57		985.57		985.57

		985.84		985.84		985.84		985.84		985.84		985.84		985.84

		986.11		986.11		986.11		986.11		986.11		986.11		986.11

		986.38		986.38		986.38		986.38		986.38		986.38		986.38

		986.65		986.65		986.65		986.65		986.65		986.65		986.65

		986.92		986.92		986.92		986.92		986.92		986.92		986.92

		987.2		987.2		987.2		987.2		987.2		987.2		987.2

		987.47		987.47		987.47		987.47		987.47		987.47		987.47

		987.74		987.74		987.74		987.74		987.74		987.74		987.74

		988.01		988.01		988.01		988.01		988.01		988.01		988.01

		988.28		988.28		988.28		988.28		988.28		988.28		988.28

		988.55		988.55		988.55		988.55		988.55		988.55		988.55

		988.82		988.82		988.82		988.82		988.82		988.82		988.82

		989.09		989.09		989.09		989.09		989.09		989.09		989.09

		989.36		989.36		989.36		989.36		989.36		989.36		989.36

		989.63		989.63		989.63		989.63		989.63		989.63		989.63

		989.91		989.91		989.91		989.91		989.91		989.91		989.91

		990.18		990.18		990.18		990.18		990.18		990.18		990.18

		990.45		990.45		990.45		990.45		990.45		990.45		990.45

		990.72		990.72		990.72		990.72		990.72		990.72		990.72

		990.99		990.99		990.99		990.99		990.99		990.99		990.99

		991.26		991.26		991.26		991.26		991.26		991.26		991.26

		991.53		991.53		991.53		991.53		991.53		991.53		991.53

		991.8		991.8		991.8		991.8		991.8		991.8		991.8

		992.07		992.07		992.07		992.07		992.07		992.07		992.07

		992.34		992.34		992.34		992.34		992.34		992.34		992.34

		992.61		992.61		992.61		992.61		992.61		992.61		992.61

		992.88		992.88		992.88		992.88		992.88		992.88		992.88

		993.15		993.15		993.15		993.15		993.15		993.15		993.15

		993.42		993.42		993.42		993.42		993.42		993.42		993.42

		993.69		993.69		993.69		993.69		993.69		993.69		993.69

		993.96		993.96		993.96		993.96		993.96		993.96		993.96

		994.23		994.23		994.23		994.23		994.23		994.23		994.23

		994.5		994.5		994.5		994.5		994.5		994.5		994.5

		994.77		994.77		994.77		994.77		994.77		994.77		994.77

		995.04		995.04		995.04		995.04		995.04		995.04		995.04

		995.31		995.31		995.31		995.31		995.31		995.31		995.31

		995.58		995.58		995.58		995.58		995.58		995.58		995.58

		995.85		995.85		995.85		995.85		995.85		995.85		995.85

		996.12		996.12		996.12		996.12		996.12		996.12		996.12

		996.39		996.39		996.39		996.39		996.39		996.39		996.39

		996.65		996.65		996.65		996.65		996.65		996.65		996.65

		996.92		996.92		996.92		996.92		996.92		996.92		996.92

		997.19		997.19		997.19		997.19		997.19		997.19		997.19

		997.46		997.46		997.46		997.46		997.46		997.46		997.46

		997.73		997.73		997.73		997.73		997.73		997.73		997.73

		998		998		998		998		998		998		998

		998.27		998.27		998.27		998.27		998.27		998.27		998.27

		998.54		998.54		998.54		998.54		998.54		998.54		998.54

		998.81		998.81		998.81		998.81		998.81		998.81		998.81

		999.08		999.08		999.08		999.08		999.08		999.08		999.08

		999.34		999.34		999.34		999.34		999.34		999.34		999.34

		999.61		999.61		999.61		999.61		999.61		999.61		999.61

		999.88		999.88		999.88		999.88		999.88		999.88		999.88

		1000.15		1000.15		1000.15		1000.15		1000.15		1000.15		1000.15



white

yellow

red

ultraviolet

green

laser

blue

wavelength(nm)

ratio

Spectrum of LEDs

0.0363133641

-0.0037561233

0

0.0000590916

0.0531835206

0.0579774904

-0.0006606265

0.0359447005

-0.019366172

0.0262260206

-0.0018004476

0.0609862672

0.0575306504

-0.0014025913

0.037235023

-0.0169668233

0.0260548485

-0.0023415052

0.0528714107

0.0573072304

-0.0032396487

0.0357603687

-0.006869564

0.0258836763

0.0000461653

0.0662921348

0.0580054179

-0.0009066255

0.0376036866

-0.012682272

0.0260426219

-0.0010488762

0.0550561798

0.0585360404

-0.0043307735

0.0370506912

-0.0061554721

0.0260181687

-0.000138496

0.0650436954

0.0585918954

-0.0013033982

0.0383410138

-0.0201802368

0.0262504738

-0.000310231

0.0715980025

0.0585360404

-0.0013549786

0.0383410138

-0.0018709208

0.026213794

0.0000461653

0.0706616729

0.0590108079

0.0017715899

0.039078341

0.0176666333

0.0265194586

0.0005207448

0.0722222222

0.0590666629

0.0013232368

0.0377880184

0.0274068467

0.0266417244

0.0013387944

0.0962546816

0.0587315329

0.0045489984

0.0387096774

0.0083834388

0.0272163738

0.0014440513

0.0797128589

0.0604351105

0.0060845086

0.0377880184

0.0313343521

0.0270207485

0.0031854073

0.0809612984

0.060016198

0.0027635215

0.0385253456

0.03908939

0.0269840688

0.0019057046

0.0787765293

0.0597648504

0.0025135547

0.0383410138

0.0413316386

0.0268618029

0.0038317219

0.0912609238

0.060463038

0.0061360891

0.0388940092

0.026592782

0.0272286004

0.0030136723

0.0887640449

0.061300863

0.0073740197

0.0396313364

0.0288350305

0.0270574283

0.0059553267

0.1049937578

0.0609936605

0.008516725

0.0403686636

0.0465873549

0.0277054372

0.0055065998

0.0984394507

0.061300863

0.0100522351

0.040921659

0.0416886845

0.027680984

0.0065093106

0.0928214732

0.061133298

0.0091118839

0.04

0.0423028035

0.0274609055

0.0048602853

0.1009363296

0.0618314855

0.008167565

0.0394470046

0.0591839358

0.0277176637

0.0050320203

0.1006242197

0.0613846455

0.0107981677

0.0403686636

0.0401605279

0.0278766093

0.0051372772

0.0878277154

0.062026978

0.0104490078

0.040921659

0.0502577872

0.0278766093

0.0047550283

0.0981273408

0.0617756305

0.0117900993

0.0388940092

0.0273068738

0.0278888359

0.0060605837

0.0990636704

0.062194543

0.0127304505

0.0401843318

0.0548993845

0.0277787967

0.0066016413

0.0971910112

0.062194543

0.0113933267

0.0411059908

0.0515859981

0.0279132891

0.005968253

0.0903245943

0.061747703

0.0114409394

0.0405529954

0.0495436953

0.0279132891

0.0067863026

0.0990636704

0.061468428

0.011591713

0.0403686636

0.0423028035

0.0278521562

0.0038446481

0.1009363296

0.061580138

0.0109449736

0.0398156682

0.0477584656

0.0276320777

0.0063246493

0.097815231

0.061189153

0.0140715421

0.041843318

0.0351618846

0.0281822739

0.0055989304

0.1009363296

0.061524283

0.0115401326

0.0405529954

0.0234793413

0.0277054372

0.0049396896

0.090948814

0.0616080655

0.011591713

0.0401843318

0.0430168954

0.027827703

0.0069838901

0.109051186

0.0609378055

0.0100522351

0.0405529954

0.0441880061

0.0276565308

0.0053090122

0.1062421973

0.0612729355

0.0120876788

0.0401843318

0.0555135035

0.028121141

0.004675624

0.0962546816

0.0616080655

0.0140199616

0.040921659

0.0395464088

0.0275587182

0.0062323187

0.0990636704

0.0616080655

0.0124844515

0.0392626728

0.0340907468

0.0277910232

0.0043063014

0.0921972534

0.0616080655

0.0135239958

0.0407373272

0.0138391008

0.0278766093

0.0046626977

0.0950062422

0.0612170805

0.0106989745

0.040921659

0.0605121467

0.0276687574

0.0045832933

0.0984394507

0.060965733

0.0085643377

0.0405529954

0.0477584656

0.0279255157

0.0042010444

0.1062421973

0.0614963555

0.0095086566

0.0411059908

0.0301632414

0.0275831713

0.0041216401

0.0943820225

0.061245008

0.0105482009

0.0412903226

0.038475271

0.0275953979

0.0062323187

0.1053058677

0.0615522105

0.0102030087

0.0416589862

0.0444450792

0.0276198511

0.0056912611

0.0918851436

0.061635993

0.0116393257

0.0403686636

0.0291920764

0.0275587182

0.0058629961

0.0956304619

0.061468428

0.0108973609

0.0398156682

0.0358759765

0.0278032498

0.0048602853

0.0925093633

0.0613846455

0.008762724

0.0398156682

0.0291920764

0.0278154764

0.006139988

0.0915730337

0.061356718

0.0116909062

0.0412903226

0.0380182522

0.0277543435

0.0055065998

0.0940699126

0.0612729355

0.012432871

0.0414746544

0.0595409817

0.0277298903

0.0054013429

0.097815231

0.061133298

0.0106989745

0.0403686636

0.0280209657

0.0274364523

0.005968253

0.0953183521

0.0620549055

0.0121352915

0.0388940092

0.0377611791

0.0274242258

0.0066016413

0.0993757803

0.0615522105

0.0098062361

0.0403686636

0.0483725846

0.0277543435

0.0055989304

0.102184769

0.0616080655

0.0103498146

0.0396313364

0.0552564304

0.0275220384

0.0049396896

0.0950062422

0.0612729355

0.0135755763

0.0401843318

0.0187377712

0.027974422

0.004398632

0.0928214732

0.0615522105

0.0108457804

0.0394470046

0.0591839358

0.0276932106

0.0050320203

0.0943820225

0.0613287905

0.0099054292

0.0401843318

0.0423028035

0.0279499688

0.004675624

0.0937578027

0.0615522105

0.0111433599

0.0388940092

0.0399034548

0.0276565308

0.004847359

0.1006242197

0.0621107605

0.0093102703

0.0407373272

0.0540853197

0.0278521562

0.0067992289

0.0878277154

0.0613846455

0.012432871

0.0414746544

0.0548993845

0.0274853587

0.0068786332

0.0950062422

0.062026978

0.0110957472

0.0401843318

0.051943044

0.0275464916

0.0027366804

0.1056179775

0.061691848

0.0127304505

0.0392626728

0.0598980277

0.0274731321

0.0059553267

0.0965667915

0.0609936605

0.0132779968

0.0403686636

0.0348048387

0.0275587182

0.0066145676

0.1031210986

0.0614963555

0.009953042

0.0403686636

0.0509718791

0.0276076245

0.0047550283

0.1

0.061524283

0.0082191455

0.0403686636

0.0412316657

0.0275464916

0.0037523175

0.1

0.0616639205

0.0094570761

0.0394470046

0.0506148331

0.0278643827

0.0066016413

0.1

0.061915268

0.0128812241

0.0407373272

0.0376612062

0.0276687574

0.0051372772

0.1

0.061356718

0.0117385189

0.0401843318

0.0527571088

0.0273141865

0.0067863026

0.093133583

0.0614963555

0.0139723489

0.0398156682

0.0444450792

0.0275709447

0.0056912611

0.0984394507

0.0617756305

0.0120360984

0.0401843318

0.0327625359

0.0275953979

0.0056783348

0.0968789014

0.062026978

0.010996554

0.0411059908

0.0351618846

0.0277543435

0.0050449466

0.1062421973

0.0617197755

0.0106473941

0.0429493088

0.0520430169

0.0277176637

0.006139988

0.0993757803

0.061691848

0.0122860651

0.0420276498

0.0319484711

0.0275709447

0.0067992289

0.0925093633

0.0616639205

0.0107465873

0.0388940092

0.0288350305

0.0277665701

0.0063246493

0.0996878901

0.0611612255

0.0131788036

0.0403686636

0.0408746197

0.0274486789

0.0058759224

0.0897003745

0.061245008

0.0088619172

0.0401843318

0.051328925

0.0278154764

0.0049396896

0.0937578027

0.0619990505

0.0120876788

0.0416589862

0.0426598495

0.0277665701

0.0069838901

0.1056179775

0.061635993

0.0115401326

0.0411059908

0.0499007412

0.0274853587

0.0074326171

0.0984394507

0.061915268

0.0105005882

0.040921659

0.0337337009

0.0274364523

0.0073532127

0.0987515605

0.061635993

0.0111433599

0.0396313364

0.0538282466

0.0277054372

0.0075249477

0.1040574282

0.0614963555

0.0123852583

0.0411059908

0.0383752981

0.0279132891

0.0060605837

0.0990636704

0.0608819505

0.0127304505

0.0414746544

0.0349048116

0.0277665701

0.0074326171

0.0987515605

0.0619431955

0.0122860651

0.040921659

0.045516217

0.0280600081

0.0068915595

0.1012484395

0.061468428

0.0101514283

0.0407373272

0.0606121196

0.0277787967

0.0089099074

0.0981273408

0.061635993

0.0106989745

0.0405529954

0.0194518631

0.0275953979

0.0077225353

0.097815231

0.061859413

0.0126312574

0.0416589862

0.051685971

0.0278399296

0.0090945687

0.0990636704

0.062026978

0.0126828378

0.0396313364

0.0426598495

0.0275220384

0.009107495

0.1015605493

0.061747703

0.0103498146

0.0412903226

0.0406175467

0.0275709447

0.0115874962

0.0968789014

0.0615522105

0.0125836446

0.0387096774

0.0323055171

0.0276687574

0.0103077934

0.1084269663

0.062306253

0.0118377121

0.0405529954

0.0502577872

0.0275098118

0.0113105043

0.0953183521

0.061189153

0.0119884857

0.0405529954

0.0465873549

0.0278888359

0.0100308015

0.1

0.061468428

0.0103498146

0.0411059908

0.0556134763

0.0278154764

0.012695464

0.0987515605

0.060742313

0.0114925198

0.039078341

0.0408746197

0.0277910232

0.0108617773

0.1037453184

0.062082833

0.0098538488

0.040921659

0.0606121196

0.0277421169

0.0133417785

0.0937578027

0.0613287905

0.0117900993

0.040921659

0.0287350576

0.0276932106

0.0131700435

0.1034332085

0.062082833

0.0129288368

0.0412903226

0.0541852926

0.0279377422

0.0168503431

0.0943820225

0.061356718

0.0114925198

0.0392626728

0.0444450792

0.0275953979

0.0152936484

0.097815231

0.0623341805

0.0114409394

0.0414746544

0.0659678087

0.0276565308

0.0178659802

0.0981273408

0.0611612255

0.0142699284

0.0412903226

0.0437309873

0.0276076245

0.0202795033

0.1003121099

0.0618873405

0.0109449736

0.040921659

0.0488296034

0.0278154764

0.0224825126

0.1087390762

0.061691848

0.012186872

0.0405529954

0.0365900684

0.0277421169

0.023234084

0.1078027466

0.0618873405

0.0103498146

0.0401843318

0.0295491224

0.0277176637

0.025252432

0.0918851436

0.0616080655

0.0125836446

0.0416589862

0.0437309873

0.0275464916

0.0284046003

0.0968789014

0.0619431955

0.0132264163

0.0407373272

0.0723946357

0.0275709447

0.0308846015

0.1028089888

0.0618873405

0.0139723489

0.0412903226

0.0530141819

0.0279866486

0.0334827859

0.1003121099

0.061915268

0.0112425531

0.0398156682

0.0327625359

0.0278399296

0.0373477468

0.0918851436

0.0609378055

0.0105997814

0.0412903226

0.0494437224

0.0276932106

0.0388379634

0.0912609238

0.061356718

0.0100522351

0.0412903226

0.0499007412

0.0279010625

0.0444572066

0.0950062422

0.061915268

0.0119884857

0.0405529954

0.0473014468

0.0278032498

0.0461320845

0.0981273408

0.0618873405

0.0117385189

0.0401843318

0.0631114412

0.0277543435

0.0542442552

0.0965667915

0.0621107605

0.0122860651

0.0412903226

0.05230009

0.027680984

0.0561961251

0.1009363296

0.061859413

0.0111433599

0.04

0.0395464088

0.0275464916

0.0651392715

0.0965667915

0.061524283

0.0084175318

0.0401843318

0.0383752981

0.0278032498

0.0713383512

0.0959425718

0.0616080655

0.0085643377

0.0405529954

0.0388323169

0.0279866486

0.0794505219

0.1

0.0613846455

0.0114925198

0.0411059908

0.0315914252

0.0276443042

0.0841723111

0.0975031211

0.0620549055

0.0115401326

0.0420276498

0.0631114412

0.0276565308

0.0919151592

0.0984394507

0.061803558

0.0131788036

0.0407373272

0.0537282738

0.0275709447

0.1024537793

0.1012484395

0.0616080655

0.0111433599

0.0411059908

0.0477584656

0.0273508663

0.1125048935

0.1065543071

0.061859413

0.0130796104

0.0411059908

0.0605121467

0.0276687574

0.1223971991

0.0940699126

0.0618873405

0.0135239958

0.0394470046

0.0388323169

0.027974422

0.1348489101

0.0943820225

0.0619990505

0.0105005882

0.0398156682

0.03908939

0.0278521562

0.1461261754

0.1018726592

0.062194543

0.0107465873

0.039078341

0.0666819006

0.0276687574

0.160793822

0.0990636704

0.062138688

0.012186872

0.0416589862

0.039446436

0.0277543435

0.1719787566

0.0925093633

0.062138688

0.0097546556

0.0405529954

0.051685971

0.0278032498

0.1893239919

0.1028089888

0.0616080655

0.0120876788

0.0392626728

0.0469444008

0.0275098118

0.2056794428

0.0956304619

0.0614405005

0.0115401326

0.0407373272

0.0363329953

0.0275464916

0.2266255734

0.0990636704

0.0614405005

0.0140715421

0.0416589862

0.013739128

0.0279010625

0.2431656855

0.1028089888

0.061747703

0.0127304505

0.040921659

0.0598980277

0.0278154764

0.2672510581

0.0996878901

0.0614405005

0.0133771899

0.0407373272

0.0437309873

0.0277787967

0.2845298154

0.0975031211

0.0622224705

0.0125320642

0.0420276498

0.0620403033

0.0274242258

0.3124007446

0.1015605493

0.0622224705

0.0112941335

0.040921659

0.0473014468

0.027534265

0.3359579859

0.0990636704

0.061468428

0.0111433599

0.0411059908

0.0466873277

0.0277543435

0.3649368828

0.0968789014

0.061747703

0.0125836446

0.0403686636

0.0387323441

0.027680984

0.3900637451

0.1037453184

0.0617197755

0.0144167343

0.0407373272

0.0591839358

0.0280477815

0.426890747

0.0953183521

0.061300863

0.0110957472

0.041843318

0.0376612062

0.0278521562

0.4625433031

0.0953183521

0.0622224705

0.0102506214

0.041843318

0.0552564304

0.027680984

0.4882906273

0.1112359551

0.061468428

0.0130796104

0.04

0.0465873549

0.0277054372

0.5184956752

0.1106117353

0.0619990505

0.0109449736

0.0412903226

0.0491866493

0.0278521562

0.5592005643

0.0971910112

0.061077443

0.0141707352

0.0420276498

0.0423028035

0.0279377422

0.5923601929

0.0968789014

0.0614405005

0.0123336779

0.040921659

0.0459732358

0.0279499688

0.6329727514

0.0996878901

0.0614405005

0.0130796104

0.041843318

0.03908939

0.0277421169

0.6585612669

0.0968789014

0.0614963555

0.0104490078

0.0401843318

0.0631114412

0.0279132891

0.6949266156

0.1112359551

0.061915268

0.0132779968

0.0420276498

0.0269498279

0.0278766093

0.7331644298

0.0956304619

0.061356718

0.01302803

0.040921659

0.0263357089

0.0276443042

0.7662982058

0.0971910112

0.062585528

0.0128812241

0.0412903226

0.0444450792

0.0276932106

0.80453602

0.1046816479

0.0622783255

0.0122344847

0.0422119816

0.0591839358

0.0276687574

0.8428403123

0.0975031211

0.061859413

0.0113933267

0.0412903226

0.0512289521

0.0275709447

0.866028231

0.1056179775

0.0618873405

0.0121352915

0.0407373272

0.0531141547

0.0277543435

0.9017472652

0.1015605493

0.0620549055

0.0110957472

0.0422119816

0.0190948171

0.027680984

0.9251198452

0.0962546816

0.061077443

0.0117385189

0.0423963134

0.064539625

0.0278766093

0.9472662742

0.1037453184

0.0624458905

0.0125836446

0.0403686636

0.0547994116

0.027827703

0.960759475

0.1059300874

0.0615522105

0.0114409394

0.0414746544

0.0459732358

0.0279621954

0.9804129765

0.1040574282

0.0621666155

0.0141707352

0.0414746544

0.0501578143

0.0277910232

0.9807028948

0.0940699126

0.062082833

0.0109449736

0.0407373272

0.0481155115

0.0277787967

0.9925082913

0.1087390762

0.061915268

0.0133771899

0.0403686636

0.0498007684

0.0276076245

1

0.0993757803

0.060909878

0.0106473941

0.0401843318

0.0356189034

0.0277910232

0.9801359846

0.097815231

0.0619990505

0.0120876788

0.0414746544

0.0312343792

0.0279132891

0.9830111609

0.1006242197

0.062026978

0.0115401326

0.0425806452

0.0484725574

0.0277176637

0.970348936

0.1049937578

0.0620549055

0.0137739626

0.0423963134

0.0547994116

0.0277298903

0.9527267087

0.1006242197

0.061915268

0.0128296437

0.0403686636

0.0466873277

0.0279255157

0.9340629917

0.1012484395

0.0618314855

0.0143691216

0.0411059908

0.0708664791

0.0278888359

0.9120088933

0.0956304619

0.061971123

0.009953042

0.0416589862

0.0281209386

0.0279255157

0.8811575309

0.0968789014

0.0617756305

0.0143691216

0.0401843318

0.0601551008

0.0279988752

0.8556871985

0.0965667915

0.061915268

0.0125320642

0.0407373272

0.0484725574

0.0278766093

0.8192959973

0.1059300874

0.0620549055

0.0119884857

0.0425806452

0.0533712278

0.0282311802

0.7905940923

0.1012484395

0.061356718

0.0116393257

0.0411059908

0.0570416601

0.0279988752

0.7506019958

0.0975031211

0.0614405005

0.0124844515

0.041843318

0.0412316657

0.0279132891

0.7125746955

0.0993757803

0.061524283

0.0102506214

0.0416589862

0.044902098

0.0278521562

0.6853242283

0.0987515605

0.061971123

0.011591713

0.0425806452

0.0415887116

0.0281455942

0.6357555971

0.0934456929

0.0617197755

0.0134248027

0.041843318

0.0752510033

0.0279010625

0.6075818234

0.1003121099

0.061747703

0.0119884857

0.0416589862

0.0151673117

0.0279010625

0.5705701602

0.0987515605

0.0625576005

0.0108457804

0.0420276498

0.0388323169

0.0279499688

0.5423963865

0.0984394507

0.061691848

0.0160554053

0.0420276498

0.0448021251

0.0277910232

0.5112015541

0.1046816479

0.0619431955

0.014218348

0.0416589862

0.0556134763

0.0276076245

0.4871826596

0.1099875156

0.0614963555

0.0153610532

0.0425806452

0.0398034819

0.0277298903

0.4562648191

0.0928214732

0.062362108

0.0114409394

0.0440552995

0.0488296034

0.0278643827

0.4311379568

0.0950062422

0.061859413

0.0140715421

0.0403686636

0.0337337009

0.0280111017

0.4052983019

0.1109238452

0.062473818

0.0132264163

0.0431336406

0.0638255331

0.0280844612

0.3846956413

0.1003121099

0.0621666155

0.0123852583

0.0425806452

0.032662563

0.0276932106

0.3737212205

0.1012484395

0.0619431955

0.0137223821

0.0423963134

0.0545423385

0.0275464916

0.3526569067

0.1015605493

0.0617197755

0.017047337

0.0429493088

0.0273068738

0.0276198511

0.3375276069

0.1049937578

0.061971123

0.0112425531

0.0433179724

0.0627543952

0.0278888359

0.3192332124

0.0987515605

0.061915268

0.0123852583

0.0429493088

0.0401605279

0.0277665701

0.3059505255

0.1015605493

0.061245008

0.0141191548

0.0433179724

0.0566846142

0.0279010625

0.2896874054

0.090948814

0.062082833

0.0151626669

0.0440552995

0.051943044

0.0278521562

0.2800979444

0.1034332085

0.0617756305

0.0145159274

0.0431336406

0.0459732358

0.0280355549

0.2652197839

0.1018726592

0.061803558

0.0175433028

0.0449769585

0.0515859981

0.0282311802

0.25950821

0.1065543071

0.0622224705

0.0138215753

0.0451612903

0.0463302818

0.0278888359

0.2470306464

0.0981273408

0.062026978

0.0168489506

0.0436866359

0.045873263

0.0277421169

0.2373488547

0.0971910112

0.0627810205

0.0151110864

0.0451612903

0.0477584656

0.0279255157

0.2246866298

0.1006242197

0.061747703

0.0129804173

0.0453456221

0.032662563

0.0277054372

0.2181440801

0.0993757803

0.062138688

0.0125320642

0.0451612903

0.0623973493

0.0277421169

0.2098213956

0.0984394507

0.061635993

0.016452178

0.0466359447

0.0376612062

0.0278399296

0.2003242652

0.0937578027

0.061747703

0.0157062454

0.0464516129

0.0566846142

0.0278643827

0.1896009839

0.0990636704

0.0621666155

0.0151626669

0.0484792627

0.0362330225

0.0276198511

0.1765952889

0.1124843945

0.0616639205

0.0146151206

0.0475576037

0.0570416601

0.0283534461

0.1718734996

0.1018726592

0.0618314855

0.0178408823

0.0462672811

0.0415887116

0.0277787967

0.1648692967

0.1003121099

0.061803558

0.0167973702

0.0499539171

0.0738228195

0.0277298903

0.1539613541

0.1015605493

0.0614405005

0.0171465301

0.0471889401

0.0412316657

0.0279866486

0.1475111351

0.1078027466

0.062250398

0.0170949497

0.0488479263

0.0556134763

0.0280477815

0.1427893458

0.1012484395

0.0622783255

0.0160554053

0.0495852535

0.0333766549

0.027680984

0.1313532718

0.0996878901

0.0618314855

0.0170949497

0.0503225806

0.038475271

0.0278643827

0.1282934342

0.102184769

0.061971123

0.0204199045

0.0495852535

0.0483725846

0.0279132891

0.1201812635

0.0968789014

0.0616080655

0.0196739719

0.0505069124

0.0395464088

0.0278888359

0.1137975226

0.1040574282

0.061747703

0.0208166771

0.0512442396

0.0298061955

0.0277054372

0.1093785778

0.1065543071

0.062362108

0.0165989839

0.0529032258

0.0538282466

0.0280111017

0.1033641595

0.0950062422

0.0616080655

0.0185352344

0.0510599078

0.0537282738

0.0278888359

0.1011611502

0.102184769

0.0621107605

0.0193763924

0.0519815668

0.0491866493

0.0277910232

0.0942234254

0.0984394507

0.0617756305

0.0227013472

0.0541935484

0.0569416873

0.0281333676

0.0893428274

0.1015605493

0.0617756305

0.0213602557

0.054562212

0.0559705223

0.027827703

0.0854520139

0.0906367041

0.0609936605

0.0202215182

0.0532718894

0.0462303089

0.0279377422

0.0797404401

0.0975031211

0.062194543

0.0237408916

0.0552995392

0.0509718791

0.0276198511

0.0778809009

0.1062421973

0.060854023

0.0219078019

0.05640553

0.045873263

0.0281089144

0.073738948

0.0981273408

0.0618873405

0.0248320164

0.0576958525

0.0427598223

0.0278032498

0.072341062

0.1040574282

0.0621107605

0.0231973131

0.0586175115

0.0448021251

0.0281455942

0.067460464

0.1

0.061635993

0.0234433121

0.0591705069

0.0416886845

0.0277665701

0.0665242313

0.1037453184

0.0610495155

0.0254787558

0.0610138249

0.0487296305

0.0278399296

0.0606279961

0.1062421973

0.062641383

0.0232449258

0.0604608295

0.0563275682

0.0277910232

0.0620923602

0.1

0.0619431955

0.0269666532

0.0602764977

0.0126679901

0.0280233283

0.0570271009

0.0975031211

0.0616080655

0.0281053908

0.0626728111

0.0409745926

0.0282189536

0.0585837956

0.0943820225

0.061524283

0.0313311524

0.0643317972

0.0205230009

0.0280966878

0.0540725202

0.1015605493

0.0618873405

0.0289981292

0.06359447

0.0552564304

0.0279866486

0.0540595939

0.1043695381

0.061580138

0.0314303456

0.065437788

0.058369871

0.0279621954

0.0519489153

0.1074906367

0.0618873405

0.0324698899

0.0685714286

0.0459732358

0.0276198511

0.050366368

0.0906367041

0.0617756305

0.0347037199

0.0685714286

0.0362330225

0.0276565308

0.0493636572

0.1106117353

0.0618314855

0.0373303549

0.0702304147

0.0566846142

0.0278521562

0.0480581018

0.1018726592

0.061691848

0.0399609576

0.0718894009

0.0462303089

0.0280600081

0.0461320845

0.0996878901

0.061971123

0.039215025

0.0698617512

0.0406175467

0.0279988752

0.0433492388

0.0996878901

0.0623341805

0.0438294909

0.0717050691

0.0398034819

0.027827703

0.0426235199

0.1049937578

0.062585528

0.0426867857

0.0742857143

0.0502577872

0.0278766093

0.0427029243

0.1071785268

0.0618873405

0.0495826944

0.0724423963

0.0448021251

0.0279132891

0.0381916489

0.1034332085

0.062306253

0.0472496712

0.0755760369

0.0474014196

0.0280966878

0.0379017306

0.106866417

0.061971123

0.0514673645

0.0785253456

0.0533712278

0.027827703

0.0379146569

0.0996878901

0.062362108

0.0493327276

0.0814746544

0.058112798

0.0277054372

0.0370707548

0.0940699126

0.0619431955

0.0569229884

0.0851612903

0.0440880332

0.0280722347

0.0362527053

0.0990636704

0.0617197755

0.0573673738

0.0835023041

0.0534712007

0.0278032498

0.0353164725

0.1084269663

0.061803558

0.0659495662

0.0846082949

0.0451591711

0.0280233283

0.0332981246

0.1024968789

0.0614963555

0.0660963721

0.0871889401

0.0541852926

0.0280600081

0.0334698596

0.1018726592

0.0617756305

0.0697189064

0.0890322581

0.026592782

0.0278643827

0.0301588826

0.0975031211

0.062026978

0.0744285978

0.0884792627

0.0363329953

0.0282311802

0.0308846015

0.1065543071

0.0617197755

0.0786462911

0.0947465438

0.026235736

0.0278766093

0.0306205358

0.0996878901

0.0625017455

0.0794874491

0.0934562212

0.064539625

0.0276565308

0.0294073111

0.1015605493

0.0616639205

0.0865817441

0.0976958525

0.0469444008

0.0280844612

0.0274812938

0.1034332085

0.0618873405

0.0862325842

0.0982488479

0.0602550736

0.0277543435

0.0267297223

0.1003121099

0.061468428

0.0967986399

0.1037788018

0.0408746197

0.0281945005

0.026650318

0.1053058677

0.0617197755

0.0968462526

0.0999078341

0.0570416601

0.0278766093

0.0256217546

0.0934456929

0.0615522105

0.1026510365

0.1032258065

0.0426598495

0.0281700473

0.0227724308

0.1003121099

0.0623341805

0.106864762

0.1076497696

0.0566846142

0.0283045397

0.0239598029

0.0984394507

0.062306253

0.1181251699

0.109124424

0.0287350576

0.0288791891

0.0251730276

0.0965667915

0.0621107605

0.1210493843

0.1118894009

0.0663248547

0.0289770018

0.023682811

0.1081148564

0.0622224705

0.1284412588

0.1161290323

0.0572987332

0.0296983702

0.0204641646

0.1009363296

0.0622783255

0.134242075

0.1185253456

0.0777503249

0.0309577082

0.0234981497

0.0996878901

0.062529673

0.1464944144

0.1212903226

0.0530141819

0.0310066146

0.0210181485

0.102184769

0.0623341805

0.1494186289

0.1251612903

0.0366900413

0.0306031373

0.0210975529

0.102184769

0.061971123

0.1610758094

0.1253456221

0.039446436

0.0299184487

0.0213874711

0.1012484395

0.061580138

0.1640000238

0.1292165899

0.0441880061

0.029087041

0.0208205609

0.1034332085

0.0622224705

0.1767483291

0.130875576

0.0358759765

0.0285979777

0.0188945436

0.1040574282

0.062138688

0.1826483384

0.130875576

0.0541852926

0.0278399296

0.0186046254

0.1034332085

0.061915268

0.1872628043

0.1375115207

0.0444450792

0.0282067271

0.0191715356

0.1046816479

0.0622224705

0.1941547453

0.1389861751

0.0441880061

0.0279255157

0.0191586093

0.0984394507

0.062250398

0.2008522677

0.144516129

0.0533712278

0.0279132891

0.0193561969

0.1034332085

0.061803558

0.2131998326

0.1450691244

0.0416886845

0.0280722347

0.0181429722

0.1

0.061691848

0.227237649

0.1489400922

0.0351618846

0.0278521562

0.0169556

0.0996878901

0.0620549055

0.2374029643

0.157235023

0.0520430169

0.0282189536

0.018973948

0.1040574282

0.062529673

0.2533254508

0.1568663594

0.0362330225

0.027827703

0.0165862774

0.0934456929

0.0615522105

0.2615069029

0.1616589862

0.0584698439

0.0277421169

0.0165733512

0.1081148564

0.0619990505

0.2777269688

0.1664516129

0.0473014468

0.0277176637

0.0141856806

0.0990636704

0.0623341805

0.2870987389

0.1690322581

0.0299061683

0.0279377422

0.0169426737

0.1006242197

0.061803558

0.2998470441

0.174562212

0.0244505063

0.0281333676

0.015385979

0.0962546816

0.0616639205

0.3160631424

0.1804608295

0.0445450521

0.0278888359

0.0148190689

0.0984394507

0.062306253

0.3221655058

0.1797235023

0.0301632414

0.0280600081

0.0147396645

0.0996878901

0.0616639205

0.3307437305

0.1861751152

0.0470443737

0.0282189536

0.0150037302

0.1040574282

0.061803558

0.3425001042

0.1933640553

0.0380182522

0.0282800866

0.0141856806

0.0921972534

0.0617756305

0.3553436349

0.1974193548

0.0520430169

0.0276687574

0.0154653834

0.1053058677

0.061803558

0.363727441

0.2038709677

0.03908939

0.0279621954

0.0134470354

0.106866417

0.062194543

0.3699250298

0.2070046083

0.0381182251

0.0280722347

0.0146344076

0.1018726592

0.061635993

0.3908071744

0.2121658986

0.0387323441

0.0280111017

0.0136316967

0.1065543071

0.061300863

0.4044442505

0.21640553

0.0352618575

0.0279255157

0.0150037302

0.1202871411

0.0619431955

0.4224497934

0.2274654378

0.0462303089

0.0286102043

0.0154783097

0.1062421973

0.0617197755

0.4319207566

0.2329953917

0.0534712007

0.0279132891

0.0143574156

0.1096754057

0.061524283

0.4585561046

0.2411059908

0.0501578143

0.0278643827

0.0134470354

0.0965667915

0.0621666155

0.4652496593

0.2529032258

0.0538282466

0.0279377422

0.0144497463

0.0984394507

0.0619431955

0.4944640296

0.2575115207

0.0337337009

0.0279377422

0.0123390677

0.1024968789

0.0619990505

0.4982809825

0.2643317972

0.0656107628

0.028121141

0.0134341092

0.0984394507

0.061691848

0.5131123442

0.2757603687

0.0301632414

0.0281333676

0.0120620757

0.1062421973

0.061971123

0.5324034305

0.2807373272

0.0466873277

0.0282800866

0.0128801253

0.1006242197

0.0620549055

0.5460444742

0.2962211982

0.0426598495

0.0280600081

0.0114157612

0.1093632959

0.062026978

0.5705927982

0.3024884793

0.0638255331

0.0280477815

0.0121414801

0.1015605493

0.062138688

0.5766951616

0.3100460829

0.0701523872

0.0280844612

0.0105847854

0.1056179775

0.062250398

0.5830911367

0.3255299539

0.0831060141

0.0283656726

0.0123261414

0.1043695381

0.0618314855

0.6060563377

0.3352995392

0.0315914252

0.028121141

0.0123390677

0.0990636704

0.061580138

0.6098732907

0.3520737327

0.0534712007

0.0279866486

0.0120491495

0.1056179775

0.0619990505

0.6267877088

0.36

0.0480155386

0.0281822739

0.0114157612

0.1065543071

0.0613287905

0.6532207028

0.3734562212

0.0606121196

0.0280844612

0.0114951656

0.1018726592

0.0613287905

0.6653738491

0.3876497696

0.0401605279

0.0280722347

0.0105847854

0.0946941323

0.061971123

0.6755391644

0.4022119816

0.0623973493

0.0279377422

0.0120491495

0.0996878901

0.061971123

0.7109035108

0.4140092166

0.0437309873

0.0279621954

0.0091998257

0.1

0.062138688

0.7287066997

0.4276497696

0.0352618575

0.0280600081

0.0102948672

0.1015605493

0.062026978

0.7462162768

0.4436866359

0.0337337009

0.0279132891

0.0104001241

0.0990636704

0.062026978

0.7607460913

0.4667281106

0.0548993845

0.0277176637

0.0114028349

0.1040574282

0.061580138

0.7737919761

0.4823963134

0.05230009

0.0277543435

0.0095691483

0.1043695381

0.062138688

0.7939758008

0.5024884793

0.077036233

0.0279132891

0.0110335123

0.1071785268

0.0618873405

0.8115845711

0.5155760369

0.0130250361

0.0281700473

0.0107694467

0.1053058677

0.0621107605

0.8108386385

0.5373271889

0.0559705223

0.0281945005

0.0113105043

0.0990636704

0.062641383

0.8282490225

0.5576036866

0.0276639198

0.0281700473

0.0083688499

0.0996878901

0.062306253

0.8323635548

0.5791705069

0.0502577872

0.0280355549

0.0110335123

0.1124843945

0.0618314855

0.8436239627

0.5961290323

0.0512289521

0.0281945005

0.0083688499

0.1087390762

0.061747703

0.8567650729

0.6217511521

0.0474014196

0.0278399296

0.0112181736

0.1

0.0617756305

0.8719932073

0.6482949309

0.0433739414

0.0281455942

0.0079071966

0.1043695381

0.061580138

0.8943592816

0.6648847926

0.0509718791

0.0282189536

0.0105718591

0.1012484395

0.0628368755

0.9022471219

0.6820276498

0.064796698

0.0279988752

0.0080918579

0.1024968789

0.061915268

0.9107261535

0.7139170507

0.0520430169

0.0281822739

0.0089099074

0.0956304619

0.0619990505

0.9326994229

0.7185253456

0.0448021251

0.0281945005

0.0102154628

0.0921972534

0.061915268

0.9275889911

0.7448847926

0.0491866493

0.0276565308

0.0087252462

0.0981273408

0.0620549055

0.946784852

0.7622119816

0.0569416873

0.0279499688

0.0070762208

0.1009363296

0.061580138

0.9636953024

0.7983410138

0.0509718791

0.0280600081

0.0089099074

0.1053058677

0.062417963

0.985767765

0.8267281106

0.0362330225

0.0278399296

0.009384487

0.0953183521

0.0616080655

0.9985121026

0.825437788

0.0777503249

0.0282189536

0.0090022381

0.1015605493

0.0618314855

0.9739637786

0.8674654378

0.0601551008

0.0280111017

0.0090151644

0.1006242197

0.0619431955

1

0.8770506912

0.0524000628

0.0280111017

0.0100178752

0.1015605493

0.0616639205

0.9982661035

0.8903225806

0.0319484711

0.0278643827

0.0088305031

0.0940699126

0.061803558

0.9708372101

0.8984331797

0.044902098

0.0283778992

0.0090022381

0.1246566792

0.062306253

0.9609694743

0.8989861751

0.0683671575

0.0288302828

0.0105847854

0.1049937578

0.062585528

0.9378058869

0.9133640553

0.0413316386

0.0282067271

0.0088175768

0.1046816479

0.0617756305

0.9386510127

0.9380645161

0.0480155386

0.0278766093

0.0079995273

0.1003121099

0.0619431955

0.9429639314

0.9489400922

0.0363329953

0.0277910232

0.0075249477

0.1102996255

0.0618314855

0.9371631152

0.9496774194

0.0572987332

0.028121141

0.0103077934

0.1046816479

0.0612729355

0.9187607997

0.9810138249

0.0656107628

0.0280477815

0.0078942703

0.1149812734

0.061971123

0.9390477853

0.9944700461

0.0490866765

0.0281578207

0.0094768176

0.1009363296

0.061747703

0.9487171348

0.9955760369

0.0656107628

0.0279010625

0.0087252462

0.0968789014

0.062026978

0.9406348759

1

0.0340907468

0.0280233283

0.0076302047

0.0996878901

0.0611612255

0.9423687724

0.9913364055

0.057755752

0.0280966878

0.0070632945

0.1087390762

0.062250398

0.9261526741

0.9808294931

0.0465873549

0.0282189536

0.0083688499

0.097815231

0.0614963555

0.9130075962

0.9880184332

0.0570416601

0.0282311802

0.007709609

0.0950062422

0.0617197755

0.9065124279

0.9788018433

0.0601551008

0.0281333676

0.0083688499

0.1009363296

0.061747703

0.8938633158

0.9776958525

0.0759650952

0.0280477815

0.0080789316

0.1037453184

0.061635993

0.8771512517

0.9815668203

0.0333766549

0.0285246182

0.007814866

0.1009363296

0.061859413

0.8814641704

0.9423041475

0.0552564304

0.0281333676

0.0082635929

0.1056179775

0.0613846455

0.8309272378

0.961843318

0.0337337009

0.0284268056

0.0073532127

0.1109238452

0.0622783255

0.8423820643

0.9465437788

0.0281209386

0.0278766093

0.0083559236

0.0950062422

0.0622224705

0.8162466498

0.9310599078

0.05230009

0.0279010625

0.007814866

0.1028089888

0.0618873405

0.7880242111

0.9268202765

0.0466873277

0.0280966878

0.007709609

0.1043695381

0.061747703

0.779842759

0.9177880184

0.0433739414

0.0280111017

0.0072608821

0.1018726592

0.0619431955

0.7703678281

0.9161290323

0.0570416601

0.028414579

0.007709609

0.0984394507

0.0618873405

0.7662532957

0.8877419355

0.0340907468

0.0280966878

0.0060605837

0.1018726592

0.062138688

0.7402131066

0.8766820276

0.0552564304

0.0282434068

0.0081712623

0.1074906367

0.0619431955

0.7304445639

0.8611981567

0.0312343792

0.0282311802

0.0076302047

0.1078027466

0.0622224705

0.7169027133

0.8357603687

0.0588268898

0.0279866486

0.0083559236

0.0981273408

0.061691848

0.7050511142

0.8224884793

0.0615832845

0.0279255157

0.0070762208

0.0912609238

0.061524283

0.6920052295

0.8134562212

0.0584698439

0.0280233283

0.0085405849

0.1053058677

0.0619431955

0.6886842424

0.8047926267

0.0298061955

0.0281700473

0.0067068982

0.0946941323

0.061691848

0.6912116842

0.7837788018

0.0659678087

0.0282556334

0.0078942703

0.1009363296

0.0617197755

0.672019791

0.762764977

0.0544423656

0.0281089144

0.0071685514

0.1037453184

0.0612170805

0.6551053729

0.7570506912

0.0620403033

0.0280600081

0.0072479558

0.1065543071

0.0613287905

0.6533714764

0.7448847926

0.0473014468

0.0281089144

0.007814866

0.1056179775

0.0614963555

0.6368538309

0.7378801843

0.0456161899

0.0279866486

0.0078019397

0.1028089888

0.061524283

0.6226215959

0.7203686636

0.0476584927

0.0277787967

0.0080918579

0.1062421973

0.061971123

0.6127498924

0.7076497696

0.0638255331

0.0281455942

0.0073402864

0.1043695381

0.0621107605

0.592169295

0.705437788

0.0298061955

0.0280355549

0.0080918579

0.1024968789

0.061859413

0.5922169077

0.7002764977

0.0531141547

0.0281455942

0.0069709639

0.1046816479

0.0619990505

0.5790757975

0.6836866359

0.0487296305

0.0279132891

0.0068915595

0.1003121099

0.062697238

0.5566065622

0.6875576037

0.0238363873

0.0282556334

0.0070632945

0.0990636704

0.0619990505

0.5537815409

0.6704147465

0.0501578143

0.0283289929

0.0077225353

0.1006242197

0.0619990505

0.5451993485

0.650875576

0.0638255331

0.0281089144

0.0089099074

0.1059300874

0.0622224705

0.5254122964

0.6442396313

0.0508719062

0.0280600081

0.0073532127

0.1018726592

0.0613287905

0.5160365586

0.6471889401

0.0616832574

0.0280477815

0.0076172784

0.1143570537

0.061859413

0.5160881391

0.65640553

0.0665819278

0.0283901258

0.0077225353

0.1062421973

0.061189153

0.524170398

0.6285714286

0.0491866493

0.0281333676

0.0082635929

0.1062421973

0.061971123

0.4987293356

0.6370506912

0.0294491495

0.0283778992

0.0084611805

0.1046816479

0.061915268

0.5127631843

0.6311520737

0.0566846142

0.0280477815

0.007986601

0.0996878901

0.0614405005

0.5048793117

0.624516129

0.0237364144

0.0278154764

0.0089228337

0.0959425718

0.0621107605

0.4928253585

0.6276497696

0.0424027764

0.0283901258

0.0066016413

0.0996878901

0.0621107605

0.4962495065

0.6130875576

0.0580128251

0.0279621954

0.0076302047

0.1053058677

0.062194543

0.488857632

0.6248847926

0.0477584656

0.0283534461

0.009556222

0.1043695381

0.062138688

0.4948608022

0.6252534562

0.0362330225

0.0279377422

0.0065222369

0.1

0.061691848

0.4847907123

0.6103225806

0.0499007412

0.0280600081

0.0070632945

0.102184769

0.061803558

0.4632181833

0.6064516129

0.0526571359

0.0278521562

0.0072608821

0.1009363296

0.062306253

0.4603891943

0.6020276498

0.0552564304

0.0280111017

0.0076172784

0.1109238452

0.061635993

0.4551835371

0.6001843318

0.0462303089

0.0283289929

0.0055065998

0.102184769

0.0620549055

0.4411457207

0.5959447005

0.0488296034

0.0279132891

0.0072479558

0.1015605493

0.062306253

0.4339562003

0.5810138249

0.0433739414

0.0280844612

0.0070762208

0.0993757803

0.0618873405

0.4153554984

0.5758525346

0.0731087276

0.0280722347

0.0080789316

0.1046816479

0.0619431955

0.4123320908

0.5841474654

0.0415887116

0.028121141

0.0064299063

0.1024968789

0.0614963555

0.4147603394

0.5725345622

0.0670389466

0.0282189536

0.0078942703

0.1093632959

0.0618873405

0.4034047061

0.5695852535

0.0451591711

0.0283289929

0.0097538096

0.102184769

0.0616080655

0.3963104111

0.5635023041

0.0402605007

0.0283167663

0.0072479558

0.1115480649

0.0622783255

0.3894184702

0.5596313364

0.0469444008

0.0285857511

0.0063375756

0.0975031211

0.062082833

0.3921442983

0.5561290323

0.0481155115

0.0286468841

0.0083559236

0.102184769

0.0621666155

0.3869386411

0.5522580645

0.0490866765

0.0290381347

0.007814866

0.1006242197

0.0624458905

0.3815306299

0.5430414747

0.077036233

0.0288180562

0.0072479558

0.1015605493

0.0616080655

0.3726548256

0.5343778802

0.0601551008

0.0288425094

0.0054142691

0.0975031211

0.0613846455

0.370024223

0.5338248848

0.0663248547

0.0289770018

0.0084482542

0.1015605493

0.061915268

0.3658104974

0.5312442396

0.058369871

0.0294171588

0.007537874

0.1012484395

0.062753093

0.3641718264

0.5231336406

0.0395464088

0.0292826664

0.0072479558

0.0987515605

0.061971123

0.3580734307

0.5152073733

0.0373041603

0.029148174

0.006245245

0.1156054931

0.0623900355

0.35236784

0.5113364055

0.0877476114

0.0300040348

0.0086329155

0.1078027466

0.0621107605

0.351526682

0.5030414747

0.0744369385

0.029673917

0.005968253

0.0928214732

0.061747703

0.3385799904

0.4978801843

0.0634684871

0.029673917

0.0069709639

0.1009363296

0.0627251655

0.3305969246

0.4858986175

0.0672960197

0.029380479

0.0058759224

0.1118601748

0.062753093

0.3174518467

0.4851612903

0.0659678087

0.0294782917

0.0085405849

0.1012484395

0.061803558

0.3058978271

0.4766820276

0.0251645982

0.0295394246

0.0071685514

0.1012484395

0.0614963555

0.3032672244

0.4750230415

0.0609691655

0.0297717297

0.0069709639

0.0993757803

0.062362108

0.2978631809

0.4656221198

0.0612262386

0.0294171588

0.0069838901

0.0946941323

0.062138688

0.2863051936

0.465437788

0.0620403033

0.0294293854

0.0066939719

0.1

0.061691848

0.2877454783

0.455483871

0.0387323441

0.0293315727

0.007814866

0.1024968789

0.0623341805

0.2791632858

0.4510599078

0.0623973493

0.0292093069

0.0083559236

0.0975031211

0.061859413

0.2736600492

0.4506912442

0.0462303089

0.0294293854

0.0091998257

0.1024968789

0.0614405005

0.2683512311

0.4473732719

0.0570416601

0.0292215335

0.0074326171

0.106866417

0.061803558

0.2658237893

0.4392626728

0.058369871

0.0294782917

0.0068915595

0.1

0.062250398

0.2649786636

0.4377880184

0.0684671304

0.0290748145

0.0057706654

0.1049937578

0.062417963

0.2563012457

0.4302304147

0.0362330225

0.0291604005

0.0079995273

0.097815231

0.0618314855

0.2474214737

0.4287557604

0.0791785087

0.0290625879

0.0074326171

0.0956304619

0.0620549055

0.2484649858

0.4241474654

0.0680101115

0.0288914157

0.0067992289

0.1074906367

0.062250398

0.2450408378

0.4210138249

0.0781073709

0.0289892284

0.0082635929

0.1081148564

0.061635993

0.2399343738

0.4141935484

0.0451591711

0.0290748145

0.0092921563

0.1034332085

0.062473818

0.2346255557

0.4132718894

0.0474014196

0.0289892284

0.0070632945

0.1043695381

0.0619431955

0.230312637

0.4160368664

0.0437309873

0.0291604005

0.0071685514

0.0996878901

0.0621666155

0.2255989779

0.4075576037

0.0656107628

0.0289036423

0.0078942703

0.1062421973

0.0625576005

0.2208892865

0.4123502304

0.051943044

0.028940322

0.0070762208

0.0943820225

0.061468428

0.2129022531

0.4031336406

0.0816778303

0.0288302828

0.0072479558

0.1

0.0617197755

0.210176425

0.4029493088

0.0490866765

0.028561298

0.0065222369

0.1009363296

0.0623900355

0.2025861641

0.4055299539

0.051328925

0.0290136815

0.0073402864

0.1018726592

0.062082833

0.2035304831

0.3983410138

0.0547994116

0.0286346575

0.0070762208

0.1012484395

0.062362108

0.1920716889

0.400921659

0.077036233

0.0286224309

0.0063246493

0.102184769

0.061747703

0.1851797479

0.4001843318

0.0305202874

0.0286591106

0.0083688499

0.1065543071

0.061859413

0.1818547931

0.3974193548

0.0716805439

0.0283534461

0.0070632945

0.1053058677

0.0618314855

0.180319283

0.397235023

0.0348048387

0.0287202436

0.0083688499

0.0996878901

0.062306253

0.1724314426

0.3911520737

0.0620403033

0.0285490714

0.0081712623

0.109051186

0.0619431955

0.1667298196

0.3931797235

0.0622973764

0.0289770018

0.0082765192

0.1031210986

0.062362108

0.1684637161

0.3913364055

0.0484725574

0.0286468841

0.0076172784

0.1059300874

0.0619431955

0.165737888

0.3929953917

0.0423028035

0.0284879385

0.0077225353

0.1081148564

0.0613846455

0.1610242289

0.3889400922

0.0656107628

0.0283656726

0.0069709639

0.1071785268

0.062529673

0.1612741957

0.3876497696

0.0594410089

0.0284512587

0.0057835917

0.0968789014

0.061915268

0.1538823212

0.387281106

0.0534712007

0.0284757119

0.0082635929

0.1012484395

0.0619990505

0.1534379358

0.3839631336

0.0433739414

0.0285979777

0.0064299063

0.1040574282

0.061524283

0.1497162084

0.3848847926

0.0570416601

0.0282923131

0.0069709639

0.1009363296

0.061189153

0.1465936076

0.3782488479

0.0494437224

0.0284268056

0.005968253

0.0993757803

0.0621107605

0.1394993126

0.3771428571

0.0598980277

0.028414579

0.0076172784

0.0996878901

0.0619990505

0.1390549272

0.384516129

0.0580128251

0.0284023524

0.0080918579

0.0962546816

0.0627251655

0.1369202904

0.3806451613

0.0445450521

0.0282189536

0.0093715607

0.1015605493

0.062306253

0.1348888144

0.3841474654

0.0423028035

0.028414579

0.0044909627

0.1015605493

0.0614405005

0.128786451

0.3767741935

0.0488296034

0.0281822739

0.0082635929

0.1015605493

0.061747703

0.1249694981

0.3789861751

0.0415887116

0.0287324701

0.0054142691

0.1028089888

0.0621107605

0.1240251792

0.3804608295

0.0609691655

0.0281822739

0.0072479558

0.0968789014

0.062194543

0.1199106468

0.3776958525

0.0462303089

0.0282800866

0.0055989304

0.0975031211

0.0620549055

0.1181727826

0.3799078341

0.0363329953

0.0278154764

0.0057706654

0.0940699126

0.0616639205

0.1167364656

0.3756682028

0.0223082306

0.0281578207

0.0058759224

0.1024968789

0.0619431955

0.1100389432

0.3767741935

0.0548993845

0.0281089144

0.0070632945

0.1096754057

0.0625017455

0.1095945579

0.3834101382

0.0740798926

0.0279132891

0.0070762208

0.097815231

0.0621666155

0.103194615

0.3806451613

0.0606121196

0.0282311802

0.007986601

0.1074906367

0.062082833

0.102948616

0.375483871

0.0383752981

0.02826786

0.0047679546

0.0968789014

0.0622783255

0.1006155928

0.3732718894

0.0627543952

0.0283289929

0.0073402864

0.1053058677

0.0614405005

0.0984849236

0.3804608295

0.0605121467

0.027974422

0.0065222369

0.1040574282

0.062138688

0.0947631962

0.3830414747

0.0349048116

0.0282311802

0.0059553267

0.1115480649

0.0618873405

0.0961042877

0.3874654378

0.033019609

0.028121141

0.0058759224

0.0993757803

0.061971123

0.0904978902

0.387281106

0.0531141547

0.0280600081

0.0083559236

0.1043695381

0.062250398

0.0904502774

0.3900460829

0.039446436

0.0280111017

0.0063375756

0.1040574282

0.0617197755

0.0876212884

0.3841474654

0.0570416601

0.0278766093

0.0070632945

0.1018726592

0.061803558

0.0851930398

0.3939170507

0.0415887116

0.0280966878

0.0067992289

0.1012484395

0.0618314855

0.0852406525

0.3904147465

0.0548993845

0.0283412195

0.0073402864

0.1099875156

0.0621107605

0.084101915

0.3929953917

0.0551564575

0.0284390321

0.0063375756

0.1015605493

0.0619990505

0.0831575961

0.3950230415

0.0481155115

0.0281455942

0.0066016413

0.1024968789

0.0618873405

0.0801341885

0.3964976959

0.0469444008

0.028121141

0.0057835917

0.0965667915

0.0621107605

0.0779003585

0.3970506912

0.0584698439

0.0280966878

0.0065093106

0.1034332085

0.061859413

0.0770592005

0.4060829493

0.0537282738

0.0282800866

0.0058759224

0.0946941323

0.062306253

0.0720479619

0.4016589862

0.0524000628

0.0282556334

0.0070632945

0.1028089888

0.0615522105

0.0710084175

0.4073732719

0.0444450792

0.0280966878

0.0047679546

0.1037453184

0.0618873405

0.0671874969

0.4051612903

0.0559705223

0.0281333676

0.0068786332

0.0893882647

0.0619990505

0.0702148722

0.412718894

0.0569416873

0.0280477815

0.0074455434

0.0990636704

0.062082833

0.0666915311

0.415483871

0.0691812222

0.027974422

0.0090022381

0.1034332085

0.0619431955

0.0654536004

0.4208294931

0.0398034819

0.027974422

0.0061529143

0.1056179775

0.061524283

0.06540202

0.4182488479

0.0438309602

0.027974422

0.0071556252

0.1102996255

0.061580138

0.0625769987

0.4237788018

0.0294491495

0.0278766093

0.0058759224

0.1074906367

0.062641383

0.0618310661

0.4283870968

0.0506148331

0.027827703

0.0066939719

0.1065543071

0.061915268

0.0583116927

0.4298617512

0.0501578143

0.0281945005

0.0051372772

0.0987515605

0.061859413

0.0569706011

0.4335483871

0.0495436953

0.0280233283

0.00641698

0.0956304619

0.0620549055

0.0582124995

0.4333640553

0.0462303089

0.0280966878

0.0061529143

0.1003121099

0.061803558

0.0554827037

0.4411059908

0.0538282466

0.0281822739

0.0076172784

0.1043695381

0.062026978

0.0574189542

0.4431336406

0.0333766549

0.0279621954

0.0069838901

0.1049937578

0.061971123

0.0543915789

0.4458986175

0.0263357089

0.0283656726

0.0060476574

0.1018726592

0.0613846455

0.0534512277

0.4488479263

0.0401605279

0.0278521562

0.0048602853

0.1043695381

0.0613846455

0.0543915789

0.4521658986

0.0666819006

0.0279010625

0.0060476574

0.1034332085

0.062194543

0.0509713986

0.455483871

0.0373041603

0.0281945005

0.0061529143

0.1087390762

0.061803558

0.0535980336

0.4628571429

0.0684671304

0.0283412195

0.0076172784

0.1065543071

0.0623341805

0.0503762397

0.4617511521

0.045516217

0.0281333676

0.006245245

0.1143570537

0.061971123

0.0469520917

0.4687557604

0.0670389466

0.0285246182

0.0072479558

0.1065543071

0.0618314855

0.0518641371

0.4715207373

0.039446436

0.0282067271

0.0060605837

0.1018726592

0.062585528

0.0467537054

0.4763133641

0.0527571088

0.0280966878

0.0070632945

0.1031210986

0.0623341805

0.0481939901

0.4798156682

0.0530141819

0.0280233283

0.006245245

0.1043695381

0.061803558

0.04407549

0.4764976959

0.070966452

0.0281578207

0.0055860042

0.1018726592

0.0621107605

0.0460117405

0.4825806452

0.0530141819

0.0281455942

0.0063375756

0.0996878901

0.0618314855

0.0426867857

0.4877419355

0.0677530385

0.028121141

0.0069709639

0.1078027466

0.061580138

0.0446230362

0.4925345622

0.0490866765

0.0278766093

0.005968253

0.1056179775

0.0621107605

0.0420916267

0.4912442396

0.0731087276

0.0282434068

0.0074326171

0.1071785268

0.061133298

0.0434327183

0.4951152074

0.0473014468

0.0283167663

0.0069838901

0.1040574282

0.0617756305

0.0396117976

0.5002764977

0.0798926006

0.0282067271

0.0081712623

0.102184769

0.0616639205

0.0391674123

0.5010138249

0.0487296305

0.0281089144

0.0055065998

0.0993757803

0.0625017455

0.0357432643

0.5076497696

0.0441880061

0.0279988752

0.0070632945

0.1134207241

0.061468428

0.0359932311

0.5115207373

0.0494437224

0.0285490714

0.0057835917

0.1053058677

0.062026978

0.0411988882

0.5163133641

0.0420457304

0.0279621954

0.0071556252

0.1043695381

0.061412573

0.0376795148

0.517235023

0.0351618846

0.0277421169

0.0050449466

0.1081148564

0.062138688

0.0372311617

0.520921659

0.0681100844

0.0281700473

0.0062323187

0.0971910112

0.0619990505

0.037778708

0.5288479263

0.039446436

0.0282067271

0.0080918579

0.1009363296

0.061915268

0.0344537532

0.5319815668

0.0573987061

0.028121141

0.007986601

0.1015605493

0.061859413

0.0356956516

0.5316129032

0.0376612062

0.027974422

0.0068915595

0.1006242197

0.061971123

0.0327674694

0.5382488479

0.0395464088

0.0281700473

0.0065093106

0.106866417

0.0612729355

0.0351996858

0.5360368664

0.0515859981

0.0279377422

0.0057835917

0.1009363296

0.0618314855

0.0308827993

0.5448847926

0.0413316386

0.0278888359

0.0076172784

0.1184144819

0.062138688

0.0342077541

0.5469124424

0.0569416873

0.0283656726

0.0060605837

0.1049937578

0.0622783255

0.0338585942

0.5487557604

0.0416886845

0.0277787967

0.0055860042

0.1049937578

0.062473818

0.0349021063

0.5483870968

0.0362330225

0.0279377422

0.0055065998

0.1015605493

0.061971123

0.033759401

0.5500460829

0.0420457304

0.0283412195

0.0075249477

0.1056179775

0.062920658

0.0305376071

0.5535483871

0.0487296305

0.0281089144

0.0069838901

0.1078027466

0.061412573

0.0291965155

0.5568663594

0.0584698439

0.0280722347

0.0072479558

0.1043695381

0.062082833

0.0297440618

0.5585253456

0.0412316657

0.0280966878

0.0055065998

0.0996878901

0.0616080655

0.0284029702

0.5660829493

0.0613262115

0.0280844612

0.0056783348

0.1040574282

0.0619990505

0.0276610054

0.5629493088

0.0540853197

0.0282067271

0.005968253

0.106866417

0.061971123

0.0281053908

0.5703225806

0.0659678087

0.0277421169

0.0083559236

0.1053058677

0.0622783255

0.0291489028

0.5682949309

0.0340907468

0.0277421169

0.0049526159

0.1152933833

0.062250398

0.0268158796

0.5716129032

0.0563275682

0.0282434068

0.0065093106

0.1034332085

0.062194543

0.0289505165

0.5688479263

0.0558705494

0.0281945005

0.0058759224

0.106866417

0.0626134555

0.0271134591

0.5793548387

0.0391893629

0.0282800866

0.0054013429

0.106866417

0.061189153

0.0254787558

0.5738248848

0.0469444008

0.0280966878

0.0056912611

0.1049937578

0.0619431955

0.0238400848

0.5811981567

0.0506148331

0.0281578207

0.0069709639

0.1127965044

0.0616080655

0.0267682669

0.5848847926

0.0565846413

0.0281700473

0.0052296079

0.1046816479

0.062026978

0.0266174933

0.5887557604

0.0659678087

0.0281700473

0.0080789316

0.1018726592

0.061580138

0.0270658464

0.5867281106

0.0501578143

0.028121141

0.006245245

0.1062421973

0.061189153

0.0256255617

0.5939170507

0.0481155115

0.0281455942

0.0071556252

0.1087390762

0.062138688

0.0258755285

0.5907834101

0.0540853197

0.0282067271

0.0050449466

0.1102996255

0.061635993

0.0249312095

0.5941013825

0.0652537168

0.0282434068

0.0069709639

0.1112359551

0.061356718

0.0265698806

0.5939170507

0.0597980548

0.0286102043

0.0055989304

0.1059300874

0.061635993

0.0225505736

0.5988940092

0.058112798

0.0287936031

0.0059553267

0.1121722846

0.061412573

0.0235940857

0.5996313364

0.0376612062

0.0283901258

0.0058759224

0.1053058677

0.0615522105

0.0225505736

0.6020276498

0.0698953141

0.0285001651

0.0063246493

0.106866417

0.062082833

0.0239908584

0.6023963134

0.0630114683

0.0288669625

0.0066145676

0.1149812734

0.0613846455

0.0232449258

0.6081105991

0.0916751168

0.0289036423

0.0088175768

0.1018726592

0.062306253

0.025577949

0.6055299539

0.0615832845

0.0285735246

0.0044909627

0.0987515605

0.0616639205

0.0202691309

0.6079262673

0.0656107628

0.0282923131

0.0057706654

0.1056179775

0.0622783255

0.021312643

0.601843318

0.0533712278

0.0289158689

0.0077225353

0.1106117353

0.0618873405

0.0211618694

0.6053456221

0.0520430169

0.0288302828

0.0065093106

0.1131086142

0.0619431955

0.0232965062

0.611797235

0.0572987332

0.0285735246

0.0060605837

0.1

0.062529673

0.0202691309

0.6106912442

0.0570416601

0.0290381347

0.0050320203

0.1049937578

0.0621107605

0.0228005404

0.6140092166

0.045516217

0.0289892284

0.0060605837

0.1084269663

0.0621666155

0.0222529941

0.6141935484

0.0670389466

0.0294538385

0.0060476574

0.1165418227

0.061971123

0.0206182908

0.6130875576

0.0640826061

0.0296983702

0.0060605837

0.1212234707

0.0615522105

0.0207650967

0.6199078341

0.0766791871

0.0298817689

0.0069709639

0.1081148564

0.062306253

0.0227013472

0.6165898618

0.05230009

0.0297228234

0.0063375756

0.1040574282

0.0621666155

0.0179876881

0.6213824885

0.0534712007

0.0301874335

0.0070632945

0.1096754057

0.062417963

0.0217094156

0.6199078341

0.0744369385

0.0304930981

0.0070762208

0.1046816479

0.0624458905

0.0189796198

0.6243317972

0.08346306

0.031141107

0.0081712623

0.102184769

0.0627251655

0.0209158703

0.628202765

0.0937174196

0.0320947805

0.0056912611

0.109051186

0.062529673

0.0176901087

0.627281106

0.0998871735

0.0326816565

0.0069709639

0.1115480649

0.062138688

0.0183368481

0.6265437788

0.1001442466

0.0339409945

0.0064299063

0.1056179775

0.062585528

0.0174917223

0.6223041475

0.1266656193

0.0359706073

0.0073402864

0.1121722846

0.0630044405

0.019527166

0.6287557604

0.1447749896

0.037474477

0.006245245

0.1118601748

0.0623900355

0.0181860745

0.6256221198

0.1623702138

0.0396997151

0.0071556252

0.1118601748

0.062362108

0.0209158703

0.626359447

0.1265656465

0.0411913583

0.0061529143

0.1074906367

0.0627810205

0.0198723582

0.6237788018

0.1459461003

0.0408123342

0.0074326171

0.109051186

0.061245008

0.0211142566

0.6267281106

0.1258515546

0.0401031924

0.0058759224

0.106866417

0.063199933

0.0189796198

0.6311520737

0.1259515274

0.0402988177

0.0060476574

0.1112359551

0.063646773

0.020717484

0.6324423963

0.1379911167

0.0389172138

0.0055065998

0.1156054931

0.062026978

0.0173925292

0.6320737327

0.1323783544

0.0383792442

0.0073402864

0.1059300874

0.062417963

0.0162537917

0.6329953917

0.1176394979

0.0380735796

0.0045832933

0.1112359551

0.062808948

0.0163014044

0.6344700461

0.1363058598

0.0381591657

0.0066016413

0.1168539326

0.0622783255

0.0177416891

0.6339170507

0.1472743113

0.0382569783

0.0067068982

0.1124843945

0.061803558

0.0151110864

0.6324423963

0.1355917679

0.0391128391

0.0075249477

0.1230961298

0.062082833

0.0185352344

0.6355760369

0.116925406

0.042255071

0.0049526159

0.1059300874

0.062808948

0.0146151206

0.6361290323

0.1330924463

0.0454584357

0.0057706654

0.1184144819

0.062697238

0.0162537917

0.6392626728

0.1062140276

0.0497255132

0.0043063014

0.1140449438

0.063032368

0.0158054386

0.639078341

0.1391622274

0.0506180538

0.0051243509

0.1168539326

0.0630602955

0.0168489506

0.6405529954

0.116925406

0.0481116042

0.0061529143

0.1149812734

0.063032368

0.017293336

0.64

0.0995301275

0.0453239433

0.0063246493

0.1202871411

0.0630044405

0.0173449164

0.6423963134

0.0905040061

0.0421205786

0.0052296079

0.1162297129

0.062082833

0.0131272232

0.6383410138

0.0988160356

0.0384526037

0.0059553267

0.1252808989

0.061580138

0.0178408823

0.6374193548

0.0890758223

0.0366308428

0.0065222369

0.1230961298

0.061580138

0.0147143138

0.639078341

0.0970308059

0.0356893959

0.0074326171

0.1202871411

0.062306253

0.015857019

0.6363133641

0.0837201331

0.0349680275

0.0060605837

0.1143570537

0.062529673

0.0174917223

0.6407373272

0.0906039789

0.034307792

0.0067863026

0.1221598002

0.0620549055

0.0168489506

0.6339170507

0.0815778574

0.0339532211

0.0056912611

0.118102372

0.0621666155

0.0154086659

0.6446082949

0.1066710464

0.0332563059

0.0062323187

0.1252808989

0.062250398

0.0154602464

0.6352073733

0.0947885574

0.0328039223

0.0066145676

0.1299625468

0.062138688

0.016698177

0.639078341

0.1055999086

0.0323393121

0.0059553267

0.1280898876

0.062641383

0.0172457233

0.6352073733

0.0740798926

0.0320458741

0.0055065998

0.1255930087

0.061635993

0.0127304505

0.6392626728

0.0884617033

0.0315079045

0.0059553267

0.1234082397

0.062417963

0.0167497575

0.6346543779

0.0862194547

0.0314467716

0.0045832933

0.1271535581

0.062194543

0.0137223821

0.6403686636

0.0870335195

0.0311288804

0.0063246493

0.1333957553

0.0623900355

0.0153610532

0.6376036866

0.071223525

0.0310310677

0.0065222369

0.1199750312

0.0619431955

0.0149127001

0.6383410138

0.0995301275

0.0304564183

0.0076172784

0.1368289638

0.0618314855

0.0171465301

0.6423963134

0.0983590168

0.0303708323

0.0066145676

0.1262172285

0.061747703

0.0131272232

0.6433179724

0.0931033005

0.03070095

0.0069709639

0.1271535581

0.0625017455

0.0171465301

0.6479262673

0.0822919493

0.0302118867

0.0065222369

0.131835206

0.062641383

0.016698177

0.6412903226

0.0913180708

0.0300040348

0.0055860042

0.134019975

0.061915268

0.0161545985

0.6364976959

0.0819349034

0.0298450892

0.0055065998

0.131835206

0.061915268

0.0147143138

0.6435023041

0.1034576329

0.0296127841

0.0058629961

0.1324594257

0.062585528

0.0148650874

0.6352073733

0.0933603736

0.029527198

0.0057835917

0.1418227216

0.062194543

0.0135239958

0.6350230415

0.1127408275

0.029441612

0.0054013429

0.1330836454

0.0618873405

0.0150634737

0.6370506912

0.0783644439

0.0294171588

0.0074455434

0.1443196005

0.062417963

0.0153094727

0.6411059908

0.1088133221

0.0292826664

0.0073402864

0.1421348315

0.0613287905

0.0161545985

0.6366820276

0.1119267627

0.0294538385

0.0054142691

0.1393258427

0.061580138

0.0133256095

0.6344700461

0.1084562762

0.0294538385

0.0068786332

0.1505617978

0.0617197755

0.0141707352

0.6394470046

0.1030006141

0.029148174

0.0088305031

0.1474406991

0.061133298

0.0138215753

0.6425806452

0.1298790328

0.0294660651

0.006139988

0.1446317104

0.062082833

0.0159562122

0.6342857143

0.1208529114

0.0294660651

0.0044909627

0.1468164794

0.062082833

0.0128296437

0.6333640553

0.1170253788

0.0291604005

0.0067863026

0.1474406991

0.0621666155

0.0147658942

0.6341013825

0.1015724303

0.0293560259

0.005968253

0.1496254682

0.061356718

0.0138215753

0.6405529954

0.1534440652

0.0290748145

0.004847359

0.1446317104

0.061691848

0.0154602464

0.6396313364

0.1279938302

0.0290503613

0.0057835917

0.1577403246

0.0615522105

0.0149127001

0.6392626728

0.1238092518

0.029294893

0.0062323187

0.1521223471

0.0616639205

0.0154602464

0.6414746544

0.1329924735

0.0290748145

0.0055989304

0.1549313358

0.0624458905

0.0159046317

0.6411059908

0.1723675002

0.0288302828

0.0057706654

0.1583645443

0.061021588

0.0142699284

0.6341013825

0.1347777032

0.0293315727

0.0050449466

0.1555555556

0.0618873405

0.0137223821

0.637235023

0.1520158814

0.0290992676

0.0058629961

0.1558676654

0.0621107605

0.0157578258

0.640921659

0.1444179437

0.0293682525

0.0045832933

0.1586766542

0.061971123

0.0144167343

0.639078341

0.1695111327

0.0292826664

0.0060476574

0.1555555556

0.0614405005

0.0155594395

0.6401843318

0.1708393436

0.0292582132

0.0049526159

0.1699126092

0.0622224705

0.0138215753

0.639078341

0.1812936489

0.0296494639

0.0074326171

0.1617977528

0.0613846455

0.0150634737

0.6333640553

0.1865493652

0.0294660651

0.0068915595

0.1730337079

0.0616639205

0.0139207685

0.6376036866

0.1923620732

0.0292215335

0.0065093106

0.1639825218

0.062138688

0.01526186

0.6370506912

0.1847641354

0.0293315727

0.005968253

0.1686641698

0.0622224705

0.0133256095

0.6346543779

0.2070009569

0.0294782917

0.00641698

0.1802122347

0.061635993

0.0156586327

0.6398156682

0.2347505677

0.0296372373

0.0067068982

0.1802122347

0.0620549055

0.0126312574

0.6331797235

0.2559162513

0.0294782917

0.0067863026

0.1852059925

0.061356718

0.0159562122

0.6396313364

0.2183264542

0.0297472765

0.0053219385

0.1951935081

0.0613846455

0.0116393257

0.6337327189

0.2416344135

0.0296250107

0.0059553267

0.1889513109

0.061971123

0.0146667011

0.6296774194

0.2347505677

0.0293560259

0.0042139707

0.1892634207

0.061468428

0.0137223821

0.6335483871

0.2559162513

0.0299429019

0.0052166816

0.1898876404

0.0617756305

0.0150634737

0.6317050691

0.2665276568

0.0301018474

0.0052296079

0.2026841448

0.061915268

0.0128296437

0.6302304147

0.2923349377

0.0304319652

0.0078019397

0.1980024969

0.0616639205

0.0176424959

0.6337327189

0.3050886188

0.0301507538

0.0047679546

0.2048689139

0.062026978

0.0118377121

0.6376036866

0.2941201674

0.0300651677

0.0060476574

0.2076779026

0.0617197755

0.0150634737

0.6307834101

0.3029463431

0.0299306753

0.0048602853

0.2073657928

0.0622783255

0.0121352915

0.6307834101

0.3098301889

0.0303830588

0.004570367

0.2167290886

0.0623341805

0.0131788036

0.6302304147

0.3268684214

0.0307498563

0.0045832933

0.2198501873

0.061524283

0.0148135069

0.6324423963

0.3294677159

0.0305053247

0.0068786332

0.2239076155

0.061915268

0.0163529848

0.6307834101

0.3615018781

0.0305786842

0.0063375756

0.2198501873

0.0618314855

0.0133256095

0.6342857143

0.3687427698

0.0308109893

0.004847359

0.218289638

0.0618873405

0.01526186

0.6305990783

0.3947071509

0.0310310677

0.005968253

0.2260923845

0.062082833

0.0146151206

0.627281106

0.4012339508

0.0311288804

0.0059553267

0.2370162297

0.061859413

0.0135755763

0.6294930876

0.4018480698

0.0309699348

0.0057835917

0.2332709114

0.061635993

0.0117385189

0.6285714286

0.4419371885

0.0313978652

0.006139988

0.2376404494

0.061412573

0.0162537917

0.6247004608

0.4504063183

0.0312511462

0.0051372772

0.245443196

0.061803558

0.0132264163

0.6191705069

0.4694297262

0.0314589982

0.0051243509

0.2526217228

0.0614405005

0.012782031

0.6215668203

0.4693297534

0.0315568108

0.0051372772

0.2569912609

0.0616080655

0.013623189

0.6248847926

0.5237007098

0.0318869286

0.0068786332

0.2585518102

0.061859413

0.0151626669

0.6219354839

0.5196732316

0.0318991551

0.0060605837

0.2610486891

0.0614963555

0.0126312574

0.6230414747

0.5647609934

0.03216814

0.0068786332

0.2669787765

0.061524283

0.0162537917

0.6186175115

0.5718019395

0.0323637653

0.0055989304

0.2688514357

0.0612729355

0.0122344847

0.6184331797

0.5879689798

0.0323882185

0.0054013429

0.2741573034

0.0614963555

0.0144683147

0.6188018433

0.6157185907

0.0326816565

0.0060605837

0.2882022472

0.062194543

0.0149127001

0.6200921659

0.6197460689

0.0323393121

0.0050320203

0.2828963795

0.062082833

0.0144683147

0.6189861751

0.6360702095

0.0330117742

0.005968253

0.2885143571

0.061300863

0.0133256095

0.6141935484

0.6472386067

0.0329506413

0.0054936735

0.2913233458

0.0618873405

0.0131788036

0.6105069124

0.6664191148

0.0331095869

0.0054142691

0.2960049938

0.0620549055

0.0131272232

0.6105069124

0.7300732658

0.0336353299

0.0063246493

0.2975655431

0.0620549055

0.0139723489

0.6167741935

0.7506819578

0.0340999401

0.005968253

0.3094257179

0.0615522105

0.0154086659

0.6162211982

0.7382853226

0.0341243933

0.0066939719

0.3056803995

0.0618314855

0.0134763831

0.6121658986

0.7499678659

0.0346379097

0.0065222369

0.3078651685

0.061524283

0.0140199616

0.6099539171

0.7557805738

0.0354693174

0.006139988

0.3137952559

0.0618314855

0.0125836446

0.6084792627

0.7970979306

0.036215139

0.0055989304

0.3144194757

0.0624458905

0.0107465873

0.612718894

0.7957697196

0.0373522112

0.0054936735

0.3237827715

0.0619431955

0.0136747694

0.6081105991

0.8313743413

0.0377801416

0.0061529143

0.3262796504

0.0617756305

0.0133256095

0.6092165899

0.8507547951

0.0376945555

0.0068786332

0.3390761548

0.062362108

0.0142699284

0.6057142857

0.8295891115

0.0381347125

0.0049526159

0.3265917603

0.062306253

0.0149127001

0.5983410138

0.8536111627

0.0382447517

0.0069709639

0.3325218477

0.062082833

0.0148650874

0.598156682

0.8381582142

0.0384648302

0.0057835917

0.3294007491

0.062026978

0.0122344847

0.6029493088

0.8882446193

0.0393451442

0.0057706654

0.336267166

0.061971123

0.0148650874

0.6001843318

0.8924291978

0.0398342075

0.0060605837

0.3287765293

0.062194543

0.014218348

0.5977880184

0.8811037004

0.0399197936

0.0058629961

0.331897628

0.0627251655

0.0140715421

0.5977880184

0.8881446465

0.0402988177

0.0053219385

0.3378277154

0.0614963555

0.0133256095

0.5996313364

0.9075251003

0.0401031924

0.0065093106

0.3421972534

0.062250398

0.0130796104

0.5883870968

0.9006412545

0.0398342075

0.0056912611

0.3353308365

0.0614405005

0.013623189

0.5913364055

0.9218069381

0.0398831139

0.0052166816

0.3390761548

0.0621107605

0.0146667011

0.5905990783

0.9309901598

0.0401276455

0.0061529143

0.3440699126

0.061915268

0.0140199616

0.5847004608

0.9596538083

0.0404088569

0.0062323187

0.35

0.061803558

0.0142699284

0.5889400922

0.9495565489

0.0414114367

0.0055989304

0.3372034956

0.062753093

0.0095562693

0.5847004608

0.9296619489

0.0415703823

0.0069709639

0.3375156055

0.062306253

0.0137739626

0.5830414747

0.9406304003

0.0421694849

0.0050449466

0.3421972534

0.061635993

0.0116393257

0.5802764977

0.9778631514

0.042548509

0.0053090122

0.3375156055

0.0617756305

0.0153610532

0.5797235023

0.9613390651

0.0431842913

0.0054142691

0.3397003745

0.062082833

0.0135239958

0.5789861751

0.9500135677

0.0436122217

0.0062323187

0.3375156055

0.062026978

0.012782031

0.5795391705

0.9609784487

0.0439056597

0.0051372772

0.3381398252

0.0622224705

0.0126312574

0.5789861751

0.9992859081

0.0443335901

0.0057706654

0.3421972534

0.0621666155

0.0142699284

0.5782488479

0.9888316029

0.0445903483

0.0054142691

0.3334581773

0.062194543

0.0129288368

0.5723502304

0.9892886217

0.0451894509

0.0060476574

0.3418851436

0.061803558

0.0159562122

0.5719815668

0.9827618218

0.0456785142

0.0061529143

0.3359550562

0.0618873405

0.0126312574

0.5664516129

1

0.046008632

0.006139988

0.3315855181

0.0616639205

0.0130796104

0.5662672811

0.9741927191

0.046387656

0.0039369788

0.3434456929

0.0614405005

0.01302803

0.5655299539

0.9867893

0.0471701574

0.0087252462

0.3325218477

0.0621666155

0.0162537917

0.5695852535

0.981333638

0.0479526587

0.0073532127

0.3306491885

0.062026978

0.0152102796

0.561843318

0.980362473

0.0484539486

0.00641698

0.3309612984

0.0619990505

0.0147658942

0.5633179724

0.9520523001

0.0497132866

0.005968253

0.3259675406

0.062026978

0.0131272232

0.56

0.9771490595

0.0498722322

0.0068786332

0.3197253433

0.062194543

0.0117900993

0.5522580645

0.9506276868

0.0501289905

0.0057835917

0.3281523096

0.0623341805

0.012432871

0.5563133641

0.9900027135

0.0502145765

0.0060476574

0.3231585518

0.061915268

0.0124844515

0.5563133641

0.9663341379

0.0505202411

0.0050449466

0.3215980025

0.0616639205

0.0111433599

0.5568663594

0.9464431083

0.0507403196

0.0066939719

0.318164794

0.0616080655

0.012782031

0.5517050691

0.9631242948

0.0501656702

0.0049526159

0.3156679151

0.061524283

0.0132264163

0.5502304147

0.9335894543

0.0508259057

0.004570367

0.3094257179

0.0617756305

0.0122860651

0.5434101382

0.9563404219

0.0517306728

0.006245245

0.2985018727

0.061691848

0.0113417462

0.5467281106

0.9589397164

0.0521830564

0.0059553267

0.30443196

0.0614963555

0.0156586327

0.544516129

0.9545551922

0.053075597

0.0053219385

0.2969413233

0.061133298

0.0112425531

0.5397235023

0.9507276596

0.053454621

0.0067863026

0.2956928839

0.0618314855

0.012186872

0.5415668203

0.9417015382

0.0542493489

0.0043063014

0.2941323346

0.061635993

0.0129288368

0.5388018433

0.9521558434

0.054775092

0.0047550283

0.3003745318

0.0617197755

0.0118892925

0.53640553

0.8835030492

0.0563400946

0.0060605837

0.3025593009

0.0617756305

0.012432871

0.5288479263

0.9143089733

0.0572815415

0.0062323187

0.2816479401

0.0619431955

0.0140715421

0.5347465438

0.8638655222

0.0582229884

0.0052296079

0.2822721598

0.0623900355

0.0119369052

0.5312442396

0.8500407032

0.0592377948

0.0060476574

0.2782147316

0.062250398

0.0139723489

0.5271889401

0.8563675574

0.0595190062

0.0061529143

0.2838327091

0.0621107605

0.0104490078

0.5290322581

0.857895714

0.0607905709

0.0054013429

0.2741573034

0.0621107605

0.0123852583

0.5247926267

0.8210200089

0.0608761569

0.0057835917

0.2725967541

0.061971123

0.0097546556

0.5198156682

0.8143361088

0.0621232684

0.0059553267

0.2754057428

0.0617197755

0.0122860651

0.5192626728

0.8313743413

0.0621844013

0.0053219385

0.2679151061

0.0618873405

0.0119369052

0.5164976959

0.7797026521

0.0626734646

0.007986601

0.2691635456

0.0617756305

0.012186872

0.5155760369

0.8056670332

0.0630280356

0.0063375756

0.2588639201

0.0613846455

0.0095562693

0.5129953917

0.7643496765

0.0640917483

0.0046626977

0.2554307116

0.061412573

0.0138731558

0.5104147465

0.7342578443

0.0644463192

0.0068915595

0.2495006242

0.062082833

0.0115401326

0.507281106

0.7514960225

0.0654611256

0.0059553267

0.2448189763

0.0626134555

0.011591713

0.5070967742

0.7367571659

0.0668060497

0.004675624

0.247627965

0.061915268

0.0143175411

0.5096774194

0.7532812522

0.0679186688

0.0065093106

0.2435705368

0.062138688

0.0143691216

0.5080184332

0.7378283037

0.0686400372

0.0054142691

0.247627965

0.061915268

0.0111433599

0.5061751152

0.7104357389

0.0695325777

0.0057706654

0.2410736579

0.061691848

0.0136747694

0.5002764977

0.7149773633

0.0710119943

0.0063375756

0.2388888889

0.0619990505

0.0115401326

0.4976958525

0.7018666362

0.0719534412

0.0066939719

0.2407615481

0.0624458905

0.0123852583

0.4914285714

0.6956968823

0.0731883261

0.0064299063

0.229525593

0.062250398

0.0122344847

0.4919815668

0.6875847984

0.0748144616

0.006139988

0.2232833958

0.062082833

0.0126828378

0.4923502304

0.639640669

0.0760004402

0.0041216401

0.2251560549

0.0621107605

0.0115401326

0.4886635945

0.6497379283

0.0772475516

0.0074326171

0.2257802747

0.0617197755

0.0143691216

0.4882949309

0.6271440609

0.0785191163

0.0071685514

0.2198501873

0.061859413

0.0103498146

0.4864516129

0.6447392851

0.0802430645

0.006139988

0.2126716604

0.0616080655

0.0114925198

0.4825806452

0.6089347177

0.0812945506

0.0057835917

0.2232833958

0.0620549055

0.0113417462

0.4792626728

0.6015367257

0.083042952

0.0072479558

0.2192259675

0.0621666155

0.0146667011

0.4741013825

0.5707308016

0.0833486166

0.005968253

0.2123595506

0.0618873405

0.0112425531

0.4770506912

0.5633328097

0.0839599457

0.0071556252

0.2132958801

0.0617756305

0.0118892925

0.4742857143

0.5693026179

0.0855983078

0.0071685514

0.2051810237

0.0613287905

0.0129288368

0.4722580645

0.5954669447

0.087468975

0.0049396896

0.2039325843

0.062753093

0.0142699284

0.4733640553

0.5418100801

0.0890584308

0.0044909627

0.2014357054

0.061859413

0.0123336779

0.4685714286

0.5461946043

0.0902810891

0.0052166816

0.2042446941

0.0613287905

0.0141707352

0.4639631336

0.5153886802

0.0917115994

0.0055065998

0.2014357054

0.0617756305

0.0114409394

0.46359447

0.5515502935

0.0927508589

0.0068786332

0.1911360799

0.061915268

0.0110957472

0.4637788018

0.510032991

0.0954773869

0.0057835917

0.2033083645

0.062026978

0.0091594967

0.4613824885

0.5258429855

0.0972991478

0.0065093106

0.1892634207

0.0614963555

0.0147658942

0.4573271889

0.5178880018

0.0982283681

0.0064299063

0.188639201

0.0622224705

0.0129288368

0.4584331797

0.5140604693

0.1000868087

0.0069709639

0.1823970037

0.062417963

0.0125836446

0.4470046083

0.4786129479

0.1019330228

0.0071685514

0.2014357054

0.061971123

0.0126312574

0.4519815668

0.4762135992

0.1040115419

0.0066016413

0.1758426966

0.061971123

0.0160554053

0.450875576

0.4746854425

0.1059922483

0.0050449466

0.1774032459

0.062026978

0.0126312574

0.4534562212

0.4694297262

0.10866987

0.0042010444

0.1755305868

0.062585528

0.0133771899

0.4458986175

0.4439794913

0.1102470992

0.0067992289

0.1764669164

0.0619431955

0.0113417462

0.4398156682

0.4908524829

0.1123745247

0.0054013429

0.1745942572

0.062306253

0.0144683147

0.4387096774

0.4853968209

0.114856521

0.0055989304

0.1758426966

0.0614963555

0.0132264163

0.4329953917

0.4662163127

0.1171795718

0.0065093106

0.1767790262

0.0619990505

0.01526186

0.4346543779

0.4386238021

0.1192947707

0.0067068982

0.1755305868

0.0616639205

0.0114409394

0.4344700461

0.4862108856

0.1214221961

0.0053090122

0.1689762797

0.061468428

0.0145675079

0.4304147465

0.4346962967

0.1240753647

0.0055989304

0.1642946317

0.0621666155

0.009953042

0.4293087558

0.4390808209

0.1269730648

0.0060476574

0.1667915106

0.0618314855

0.0145675079

0.4289400922

0.4432653994

0.1303353752

0.0058759224

0.170536829

0.061859413

0.0118377121

0.4256221198

0.3994487211

0.1330741298

0.0066939719

0.165855181

0.061635993

0.0131788036

0.4197235023

0.3847098645

0.1376101921

0.0070762208

0.1552434457

0.062250398

0.0120360984

0.4239631336

0.3794541482

0.1443103596

0.0054013429

0.165855181

0.0618314855

0.012186872

0.415483871

0.3465059484

0.1502647055

0.005968253

0.1571161049

0.0625017455

0.0128296437

0.4193548387

0.374098459

0.1585665554

0.0072479558

0.1514981273

0.062808948

0.0135755763

0.4151152074

0.3607877862

0.1656090672

0.004675624

0.149937578

0.063423353

0.0138215753

0.4156682028

0.3423213699

0.1703774346

0.00641698

0.1583645443

0.0626134555

0.0111949404

0.4119815668

0.3200845485

0.1696316131

0.005968253

0.1564918851

0.062585528

0.009953042

0.410875576

0.3169711078

0.1707197789

0.0055860042

0.1418227216

0.0624458905

0.0140715421

0.4084792627

0.3147288593

0.1702918485

0.0058759224

0.1446317104

0.0621107605

0.0110441667

0.4068202765

0.2884074323

0.170218489

0.0052166816

0.1614856429

0.0623900355

0.0138731558

0.3959447005

0.2683128865

0.1705608334

0.0055065998

0.138701623

0.062082833

0.013623189

0.3955760369

0.3091160971

0.1717712651

0.0078942703

0.1505617978

0.0617197755

0.0122860651

0.3957603687

0.2686699324

0.1743388475

0.0067068982

0.1543071161

0.0624458905

0.0113417462

0.3953917051

0.2780530999

0.1778234237

0.0042933751

0.1480649189

0.061803558

0.0134763831

0.3929953917

0.2640283352

0.1793639732

0.0063375756

0.1411985019

0.0619990505

0.0100522351

0.3898617512

0.2680558134

0.1827751898

0.0049396896

0.1399500624

0.0627251655

0.0106989745

0.3878341014

0.2508176352

0.1861008204

0.0045832933

0.1486891386

0.062362108

0.0109449736

0.3817511521

0.2609148945

0.1882649256

0.0065093106

0.1415106117

0.0620549055

0.0132779968

0.3865437788

0.2736685757

0.190746922

0.0054142691

0.1299625468

0.061915268

0.0111433599

0.3811981567

0.2462760108

0.1938035677

0.0067863026

0.1390137328

0.0624458905

0.0128812241

0.3811981567

0.2333223839

0.1971536515

0.006245245

0.1383895131

0.061691848

0.0111433599

0.3699539171

0.2630571702

0.1992933035

0.0057706654

0.1380774032

0.0623341805

0.0139723489

0.3725345622

0.2511746812

0.2041961633

0.0051372772

0.143071161

0.062417963

0.0101514283

0.3688479263

0.2362787243

0.2090501168

0.0086329155

0.143071161

0.061356718

0.0149642805

0.3664516129

0.2501035433

0.2129381702

0.0050449466

0.1284019975

0.062138688

0.0129288368

0.3658986175

0.2380639541

0.2161170818

0.0053090122

0.1324594257

0.062138688

0.012782031

0.3620276498

0.2222539596

0.221386739

0.0050449466

0.1321473159

0.0623341805

0.0123336779

0.3616589862

0.2369928162

0.224321119

0.0050320203

0.1284019975

0.0620549055

0.0142699284

0.3559447005

0.2354646596

0.2293217914

0.0051372772

0.1265293383

0.062082833

0.0121352915

0.3552073733

0.2244962082

0.233234298

0.006139988

0.1365168539

0.0617756305

0.0133771899

0.3544700461

0.2176123624

0.238014892

0.0056912611

0.140886392

0.062753093

0.0120360984

0.3522580645

0.2187834731

0.2429177518

0.0049396896

0.129650437

0.0618873405

0.0139723489

0.3517050691

0.232965338

0.2485053002

0.005968253

0.1305867665

0.062417963

0.0143175411

0.3564976959

0.2105714163

0.2537994107

0.0067863026

0.1193508115

0.062473818

0.0128812241

0.3476497696

0.2090432597

0.2596192642

0.0040293094

0.12278402

0.0617756305

0.0115401326

0.3478341014

0.2144989217

0.2646321632

0.0076172784

0.1209113608

0.0623341805

0.0141707352

0.3437788018

0.200831203

0.2702930712

0.0047679546

0.1184144819

0.0621107605

0.0129288368

0.3417511521

0.2166411974

0.276516402

0.0058629961

0.1187265918

0.062697238

0.0141707352

0.3411981567

0.2193975921

0.2828130922

0.0069838901

0.1209113608

0.0617197755

0.0119369052

0.3410138249

0.1987889002

0.2866522393

0.0062323187

0.1246566792

0.062473818

0.012782031

0.3367741935

0.1840500436

0.2940126423

0.005968253

0.1237203496

0.061915268

0.0111433599

0.3349308756

0.1891486596

0.2988543692

0.0056783348

0.1140449438

0.061971123

0.012186872

0.333640553

0.1822648138

0.3081954786

0.0050449466

0.1196629213

0.0624458905

0.0125320642

0.3351152074

0.1884345678

0.3118512269

0.0050320203

0.1234082397

0.061691848

0.0140715421

0.332718894

0.1847641354

0.3210089376

0.0055065998

0.1199750312

0.0626134555

0.0138215753

0.3316129032

0.1716534084

0.3276601988

0.0059553267

0.1165418227

0.062697238

0.0116909062

0.3251612903

0.1529870464

0.3332477473

0.0064299063

0.1218476904

0.0622224705

0.0107465873

0.3244239631

0.1905768434

0.3393732654

0.0056783348

0.1205992509

0.0616639205

0.0122860651

0.3257142857

0.1836929976

0.34844539

0.005968253

0.1193508115

0.0625017455

0.012432871

0.3187096774

0.1848641083

0.3570039981

0.0066939719

0.1205992509

0.0621666155

0.0123852583

0.3211059908

0.181193676

0.3624448275

0.0056912611

0.113732834

0.062641383

0.0115401326

0.3212903226

0.1884345678

0.3709912091

0.0050320203

0.1143570537

0.0630044405

0.0125836446

0.3203686636

0.1833359517

0.3791218868

0.0055989304

0.1146691635

0.062417963

0.0122344847

0.3141013825

0.187006384

0.3877783076

0.0054013429

0.1152933833

0.0623341805

0.0144683147

0.3139170507

0.1626272869

0.3951753903

0.0051372772

0.1165418227

0.062864803

0.0092586898

0.3152073733

0.1430897328

0.4035383731

0.00641698

0.1168539326

0.0627810205

0.0146667011

0.3157603687

0.1454890815

0.411253347

0.0065222369

0.1109238452

0.062808948

0.0116393257

0.3135483871

0.148445422

0.4203988311

0.0058629961

0.1024968789

0.063032368

0.0140715421

0.3113364055

0.1412045302

0.4329555319

0.0067068982

0.1140449438

0.062473818

0.0128296437

0.3074654378

0.1423756409

0.4392522222

0.0071556252

0.1109238452

0.062473818

0.010996554

0.3100460829

0.1369199789

0.4497793102

0.0039369788

0.1230961298

0.063088223

0.0134248027

0.3061751152

0.1313072166

0.4560148675

0.0060476574

0.1209113608

0.0636747005

0.0146667011

0.3087557604

0.1244233708

0.4690850848

0.0057835917

0.1134207241

0.0632837155

0.0127304505

0.304516129

0.1430897328

0.4789274841

0.0062323187

0.115917603

0.0635071355

0.012186872

0.3043317972

0.1047858438

0.4888187898

0.0055065998

0.1221598002

0.063870193

0.0146151206

0.3006451613

0.1488024679

0.4995048234

0.0052166816

0.1140449438

0.063814338

0.0116909062

0.3000921659

0.1154972222

0.5110344912

0.0042139707

0.1112359551

0.064093613

0.0112425531

0.3021198157

0.1266656193

0.5239213097

0.0052166816

0.1124843945

0.0637305555

0.0151626669

0.2993548387

0.1197817735

0.5330056609

0.0044909627

0.1115480649

0.0644008155

0.0140199616

0.2938248848

0.1359488139

0.5416865349

0.0066939719

0.1099875156

0.0644008155

0.0106989745

0.2951152074

0.1254945086

0.554438861

0.0063375756

0.1074906367

0.065322423

0.0113417462

0.2919815668

0.1313072166

0.5674723985

0.0047550283

0.1162297129

0.065769263

0.0110957472

0.2903225806

0.1208529114

0.576899094

0.0049526159

0.1187265918

0.0665791605

0.0101514283

0.2906912442

0.1252374356

0.5916688063

0.0059553267

0.1109238452

0.0674728405

0.0141707352

0.2912442396

0.1151401762

0.6020247222

0.004675624

0.1124843945

0.0689250705

0.0111433599

0.2888479263

0.1163112869

0.6159385736

0.0068786332

0.109051186

0.071410618

0.0105997814

0.2866359447

0.1008583385

0.6294000416

0.0054142691

0.1156054931

0.0728907755

0.0122344847

0.2855299539

0.1127408275

0.6416755309

0.0062323187

0.1127965044

0.0769961181

0.0113933267

0.2840552995

0.1030006141

0.6532296519

0.006245245

0.1171660424

0.0838104281

0.0123336779

0.282764977

0.1120267356

0.6665933072

0.0060476574

0.1087390762

0.0982489457

0.0146667011

0.2836866359

0.0922892358

0.6828668892

0.0042139707

0.1140449438

0.1414248611

0.0126312574

0.2779723502

0.1280938031

0.6944943697

0.0068786332

0.1165418227

0.3002764823

0.0131788036

0.2759447005

0.0994301547

0.7076257198

0.0048602853

0.113732834

0.5884882844

0.0113417462

0.2753917051

0.0995301275

0.7211727738

0.0047550283

0.1140449438

1

0.0131788036

0.2737327189

0.0969308331

0.7352211178

0.0070762208

0.1099875156

0.9220543469

0.0112425531

0.2735483871

0.1184535626

0.747851178

0.0057706654

0.1053058677

0.6042952495

0.0142699284

0.2726267281

0.1026435682

0.764039174

0.004675624

0.1018726592

0.3206914849

0.009953042

0.2705990783

0.0931033005

0.7805083813

0.0060476574

0.1078027466

0.1748261513

0.0108973609

0.2715207373

0.1126408546

0.784506474

0.005968253

0.1028089888

0.1125478258

0.0131272232

0.2694930876

0.0984589897

0.806673269

0.0051243509

0.109051186

0.0895355657

0.0135755763

0.2685714286

0.103714706

0.8183129761

0.0067068982

0.1084269663

0.0788114056

0.0122344847

0.2667281106

0.0959596681

0.8297448312

0.004847359

0.1034332085

0.071354763

0.0135755763

0.2624884793

0.1083563033

0.8459695069

0.0043063014

0.1102996255

0.0694277655

0.0106473941

0.2608294931

0.0888187492

0.8542469036

0.0065093106

0.1127965044

0.0661323205

0.0123852583

0.2586175115

0.0983590168

0.8685886855

0.0055065998

0.1046816479

0.066327813

0.012432871

0.2600921659

0.0913180708

0.8825881231

0.0049396896

0.0990636704

0.0654620605

0.0105005882

0.2586175115

0.0801496737

0.8932986098

0.0056912611

0.1102996255

0.0645683805

0.0134248027

0.2565898618

0.1116696897

0.9075548057

0.0039240525

0.1109238452

0.0637305555

0.0122860651

0.251797235

0.0897899142

0.9160156011

0.0045832933

0.1124843945

0.0642891055

0.0111433599

0.2503225806

0.0970308059

0.9314822287

0.0051243509

0.1028089888

0.064037758

0.0133771899

0.2514285714

0.0812208115

0.9438433041

0.005968253

0.102184769

0.063479208

0.0112425531

0.2468202765

0.1013153573

0.9496020247

0.0046626977

0.1053058677

0.063535063

0.0114925198

0.2499539171

0.0755080764

0.9619508736

0.004675624

0.1056179775

0.0637305555

0.0117385189

0.2468202765

0.0973878519

0.967159398

0.0063246493

0.1065543071

0.062585528

0.0108973609

0.2414746544

0.0815778574

0.9774908606

0.0065222369

0.1146691635

0.062529673

0.0108457804

0.2451612903

0.0984589897

0.9872721271

0.0055860042

0.1031210986

0.062697238

0.0128812241

0.2425806452

0.0897899142

0.9906099842

0.0053219385

0.1146691635

0.0618314855

0.0118377121

0.2420276498

0.0870335195

0.9917470565

0.0050320203

0.1081148564

0.062194543

0.0131788036

0.2414746544

0.0662248818

0.9987162088

0.0052296079

0.1024968789

0.063088223

0.0108457804

0.2379723502

0.0720375898

0.9983371847

0.00641698

0.1009363296

0.062641383

0.0134763831

0.2370506912

0.0744369385

0.9991685924

0.0063375756

0.1093632959

0.0623341805

0.0100522351

0.2355760369

0.0656107628

1

0.0054936735

0.1062421973

0.063032368

0.0116909062

0.2313364055

0.0851483169

0.9974690973

0.0065222369

0.1093632959

0.061189153

0.0108457804

0.2322580645

0.070966452

0.9993886708

0.0053090122

0.1124843945

0.061691848

0.0104013951

0.2278341014

0.0669389737

0.9964787441

0.0058759224

0.1031210986

0.0626693105

0.012432871

0.227281106

0.08346306

0.9891917006

0.0062323187

0.1037453184

0.0620549055

0.0114925198

0.2274654378

0.0894328682

0.988213574

0.0055989304

0.1037453184

0.0622783255

0.0106473941

0.2217511521

0.0691812222

0.979385981

0.00641698

0.1037453184

0.0618873405

0.012782031

0.2210138249

0.0926462817

0.9677340474

0.0069838901

0.1049937578

0.062306253

0.0115401326

0.2204608295

0.0988160356

0.9584296177

0.0065093106

0.1106117353

0.0620549055

0.0140715421

0.2199078341

0.0930033277

0.946105222

0.0061529143

0.1062421973

0.0622783255

0.0125320642

0.21640553

0.0995301275

0.9297949602

0.0049396896

0.1040574282

0.0620549055

0.0129804173

0.2173271889

0.0762221683

0.9212241255

0.005968253

0.1018726592

0.0620549055

0.0129288368

0.2197235023

0.0663248547

0.909070902

0.0046626977

0.1065543071

0.0625017455

0.0122860651

0.2138248848

0.0580128251

0.8860115663

0.0056912611

0.1062421973

0.061468428

0.0119369052

0.2119815668

0.0891757951

0.8732347871

0.0057706654

0.0993757803

0.0618314855

0.0134763831

0.2112442396

0.0737228467

0.8487449413

0.0049526159

0.1081148564

0.0619431955

0.0097546556

0.211797235

0.0827489681

0.8333638998

0.004847359

0.1096754057

0.0622224705

0.0101038156

0.2090322581

0.0783644439

0.8124564428

0.0043063014

0.1028089888

0.062753093

0.0110441667

0.2066359447

0.0741798655

0.791720158

0.0066016413

0.1049937578

0.062138688

0.0137739626

0.2040552995

0.0805067196

0.7694800034

0.0050449466

0.1031210986

0.0618873405

0.0122344847

0.2073732719

0.0627543952

0.747765592

0.0050320203

0.1012484395

0.062138688

0.0129804173

0.2035023041

0.0672960197

0.7261367666

0.0044909627

0.1087390762

0.061412573

0.0112425531

0.2023963134

0.0859623816

0.7039944247

0.0063246493

0.1053058677

0.061915268

0.0111949404

0.1996313364

0.0640826061

0.6861313869

0.0045832933

0.1059300874

0.061635993

0.0119369052

0.2014746544

0.0695382682

0.6651872501

0.0078942703

0.1015605493

0.062529673

0.0136747694

0.199078341

0.051943044

0.6403061536

0.0068915595

0.115917603

0.061580138

0.0102506214

0.1959447005

0.083820106

0.6187995941

0.0075249477

0.1093632959

0.0623900355

0.0142699284

0.1952073733

0.0740798926

0.5976476054

0.0043063014

0.1081148564

0.061747703

0.0105482009

0.1937327189

0.0656107628

0.5767279218

0.0042933751

0.1024968789

0.0619431955

0.010996554

0.1915207373

0.0669389737

0.5578011713

0.004675624

0.1003121099

0.061971123

0.0135239958

0.1920737327

0.0756080492

0.5364902371

0.0072479558

0.1059300874

0.0617197755

0.0118892925

0.1889400922

0.0426598495

0.514763599

0.004675624

0.1015605493

0.0611053705

0.0110441667

0.1880184332

0.0806066925

0.4990157601

0.0051243509

0.1084269663

0.061971123

0.0131788036

0.184516129

0.0605121467

0.4801745956

0.0048602853

0.0996878901

0.061859413

0.0110441667

0.1874654378

0.0931033005

0.4619203071

0.0046626977

0.1056179775

0.0619990505

0.0132779968

0.1828571429

0.078007398

0.4472361809

0.006245245

0.1006242197

0.062138688

0.0109449736

0.1806451613

0.0845341979

0.4311582242

0.0069709639

0.1006242197

0.0624458905

0.012782031

0.1788018433

0.0572987332

0.4135641712

0.0040293094

0.1009363296

0.061859413

0.0125320642

0.1841474654

0.0734657736

0.397999731

0.0069709639

0.1053058677

0.0617756305

0.0114925198

0.1775115207

0.0787214899

0.3844649036

0.0056912611

0.1062421973

0.0611612255

0.012432871

0.1789861751

0.0620403033

0.3687048381

0.0073402864

0.102184769

0.061580138

0.0157578258

0.1773271889

0.0515859981

0.3578843121

0.0064299063

0.0943820225

0.0617756305

0.0098538488

0.1741935484

0.0748939574

0.3428211618

0.0042933751

0.1099875156

0.0617756305

0.0140715421

0.1716129032

0.0448021251

0.3308757901

0.0057835917

0.1059300874

0.061691848

0.0117385189

0.1710599078

0.0766791871

0.3194072553

0.0065093106

0.1065543071

0.062473818

0.0138731558

0.1703225806

0.0533712278

0.3073762975

0.005968253

0.1096754057

0.061356718

0.0091594967

0.1686635945

0.0766791871

0.2979618286

0.0070632945

0.0996878901

0.0621666155

0.0137739626

0.1695852535

0.0655107899

0.2886207192

0.0057835917

0.1124843945

0.062529673

0.0103498146

0.1673732719

0.0802496465

0.2789617186

0.0050320203

0.1018726592

0.0616080655

0.0136747694

0.1675576037

0.0512289521

0.2694738901

0.0057835917

0.1015605493

0.062026978

0.0112425531

0.1614746544

0.0673959925

0.2591913338

0.0065093106

0.1065543071

0.061524283

0.0134763831

0.1664516129

0.0572987332

0.2524911663

0.0044909627

0.0981273408

0.061635993

0.0123336779

0.1638709677

0.0698953141

0.2425142745

0.0056783348

0.1012484395

0.061747703

0.0123852583

0.1596313364

0.0444450792

0.235960826

0.0048602853

0.1015605493

0.062753093

0.0121352915

0.1633179724

0.0416886845

0.2275000306

0.004570367

0.1106117353

0.061468428

0.0133771899

0.1588940092

0.0473014468

0.2200784947

0.0044909627

0.1087390762

0.061859413

0.0116393257

0.1555760369

0.0691812222

0.2122045752

0.0059553267

0.1043695381

0.061803558

0.0108973609

0.1585253456

0.0465873549

0.2068860116

0.0050449466

0.1003121099

0.0616080655

0.0111433599

0.1557603687

0.0541852926

0.2015185416

0.006139988

0.1024968789

0.0621666155

0.0124844515

0.1537327189

0.0408746197

0.1937546614

0.0051372772

0.0906367041

0.061971123

0.009953042

0.1546543779

0.051685971

0.1894753573

0.0066016413

0.1043695381

0.061915268

0.0124844515

0.1504147465

0.0719376169

0.1833253861

0.0052296079

0.106866417

0.0619431955

0.0111433599

0.1500460829

0.0791785087

0.1786303782

0.0063246493

0.0993757803

0.0623900355

0.0120876788

0.1522580645

0.0572987332

0.1730428297

0.0040293094

0.0990636704

0.0617756305

0.0106473941

0.1507834101

0.0798926006

0.1677487193

0.0057706654

0.1031210986

0.061915268

0.0097070429

0.1507834101

0.0658678359

0.1641418773

0.0053219385

0.1053058677

0.0625017455

0.0073740197

0.1480184332

0.0606121196

0.1589211263

0.0054013429

0.1034332085

0.061635993

0.0126828378

0.148202765

0.032662563

0.1547640881

0.0049526159

0.0981273408

0.0628927305

0.0092586898

0.1437788018

0.0627543952

0.1496166966

0.0057706654

0.1074906367

0.061971123

0.0114925198

0.146359447

0.0551564575

0.1461932534

0.0056912611

0.0996878901

0.0619431955

0.0122344847

0.1437788018

0.0563275682

0.1411925809

0.006139988

0.1034332085

0.061747703

0.0135755763

0.1437788018

0.0508719062

0.137377887

0.0035676562

0.1096754057

0.062585528

0.0112425531

0.1424884793

0.051685971

0.1351771021

0.0054013429

0.109051186

0.061859413

0.0120876788

0.1413824885

0.0430168954

0.1309956107

0.0061529143

0.1028089888

0.0621107605

0.0138215753

0.1384331797

0.0659678087

0.1273643155

0.0057706654

0.0956304619

0.062306253

0.0142699284

0.1391705069

0.0569416873

0.1232684102

0.0054142691

0.1037453184

0.061133298

0.0104490078

0.1386175115

0.0491866493

0.1200405923

0.0056783348

0.1028089888

0.061691848

0.0107981677

0.135483871

0.0590839629

0.1160547262

0.0044909627

0.1074906367

0.0618314855

0.0108457804

0.1397235023

0.0470443737

0.1139639805

0.0053090122

0.1078027466

0.061524283

0.0134763831

0.1371428571

0.0412316657

0.111897688

0.0055989304

0.1015605493

0.061524283

0.0105482009

0.1343778802

0.0791785087

0.1079607282

0.0065093106

0.1059300874

0.061635993

0.0142699284

0.1321658986

0.0508719062

0.104537285

0.0050449466

0.1012484395

0.061747703

0.0125320642

0.131797235

0.0873905654

0.1027032975

0.0054013429

0.1062421973

0.0614405005

0.0135755763

0.1347465438

0.0644396521

0.099169815

0.0042139707

0.106866417

0.061691848

0.0107465873

0.1305069124

0.0399034548

0.0960275832

0.0054936735

0.1009363296

0.061635993

0.0120876788

0.1294009217

0.032662563

0.0947682451

0.0056912611

0.1034332085

0.0615522105

0.0083659514

0.1297695853

0.0434739142

0.0920783969

0.004847359

0.0956304619

0.061077443

0.0105997814

0.1299539171

0.045516217

0.0898042524

0.0052296079

0.0996878901

0.0614405005

0.0112425531

0.1284792627

0.0452591439

0.0872611231

0.0071556252

0.0965667915

0.061803558

0.0112941335

0.1266359447

0.0515859981

0.084889166

0.0047679546

0.1034332085

0.0618314855

0.0137223821

0.1284792627

0.0766791871

0.0829818191

0.0065093106

0.1078027466

0.061524283

0.0125836446

0.1251612903

0.0355189306

0.0802675176

0.0057835917

0.1109238452

0.0617756305

0.0112425531

0.1247926267

0.0677530385

0.0789470467

0.0057706654

0.1006242197

0.0614405005

0.0151626669

0.1257142857

0.0562275954

0.0764283706

0.0051372772

0.1049937578

0.061580138

0.0121352915

0.1240552995

0.0631114412

0.0746188363

0.0066016413

0.1015605493

0.061468428

0.0123852583

0.122764977

0.0612262386

0.0733594982

0.004398632

0.0993757803

0.061915268

0.0112425531

0.1223963134

0.051328925

0.0715377373

0.0057706654

0.1006242197

0.061189153

0.0132779968

0.1223963134

0.0744369385

0.0693247258

0.0041216401

0.1012484395

0.0612729355

0.01302803

0.1192626728

0.0873905654

0.0682243333

0.0055860042

0.1062421973

0.061803558

0.0122860651

0.12

0.0423028035

0.066182494

0.0060605837

0.102184769

0.062082833

0.0097546556

0.1198156682

0.038475271

0.0654978053

0.0066016413

0.0996878901

0.0617197755

0.0133771899

0.1174193548

0.0544423656

0.0637004976

0.0044909627

0.1056179775

0.061635993

0.0114409394

0.1205529954

0.0541852926

0.0625145191

0.0066016413

0.1106117353

0.0608260955

0.0124844515

0.1168663594

0.0547994116

0.0611940481

0.0060605837

0.0984394507

0.0619431955

0.0106473941

0.1179723502

0.0638255331

0.0598980303

0.0058629961

0.1046816479

0.062306253

0.011591713

0.1144700461

0.0305202874

0.0585041998

0.0061529143

0.1009363296

0.0618873405

0.0121352915

0.1166820276

0.0363329953

0.0572815415

0.0066016413

0.0996878901

0.0609378055

0.0120876788

0.1137327189

0.0505148603

0.0562056022

0.005968253

0.1049937578

0.062026978

0.009953042

0.1115207373

0.0552564304

0.0545427869

0.0073402864

0.1093632959

0.061635993

0.0117900993

0.1120737327

0.0672960197

0.0534423945

0.005968253

0.1081148564

0.0619431955

0.0109449736

0.1109677419

0.0656107628

0.0531856362

0.0071556252

0.1074906367

0.062026978

0.0148650874

0.1104147465

0.0576557791

0.0515961804

0.0053219385

0.1034332085

0.0618873405

0.0119369052

0.1111520737

0.0798926006

0.0508259057

0.0066939719

0.1006242197

0.061635993

0.0112941335

0.1102304147

0.0544423656

0.0501045373

0.0050449466

0.1009363296

0.061691848

0.009953042

0.1089400922

0.0541852926

0.0487596132

0.0051243509

0.1024968789

0.0620549055

0.0130796104

0.1067281106

0.0483725846

0.0482460967

0.0065222369

0.1018726592

0.062026978

0.0098538488

0.108202765

0.0470443737

0.0469867586

0.007709609

0.1031210986

0.0625576005

0.0113933267

0.1069124424

0.03908939

0.0462164839

0.0057835917

0.097815231

0.062417963

0.0127304505

0.1056221198

0.0634684871

0.0460330851

0.0068786332

0.1056179775

0.061412573

0.012782031

0.1069124424

0.0601551008

0.0452016775

0.004675624

0.1024968789

0.061691848

0.0111433599

0.1058064516

0.0666819006

0.0444314028

0.0066016413

0.1149812734

0.0620549055

0.012186872

0.106359447

0.0662248818

0.0443091369

0.0055989304

0.1018726592

0.062641383

0.0146151206

0.1041474654

0.0502577872

0.0430864786

0.0058629961

0.1028089888

0.062026978

0.012186872

0.1024884793

0.0494437224

0.0422672976

0.0053219385

0.102184769

0.0616080655

0.0115401326

0.1039631336

0.0524000628

0.0420105393

0.0062323187

0.0962546816

0.0617197755

0.0119884857

0.1034101382

0.0440880332

0.0420105393

0.0056912611

0.0968789014

0.061971123

0.0116393257

0.1023041475

0.0566846142

0.0406900683

0.0075249477

0.1087390762

0.0619431955

0.0128812241

0.1000921659

0.0226652766

0.040201005

0.0081841886

0.0943820225

0.0618873405

0.0137223821

0.0999078341

0.0556134763

0.0398464341

0.0057706654

0.1009363296

0.061747703

0.0116909062

0.0973271889

0.0362330225

0.0394307303

0.0049526159

0.0971910112

0.061189153

0.0104490078

0.0982488479

0.0656107628

0.0391128391

0.0057706654

0.1059300874

0.0619990505

0.0125836446

0.0999078341

0.0540853197

0.0385259631

0.0042139707

0.1037453184

0.0613846455

0.0103498146

0.0993548387

0.0534712007

0.0380368998

0.0054936735

0.0946941323

0.0619990505

0.0122860651

0.0973271889

0.0537282738

0.0375233833

0.0039369788

0.1006242197

0.0619990505

0.0120360984

0.0958525346

0.0691812222

0.0373155314

0.004847359

0.1109238452

0.061915268

0.0119884857

0.0947465438

0.0551564575

0.0366186162

0.0065222369

0.1018726592

0.0614405005

0.0109449736

0.0962211982

0.0506148331

0.0363374048

0.0056783348

0.1102996255

0.0616080655

0.0129804173

0.0941935484

0.0433739414

0.0362273655

0.0055065998

0.097815231

0.0617197755

0.009357883

0.0943778802

0.0441880061

0.0358238883

0.0067863026

0.1024968789

0.061300863

0.012186872

0.093640553

0.0615832845

0.0352614655

0.0043063014

0.0971910112

0.0610495155

0.0121352915

0.0925345622

0.0781073709

0.0349313477

0.0065093106

0.1109238452

0.0614963555

0.0118892925

0.092718894

0.0480155386

0.0354081845

0.005968253

0.1043695381

0.061915268

0.0127304505

0.0906912442

0.0602550736

0.0347846287

0.0054013429

0.1009363296

0.0623341805

0.012782031

0.0903225806

0.0662248818

0.0347357224

0.0065222369

0.0946941323

0.0617197755

0.0108457804

0.0901382488

0.0666819006

0.0340021274

0.0055860042

0.102184769

0.061971123

0.0132779968

0.0905069124

0.026235736

0.0339899008

0.006245245

0.0975031211

0.061356718

0.0121352915

0.092718894

0.0591839358

0.033720916

0.0053090122

0.106866417

0.0622224705

0.0138731558

0.0903225806

0.0676530656

0.0337698223

0.0063375756

0.0971910112

0.0614963555

0.0121352915

0.0890322581

0.0477584656

0.0332318527

0.0050320203

0.0968789014

0.061803558

0.0094094634

0.0888479263

0.0312343792

0.0329628679

0.0058759224

0.1003121099

0.0616080655

0.0123336779

0.0857142857

0.0723946357

0.032987321

0.0072479558

0.0981273408

0.061803558

0.01526186

0.0871889401

0.0412316657

0.032400445

0.0040293094

0.0950062422

0.0619990505

0.0119369052

0.0879262673

0.0474014196

0.03216814

0.0074326171

0.1053058677

0.0621666155

0.0128812241

0.0844239631

0.0433739414

0.0325104843

0.007537874

0.097815231

0.0619990505

0.0110441667

0.0855299539

0.0388323169

0.0318991551

0.0060476574

0.1056179775

0.062585528

0.0114925198

0.0849769585

0.0490866765

0.0318013425

0.0054142691

0.0965667915

0.0611612255

0.0134248027

0.0846082949

0.0763221411

0.0316179437

0.0062323187

0.0975031211

0.0608819505

0.0128812241

0.0851612903

0.0305202874

0.0314712247

0.0044909627

0.1037453184

0.062082833

0.0106473941

0.0814746544

0.0659678087

0.0313245057

0.0065093106

0.1065543071

0.061971123

0.0125836446

0.0829493088

0.0547994116

0.0312633728

0.0058759224

0.1024968789

0.0621666155

0.0104490078

0.0840552995

0.0509718791

0.0310066146

0.0042933751

0.109051186

0.0618873405

0.0123852583

0.080921659

0.0415887116

0.0310677475

0.0049526159

0.0990636704

0.0622783255

0.0119369052

0.080921659

0.0627543952

0.0310432943

0.0063246493

0.1012484395

0.0623900355

0.0117900993

0.0803686636

0.0276639198

0.030554231

0.0060605837

0.0962546816

0.0618314855

0.0118377121

0.080921659

0.0620403033

0.0307376298

0.0058629961

0.1024968789

0.062473818

0.0106989745

0.0796313364

0.0362330225

0.0304441918

0.0051372772

0.1059300874

0.0616639205

0.0129288368

0.079078341

0.0681100844

0.0303096993

0.0052166816

0.1046816479

0.0617756305

0.0135755763

0.079078341

0.0580128251

0.0304319652

0.0071685514

0.1015605493

0.062306253

0.0121352915

0.0770506912

0.0366900413

0.0301874335

0.006139988

0.1049937578

0.061747703

0.0150634737

0.0770506912

0.0387323441

0.0301263006

0.0041216401

0.1099875156

0.061468428

0.0101514283

0.0787096774

0.0452591439

0.0301874335

0.006139988

0.0943820225

0.0611053705

0.0110957472

0.0777880184

0.0697953413

0.0299551284

0.0063375756

0.0987515605

0.0619990505

0.0100522351

0.0757603687

0.0595409817

0.030114074

0.0052166816

0.1028089888

0.0624458905

0.0118892925

0.0739170507

0.0572987332

0.0298817689

0.0056912611

0.1031210986

0.0621107605

0.0086635308

0.0742857143

0.0545423385

0.030114074

0.0069709639

0.1087390762

0.0612170805

0.0141707352

0.0763133641

0.0619403305

0.0297961829

0.0060605837

0.1009363296

0.062417963

0.0126312574

0.0759447005

0.0777503249

0.029673917

0.0065093106

0.1034332085

0.062138688

0.0130796104

0.0752073733

0.0705094332

0.0296250107

0.0051372772

0.0946941323

0.0620549055

0.0120360984

0.0737327189

0.0827489681

0.0295638778

0.0057706654

0.1093632959

0.061859413

0.0137739626

0.0744700461

0.0465873549

0.0295516512

0.0044909627

0.1074906367

0.0612170805

0.0129288368

0.0741013825

0.0563275682

0.0297839563

0.0052166816

0.1046816479

0.061859413

0.0135755763

0.0731797235

0.0622973764

0.0297350499

0.0055065998

0.1046816479

0.061580138

0.0120360984

0.0713364055

0.0495436953

0.029441612

0.0054936735

0.1065543071

0.061635993

0.0126828378

0.0724423963

0.0690812494

0.029673917

0.0057835917

0.1028089888

0.061635993

0.0116393257

0.0722580645

0.077036233

0.0296616904

0.006139988

0.1

0.0612729355

0.0124844515

0.0702304147

0.0662248818

0.0296616904

0.0060605837

0.0996878901

0.061580138

0.0114409394

0.0702304147

0.0659678087

0.0297228234

0.0057706654

0.0984394507

0.061580138

0.0106989745

0.0696774194

0.0637255602

0.0296005575

0.0044909627

0.1078027466

0.061580138

0.0092586898

0.0689400922

0.0627543952

0.0298084094

0.0060476574

0.0965667915

0.0618873405

0.012186872

0.0694930876

0.0594410089

0.0297228234

0.0052296079

0.1024968789

0.0624458905

0.0117385189

0.0689400922

0.0545423385

0.0300773943

0.0050320203

0.1084269663

0.062306253

0.0149642805

0.0678341014

0.0419457576

0.0301996601

0.0052296079

0.0971910112

0.061300863

0.009953042

0.0689400922

0.0502577872

0.0299306753

0.004847359

0.097815231

0.061747703

0.0118892925

0.0685714286

0.0498007684

0.0297228234

0.0057835917

0.1065543071

0.061971123

0.0117385189

0.067281106

0.0623973493

0.029527198

0.0074326171

0.0950062422

0.062306253

0.0111949404

0.067281106

0.0490866765

0.0295516512

0.0044909627

0.1046816479

0.061747703

0.0116393257

0.0667281106

0.0552564304

0.0294293854

0.0058629961

0.1037453184

0.0614963555

0.0124844515

0.0659907834

0.0683671575

0.0291237208

0.0048602853

0.0990636704

0.0615522105

0.0098538488

0.0656221198

0.0723946357

0.0293193461

0.0065093106

0.0962546816

0.061300863

0.0122860651

0.0637788018

0.0558705494

0.0287691499

0.0055989304

0.1053058677

0.0621666155

0.0129288368

0.06359447

0.0427598223

0.0290381347

0.0044780364

0.1028089888

0.061635993

0.0146667011

0.0656221198

0.0430168954

0.0289525486

0.0055065998

0.0993757803

0.0621666155

0.0101514283

0.0639631336

0.0424027764

0.0291726271

0.0072479558

0.1087390762

0.0611053705

0.0128812241

0.0648847926

0.0465873549

0.0292704398

0.0047679546

0.0981273408

0.061189153

0.0111433599

0.0637788018

0.0548993845

0.0289770018

0.0047550283

0.0990636704

0.0618314855

0.0124844515

0.0608294931

0.0515859981

0.0289770018

0.0050449466

0.1031210986

0.0612170805

0.0106473941

0.0621198157

0.0381182251

0.0291114942

0.0058629961

0.0981273408

0.0614963555

0.0134763831

0.0624884793

0.0365900684

0.0287813765

0.0047679546

0.1028089888

0.061580138

0.0103498146

0.0630414747

0.0634684871

0.0286713372

0.0058629961

0.1018726592

0.061189153

0.011591713

0.0617511521

0.0626544224

0.0287691499

0.0040293094

0.0971910112

0.0617756305

0.0112425531

0.0613824885

0.0613262115

0.0286468841

0.0071556252

0.102184769

0.061747703

0.0131788036

0.0593548387

0.0469444008

0.0287324701

0.005968253

0.0950062422

0.061691848

0.0108457804

0.0599078341

0.0741798655

0.0285123916

0.0065093106

0.1084269663

0.0618314855

0.0113933267

0.0610138249

0.0547994116

0.0283534461

0.0060605837

0.0984394507

0.0621666155

0.0113417462

0.0575115207

0.0474014196

0.0284023524

0.0060476574

0.1003121099

0.0619431955

0.0135755763

0.0589861751

0.0444450792

0.0285368448

0.0061529143

0.1043695381

0.061915268

0.0112425531

0.0573271889

0.0366900413

0.0283901258

0.0046626977

0.1012484395

0.0616080655

0.012782031

0.0591705069

0.0444450792

0.0282434068

0.0057835917

0.0984394507

0.062138688

0.0118377121

0.0595391705

0.0648966709

0.0280477815

0.00641698

0.1031210986

0.061859413

0.0116909062

0.0576958525

0.0387323441

0.0284023524

0.0052296079

0.1078027466

0.061468428

0.0098538488

0.0576958525

0.0595409817

0.0286957904

0.004570367

0.1046816479

0.0616080655

0.0149642805

0.05640553

0.0498007684

0.0286224309

0.0070762208

0.1040574282

0.061971123

0.0126312574

0.0567741935

0.0352618575

0.0280844612

0.0066939719

0.1053058677

0.061859413

0.0113933267

0.0541935484

0.0537282738

0.0282311802

0.0056912611

0.1081148564

0.061971123

0.0121352915

0.0541935484

0.0366900413

0.0280477815

0.0066939719

0.0971910112

0.061635993

0.0139723489

0.0558525346

0.0369471144

0.0284512587

0.0050449466

0.0984394507

0.061468428

0.0123336779

0.0560368664

0.0573987061

0.0281945005

0.007986601

0.1034332085

0.061971123

0.0120876788

0.0540092166

0.0540853197

0.0284023524

0.0050449466

0.0968789014

0.061971123

0.01302803

0.052718894

0.0409745926

0.0282311802

0.0057706654

0.1034332085

0.061468428

0.0124844515

0.0552995392

0.0533712278

0.0282923131

0.0041216401

0.1024968789

0.0613846455

0.0131272232

0.053640553

0.0548993845

0.0279621954

0.0062323187

0.1046816479

0.062138688

0.0146667011

0.0529032258

0.0226652766

0.0283901258

0.0053219385

0.1006242197

0.061635993

0.0110441667

0.0543778802

0.0602550736

0.0281089144

0.0065093106

0.0996878901

0.0615522105

0.0140715421

0.0532718894

0.039446436

0.0282800866

0.0043063014

0.1012484395

0.0619431955

0.0118377121

0.0538248848

0.0673959925

0.027974422

0.0067863026

0.1093632959

0.0618873405

0.0128812241

0.0534562212

0.0544423656

0.0280722347

0.0060605837

0.1040574282

0.062250398

0.0121352915

0.0521658986

0.0548993845

0.0280600081

0.0056783348

0.1056179775

0.061747703

0.0133771899

0.050875576

0.0440880332

0.0282311802

0.0052296079

0.1087390762

0.061077443

0.0104490078

0.0530875576

0.064182579

0.0280844612

0.0060476574

0.1071785268

0.061747703

0.0135755763

0.0529032258

0.0476584927

0.0282311802

0.0052296079

0.0990636704

0.060909878

0.0104490078

0.0505069124

0.0677530385

0.0280722347

0.0073402864

0.1046816479

0.0618314855

0.0116909062

0.0503225806

0.0630114683

0.0280233283

0.0067068982

0.1062421973

0.061635993

0.0138215753

0.0506912442

0.0691812222

0.0280355549

0.0057706654

0.1059300874

0.062306253

0.0114925198

0.0501382488

0.0462303089

0.0280966878

0.0053219385

0.097815231

0.062864803

0.012432871

0.0501382488

0.0616832574

0.0282067271

0.007986601

0.0943820225

0.0619990505

0.0123852583

0.0512442396

0.0426598495

0.0280355549

0.005968253

0.0912609238

0.0616080655

0.0110441667

0.0512442396

0.0434739142

0.0282800866

0.0058629961

0.1078027466

0.060854023

0.012782031

0.0497695853

0.0508719062

0.0283656726

0.0055989304

0.1006242197

0.061356718

0.0128296437

0.0497695853

0.0434739142

0.0278766093

0.006139988

0.1037453184

0.061747703

0.0091118839

0.0495852535

0.0448021251

0.0282556334

0.0052296079

0.0996878901

0.061524283

0.0116393257

0.0479262673

0.0820348762

0.0280355549

0.0050320203

0.1059300874

0.0617756305

0.0116909062

0.0488479263

0.0451591711

0.0279866486

0.0055989304

0.1003121099

0.062082833

0.0104490078

0.0499539171

0.0391893629

0.0279621954

0.0073402864

0.1015605493

0.060965733

0.0130796104

0.0484792627

0.033019609

0.0281700473

0.0068915595

0.1006242197

0.062473818

0.0116393257

0.0490322581

0.0402605007

0.0284634853

0.0062323187

0.0925093633

0.062026978

0.0141707352

0.0484792627

0.0505148603

0.0280722347

0.005968253

0.1006242197

0.0616080655

0.0128296437

0.0477419355

0.0563275682

0.0277054372

0.0058629961

0.0996878901

0.0621107605

0.0131788036

0.0482949309

0.0387323441

0.028121141

0.0043063014

0.1028089888

0.062473818

0.0108457804

0.0488479263

0.0402605007

0.0280233283

0.0057706654

0.0981273408

0.062026978

0.011591713

0.0470046083

0.0444450792

0.02826786

0.0049526159

0.1040574282

0.0619431955

0.0117385189

0.0471889401

0.0620403033

0.0279255157

0.0068786332

0.0975031211

0.0622783255

0.0124844515

0.0481105991

0.0512289521

0.0280844612

0.0051372772

0.1043695381

0.0613846455

0.0117385189

0.0468202765

0.0766791871

0.0286102043

0.0052166816

0.1037453184

0.0618873405

0.0126828378

0.0477419355

0.0348048387

0.0280966878

0.0053219385

0.0956304619

0.061803558

0.0091594967

0.0468202765

0.0466873277

0.0283289929

0.0050320203

0.0971910112

0.0616080655

0.0130796104

0.0473732719

0.0576557791

0.0279132891

0.0049526159

0.0959425718

0.0610495155

0.0116393257

0.0482949309

0.0420457304

0.027827703

0.0058629961

0.1006242197

0.0623900355

0.0114925198

0.0477419355

0.033019609

0.0284757119

0.0054142691

0.1031210986

0.061635993

0.0116393257

0.0488479263

0.0591839358

0.0280722347

0.0056783348

0.1

0.0613846455

0.0117900993

0.0464516129

0.039446436

0.0280477815

0.0047679546

0.0971910112

0.062194543

0.0105482009

0.0479262673

0.0816778303

0.0282189536

0.0055860042

0.0965667915

0.0622224705

0.0129804173

0.0464516129

0.0208800468

0.0284268056

0.0049526159

0.1127965044

0.0618873405

0.0112425531

0.0471889401

0.0456161899

0.0283167663

0.0063246493

0.1059300874

0.061412573

0.0140715421

0.0466359447

0.0612262386

0.0281578207

0.0060605837

0.1043695381

0.061356718

0.0135239958

0.0494009217

0.057755752

0.0284634853

0.006139988

0.1046816479

0.062026978

0.0150634737

0.0462672811

0.0490866765

0.0283534461

0.0048602853

0.1040574282

0.0619431955

0.0113417462

0.0471889401

0.0420457304

0.0280233283

0.00641698

0.0990636704

0.061691848

0.0130796104

0.0457142857

0.0558705494

0.0283167663

0.0055065998

0.1053058677

0.0613846455

0.0096554625

0.0455299539

0.0491866493

0.0280355549

0.0066939719

0.0996878901

0.0616639205

0.0136747694

0.0457142857

0.0533712278

0.0279377422

0.0060605837

0.0984394507

0.061468428

0.0129288368

0.0458986175

0.0566846142

0.027827703

0.00641698

0.1124843945

0.0615522105

0.0125836446

0.0453456221

0.0426598495

0.0283534461

0.0057835917

0.1053058677

0.0614405005

0.0127304505

0.0457142857

0.0488296034

0.0284757119

0.0058629961

0.0906367041

0.0620549055

0.0129804173

0.0479262673

0.045516217

0.0279499688

0.0040293094

0.0987515605

0.062250398

0.0134248027

0.0462672811

0.0202659278

0.027974422

0.0055860042

0.1218476904

0.061691848

0.0111949404

0.0464516129

0.0533712278

0.0287324701

0.0071685514

0.1062421973

0.0615522105

0.0159046317

0.0458986175

0.0538282466

0.0277421169

0.0063246493

0.1102996255

0.061356718

0.0136747694

0.0468202765

0.0558705494

0.0285735246

0.0065222369

0.0971910112

0.0616080655

0.0141191548

0.0442396313

0.0424027764

0.0280600081

0.0066016413

0.1

0.061524283

0.0131788036

0.0455299539

0.0280209657

0.0281945005

0.0055065998

0.0981273408

0.061300863

0.0090603035

0.0453456221

0.032048444

0.0283901258

0.0056783348

0.1056179775

0.062362108

0.0148650874

0.0457142857

0.0373041603

0.0279866486

0.0052296079

0.0968789014

0.062026978

0.0121352915

0.0460829493

0.0277638927

0.027974422

0.0058629961

0.0968789014

0.061524283

0.0130796104

0.0460829493

0.0426598495

0.0278643827

0.0055065998

0.1034332085

0.0614963555

0.0102506214

0.0464516129

0.0466873277

0.0282311802

0.007709609

0.1043695381

0.0624458905

0.0111949404

0.0468202765

0.0426598495

0.0278154764

0.0063375756

0.1102996255

0.061468428

0.0131272232

0.0473732719

0.0488296034

0.0279499688

0.0059553267

0.1034332085

0.061691848

0.0132779968

0.0471889401

0.0362330225

0.0279132891

0.0049526159

0.0993757803

0.061803558

0.0104490078

0.0458986175

0.0598980277

0.0282311802

0.00641698

0.0950062422

0.0620549055

0.011591713

0.0475576037

0.0273068738

0.0281333676

0.0061529143

0.1006242197

0.061747703

0.0129288368

0.0471889401

0.0524000628

0.027974422

0.0063246493

0.102184769

0.0621107605

0.0108973609

0.0453456221

0.0512289521

0.0282189536

0.0045832933

0.1034332085

0.0617197755

0.0127304505

0.0464516129

0.0677530385

0.0280111017

0.0057706654

0.0975031211

0.0615522105

0.0125836446

0.0451612903

0.0319484711

0.027827703

0.0040293094

0.1006242197

0.062026978

0.0106473941

0.0464516129

0.0491866493

0.027827703

0.0053090122

0.106866417

0.061077443

0.0129804173

0.0455299539

0.0251645982

0.0282067271

0.0057835917

0.1003121099

0.061524283

0.0115401326

0.0479262673

0.0666819006

0.0281822739

0.0060476574

0.102184769

0.061468428

0.0136747694

0.0466359447

0.0490866765

0.0280233283

0.0055989304

0.1056179775

0.062194543

0.0115401326

0.0455299539

0.0688241763

0.0280477815

0.0066016413

0.1034332085

0.0613846455

0.0118892925

0.0449769585

0.0437309873

0.0281089144

0.0057835917

0.1037453184

0.0621666155

0.0117385189

0.0470046083

0.057755752

0.0283045397

0.0044780364

0.1034332085

0.0617756305

0.0151626669

0.0464516129

0.0412316657

0.0278766093

0.0033829949

0.0993757803

0.0619990505

0.0111433599

0.0471889401

0.044902098

0.0279255157

0.0068786332

0.1056179775

0.061971123

0.012782031

0.0466359447

0.0194518631

0.0282067271

0.0051372772

0.102184769

0.061971123

0.0120360984

0.0460829493

0.0327625359

0.0283289929

0.0065093106

0.1078027466

0.060854023

0.0105997814

0.0468202765

0.071580571

0.0281700473

0.0054142691

0.0975031211

0.0615522105

0.0090603035

0.0458986175

0.0634684871

0.0282434068

0.0067863026

0.102184769

0.0616639205

0.0111949404

0.0462672811

0.0444450792

0.0282311802

0.0064299063

0.1003121099

0.0621107605

0.0100522351

0.0453456221

0.0845341979

0.0278154764

0.0055860042

0.1034332085

0.0621666155

0.0129804173

0.0460829493

0.0487296305

0.0279377422

0.004398632

0.1040574282

0.0621666155

0.012432871

0.0455299539

0.0349048116

0.0278766093

0.0070632945

0.097815231

0.0606026755

0.0133771899

0.0473732719

0.0480155386

0.0280477815

0.005968253

0.1012484395

0.0615522105

0.0106473941

0.0470046083

0.0552564304

0.0281333676

0.0076172784

0.1018726592

0.061691848

0.0135755763

0.0462672811

0.0473014468

0.0280722347

0.0043063014

0.1024968789

0.062306253

0.0109449736

0.0455299539

0.0484725574

0.0276443042

0.0056783348

0.1043695381

0.062026978

0.0136747694

0.0455299539

0.033019609

0.0280844612

0.004675624

0.0990636704

0.062306253

0.0139207685

0.0458986175

0.0681100844

0.0281700473

0.0059553267

0.0971910112

0.061971123

0.0130796104

0.0470046083

0.0419457576

0.0279866486

0.0067068982

0.1065543071

0.0619990505

0.0122344847

0.0464516129

0.0441880061

0.0281700473

0.0054936735

0.0984394507

0.0618873405

0.0126828378

0.0462672811

0.0380182522

0.0280722347

0.0076302047

0.1053058677

0.0613287905

0.0104490078

0.0464516129

0.0541852926

0.0281333676

0.00641698

0.1059300874

0.061412573

0.0151626669

0.0460829493

0.0426598495

0.0282311802

0.0064299063

0.1028089888

0.062473818

0.0097546556

0.0455299539

0.0527571088

0.0279377422

0.0054936735

0.1056179775

0.061524283

0.0140715421

0.0466359447

0.0540853197

0.0278399296

0.0070762208

0.0946941323

0.0621666155

0.013623189

0.0447926267

0.0552564304

0.0281333676

0.0070632945

0.1093632959

0.061747703

0.0123852583

0.0451612903

0.0615832845

0.0280722347

0.0052296079

0.0996878901

0.061859413

0.0122344847

0.0447926267

0.058112798

0.0276687574

0.0056783348

0.0968789014

0.0617197755

0.0132779968

0.0457142857

0.0601551008

0.0276320777

0.0055065998

0.0959425718

0.061356718

0.0089611103

0.0457142857

0.064539625

0.0280966878

0.0069709639

0.106866417

0.0617197755

0.012782031

0.0442396313

0.0273068738

0.0279132891

0.0055989304

0.0981273408

0.0616080655

0.0116393257

0.0457142857

0.0606121196

0.0279499688

0.0072479558

0.1037453184

0.061747703

0.0138731558

0.0436866359

0.039446436

0.0283167663

0.0057835917

0.106866417

0.061915268

0.0116393257

0.0470046083

0.0463302818

0.0282556334

0.0074326171

0.1049937578

0.0618873405

0.012186872

0.0464516129

0.0369471144

0.0279866486

0.0068915595

0.1053058677

0.0624458905

0.0103498146

0.0462672811

0.0570416601

0.0282923131

0.006139988

0.1062421973

0.061412573

0.0137739626

0.0462672811

0.0344477927

0.0279132891

0.006245245

0.1009363296

0.061915268

0.0091594967

0.0440552995

0.0573987061

0.027974422

0.007709609

0.0987515605

0.062138688

0.0114925198

0.0464516129

0.0301632414

0.0280600081

0.0055989304

0.0996878901

0.0621107605

0.009953042

0.0458986175

0.0538282466

0.0278521562

0.0068786332

0.1062421973

0.0616639205

0.0095086566

0.0468202765

0.0430168954

0.0281822739

0.0071685514

0.0906367041

0.062250398

0.0112425531

0.0455299539

0.0456161899

0.0280233283

0.0054936735

0.0968789014

0.0619431955

0.0107981677

0.0453456221

0.0180236793

0.0279255157

0.0067992289

0.1043695381

0.0627251655

0.0135239958

0.0444239631

0.0602550736

0.0280722347

0.0075249477

0.0897003745

0.061915268

0.0142699284

0.0455299539

0.0551564575

0.0279499688

0.0056912611

0.0965667915

0.0611612255

0.0104490078

0.0455299539

0.0720375898

0.0277421169

0.0071556252

0.1034332085

0.0621107605

0.0138731558

0.0447926267

0.0501578143

0.0280111017

0.0072608821

0.1037453184

0.0619431955

0.0101514283

0.0440552995

0.0713234979

0.0280477815

0.0073402864

0.0943820225

0.061859413

0.0117900993

0.0453456221

0.0355189306

0.0278888359

0.0071685514

0.097815231

0.062529673

0.0123336779

0.0453456221

0.0588268898

0.0282189536

0.0065093106

0.0956304619

0.061747703

0.012782031

0.0457142857

0.0487296305

0.0280233283

0.0058759224

0.1059300874

0.062250398

0.0105482009

0.0446082949

0.0531141547

0.0278643827

0.0081712623

0.1034332085

0.0617756305

0.0113933267

0.0457142857

0.0412316657

0.0279499688

0.0067068982

0.1106117353

0.062082833

0.0105482009

0.0457142857

0.0663248547

0.02826786

0.00927923

0.1012484395

0.062194543

0.012782031

0.0462672811

0.05230009

0.027974422

0.007537874

0.1003121099

0.061133298

0.0127304505

0.0442396313

0.0474014196

0.0280355549

0.0069709639

0.1034332085

0.0616639205

0.0118892925

0.0444239631

0.05230009

0.0278399296

0.0072608821

0.1056179775

0.062138688

0.0106473941

0.0449769585

0.0474014196

0.0279010625

0.0090945687

0.097815231

0.061468428

0.0129804173

0.0435023041

0.0351618846

0.0280722347

0.0063375756

0.1009363296

0.061859413

0.0126312574

0.0449769585

0.0598980277

0.0281578207

0.0081712623

0.1046816479

0.061859413

0.0146667011

0.0453456221

0.0248075522

0.028121141

0.0076302047

0.1018726592

0.062082833

0.0113417462

0.0436866359

0.0681100844

0.0280233283

0.0094638913

0.1049937578

0.0618314855

0.0119884857

0.0442396313

0.0405175738

0.0279621954

0.0077225353

0.0956304619

0.0617756305

0.0121352915

0.0440552995

0.0602550736

0.0279377422

0.0086329155

0.1031210986

0.0617756305

0.0116909062

0.0444239631

0.026235736

0.0277543435

0.0088305031

0.1034332085

0.061859413

0.0116393257

0.0447926267

0.0456161899

0.0279866486

0.0082635929

0.0990636704

0.0617197755

0.0118892925

0.0442396313

0.0358759765

0.0280233283

0.0088305031

0.1034332085

0.0619431955

0.0112425531

0.0449769585

0.0338336737

0.0280600081

0.0096485526

0.1071785268

0.0617756305

0.011591713

0.0438709677

0.0537282738

0.0282556334

0.0091998257

0.0971910112

0.062026978

0.0104490078

0.0433179724

0.0434739142

0.0278766093

0.0085405849

0.0984394507

0.0619990505

0.0114925198

0.0444239631

0.0348048387

0.0279255157

0.0107694467

0.1087390762

0.061803558

0.0083659514

0.0444239631

0.0495436953

0.0277543435

0.0105718591

0.1024968789

0.061859413

0.0142699284

0.0436866359

0.0401605279

0.0278888359

0.0100308015

0.1046816479

0.0616080655

0.0102506214

0.0444239631

0.0470443737

0.0279255157

0.0112181736

0.1043695381

0.0618873405

0.0141707352

0.0444239631

0.0319484711

0.0279988752

0.0102154628

0.0993757803

0.061803558

0.0113417462

0.0446082949

0.0388323169

0.0279132891

0.0114028349

0.1015605493

0.061356718

0.0112941335

0.0451612903

0.0348048387

0.0282556334

0.0098461402

0.1031210986

0.0616639205

0.0116393257

0.0433179724

0.0470443737

0.0284268056

0.0114028349

0.1031210986

0.062362108

0.0131788036

0.0440552995

0.0290921036

0.0276443042

0.0115080919

0.0990636704

0.061412573

0.0116393257

0.0446082949

0.0570416601

0.0279132891

0.0127877946

0.1049937578

0.061412573

0.0134763831

0.0444239631

0.0162384496

0.0282189536

0.0128930516

0.1003121099

0.0617756305

0.0117385189

0.0433179724

0.0609691655

0.0280111017

0.0131571172

0.1028089888

0.0619431955

0.0123852583

0.0433179724

0.0483725846

0.0277665701

0.0127083903

0.109051186

0.0618873405

0.0107465873

0.0449769585

0.0559705223

0.0278888359

0.0126031333

0.1009363296

0.061859413

0.0126828378

0.0440552995

0.0465873549

0.0278032498

0.0130777129

0.1015605493

0.0621666155

0.0100522351

0.0438709677

0.0434739142

0.0280111017

0.0146344076

0.1031210986

0.061468428

0.0134763831

0.0444239631

0.032662563

0.0281333676

0.0120620757

0.0959425718

0.062250398

0.013623189

0.0440552995

0.0499007412

0.0280722347

0.0125108027

0.0996878901

0.0616639205

0.0125836446

0.0442396313

0.0333766549

0.0279988752

0.0141856806

0.1009363296

0.0621107605

0.0117385189

0.0446082949

0.0609691655

0.0279377422

0.0129724559

0.1015605493

0.061859413

0.0140715421

0.0436866359

0.0437309873

0.027974422

0.0133547048

0.1018726592

0.0624458905

0.0126312574

0.0440552995

0.0598980277

0.0279377422

0.0156500447

0.1071785268

0.0617197755

0.0133771899

0.0431336406

0.0419457576

0.0280477815

0.0157553016

0.1081148564

0.062250398

0.0123336779

0.0433179724

0.0648966709

0.0280355549

0.0159270366

0.0981273408

0.0622783255

0.0119884857

0.0438709677

0.0462303089

0.0279255157

0.0166786081

0.1040574282

0.062306253

0.0140199616

0.0425806452

0.0556134763

0.0280477815

0.0167580125

0.1012484395

0.061859413

0.0151626669

0.0433179724

0.0412316657

0.028121141

0.0163092855

0.1006242197

0.062082833

0.0125320642

0.0440552995

0.0420457304

0.0280477815

0.0173119963

0.0984394507

0.0618873405

0.012186872

0.0438709677

0.03908939

0.0280966878

0.0177865759

0.1003121099

0.0621666155

0.0108457804

0.0422119816

0.0420457304

0.0279621954

0.0214668755

0.1037453184

0.062362108

0.0136747694

0.0422119816

0.0423028035

0.0280844612

0.0195408582

0.1003121099

0.062026978

0.0126312574

0.0431336406

0.058112798

0.0279499688

0.0193432706

0.0996878901

0.0618873405

0.0132779968

0.042764977

0.0340907468

0.0278032498

0.0208334872

0.0990636704

0.062026978

0.0089611103

0.0442396313

0.0638255331

0.0277543435

0.0207282303

0.0975031211

0.061747703

0.0110957472

0.042764977

0.045873263

0.027827703

0.0211104792

0.1040574282

0.061915268

0.0085643377

0.0425806452

0.0491866493

0.0280233283

0.021836198

0.1024968789

0.0620549055

0.0114925198

0.0431336406

0.032662563

0.0277910232

0.0236957373

0.1065543071

0.0621666155

0.0109449736

0.0431336406

0.0463302818

0.0280844612

0.0223901819

0.1053058677

0.061747703

0.011591713

0.042764977

0.0487296305

0.0277298903

0.0210181485

0.1012484395

0.0619431955

0.0115401326

0.0425806452

0.0559705223

0.0278399296

0.0241444642

0.0990636704

0.0616639205

0.0105005882

0.042764977

0.0387323441

0.0278766093

0.0226801002

0.0968789014

0.062082833

0.009953042

0.0429493088

0.0395464088

0.0278888359

0.02497544

0.1059300874

0.0618873405

0.0119884857

0.0420276498

0.0615832845

0.0279621954

0.0236034066

0.1015605493

0.0615522105

0.009953042

0.0416589862

0.0459732358

0.0278521562

0.0281146821

0.0975031211

0.0623341805

0.0099054292

0.0416589862

0.0312343792

0.0277910232

0.0280352777

0.1040574282

0.0611053705

0.0109449736

0.0420276498

0.0506148331

0.0279255157

0.0285763353

0.1056179775

0.061468428

0.012782031

0.0433179724

0.0362330225

0.0279988752

0.0294202374

0.1049937578

0.0617756305

0.0127304505

0.0431336406

0.0488296034

0.0278888359

0.0311615934

0.1037453184

0.061971123

0.0136747694

0.0436866359

0.0415887116

0.027974422

0.0293279068

0.0946941323

0.0621666155

0.0118377121

0.0431336406

0.0506148331

0.0277176637

0.0302382869

0.1053058677

0.061356718

0.0116909062

0.0440552995

0.0365900684

0.0281089144

0.0324671488

0.1040574282

0.0625576005

0.0120360984

0.0433179724

0.0366900413

0.0278766093

0.033100537

0.1009363296

0.0621107605

0.0122860651

0.0416589862

0.0669389737

0.0279255157

0.0354217295

0.1009363296

0.0615522105

0.0103498146

0.0442396313

0.0716805439

0.028121141

0.0365167709

0.0962546816

0.061803558

0.0135755763

0.0429493088

0.0487296305

0.028121141

0.0354217295

0.1031210986

0.0621107605

0.0122344847

0.0416589862

0.0499007412

0.0278766093

0.0372554161

0.1024968789

0.061635993

0.0099054292

0.0422119816

0.0315914252

0.0281333676

0.0390226247

0.0918851436

0.0623341805

0.0106473941

0.0422119816

0.0548993845

0.028121141

0.0403946581

0.1062421973

0.0620549055

0.0117900993

0.0429493088

0.0465873549

0.0280477815

0.0424388586

0.1003121099

0.061077443

0.0106473941

0.0416589862

0.0524000628

0.0280477815

0.0428875856

0.097815231

0.0618314855

0.0126828378

0.0431336406

0.0462303089

0.0278521562

0.0425311893

0.1040574282

0.061524283

0.0118377121

0.0423963134

0.0356189034

0.0280355549

0.0450111905

0.1012484395

0.0620549055

0.0125836446

0.0422119816

0.026592782

0.0282556334

0.0463167458

0.1087390762

0.061747703

0.012432871

0.0416589862

0.0648966709

0.0282067271

0.0474117873

0.1046816479

0.061859413

0.010996554

0.0433179724

0.0255216441

0.0280233283

0.0491789959

0.1009363296

0.0621107605

0.0112425531

0.0420276498

0.0381182251

0.027827703

0.0497200535

0.0990636704

0.0623900355

0.0118892925

0.0414746544

0.0580128251

0.0276932106

0.0524105685

0.1024968789

0.061356718

0.0123336779

0.0422119816

0.0616832574

0.0279255157

0.0525823035

0.1040574282

0.0614963555

0.0143691216

0.0422119816

0.0551564575

0.0279499688

0.0526875605

0.1034332085

0.0625017455

0.0117385189

0.0425806452

0.0438309602

0.0277665701

0.0538749326

0.1028089888

0.061691848

0.0140715421

0.0407373272

0.0355189306

0.0279377422

0.0553651492

0.1012484395

0.0617197755

0.0094570761

0.0436866359

0.0698953141

0.0278032498

0.0559062068

0.0965667915

0.060742313

0.0119884857

0.0440552995

0.0412316657

0.0278521562

0.0565654477

0.1024968789

0.0621666155

0.009357883

0.041843318

0.0334766278

0.0280722347

0.0588607875

0.1003121099

0.0619431955

0.0106989745

0.0414746544

0.0323055171

0.0278643827

0.0597970203

0.1037453184

0.0619431955

0.0111433599

0.0407373272

0.0481155115

0.0280844612

0.0641236344

0.1006242197

0.062306253

0.0123852583

0.042764977

0.0462303089

0.0277176637

0.062751601

0.1043695381

0.062082833

0.0121352915

0.0431336406

0.0527571088

0.0280477815

0.0649546103

0.1031210986

0.0626134555

0.0146667011

0.0411059908

0.03908939

0.02826786

0.0651521978

0.1049937578

0.0624458905

0.0096554625

0.0423963134

0.0545423385

0.0279010625

0.0666165619

0.0990636704

0.061356718

0.0132779968

0.0420276498

0.0487296305

0.0277787967

0.0695840689

0.0953183521

0.0617197755

0.0125320642

0.041843318

0.057755752

0.0277176637

0.0688324974

0.1012484395

0.0622224705

0.0126828378

0.0412903226

0.0073123009

0.0280966878

0.070876698

0.0940699126

0.0622224705

0.0104490078

0.040921659

0.0388323169

0.0278888359

0.0717870781

0.0987515605

0.0621107605

0.0124844515

0.0423963134

0.0494437224

0.0279988752

0.0730003028

0.1040574282

0.061971123

0.0115401326

0.0411059908

0.0723946357

0.0276565308

0.0729873766

0.1015605493

0.061580138

0.0130796104

0.0414746544

0.0405175738

0.0279866486

0.0749392464

0.0918851436

0.0618873405

0.0118377121

0.0420276498

0.0452591439

0.0277910232

0.0764959411

0.0962546816

0.061356718

0.0125836446

0.0422119816

0.0412316657

0.0279499688

0.0799251014

0.1031210986

0.0610495155

0.0118377121

0.0416589862

0.0481155115

0.0280844612

0.0767729331

0.1009363296

0.061524283

0.0126828378

0.041843318

0.0612262386

0.0278399296

0.0775245046

0.1015605493

0.062417963

0.0097546556

0.0420276498

0.0524000628

0.0280722347

0.0822204413

0.0993757803

0.0620549055

0.011591713

0.0416589862

0.03908939

0.0282067271

0.0812177304

0.1018726592

0.0621107605

0.0113417462

0.04

0.025621617

0.0279010625

0.0802814977

0.0950062422

0.061803558

0.0133771899

0.041843318

0.039446436

0.0277665701

0.0819563756

0.1018726592

0.0621107605

0.0123336779

0.0411059908

0.0456161899

0.0275831713

0.0845287074

0.0965667915

0.061971123

0.0135755763

0.0405529954

0.0348048387

0.0279866486

0.0843569724

0.1165418227

0.0622783255

0.0115401326

0.0411059908

0.0270498008

0.0282067271

0.0848056994

0.1056179775

0.0619431955

0.0131788036

0.0405529954

0.0387323441

0.0280966878

0.0844493031

0.0950062422

0.061580138

0.0133256095

0.0411059908

0.0509718791

0.0277054372

0.0866523123

0.0996878901

0.0621666155

0.0120876788

0.0414746544

0.0351618846

0.0280600081

0.0872192225

0.1018726592

0.061189153

0.0117385189

0.0411059908

0.0438309602

0.0279132891

0.0885912559

0.102184769

0.062138688

0.0103022019

0.0416589862

0.0487296305

0.0279988752

0.0883271903

0.1028089888

0.061580138

0.0109449736

0.0414746544

0.0377611791

0.0277054372

0.0882219333

0.1062421973

0.061971123

0.0110957472

0.041843318

0.0315914252

0.0279866486

0.0907277871

0.1009363296

0.061468428

0.0125320642

0.0414746544

0.064539625

0.0279621954

0.089883885

0.1031210986

0.0617197755

0.012782031

0.040921659

0.0151673117

0.0277298903

0.0891581661

0.0965667915

0.062641383

0.0115401326

0.0412903226

0.0627543952

0.0277054372

0.0908995221

0.1015605493

0.0613287905

0.012186872

0.0411059908

0.0373041603

0.0277543435

0.0898044806

0.1006242197

0.062194543

0.0123336779

0.041843318

0.0491866493

0.0276320777

0.0894222317

0.1043695381

0.0615522105

0.0126828378

0.040921659

0.0448021251

0.0278154764

0.08971215

0.1006242197

0.0621107605

0.0116393257

0.0411059908

0.0691812222

0.028121141

0.0894222317

0.1009363296

0.061859413

0.011591713

0.04

0.0323055171

0.0279377422

0.0877732064

0.106866417

0.0618314855

0.0115401326

0.040921659

0.0684671304

0.0279255157

0.0892375704

0.0959425718

0.0616639205

0.0101038156

0.0422119816

0.058369871

0.0278643827

0.0885118516

0.097815231

0.0623341805

0.0098538488

0.0407373272

0.0563275682

0.0279010625

0.0875756188

0.0993757803

0.0613846455

0.0132779968

0.0420276498

0.0301632414

0.0277910232

0.0877732064

0.0965667915

0.0615522105

0.0120360984

0.0414746544

0.0602550736

0.0281089144

0.0862829897

0.1018726592

0.0617756305

0.0123852583

0.0407373272

0.039446436

0.0277054372

0.0866652386

0.093133583

0.062026978

0.0117385189

0.0412903226

0.0366900413

0.0278399296

0.0841593849

0.1012484395

0.0618314855

0.0146667011

0.0403686636

0.0412316657

0.0276932106

0.083433666

0.097815231

0.0618314855

0.0109449736

0.0405529954

0.0466873277

0.0278643827

0.0838823929

0.1024968789

0.061300863

0.0128812241

0.0398156682

0.0590839629

0.0276443042

0.0821410369

0.1037453184

0.0619431955

0.0117385189

0.0412903226

0.051685971

0.0277054372

0.0828667558

0.102184769

0.061971123

0.0123852583

0.0422119816

0.0380182522

0.0277298903

0.0776168352

0.1012484395

0.0619990505

0.0112425531

0.0403686636

0.0424027764

0.0282556334

0.0793581912

0.0981273408

0.0620549055

0.0136747694

0.0414746544

0.0697953413

0.0280600081

0.0785401417

0.0993757803

0.0620549055

0.0119369052

0.0411059908

0.0356189034

0.0280111017

0.0776039089

0.1003121099

0.061971123

0.0096078498

0.0401843318

0.0373041603

0.0279010625

0.0763242061

0.0953183521

0.0621666155

0.0113417462

0.040921659

0.0399034548

0.0277910232

0.0750186508

0.0990636704

0.0618873405

0.0110957472

0.0407373272

0.026235736

0.0276320777

0.0722616577

0.0990636704

0.062641383

0.009953042

0.0412903226

0.0481155115

0.0280966878

0.0730797072

0.1056179775

0.0612729355

0.0110957472

0.041843318

0.032662563

0.0279499688

0.0705073754

0.1049937578

0.0614405005

0.0096554625

0.04

0.0474014196

0.0277543435

0.0691094894

0.1096754057

0.0617756305

0.0112941335

0.0403686636

0.0505148603

0.0280477815

0.0686607624

0.1102996255

0.0619990505

0.012432871

0.040921659

0.038475271

0.028121141

0.0684631748

0.1031210986

0.0623900355

0.0144683147

0.0423963134

0.0515859981

0.027827703

0.0660755043

0.0996878901

0.0616639205

0.013623189

0.0407373272

0.0659678087

0.0279377422

0.0643082957

0.1043695381

0.062250398

0.0123852583

0.0412903226

0.0423028035

0.0280111017

0.0612743107

0.0993757803

0.061803558

0.0116393257

0.0401843318

0.064539625

0.0279621954

0.0625540134

0.1049937578

0.0619431955

0.0126828378

0.0412903226

0.0551564575

0.0282311802

0.0582273993

0.0959425718

0.0619431955

0.0115401326

0.0412903226

0.0420457304

0.0281945005

0.0587684569

0.1006242197

0.0616080655

0.0113933267

0.0405529954

0.0558705494

0.0278399296

0.0577657461

0.1018726592

0.0626134555

0.0117385189

0.0407373272

0.044902098

0.0278521562

0.0562755294

0.1059300874

0.062250398

0.0118892925

0.0412903226

0.0098116226

0.0279866486

0.0556421412

0.1062421973

0.0620549055

0.0088619172

0.040921659

0.0427598223

0.0278399296

0.0538749326

0.0962546816

0.061580138

0.0126828378

0.0416589862

0.0423028035

0.0280233283

0.0516719234

0.0965667915

0.062362108

0.009953042

0.0416589862

0.0238363873

0.0281455942

0.050366368

0.1018726592

0.0612170805

0.0133771899

0.0411059908

0.0430168954

0.0281455942

0.0494559878

0.1043695381

0.0618314855

0.0127304505

0.0411059908

0.0427598223

0.0280233283

0.0482427631

0.1065543071

0.061468428

0.0128812241

0.0396313364

0.0380182522

0.0277298903

0.0468707297

0.1024968789

0.0619990505

0.0116393257

0.0407373272

0.0441880061

0.0279010625

0.0470424647

0.1031210986

0.0622783255

0.0106989745

0.040921659

0.045873263

0.0277665701

0.0441931409

0.1078027466

0.0620549055

0.0103498146

0.0422119816

0.0534712007

0.0282067271

0.0455651744

0.1053058677

0.0621107605

0.0128812241

0.0414746544

0.0323055171

0.0277421169

0.0419772054

0.0956304619

0.0612170805

0.0107465873

0.04

0.0524000628

0.027534265

0.0423336017

0.106866417

0.061580138

0.0139723489

0.0414746544

0.045873263

0.0277298903

0.0412385602

0.0984394507

0.0622224705

0.0111433599

0.0407373272

0.0670389466

0.0280477815

0.0403946581

0.0981273408

0.061747703

0.011591713

0.0403686636

0.0298061955

0.0276320777

0.0377299956

0.0981273408

0.062417963

0.0111433599

0.041843318

0.0609691655

0.0278888359

0.039379021

0.1012484395

0.0616639205

0.0104013951

0.0401843318

0.0337337009

0.0278032498

0.0354217295

0.0943820225

0.0620549055

0.0117385189

0.0392626728

0.0409745926

0.0276687574

0.0328235451

0.0965667915

0.061245008

0.012782031

0.0416589862

0.045873263

0.0277421169

0.034498423

0.0965667915

0.0612729355

0.0111433599

0.0414746544

0.0531141547

0.0278399296

0.0354088032

0.1009363296

0.061412573

0.0144683147

0.0405529954

0.0473014468

0.0280722347

0.0316361729

0.1018726592

0.0615522105

0.0119369052

0.04

0.0545423385

0.0279621954

0.0343008354

0.102184769

0.0616080655

0.012186872

0.0414746544

0.0412316657

0.027827703

0.0314515116

0.0940699126

0.062194543

0.0127304505

0.0405529954

0.0545423385

0.0282067271

0.0308846015

0.1

0.061635993

0.0117900993

0.0422119816

0.0412316657

0.0279988752

0.0292355761

0.097815231

0.0611053705

0.0128296437

0.0405529954

0.051685971

0.0278643827

0.0321772305

0.1043695381

0.0616080655

0.012186872

0.0412903226

0.033019609

0.027680984

0.0287739229

0.0996878901

0.062194543

0.0102506214

0.040921659

0.0666819006

0.0275953979

0.0292226498

0.113732834

0.061635993

0.0113933267

0.040921659

0.0487296305

0.0282434068

0.0275736245

0.1003121099

0.062417963

0.0129288368

0.040921659

0.0474014196

0.0277787967

0.0270067143

0.1046816479

0.0619431955

0.0151626669

0.040921659

0.0565846413

0.0279132891

0.0265579873

0.0990636704

0.0609936605

0.0125320642

0.04

0.0552564304

0.0280355549

0.0259910772

0.1006242197

0.061747703

0.0140715421

0.040921659

0.0340907468

0.0281455942

0.0272043019

0.0965667915

0.0623341805

0.0123336779

0.040921659

0.0295491224

0.0277298903

0.0274683675

0.1043695381

0.0617197755

0.0125836446

0.0411059908

0.0490866765

0.0277298903

0.0251730276

0.0993757803

0.0617197755

0.0106473941

0.0405529954

0.0566846142

0.0277054372

0.0244214562

0.1081148564

0.0618873405

0.0133771899

0.041843318

0.0498007684

0.0277298903

0.0226801002

0.0953183521

0.0617197755

0.0114409394

0.0405529954

0.0527571088

0.0279988752

0.023405819

0.1065543071

0.0618314855

0.0111949404

0.0401843318

0.0419457576

0.0280722347

0.0224031082

0.1015605493

0.061915268

0.014218348

0.0416589862

0.0563275682

0.0279132891

0.0222978513

0.0984394507

0.061859413

0.0126828378

0.0411059908

0.0355189306

0.0282434068

0.0229570921

0.0993757803

0.0620549055

0.0117385189

0.0407373272

0.044902098

0.0277176637

0.0227595045

0.1087390762

0.0618873405

0.0129804173

0.0405529954

0.0415887116

0.0278888359

0.0225877695

0.0981273408

0.062082833

0.0110441667

0.0407373272

0.0613262115

0.0277787967

0.0223901819

0.1006242197

0.062417963

0.0128812241

0.04

0.0551564575

0.027827703

0.0230494227

0.1053058677

0.0624458905

0.0106473941

0.0416589862

0.0716805439

0.0277421169

0.0212822142

0.1028089888

0.061747703

0.0145675079

0.042764977

0.0355189306

0.0279255157

0.0213874711

0.0984394507

0.0622224705

0.0121352915

0.0407373272

0.0466873277

0.0278032498

0.0198972545

0.1040574282

0.061803558

0.0125836446

0.040921659

0.0569416873

0.0277787967

0.0197255195

0.0968789014

0.061747703

0.0109449736

0.0414746544

0.0606121196

0.0278643827

0.0208205609

0.1062421973

0.062417963

0.0105005882

0.041843318

0.0448021251

0.0278888359

0.0196331888

0.1028089888

0.0623341805

0.0114409394

0.0412903226

0.0566846142

0.0276932106

0.0188816173

0.1018726592

0.062473818

0.011591713

0.0407373272

0.0480155386

0.0278154764

0.0174172533

0.0968789014

0.062306253

0.0105482009

0.04

0.0495436953

0.0277054372

0.0193432706

0.1006242197

0.062138688

0.0118892925

0.0411059908

0.0230223225

0.0279621954

0.0168632694

0.1015605493

0.0619990505

0.0098538488

0.0405529954

0.0470443737

0.0277298903

0.0184199641

0.1087390762

0.062417963

0.0131788036

0.0429493088

0.0351618846

0.0279988752

0.0182482291

0.0965667915

0.061747703

0.0125320642

0.0422119816

0.0531141547

0.0279010625

0.0167580125

0.1074906367

0.0618873405

0.0103022019

0.0414746544

0.0433739414

0.0279132891

0.0180635678

0.1

0.062082833

0.0126312574

0.0412903226

0.0466873277

0.0276932106

0.0184199641

0.1024968789

0.062194543

0.012186872

0.0401843318

0.0526571359

0.0279132891

0.0159399629

0.0943820225

0.062138688

0.013623189

0.0403686636

0.0598980277

0.0277910232

0.0156500447

0.0971910112

0.061300863

0.0137739626

0.0414746544

0.032662563

0.0280844612

0.0166786081

0.1062421973

0.0619431955

0.0116393257

0.0416589862

0.057755752

0.0277298903

0.0160193673

0.0946941323

0.0610495155

0.0112941335

0.0411059908

0.0337337009

0.0279621954

0.0161246242

0.1

0.061747703

0.0128296437

0.0396313364

0.0638255331

0.0279132891

0.0162040286

0.0934456929

0.0607702405

0.0113933267

0.0403686636

0.0430168954

0.0279499688

0.0142780113

0.1078027466

0.0616639205

0.0129288368

0.0423963134

0.0509718791

0.0280722347

0.0174966576

0.1003121099

0.0615522105

0.0124844515

0.0420276498

0.0351618846

0.0275831713

0.015385979

0.1009363296

0.0618873405

0.0096554625

0.0416589862

0.0474014196

0.0275220384

0.0164810205

0.1062421973

0.0623900355

0.0132779968

0.0414746544

0.0508719062

0.0278521562

0.0140010193

0.0984394507

0.0617756305

0.0116393257

0.040921659

0.0352618575

0.0275953979

0.0146344076

0.1062421973

0.061859413

0.0126828378

0.0411059908

0.0383752981

0.0280111017

0.0145550032

0.1034332085

0.0621107605

0.0102506214

0.0405529954

0.064182579

0.0277910232

0.0143574156

0.0981273408

0.061691848

0.0103022019

0.0401843318

0.0180236793

0.027827703

0.0128007209

0.0962546816

0.0620549055

0.0118377121

0.0416589862

0.0556134763

0.0278521562

0.0141727543

0.1059300874

0.0617756305

0.0123852583

0.0425806452

0.0465873549

0.0278888359

0.0137240274

0.1031210986

0.062306253

0.0106473941

0.0414746544

0.0531141547

0.0278399296

0.0122338107

0.1009363296

0.062306253

0.010996554

0.0412903226

0.0487296305

0.0278399296

0.0121544064

0.1065543071

0.061915268

0.0103498146

0.0405529954

0.0459732358

0.0276565308

0.0122338107

0.0981273408

0.061803558

0.0135755763

0.04

0.0540853197

0.0281945005

0.01409335

0.0975031211

0.061747703

0.0143175411

0.0407373272

0.0602550736

0.0278399296

0.0125108027

0.0984394507

0.061245008

0.0134763831

0.040921659

0.0401605279

0.0279132891

0.0111387693

0.1012484395

0.0620549055

0.0106473941

0.0414746544

0.0673959925

0.0277543435

0.012418472

0.0965667915

0.061859413

0.0108973609

0.0411059908

0.0540853197

0.027680984

0.0128930516

0.1065543071

0.061580138

0.0111433599

0.0412903226

0.0463302818

0.0281578207

0.0106641897

0.0968789014

0.061859413

0.0135755763

0.0407373272

0.0498007684

0.0280844612

0.0135393661

0.0984394507

0.061635993

0.0086635308

0.0392626728

0.0420457304

0.0278643827

0.010848851

0.106866417

0.0613846455

0.0136747694

0.0405529954

0.0412316657

0.0280966878

0.0102154628

0.1065543071

0.0618873405

0.0113417462

0.0422119816

0.0474014196

0.0277665701

0.0126031333

0.0984394507

0.0618873405

0.0116909062

0.0407373272

0.0333766549

0.0280600081

0.0114157612

0.0987515605

0.061524283

0.0105482009

0.0405529954

0.0677530385

0.0278399296

0.012418472

0.1062421973

0.0617197755

0.011591713

0.041843318

0.0401605279

0.0278032498

0.0104924547

0.0987515605

0.0621107605

0.0109449736

0.0403686636

0.0538282466

0.0280355549

0.0109411817

0.102184769

0.0616080655

0.0119884857

0.041843318

0.0444450792

0.0281455942

0.0095691483

0.0950062422

0.0626134555

0.0114409394

0.0420276498

0.0666819006

0.0275953979

0.0091868994

0.1078027466

0.0617756305

0.0148650874

0.0412903226

0.0423028035

0.0278643827

0.0104924547

0.1062421973

0.0622224705

0.012432871

0.04

0.0481155115

0.0280111017

0.0101102059

0.0962546816

0.061915268

0.0132779968

0.0420276498

0.0344477927

0.027680984

0.0085535111

0.1015605493

0.061971123

0.0119369052

0.0422119816

0.0666819006

0.0276198511

0.0114951656

0.106866417

0.0621666155

0.0128812241

0.0416589862

0.0498007684

0.0280477815

0.0085535111

0.0996878901

0.062529673

0.0119369052

0.0412903226

0.0634684871

0.0277054372

0.0081712623

0.1043695381

0.061524283

0.0133771899

0.0414746544

0.0376612062

0.0277665701

0.010677116

0.0981273408

0.061803558

0.0101514283

0.0414746544

0.070609406

0.028121141

0.0087252462

0.1046816479

0.061524283

0.016452178

0.0403686636

0.033019609

0.0283045397

0.009107495

0.1049937578

0.062306253

0.0143175411

0.0401843318

0.0681100844

0.0279010625

0.0103871978

0.1009363296

0.061691848

0.0136747694

0.0407373272

0.0487296305

0.0280111017

0.0084611805

0.1162297129

0.0623900355

0.0103498146

0.0420276498

0.0563275682

0.0288058296

0.0109411817

0.0959425718

0.0623341805

0.0190312002

0.0407373272

0.0505148603

0.0279132891

0.0083688499

0.1012484395

0.0612729355

0.0116393257

0.0403686636

0.0566846142

0.0282434068

0.0102948672

0.1112359551

0.062250398

0.0126828378

0.0412903226

0.039446436

0.0282311802

0.009107495

0.1024968789

0.0613287905

0.0126312574

0.0422119816

0.0388323169

0.0279132891

0.0087252462

0.1015605493

0.062250398

0.0136747694

0.040921659

0.0419457576

0.0278154764

0.0080918579

0.1018726592

0.061915268

0.0116393257

0.0422119816

0.0420457304

0.0277787967

0.0088175768

0.1056179775

0.061859413

0.0106989745

0.0411059908

0.0419457576

0.0276932106

0.0067068982

0.1065543071

0.061803558

0.0115401326

0.0411059908

0.0527571088

0.027680984

0.0090945687

0.1024968789

0.061356718

0.0155594395

0.0416589862

0.0508719062

0.027974422

0.005968253

0.1018726592

0.0617756305

0.014218348

0.0422119816

0.0556134763

0.0279010625

0.0086329155

0.1031210986

0.0615522105

0.0123852583

0.0416589862

0.0373041603

0.0279255157

0.0082765192

0.1046816479

0.0613287905

0.0118377121

0.041843318

0.0831060141

0.0279499688

0.0088175768

0.106866417

0.062138688

0.012782031

0.040921659

0.0437309873

0.0277665701

0.0069838901

0.1059300874

0.0618873405

0.012432871

0.0422119816

0.0484725574

0.0278521562

0.0091868994

0.1028089888

0.061971123

0.012782031

0.0416589862

0.0533712278

0.0277543435

0.0060605837

0.1009363296

0.061747703

0.0107465873

0.0401843318

0.0366900413

0.0280355549

0.0076172784

0.1009363296

0.0621107605

0.012186872

0.0429493088

0.0194518631

0.0280477815

0.007814866

0.1006242197

0.0623341805

0.0139207685

0.041843318

0.0481155115

0.0279377422

0.0087252462

0.1024968789

0.061524283

0.0135755763

0.0422119816

0.0376612062

0.0276320777

0.0077225353

0.1046816479

0.062306253

0.0105482009

0.0420276498

0.051328925

0.0281333676

0.0091868994

0.1053058677

0.0618314855

0.0130796104

0.042764977

0.0569416873

0.0282189536

0.0077225353

0.0975031211

0.061412573

0.0113417462

0.0401843318

0.0488296034

0.0277298903

0.0075249477

0.0965667915

0.0616080655

0.0161545985

0.0403686636

0.0323055171

0.0278766093

0.0090151644

0.1034332085

0.0621666155

0.01302803

0.041843318

0.0474014196

0.0280722347

0.0090022381

0.0962546816

0.0617756305

0.0142699284

0.0416589862

0.0376612062

0.027974422

0.0070762208

0.0940699126

0.0621666155

0.0122344847

0.0429493088

0.0352618575

0.0279377422

0.007986601

0.0959425718

0.0612729355

0.0150634737

0.041843318

0.0348048387

0.028121141

0.007537874

0.102184769

0.0618873405

0.0140199616

0.0420276498

0.0463302818

0.0278766093

0.0088175768

0.1015605493

0.0619431955

0.0131788036

0.04

0.0487296305

0.0278521562

0.007537874

0.1056179775

0.0614963555

0.0132264163

0.0411059908

0.0488296034

0.0278643827

0.0076172784

0.1040574282

0.0614963555

0.0137739626

0.0425806452

0.0248075522

0.0280355549

0.0066145676

0.0965667915

0.061859413

0.0138215753

0.0414746544

0.038475271

0.0278766093

0.0083559236

0.1024968789

0.0613287905

0.0125836446

0.0412903226

0.0426598495

0.0277054372

0.007814866

0.0990636704

0.062082833

0.0119369052

0.0412903226

0.0545423385

0.027534265

0.0090945687

0.0968789014

0.0617197755

0.0143691216

0.0422119816

0.0426598495

0.0273630928

0.0066145676

0.1087390762

0.0618314855

0.0143175411

0.0411059908

0.0541852926

0.0277298903

0.0071556252

0.1031210986

0.061468428

0.0142699284

0.0412903226

0.0498007684

0.0277665701

0.0071685514

0.1012484395

0.061412573

0.0131272232

0.0416589862

0.0552564304

0.027534265

0.0088175768

0.1106117353

0.0613846455

0.0139723489

0.0420276498

0.0294491495

0.0280722347

0.0068915595

0.1046816479

0.061859413

0.0135239958

0.0422119816

0.0349048116

0.0276932106

0.0078019397

0.1040574282

0.062473818

0.0120876788

0.0423963134

0.0430168954

0.027827703

0.0066145676

0.0887640449

0.0613846455

0.014218348

0.041843318

0.0349048116

0.027827703

0.007986601

0.097815231

0.061803558

0.0136747694

0.0420276498

0.0401605279

0.0278766093

0.0063375756

0.1006242197

0.061915268

0.0129288368

0.0416589862

0.0681100844

0.0273753194

0.0066939719

0.1024968789

0.061915268

0.0122860651

0.0411059908

0.0490866765

0.0281333676

0.0072608821

0.0975031211

0.061915268

0.0121352915

0.0398156682

0.0270498008

0.0275098118

0.0073402864

0.1031210986

0.0621666155

0.0111949404

0.0420276498

0.0219511847

0.0279010625

0.0070762208

0.109051186

0.0617756305

0.012432871

0.0423963134

0.0534712007

0.0280233283

0.0075249477

0.0981273408

0.061300863

0.0159562122

0.0416589862

0.0505148603

0.0276320777

0.0065222369

0.0956304619

0.0619990505

0.0156070522

0.040921659

0.0648966709

0.027974422

0.0065093106

0.0990636704

0.0621107605

0.0136747694

0.0411059908

0.0423028035

0.0279621954

0.0063375756

0.1037453184

0.0619990505

0.0129288368

0.0425806452

0.0381182251

0.0279255157

0.0068786332

0.0959425718

0.061635993

0.0149642805

0.0435023041

0.0205230009

0.027680984

0.0073532127

0.0937578027

0.0615522105

0.0119369052

0.0429493088

0.0438309602

0.0277054372

0.0066016413

0.1

0.061691848

0.0125836446

0.042764977

0.0412316657

0.0281578207

0.0063375756

0.0971910112

0.0616639205

0.0155078591

0.040921659

0.0566846142

0.0277543435

0.0084482542

0.0984394507

0.061747703

0.0137739626

0.0423963134

0.0219511847

0.0276076245

0.0058759224

0.0934456929

0.0619431955

0.0122344847

0.0420276498

0.0559705223

0.0278643827

0.0066016413

0.1012484395

0.061580138

0.0108973609

0.0425806452

0.045873263

0.0278766093

0.0054142691

0.1009363296

0.0611612255

0.012432871

0.0436866359

0.0466873277

0.0277421169

0.0075249477

0.1056179775

0.061189153

0.0160554053

0.0433179724

0.0412316657

0.0277910232

0.0055989304

0.0946941323

0.0616080655

0.013623189

0.042764977

0.0563275682

0.0279132891

0.0067863026

0.0981273408

0.061245008

0.0135755763

0.0423963134

0.0237364144

0.0277665701

0.0061529143

0.1003121099

0.061691848

0.0141191548

0.041843318

0.0538282466

0.0279132891

0.0067863026

0.1018726592

0.062194543

0.0155594395

0.0420276498

0.0412316657

0.0280722347

0.0057835917

0.1034332085

0.061468428

0.0132264163

0.0422119816

0.0399034548

0.0279988752

0.0076172784

0.1012484395

0.061635993

0.0149642805

0.0433179724

0.0383752981

0.0275098118

0.0068915595

0.0996878901

0.0622783255

0.0132264163

0.0422119816

0.0584698439

0.0278521562

0.006139988

0.1009363296

0.062250398

0.0130796104

0.0444239631

0.0351618846

0.0275220384

0.0063375756

0.0996878901

0.061971123

0.0146151206

0.042764977

0.0488296034

0.0277298903

0.0063246493

0.1056179775

0.0617197755

0.0149642805

0.0429493088

0.032662563

0.027534265

0.0068915595

0.1031210986

0.0614963555

0.0150118933

0.042764977

0.0477584656

0.0278766093

0.0071556252

0.1012484395

0.062194543

0.015857019

0.0433179724

0.0415887116

0.0275709447

0.0071685514

0.1040574282

0.0618314855

0.0143175411

0.0420276498

0.0609691655

0.027680984

0.0078942703

0.0975031211

0.062026978

0.0145675079

0.0423963134

0.0405175738

0.0278154764

0.0064299063

0.1

0.062082833

0.0125320642

0.0429493088

0.0584698439

0.0279377422

0.0083559236

0.1081148564

0.061859413

0.0131788036

0.0431336406

0.03908939

0.028121141

0.0058759224

0.1031210986

0.061524283

0.0108457804

0.0412903226

0.0477584656

0.027827703

0.0076172784

0.1018726592

0.0621666155

0.0154602464

0.0431336406

0.0608691926

0.027680984

0.0061529143

0.1053058677

0.062306253

0.0173925292

0.0416589862

0.0623973493

0.0281578207

0.0074326171

0.1

0.0623341805

0.0176424959

0.041843318

0.0490866765

0.0278766093

0.0043063014

0.0884519351

0.062306253

0.0150118933

0.041843318

0.051328925

0.0277787967

0.0059553267

0.1024968789

0.0622783255

0.0138731558

0.0420276498

0.0430168954

0.0278154764

0.0049526159

0.1009363296

0.0619431955

0.0145159274

0.0429493088

0.0488296034

0.0279499688

0.0078942703

0.1009363296

0.0617197755

0.0154602464

0.041843318

0.0298061955

0.0281945005

0.0063375756

0.0937578027

0.0613846455

0.0169957565

0.042764977

0.0509718791

0.0277787967

0.0060476574

0.0996878901

0.0621107605

0.0131788036

0.0401843318

0.0380182522

0.0276198511

0.0067068982

0.0925093633

0.061468428

0.0135239958

0.0431336406

0.0524000628

0.0281822739

0.0073402864

0.1040574282

0.061803558

0.0169481438

0.0429493088

0.0401605279

0.0277054372

0.0053219385

0.1037453184

0.061971123

0.0164997907

0.0429493088

0.0559705223

0.0277910232

0.0053090122

0.1009363296

0.062026978

0.0166505643

0.0438709677

0.0412316657

0.0280355549

0.0055989304

0.0959425718

0.0623341805

0.0145159274

0.0433179724

0.0534712007

0.0280966878

0.0067863026

0.0993757803

0.0617197755

0.0168489506

0.0429493088

0.0383752981

0.0278766093

0.0061529143

0.1

0.0619431955

0.0161030181

0.0425806452

0.0520430169

0.0279010625

0.0066939719

0.1012484395

0.0613287905

0.0180392686

0.0420276498

0.039446436

0.0281455942

0.0066145676

0.0968789014

0.0613287905

0.0174917223

0.0416589862

0.0613262115

0.0279132891

0.0062323187

0.1071785268

0.0610495155

0.0182376549

0.0433179724

0.033019609

0.0277298903

0.005968253

0.1028089888

0.061747703

0.0143175411

0.0416589862

0.0381182251

0.0279377422

0.0063246493

0.097815231

0.0613846455

0.0174441096

0.0422119816

0.0376612062

0.0278032498

0.005968253

0.0975031211

0.0619431955

0.0158054386

0.0425806452

0.0527571088

0.0278399296

0.0070632945

0.0987515605

0.061803558

0.0181384618

0.0431336406

0.0537282738

0.0280477815

0.005968253

0.1065543071

0.062250398

0.0147143138

0.0431336406

0.0652537168

0.0279255157

0.0055860042

0.0987515605

0.0618873405

0.0175433028

0.0436866359

0.039446436

0.0277543435

0.0061529143

0.102184769

0.0621107605

0.0152102796

0.0420276498

0.0638255331

0.0277665701

0.0068786332

0.1071785268

0.061245008

0.0154602464

0.0433179724

0.0537282738

0.0276565308

0.0051372772

0.0937578027

0.0616080655

0.0157062454

0.0435023041

0.064182579

0.027680984

0.0052166816

0.0946941323

0.061635993

0.0187336207

0.0425806452

0.0348048387

0.0279621954

0.0057835917

0.1056179775

0.0618873405

0.0152102796

0.0433179724

0.0548993845

0.0280111017

0.0069709639

0.0981273408

0.062473818

0.0188328139

0.0431336406

0.0351618846

0.0279377422

0.0056912611

0.0975031211

0.0623341805

0.0175909155

0.0436866359

0.0506148331

0.0280844612

0.0055860042

0.0987515605

0.062082833

0.0188328139

0.0420276498

0.0437309873

0.0276687574

0.004398632

0.0956304619

0.0623341805

0.0173925292

0.042764977

0.0470443737

0.0281455942

0.0056783348

0.1099875156

0.0615522105

0.0197255524

0.0425806452

0.045516217

0.0278521562

0.004675624

0.1131086142

0.0618314855

0.016698177

0.0429493088

0.0356189034

0.0279377422

0.0066016413

0.1012484395

0.061859413

0.0189320071

0.0425806452

0.0355189306

0.0276443042

0.0056912611

0.0993757803

0.062082833

0.0164005975

0.0429493088

0.0499007412

0.0278399296

0.0030930767

0.1131086142

0.062529673

0.0184360412

0.0420276498

0.0433739414

0.0281455942

0.0050449466

0.0912609238

0.062138688

0.0186820403

0.0446082949

0.0534712007

0.0280111017

0.0067863026

0.0971910112

0.0622783255

0.0189320071

0.0440552995

0.039446436

0.0277787967

0.0037523175

0.0953183521

0.0623341805

0.018483654

0.0423963134

0.0366900413

0.0279255157

0.006139988

0.102184769

0.0619990505

0.0177416891

0.0431336406

0.0323055171

0.0277910232

0.0067068982

0.0981273408

0.0618873405

0.016698177

0.0440552995

0.0541852926

0.0279010625

0.0052166816

0.1028089888

0.060854023

0.0165513711

0.0433179724

0.032662563

0.0277665701

0.0056912611

0.1034332085

0.0614405005

0.0169957565

0.0447926267

0.0466873277

0.0275709447

0.00641698

0.0981273408

0.0617756305

0.0214118361

0.0433179724

0.0419457576

0.0277054372

0.0067068982

0.1006242197

0.062082833

0.0183844608

0.0429493088

0.0481155115

0.028121141

0.0058629961

0.1056179775

0.0616639205

0.0165513711

0.0429493088

0.0369471144

0.0275953979

0.005968253

0.1031210986

0.0622224705

0.0171941428

0.0425806452

0.0499007412

0.0279132891

0.0060476574

0.0971910112

0.062082833

0.0196263592

0.0444239631

0.0437309873

0.0279010625

0.0069838901

0.1084269663

0.0611053705

0.0186820403

0.0442396313

0.0452591439

0.0279499688

0.0063246493

0.0971910112

0.062362108

0.0196263592

0.0440552995

0.0615832845

0.027680984

0.0055989304

0.106866417

0.0619990505

0.0198723582

0.0438709677

0.0381182251

0.0276320777

0.0055860042

0.1006242197

0.061635993

0.019527166

0.0447926267

0.0423028035

0.0278521562

0.0053219385

0.102184769

0.0623341805

0.0168965634

0.0442396313

0.0391893629

0.0274609055

0.0054013429

0.1

0.061915268

0.0198247455

0.0447926267

0.0348048387

0.0279255157

0.0068915595

0.1043695381

0.061356718

0.0195747787

0.0433179724

0.0613262115

0.0279010625

0.0065093106

0.106866417

0.0619990505

0.0228005404

0.0433179724

0.0426598495

0.0276076245

0.0033829949

0.1043695381

0.062306253

0.0177893018

0.0446082949

0.0284779845

0.0277054372

0.0055860042

0.1018726592

0.061691848

0.0218086088

0.0446082949

0.0269498279

0.0279499688

0.0045832933

0.1003121099

0.0614963555

0.0162022112

0.0444239631

0.0313343521

0.0280600081

0.0050320203

0.090948814

0.0611612255

0.0223045746

0.0446082949

0.0365900684

0.0278154764

0.0060605837

0.0950062422

0.061971123

0.0195747787

0.0444239631

0.0598980277

0.0279132891

0.006139988

0.1124843945

0.0616080655

0.020717484

0.0446082949

0.0187377712

0.0283534461

0.0065222369

0.0946941323

0.0615522105

0.0237408916

0.0442396313

0.0659678087

0.0277787967

0.00641698

0.097815231

0.0619990505

0.0197255524

0.0442396313

0.0576557791

0.0279377422

0.0055989304

0.1031210986

0.0619431955

0.0195747787

0.0440552995

0.0588268898

0.0276932106

0.0065093106

0.1056179775

0.0616639205

0.0205190977

0.0440552995

0.058726917

0.0277910232

0.0060605837

0.1040574282

0.0619990505

0.0195747787

0.0449769585

0.0491866493

0.0274975852

0.0063246493

0.1018726592

0.061747703

0.0203207113

0.0436866359

0.0490866765

0.0279132891

0.004675624

0.102184769

0.0613287905

0.0208642899

0.0438709677

0.051328925

0.0276565308

0.0072479558

0.0971910112

0.061524283

0.0205190977

0.0436866359

0.0437309873

0.0279499688

0.0067068982

0.1018726592

0.061356718

0.0183844608

0.0455299539

0.0427598223

0.0276198511

0.0055860042

0.1015605493

0.062026978

0.0211142566

0.0444239631

0.0480155386

0.0276198511

0.0067992289

0.1028089888

0.062417963

0.0204675172

0.0438709677

0.0616832574

0.0275587182

0.0066939719

0.1078027466

0.0618873405

0.0210150635

0.0425806452

0.0590839629

0.0275464916

0.0056912611

0.1028089888

0.061356718

0.0182852676

0.0447926267

0.0291920764

0.0279255157

0.006139988

0.1062421973

0.061859413

0.0173449164

0.0429493088

0.0480155386

0.0275831713

0.0048602853

0.0950062422

0.061356718

0.0197731651

0.0444239631

0.0409745926

0.0277176637

0.0056783348

0.1

0.0623900355

0.0218086088

0.0458986175

0.0508719062

0.0278766093

0.0053219385

0.0959425718

0.061915268

0.0211618694

0.0436866359

0.0638255331

0.0278521562

0.0065093106

0.0987515605

0.0617756305

0.0212134498

0.0453456221

0.0290921036

0.0279377422

0.005968253

0.0962546816

0.0612729355

0.0183844608

0.0446082949

0.025264571

0.0281945005

0.00641698

0.1084269663

0.0618314855

0.0200231318

0.0455299539

0.0498007684

0.0275220384

0.0052296079

0.1006242197

0.061915268

0.0217570283

0.0449769585

0.0374041332

0.0275953979

0.0053090122

0.0993757803

0.0618314855

0.020717484

0.0440552995

0.0423028035

0.0275587182

0.0043063014

0.1040574282

0.062026978

0.0204675172

0.0453456221

0.0466873277

0.0277543435

0.0056783348

0.1012484395

0.061133298

0.0224037678

0.0453456221

0.0630114683

0.0276687574

0.0036599869

0.0990636704

0.062306253

0.0185828471

0.0466359447

0.0638255331

0.0276443042

0.0078019397

0.1028089888

0.0616639205

0.0208166771

0.0436866359

0.0415887116

0.0279377422

0.0053219385

0.1009363296

0.0618873405

0.0218562215

0.0446082949

0.0506148331

0.0279255157

0.0066939719

0.0950062422

0.0612170805

0.0226021541

0.0464516129

0.0376612062

0.027827703

0.0058759224

0.0981273408

0.0618314855

0.0205667104

0.0438709677

0.0409745926

0.0279132891

0.0066016413

0.097815231

0.061747703

0.0228005404

0.0464516129

0.0437309873

0.0276076245

0.0051372772

0.097815231

0.061859413

0.0225505736

0.0447926267

0.0195518359

0.0276565308

0.0066016413

0.0937578027

0.061691848

0.0205190977

0.0446082949

0.0273068738

0.027680984

0.0035676562

0.0968789014

0.061077443

0.0220546078

0.0460829493

0.0477584656

0.0277543435

0.0063246493

0.1037453184

0.0618314855

0.0218086088

0.0462672811

0.0362330225

0.027827703

0.0054142691

0.1056179775

0.061803558

0.0180868813

0.0453456221

0.0677530385

0.0277787967

0.0056783348

0.1053058677

0.0617756305

0.021312643

0.0457142857

0.0287350576

0.0280966878

0.0067992289

0.1056179775

0.0615522105

0.0202691309

0.0449769585

0.0520430169

0.0279499688

0.0060476574

0.1031210986

0.061915268

0.0220069951

0.0440552995

0.0408746197

0.0275953979

0.0034753256

0.0990636704

0.0616639205

0.0211618694

0.0468202765

0.0691812222

0.0277543435

0.0054936735

0.1028089888

0.0613287905

0.0216102225

0.0460829493

0.0176666333

0.0281945005

0.0051372772

0.0937578027

0.0619431955

0.0222529941

0.0462672811

0.031691398

0.0275587182

0.0066939719

0.0965667915

0.0622783255

0.0225029609

0.0462672811

0.0290921036

0.0277054372

0.0047679546

0.102184769

0.0615522105

0.0204675172

0.0449769585

0.0459732358

0.0277665701

0.0056783348

0.0953183521

0.061021588

0.0228997336

0.0457142857

0.0508719062

0.0276198511

0.0048602853

0.0946941323

0.0612729355

0.0199715514

0.0458986175

0.0456161899

0.0276076245

0.0071556252

0.0987515605

0.061691848

0.0217094156

0.0473732719

0.0433739414

0.0275220384

0.0055989304

0.0965667915

0.0615522105

0.0214594488

0.0453456221

0.0484725574

0.0277543435

0.0056783348

0.1003121099

0.061635993

0.0199239387

0.0446082949

0.0444450792

0.0280111017

0.0071685514

0.1115480649

0.061691848

0.0205667104

0.0471889401

0.0484725574

0.0277054372

0.004847359

0.1084269663

0.061300863

0.0206182908

0.0453456221

0.0376612062

0.0274731321

0.0058759224

0.1009363296

0.061356718

0.0223521873

0.0466359447

0.0306202602

0.0278888359

0.0050320203

0.1024968789

0.062026978

0.021312643

0.0473732719

0.05230009

0.0277543435

0.0048602853

0.1

0.061635993

0.0212610625

0.0471889401

0.0623973493

0.027827703

0.0056783348

0.1093632959

0.0617197755

0.0230981199

0.0471889401

0.0415887116

0.0277787967

0.003106003

0.0971910112

0.0618314855

0.0218562215

0.0481105991

0.0445450521

0.0277054372

0.0066939719

0.1056179775

0.062082833

0.0225029609

0.0460829493

0.0448021251

0.0274975852

0.0048602853

0.0975031211

0.0621107605

0.0216578352

0.0482949309

0.0563275682

0.0277910232

0.0065093106

0.1034332085

0.0619431955

0.0227013472

0.0479262673

0.033019609

0.0277543435

0.006245245

0.1065543071

0.061524283

0.021558642

0.0471889401

0.0463302818

0.0277421169

0.0065093106

0.1012484395

0.062417963

0.0242884378

0.0466359447

0.0294491495

0.0280355549

0.0043063014

0.1003121099

0.0614405005

0.0210626762

0.0462672811

0.0388323169

0.0278888359

0.0053090122

0.1003121099

0.0621107605

0.0242884378

0.0481105991

0.0373041603

0.0277665701

0.0066145676

0.0993757803

0.061747703

0.0223521873

0.0468202765

0.0766791871

0.0279132891

0.0055860042

0.1099875156

0.061468428

0.0209158703

0.0473732719

0.0358759765

0.0276320777

0.006245245

0.1009363296

0.0617756305

0.0217570283

0.0479262673

0.0474014196

0.0279866486

0.0058629961

0.1037453184

0.061915268

0.02498279

0.0449769585

0.0426598495

0.0279010625

0.0060605837

0.0975031211

0.0622224705

0.0187812334

0.0468202765

0.0452591439

0.0277298903

0.0058629961

0.1081148564

0.0616080655

0.0238916652

0.0494009217

0.0490866765

0.0279255157

0.0051372772

0.102184769

0.061803558

0.0214594488

0.0482949309

0.0402605007

0.027974422

0.0068786332

0.109051186

0.0618314855

0.0222053814

0.0494009217

0.0530141819

0.0278399296

0.0051372772

0.1009363296

0.061356718

0.0196739719

0.0492165899

0.0777503249

0.0279255157

0.0062323187

0.102184769

0.061747703

0.0226021541

0.0492165899

0.0355189306

0.0278521562

0.0065222369

0.0984394507

0.0621666155

0.0214594488

0.0492165899

0.0666819006

0.0277665701

0.0070632945

0.0965667915

0.061803558

0.0199239387

0.0479262673

0.0376612062

0.0278888359

0.0055989304

0.0996878901

0.0611612255

0.0210626762

0.0481105991

0.0427598223

0.0275098118

0.0072479558

0.0996878901

0.0619431955

0.0209158703

0.0470046083

0.0255216441

0.0276932106

0.0061529143

0.1074906367

0.0614963555

0.0220546078

0.0492165899

0.0527571088

0.027534265

0.0050320203

0.1053058677

0.062026978

0.0203207113

0.0494009217

0.0305202874

0.027827703

0.0037523175

0.1

0.061412573

0.0224513805

0.0479262673

0.0570416601

0.0277421169

0.0036470606

0.102184769

0.061859413

0.0225029609

0.0482949309

0.0283780117

0.0277910232

0.004398632

0.1034332085

0.061524283

0.0200707446

0.0486635945

0.0409745926

0.0279132891

0.0063246493

0.1099875156

0.061915268

0.0225029609

0.0484792627

0.0401605279

0.0280355549

0.0057835917

0.106866417

0.061356718

0.0202691309

0.0505069124

0.0341907197

0.0275831713

0.0066939719

0.1062421973

0.061691848

0.0200231318

0.0497695853

0.0233793685

0.0278032498

0.0053219385

0.0987515605

0.0618314855

0.0213602557

0.0505069124

0.0420457304

0.0278643827

0.0050320203

0.1034332085

0.0618314855

0.0232965062

0.050875576

0.045516217

0.027827703

0.0054142691

0.0971910112

0.062026978

0.0219554147

0.0495852535

0.025264571

0.0276320777

0.0063246493

0.097815231

0.0613846455

0.0199239387

0.0505069124

0.0358759765

0.0280600081

0.0050449466

0.106866417

0.0617756305

0.0191780061

0.0512442396

0.051685971

0.0277176637

0.0054936735

0.1015605493

0.0615522105

0.0183368481

0.0506912442

0.0494437224

0.0277787967

0.0050449466

0.1074906367

0.0616080655

0.0182852676

0.050875576

0.0491866493

0.0278766093

0.0066016413

0.1012484395

0.0614405005

0.0230981199

0.0495852535

0.0462303089

0.027974422

0.0050449466

0.102184769

0.0617756305

0.0187812334

0.0510599078

0.0459732358

0.0277543435

0.0058629961

0.0996878901

0.0619990505

0.0223045746

0.0497695853

0.0419457576

0.0277910232

0.004675624

0.0987515605

0.061803558

0.0206659035

0.0503225806

0.038475271

0.0279621954

0.0068786332

0.1031210986

0.061915268

0.0198247455

0.0514285714

0.0437309873

0.0277421169

0.0048602853

0.102184769

0.0619431955

0.0225505736

0.0499539171

0.070609406

0.0277421169

0.0054936735

0.0975031211

0.0612729355

0.0214118361

0.0514285714

0.0480155386

0.027827703

0.0063375756

0.1028089888

0.061356718

0.0191780061

0.0512442396

0.0616832574

0.027534265

0.0063246493

0.0937578027

0.062082833

0.0209158703

0.0514285714

0.0376612062

0.0275953979

0.0041216401

0.0987515605

0.0614963555

0.0203683241

0.0514285714

0.0520430169

0.0279499688

0.0075249477

0.1028089888

0.061524283

0.0180392686

0.0514285714

0.0240934603

0.0277421169

0.0067068982

0.102184769

0.061468428

0.0200707446

0.0499539171

0.0402605007

0.0274975852

0.0057706654

0.1049937578

0.0612170805

0.0215110293

0.0519815668

0.0476584927

0.0277176637

0.0055065998

0.1062421973

0.0616080655

0.0186820403

0.0510599078

0.0245504792

0.0273508663

0.0054013429

0.1046816479

0.061859413

0.0210150635

0.0510599078

0.0348048387

0.0278032498

0.0040293094

0.102184769

0.061300863

0.0204675172

0.0512442396

0.0491866493

0.0273264131

0.0050320203

0.1078027466

0.0614963555

0.021312643

0.0514285714

0.0415887116

0.0275220384

0.004398632

0.0946941323

0.062529673

0.0206659035

0.0506912442

0.0491866493

0.0277421169

0.0042933751

0.0987515605

0.0622224705

0.0194279729

0.051797235

0.0383752981

0.0278521562

0.0055989304

0.0965667915

0.0616639205

0.0160038249

0.0516129032

0.044902098

0.0277176637

0.0062323187

0.1062421973

0.0613846455

0.0199239387

0.0523502304

0.0344477927

0.0278766093

0.0048602853

0.1028089888

0.0625576005

0.0196739719

0.051797235

0.0570416601

0.0278888359

0.0066016413

0.1043695381

0.062306253

0.0192295865

0.0519815668

0.019808909

0.0273753194

0.0040293094

0.1003121099

0.061971123

0.0179876881

0.0525345622

0.0663248547

0.0277421169

0.0050320203

0.1056179775

0.0615522105

0.0203207113

0.0532718894

0.0683671575

0.0274853587

0.0040293094

0.0996878901

0.061691848

0.018483654

0.0530875576

0.0631114412

0.0277910232

0.0068786332

0.0925093633

0.061691848

0.0221061883

0.052718894

0.051943044

0.0276932106

0.0055989304

0.0971910112

0.061468428

0.0195747787

0.0514285714

0.0524000628

0.0276565308

0.0067863026

0.0953183521

0.061803558

0.0219078019

0.051797235

0.0487296305

0.0277054372

0.0052296079

0.1003121099

0.062194543

0.0195747787

0.0530875576

0.0559705223

0.0279377422

0.0069709639

0.106866417

0.061635993

0.0191303934

0.050875576

0.0487296305

0.027974422

0.0051372772

0.0953183521

0.0615522105

0.0189796198

0.0514285714

0.0406175467

0.0278521562

0.0066016413

0.0987515605

0.0618873405

0.0192295865

0.0543778802

0.0426598495

0.027974422

0.0051372772

0.0987515605

0.061468428

0.0175909155

0.0523502304

0.0441880061

0.0275831713

0.00641698

0.0937578027

0.0619431955

0.0192295865

0.0525345622

0.0451591711

0.0275953979

0.0052296079

0.1018726592

0.0622224705

0.017888495

0.0540092166

0.0499007412

0.0276687574

0.0049396896

0.1146691635

0.0617197755

0.0175433028

0.0532718894

0.0383752981

0.0283778992

0.0054142691

0.0981273408

0.062026978

0.0188804266

0.052718894

0.0570416601

0.0275464916

0.0050320203

0.1006242197

0.0614963555

0.0168489506

0.053640553

0.0473014468

0.027827703

0.0071685514

0.1015605493

0.061300863

0.0173925292

0.0538248848

0.051685971

0.0279499688

0.0068786332

0.1009363296

0.0616080655

0.0202215182

0.0532718894

0.0258786901

0.0279010625

0.0055065998

0.1003121099

0.062529673

0.0159046317

0.0523502304

0.0584698439

0.0278521562

0.0052166816

0.106866417

0.0622783255

0.0184360412

0.0510599078

0.0212370928

0.0278154764

0.004675624

0.106866417

0.062026978

0.0148135069

0.0512442396

0.0552564304

0.0275953979

0.0054013429

0.0987515605

0.061524283

0.0169481438

0.0525345622

0.0483725846

0.0278032498

0.0031983336

0.1

0.0611053705

0.0156070522

0.050875576

0.0559705223

0.0277421169

0.0059553267

0.093133583

0.0617197755

0.0187336207

0.053640553

0.0697953413

0.0276687574

0.0056912611

0.102184769

0.0619431955

0.0153094727

0.0516129032

0.0441880061

0.0275587182

0.0051243509

0.1031210986

0.0618314855

0.0175433028

0.052718894

0.0451591711

0.0279988752

0.0063375756

0.1059300874

0.061915268

0.0179876881

0.0512442396

0.0388323169

0.0279010625

0.0066016413

0.1056179775

0.061915268

0.0191303934

0.0523502304

0.0258786901

0.0279988752

0.0053219385

0.1049937578

0.062250398

0.0190788129

0.0516129032

0.0374041332

0.0276932106

0.0050320203

0.0996878901

0.0613287905

0.0191303934

0.0512442396

0.0340907468

0.0277054372

0.0034753256

0.1040574282

0.0612729355

0.0160038249

0.0516129032

0.0484725574

0.0276932106

0.004847359

0.1053058677

0.061691848

0.0189320071

0.0529032258

0.0419457576

0.0279255157

0.0056912611

0.0990636704

0.0625576005

0.0157062454

0.0516129032

0.0713234979

0.0277543435

0.0066016413

0.1065543071

0.0619990505

0.017047337

0.0521658986

0.0533712278

0.0281455942

0.0061529143

0.0975031211

0.062194543

0.0155078591

0.0516129032

0.0766791871

0.0275587182

0.0055860042

0.0959425718

0.061747703

0.0169481438

0.0523502304

0.0462303089

0.0277421169

0.0070762208

0.1078027466

0.061468428

0.0156070522

0.051797235

0.0331195818

0.0279377422

0.0056783348

0.0965667915

0.062026978

0.0162537917

0.0519815668

0.0373041603

0.0277421169

0.0036599869

0.0993757803

0.062194543

0.0171941428

0.0514285714

0.0441880061

0.0277787967

0.0054936735

0.1093632959

0.0617197755

0.0182376549

0.0525345622

0.0258786901

0.0279132891

0.0052296079

0.1018726592

0.061803558

0.0160038249

0.050875576

0.0406175467

0.027680984

0.0070632945

0.093133583

0.061635993

0.0175433028

0.050875576

0.0501578143

0.0276443042

0.0050449466

0.0987515605

0.061635993

0.0134248027

0.0505069124

0.0506148331

0.0279866486

0.0055860042

0.1078027466

0.061859413

0.01526186

0.0512442396

0.045873263

0.0282556334

0.0035676562

0.0981273408

0.061580138

0.014218348

0.0490322581

0.0306202602

0.0279377422

0.0056783348

0.1018726592

0.061859413

0.0165513711

0.0503225806

0.0437309873

0.0276076245

0.0051372772

0.0946941323

0.061691848

0.0140199616

0.0505069124

0.0402605007

0.0278399296

0.0068786332

0.0943820225

0.0613846455

0.0177416891

0.0501382488

0.0444450792

0.0277421169

0.006245245

0.1096754057

0.061691848

0.0132264163

0.0501382488

0.0438309602

0.0274975852

0.004847359

0.1028089888

0.0619431955

0.0125836446

0.0501382488

0.0423028035

0.0279866486

0.0045832933

0.0975031211

0.0622224705

0.0156070522

0.0506912442

0.0566846142

0.0277054372

0.0055860042

0.1056179775

0.061747703

0.0150634737

0.0495852535

0.0180236793

0.0278399296

0.0055989304

0.0984394507

0.062250398

0.0107465873

0.0495852535

0.0527571088

0.0275953979

0.0057706654

0.1012484395

0.061803558

0.0137739626

0.050875576

0.0383752981

0.0278154764

0.005968253

0.0937578027

0.061524283

0.0146151206

0.0490322581

0.0402605007

0.0278643827

0.004847359

0.1003121099

0.062194543

0.0150634737

0.0486635945

0.0287350576

0.0278154764

0.0053219385

0.1006242197

0.061803558

0.0141191548

0.0503225806

0.0548993845

0.0279988752

0.0056783348

0.0965667915

0.0621666155

0.0159562122

0.0492165899

0.0369471144

0.0276932106

0.0042139707

0.1018726592

0.061468428

0.0148135069

0.0486635945

0.0413316386

0.0277054372

0.0073402864

0.1084269663

0.0618873405

0.0157578258

0.0494009217

0.0601551008

0.0279866486

0.0051372772

0.0993757803

0.0612170805

0.016698177

0.0484792627

0.0663248547

0.0278399296

0.0070632945

0.1024968789

0.0613846455

0.0135755763

0.0482949309

0.0301632414

0.0279499688

0.0064299063

0.0968789014

0.062362108

0.0143175411

0.0486635945

0.0463302818

0.0277787967

0.0072479558

0.097815231

0.0618314855

0.015857019

0.0492165899

0.0412316657

0.0279377422

0.0063375756

0.097815231

0.061971123

0.0145159274

0.0473732719

0.0416886845

0.0278766093

0.0043857057

0.0975031211

0.062026978

0.0149642805

0.0484792627

0.0308773333

0.0281089144

0.0048602853

0.106866417

0.0617197755

0.0121352915

0.0495852535

0.0499007412

0.0277176637

0.0062323187

0.0981273408

0.0622783255

0.0149642805

0.0484792627

0.0412316657

0.0277298903

0.005968253

0.0990636704

0.0615522105

0.0148135069

0.0490322581

0.0374041332

0.0275098118

0.0053090122

0.1031210986

0.0619431955

0.0155594395

0.0488479263

0.0405175738

0.027534265

0.0079995273

0.0975031211

0.0625576005

0.0115401326

0.0494009217

0.0463302818

0.0279132891

0.00641698

0.1003121099

0.061635993

0.0133771899

0.0460829493

0.0490866765

0.0276565308

0.0071685514

0.1043695381

0.061803558

0.0132264163

0.0481105991

0.0402605007

0.0278766093

0.0071556252

0.1018726592

0.0616080655

0.0146667011

0.0481105991

0.0444450792

0.0279499688

0.0057835917

0.1074906367

0.0618873405

0.0143175411

0.0468202765

0.064182579

0.0277910232

0.0058629961

0.1056179775

0.0621666155

0.0125836446

0.0471889401

0.0544423656

0.0280355549

0.0056912611

0.1037453184

0.062250398

0.012432871

0.0453456221

0.0488296034

0.0277910232

0.0066016413

0.1031210986

0.061803558

0.0142699284

0.0468202765

0.0344477927

0.0279988752

0.0054142691

0.0968789014

0.0623341805

0.0133256095

0.0464516129

0.0638255331

0.0279132891

0.0074326171

0.1084269663

0.0613287905

0.0146667011

0.0462672811

0.0480155386

0.0280111017

0.0068915595

0.097815231

0.061468428

0.0150118933

0.0462672811

0.0463302818

0.0276932106

0.0055860042

0.1

0.061635993

0.0135755763

0.0470046083

0.0601551008

0.0277910232

0.0054142691

0.0971910112

0.0614963555

0.0100522351

0.0462672811

0.0413316386

0.0278643827

0.0065093106

0.0987515605

0.061189153

0.0160554053

0.0458986175

0.0355189306

0.0276687574

0.004398632

0.0921972534

0.061803558

0.0113417462

0.0462672811

0.0424027764

0.0275831713

0.0056783348

0.0996878901

0.0623341805

0.0128812241

0.0449769585

0.0444450792

0.0278399296

0.0048602853

0.1006242197

0.062250398

0.0117385189

0.0446082949

0.0524000628

0.0280355549

0.0037393912

0.1049937578

0.0615522105

0.0107981677

0.0462672811

0.0533712278

0.0278888359

0.0055065998

0.0962546816

0.061859413

0.0138215753

0.0458986175

0.0563275682

0.0276320777

0.007709609

0.1040574282

0.061245008

0.0122860651

0.0462672811

0.0398034819

0.0278888359

0.0055989304

0.0950062422

0.061580138

0.012432871

0.0470046083

0.0420457304

0.0279132891

0.0055860042

0.1009363296

0.0618314855

0.0134763831

0.0451612903

0.0597980548

0.0279132891

0.0051372772

0.0971910112

0.0616080655

0.0095562693

0.0466359447

0.0259786629

0.0275220384

0.0051243509

0.0971910112

0.062138688

0.011591713

0.0453456221

0.0594410089

0.0277298903

0.0061529143

0.0968789014

0.061803558

0.0109449736

0.0447926267

0.0566846142

0.0278766093

0.0055860042

0.1018726592

0.0616639205

0.0146667011

0.0462672811

0.051943044

0.0277421169

0.0057835917

0.0990636704

0.061468428

0.0115401326

0.0462672811

0.0584698439

0.0279499688

0.0068786332

0.1043695381

0.0616080655

0.0124844515

0.0466359447

0.065153744

0.0277421169

0.0044909627

0.0987515605

0.062026978

0.0112425531

0.0460829493

0.0713234979

0.0277054372

0.0068786332

0.1

0.061635993

0.0117900993

0.0464516129

0.045516217

0.0279255157

0.0034753256

0.093133583

0.061691848

0.0115401326

0.0457142857

0.051328925

0.0276687574

0.0047550283

0.0971910112

0.061691848

0.0108973609

0.0457142857

0.0365900684

0.0278154764

0.0052296079

0.1040574282

0.0619431955

0.0139207685

0.0442396313

0.0284779845

0.0274731321

0.0056783348

0.1065543071

0.0614405005

0.0119884857

0.0442396313

0.0305202874

0.0275098118

0.0039369788

0.1049937578

0.0618873405

0.0139207685

0.0455299539

0.0263357089

0.0277665701

0.0047550283

0.1

0.0617756305

0.0106989745

0.0447926267

0.0401605279

0.0277054372

0.0048602853

0.1071785268

0.0622224705

0.0131272232

0.0449769585

0.0459732358

0.0273630928

0.006139988

0.0981273408

0.061300863

0.0116909062

0.0458986175

0.0319484711

0.0279866486

0.0048602853

0.0981273408

0.062417963

0.0110441667

0.0447926267

0.0441880061

0.0275587182

0.0053090122

0.1043695381

0.0630044405

0.0113933267

0.0442396313

0.0362330225

0.0278399296

0.0047679546

0.1065543071

0.061524283

0.0115401326

0.0440552995

0.0431168683

0.0276932106

0.0059553267

0.1034332085

0.0617197755

0.0130796104

0.0422119816

0.0462303089

0.0274975852

0.0055989304

0.1012484395

0.0619431955

0.0111433599

0.0440552995

0.0531141547

0.0277176637

0.0057706654

0.0993757803

0.0613287905

0.0126828378

0.0444239631

0.0547994116

0.0278766093

0.0056912611

0.0987515605

0.061859413

0.0119369052

0.0453456221

0.0484725574

0.0276687574

0.0072479558

0.1065543071

0.0614963555

0.0131788036

0.0442396313

0.0376612062

0.0277787967

0.0045832933

0.0928214732

0.061077443

0.0120360984

0.0438709677

0.0477584656

0.0277054372

0.0068786332

0.0975031211

0.060965733

0.0139723489

0.0442396313

0.0383752981

0.0276076245

0.0040293094

0.102184769

0.061803558

0.0098538488

0.0438709677

0.0673959925

0.0278032498

0.0055860042

0.1043695381

0.061859413

0.010996554

0.0444239631

0.0533712278

0.0278888359

0.0041216401

0.1012484395

0.062250398

0.013623189

0.0436866359

0.0556134763

0.0278888359

0.0055860042

0.1031210986

0.0608819505

0.0114925198

0.0442396313

0.0515859981

0.0274364523

0.0044909627

0.0943820225

0.061691848

0.0100522351

0.042764977

0.0506148331

0.0275464916

0.0054013429

0.1034332085

0.0618873405

0.0135755763

0.0449769585

0.0469444008

0.0279132891

0.0052296079

0.1

0.062194543

0.0111433599

0.0436866359

0.0631114412

0.027827703

0.006139988

0.1040574282

0.0610495155

0.0098062361

0.0446082949

0.0487296305

0.0275709447

0.0049526159

0.1071785268

0.0618873405

0.0126312574

0.0414746544

0.0541852926

0.0278154764

0.0049396896

0.1006242197

0.061356718

0.0113933267

0.0431336406

0.0344477927

0.0276076245

0.0047679546

0.0959425718

0.0617756305

0.0102506214

0.0438709677

0.0541852926

0.0279132891

0.0053090122

0.1065543071

0.0618873405

0.011591713

0.042764977

0.0469444008

0.0276198511

0.004398632

0.0987515605

0.0622224705

0.0120360984

0.0436866359

0.0598980277

0.0277787967

0.0056783348

0.1034332085

0.061077443

0.0128812241

0.0435023041

0.0480155386

0.0280233283

0.0044909627

0.0959425718

0.061803558

0.0125320642

0.0425806452

0.0559705223

0.028121141

0.0057706654

0.1006242197

0.061468428

0.0150634737

0.0435023041

0.0537282738

0.0278643827

0.0053219385

0.0912609238

0.062250398

0.0134248027

0.0436866359

0.0616832574

0.0279132891

0.0053090122

0.097815231

0.062138688

0.0134763831

0.0433179724

0.0412316657

0.0279255157

0.004675624

0.102184769

0.061580138

0.01302803

0.0436866359

0.0520430169

0.0277543435

0.0050320203

0.1071785268

0.0618873405

0.0130796104

0.0438709677

0.0626544224

0.0277298903

0.0058759224

0.0990636704

0.0616080655

0.0119369052

0.0425806452

0.0538282466

0.0279377422

0.0055860042

0.1012484395

0.061859413

0.0135755763

0.0422119816

0.0405175738

0.0279010625

0.0042139707

0.0990636704

0.061245008

0.0131272232

0.0431336406

0.0413316386

0.0277054372

0.00641698

0.1043695381

0.060854023

0.0125836446

0.0431336406

0.0355189306

0.0279499688

0.0054142691

0.106866417

0.061803558

0.0106473941

0.042764977

0.0613262115

0.0277665701

0.0054936735

0.102184769

0.0616639205

0.0114925198

0.0423963134

0.0426598495

0.0276076245

0.0061529143

0.1037453184

0.0616639205

0.0104490078

0.042764977

0.0524000628

0.0277665701

0.0062323187

0.0971910112

0.0617756305

0.012782031

0.0429493088

0.0258786901

0.0279621954

0.0045832933

0.1

0.061580138

0.0105482009

0.0431336406

0.051328925

0.0279866486

0.0058629961

0.1031210986

0.062026978

0.0118892925

0.0442396313

0.0233793685

0.0280966878

0.0050449466

0.1018726592

0.0623341805

0.0114409394

0.0433179724

0.0334766278

0.0279988752

0.0075249477

0.1015605493

0.061971123

0.0131788036

0.0420276498

0.0290921036

0.0277421169

0.0049526159

0.1034332085

0.061691848

0.012432871

0.0431336406

0.0734657736

0.0277054372

0.0067863026

0.1028089888

0.0623341805

0.012782031

0.0431336406

0.0301632414

0.0277543435

0.0055065998

0.1015605493

0.0626134555

0.0118377121

0.0429493088

0.0470443737

0.0277298903

0.0059553267

0.1037453184

0.062306253

0.010996554

0.0414746544

0.0540853197

0.0277054372

0.0038446481

0.0962546816

0.0622224705

0.0127304505

0.0412903226

0.0531141547

0.0278521562

0.0036470606

0.1040574282

0.0616080655

0.0140715421

0.0412903226

0.0315914252

0.027680984

0.0057835917

0.1003121099

0.061468428

0.009953042

0.0420276498

0.0681100844

0.0277421169

0.006139988

0.0971910112

0.061915268

0.0138731558

0.0435023041

0.0440880332

0.0277054372

0.0035676562

0.1062421973

0.0613287905

0.0122344847

0.041843318

0.0527571088

0.0280844612

0.0054936735

0.1031210986

0.062306253

0.0136747694

0.0425806452

0.0448021251

0.0276687574

0.0031983336

0.0962546816

0.0616639205

0.009953042

0.0423963134

0.0491866493

0.0278766093

0.0042933751

0.1040574282

0.0618314855

0.0123852583

0.0411059908

0.0376612062

0.0279010625

0.0051372772

0.1049937578

0.061859413

0.0084651445

0.0422119816

0.0534712007

0.0278643827

0.0060476574

0.1034332085

0.062194543

0.012782031

0.041843318

0.0708664791

0.0278154764

0.0068915595

0.097815231

0.061580138

0.0100522351

0.0433179724

0.0499007412

0.0274486789

0.0059553267

0.1062421973

0.0618314855

0.0124844515

0.0433179724

0.0348048387

0.0274609055

0.0055065998

0.102184769

0.061915268

0.0091594967

0.0416589862

0.0663248547

0.0276443042

0.0060476574

0.1034332085

0.0619431955

0.0139723489

0.0423963134

0.0444450792

0.0278643827

0.0045832933

0.0993757803

0.0619431955

0.0096554625

0.0433179724

0.0663248547

0.0277054372

0.0052166816

0.1028089888

0.0621107605

0.0097070429

0.0416589862

0.0294491495

0.0280722347

0.0056912611

0.0965667915

0.061803558

0.0113417462

0.0435023041

0.0495436953

0.0278521562

0.0069709639

0.1034332085

0.0619431955

0.0132779968

0.0416589862

0.0426598495

0.0279499688

0.0055989304

0.0950062422

0.061580138

0.0083659514

0.040921659

0.0331195818

0.0273997726

0.004570367

0.1024968789

0.0616080655

0.0113933267

0.0414746544

0.0419457576

0.0276565308

0.0045832933

0.0959425718

0.0625017455

0.0121352915

0.041843318

0.0591839358

0.0277054372

0.0043857057

0.1149812734

0.0619990505

0.012782031

0.0423963134

0.0494437224

0.0282189536

0.0063375756

0.1

0.0618873405

0.0113417462

0.0422119816

0.0531141547

0.0278521562

0.0065093106

0.102184769

0.061691848

0.0151626669

0.0398156682

0.0373041603

0.0275098118

0.0052296079

0.1

0.0622224705

0.0105482009

0.041843318

0.0452591439

0.0278888359

0.0027237541

0.1018726592

0.0617197755

0.0105997814

0.040921659

0.0365900684

0.0279010625

0.0063375756

0.1056179775

0.062138688

0.0089611103

0.0411059908

0.08346306

0.0279377422

0.0046626977

0.1003121099

0.0612729355

0.0113933267

0.040921659

0.0323055171

0.0276687574

0.0055065998

0.1024968789

0.061300863

0.0096554625

0.0411059908

0.0402605007

0.027534265

0.0069709639

0.106866417

0.0621666155

0.0137739626

0.0435023041

0.0544423656

0.0275953979

0.0060605837

0.0925093633

0.0618873405

0.0106473941

0.0411059908

0.0406175467

0.0277176637

0.0054013429

0.0981273408

0.0622224705

0.0123852583

0.0420276498

0.0365900684

0.0279010625

0.0058759224

0.0990636704

0.061468428

0.0111433599

0.0422119816

0.0470443737

0.0276076245

0.0057706654

0.1112359551

0.0613287905

0.0132779968

0.041843318

0.0423028035

0.0279255157

0.005968253

0.0984394507

0.0619990505

0.0118377121

0.0414746544

0.0652537168

0.0276443042

0.0041087138

0.1015605493

0.0619431955

0.0105005882

0.0403686636

0.0440880332

0.0279010625

0.0067068982

0.1053058677

0.0620549055

0.0110441667

0.0414746544

0.0424027764

0.0277054372

0.0053090122

0.0971910112

0.0621107605

0.0102030087

0.041843318

0.0365900684

0.0278766093

0.0071685514

0.1009363296

0.0617756305

0.0135239958

0.0412903226

0.064182579

0.0276076245

0.0055860042

0.0943820225

0.0618873405

0.012782031

0.0416589862

0.0433739414

0.0279866486

0.004675624

0.1046816479

0.0621107605

0.0098538488

0.0407373272

0.0431168683

0.0282189536

0.0044780364

0.1009363296

0.0619431955

0.0129804173

0.0423963134

0.045516217

0.027827703

0.004675624

0.0981273408

0.0617756305

0.0120360984

0.0411059908

0.0470443737

0.0276932106

0.0047550283

0.1040574282

0.0615522105

0.0120876788

0.04

0.0269498279

0.0278643827

0.0063375756

0.1053058677

0.062082833

0.0103498146

0.0405529954

0.0591839358

0.0276565308

0.004570367

0.0984394507

0.0609936605

0.0159562122

0.0403686636

0.0501578143

0.0277176637

0.0064299063

0.0984394507

0.0616080655

0.0101514283

0.04

0.0602550736

0.0277421169

0.0059553267

0.090948814

0.0618873405

0.012186872

0.0401843318

0.0348048387

0.0275220384

0.005968253

0.097815231

0.061189153

0.0118377121

0.0407373272

0.0520430169

0.0280722347

0.006139988

0.0928214732

0.061077443

0.0133771899

0.0416589862

0.032662563

0.0278154764

0.0053219385

0.1012484395

0.0614405005

0.0111433599

0.0411059908

0.0531141547

0.0278766093

0.004847359

0.1040574282

0.061691848

0.0133771899

0.0423963134

0.0530141819

0.0276932106

0.0044909627

0.102184769

0.061635993

0.0105482009

0.0411059908

0.0573987061

0.0279377422

0.0063246493

0.0984394507

0.061524283

0.010996554

0.0411059908

0.0269498279

0.0276932106

0.006245245

0.1018726592

0.061859413

0.0108457804

0.0407373272

0.0402605007

0.0277054372

0.0062323187

0.1018726592

0.0620549055

0.0141707352

0.0398156682

0.0448021251

0.0275464916

0.0055065998

0.0943820225

0.062082833

0.0110441667

0.0405529954

0.0559705223

0.0276687574

0.0059553267

0.0946941323

0.0617756305

0.0118892925

0.0420276498

0.0319484711

0.0277054372

0.0055989304

0.0971910112

0.061691848

0.0095562693

0.0420276498

0.064539625

0.0278766093

0.0055860042

0.1028089888

0.0623341805

0.0106989745

0.041843318

0.039446436

0.0277421169

0.004398632

0.106866417

0.061859413

0.0108457804

0.0416589862

0.0670389466

0.0278766093

0.0069709639

0.0965667915

0.061915268

0.0101038156

0.040921659

0.0415887116

0.0280600081

0.0032906643

0.1015605493

0.061245008

0.0104490078

0.040921659

0.0631114412

0.027680984

0.0063246493

0.1043695381

0.061524283

0.0118892925

0.0405529954

0.0333766549

0.0275220384

0.0051372772

0.0925093633

0.0619990505

0.0109449736

0.0412903226

0.0545423385

0.0277910232

0.0052166816

0.1012484395

0.0613287905

0.0133771899

0.0405529954

0.0383752981

0.0278032498

0.0048602853

0.0965667915

0.062250398

0.0113417462

0.0416589862

0.051685971

0.0277910232

0.006139988

0.1

0.061524283

0.0112941335

0.0414746544

0.0423028035

0.0279132891

0.0068915595

0.1006242197

0.061971123

0.0091594967

0.0401843318

0.077036233

0.0275709447

0.0067863026

0.1012484395

0.0619431955

0.0092110771

0.0407373272

0.0433739414

0.0280477815

0.0040293094

0.1015605493

0.061635993

0.0123336779

0.0405529954

0.0499007412

0.0276565308

0.0060476574

0.1015605493

0.061635993

0.0114925198

0.0403686636

0.0494437224

0.0279010625

0.0044909627

0.1084269663

0.061971123

0.009953042

0.0403686636

0.0484725574

0.0278399296

0.004847359

0.1037453184

0.0618314855

0.0104013951

0.04

0.033019609

0.0275464916

0.004398632

0.1028089888

0.0626134555

0.0096554625

0.0401843318

0.038475271

0.0279010625

0.0065093106

0.0984394507

0.061747703

0.0116909062

0.04

0.0490866765

0.0278766093

0.0064299063

0.1059300874

0.061859413

0.0091594967

0.0416589862

0.0445450521

0.0278032498

0.0043857057

0.0975031211

0.062026978

0.0107981677

0.0401843318

0.0551564575

0.0277787967

0.0036599869

0.097815231

0.0612729355

0.0108457804

0.0407373272

0.0545423385

0.0277176637

0.0067863026

0.0943820225

0.061859413

0.0118892925

0.041843318

0.0615832845

0.0278888359

0.0052296079

0.1009363296

0.0618873405

0.0100522351

0.0407373272

0.0548993845

0.0277421169

0.0055860042

0.0918851436

0.061189153

0.0130796104

0.0398156682

0.0276639198

0.0274975852

0.0061529143

0.0928214732

0.061245008

0.0138215753

0.0405529954

0.0520430169

0.0277298903

0.0053090122

0.1177902622

0.0618873405

0.0137739626

0.0405529954

0.0423028035

0.0279377422

0.0053219385

0.1056179775

0.0625576005

0.0120360984

0.0412903226

0.0420457304

0.0278766093

0.0066016413

0.1018726592

0.061691848

0.011591713

0.0407373272

0.0276639198

0.0279377422

0.005968253

0.0968789014

0.061580138

0.0120360984

0.0392626728

0.0324054899

0.0275953979

0.0066939719

0.1046816479

0.0611053705

0.0105005882

0.04

0.0362330225

0.0278521562

0.0047679546

0.1024968789

0.061803558

0.009953042

0.0401843318

0.051328925

0.0277910232

0.0053090122

0.1059300874

0.0620549055

0.0139723489

0.0405529954

0.0308773333

0.0280477815

0.0044909627

0.1065543071

0.0616080655

0.0117385189

0.041843318

0.0416886845

0.0279988752

0.004847359

0.0940699126

0.0619990505

0.0137739626

0.0407373272

0.0337337009

0.0276565308

0.004398632

0.1034332085

0.061803558

0.0125320642

0.0405529954

0.0374041332

0.0278032498

0.0062323187

0.1031210986

0.062082833

0.0128812241

0.039078341

0.0280209657

0.0277421169

0.0056912611

0.1012484395

0.0616639205

0.0109449736

0.0401843318

0.0474014196

0.0278399296

0.0052166816

0.0993757803

0.061691848

0.0114925198

0.0405529954

0.0551564575

0.0280355549

0.0041216401

0.1009363296

0.062362108

0.0128296437

0.0394470046

0.0391893629

0.0278521562

0.0055860042

0.1006242197

0.0616080655

0.0128812241

0.0388940092

0.0269498279

0.0277543435

0.0051372772

0.0943820225

0.062473818

0.0109449736

0.0414746544

0.0399034548

0.0276198511

0.0039240525

0.102184769

0.0611053705

0.0139723489

0.04

0.0483725846

0.0277054372

0.0052296079

0.1034332085

0.062026978

0.012432871

0.0411059908

0.0573987061

0.0278032498

0.0050320203

0.0990636704

0.061635993

0.0104013951

0.04

0.0448021251

0.0277543435

0.0047679546

0.0996878901

0.0618314855

0.0105482009

0.0401843318

0.0506148331

0.0279988752

0.0051243509

0.1081148564

0.061803558

0.0126828378

0.040921659

0.0380182522

0.0277176637

0.0040293094

0.1012484395

0.062026978

0.0134248027

0.0401843318

0.051685971

0.0275464916

0.0065093106

0.1012484395

0.061189153

0.012782031

0.0403686636

0.0423028035

0.0276565308

0.0055065998

0.0956304619

0.0620549055

0.0102506214

0.0405529954

0.0566846142

0.0277543435

0.0057706654

0.1018726592

0.061859413

0.0100046224

0.0398156682

0.05230009

0.0276932106

0.0045832933

0.0993757803

0.062026978

0.0105482009

0.0416589862

0.0470443737

0.0279255157

0.0057706654

0.1003121099

0.0625576005

0.0131788036

0.040921659

0.0533712278

0.0275709447

0.0050449466

0.0950062422

0.062753093

0.0109449736

0.0394470046

0.0441880061

0.0273753194

0.0054013429

0.0996878901

0.061356718

0.010996554

0.0392626728

0.0412316657

0.0279621954

0.0047679546

0.1009363296

0.0616639205

0.0115401326

0.0414746544

0.0613262115

0.0275098118

0.0068786332

0.1009363296

0.062194543

0.0105997814

0.0405529954

0.0398034819

0.0277176637

0.0063375756

0.1006242197

0.0624458905

0.0109449736

0.0405529954

0.0545423385

0.0278032498

0.0051243509

0.1003121099

0.0615522105

0.0124844515

0.0401843318

0.0426598495

0.0277176637

0.0045832933

0.1037453184

0.061635993

0.0134248027

0.0392626728

0.044902098

0.0273630928

0.0055860042

0.0990636704

0.0618314855

0.011591713

0.040921659

0.0362330225

0.0278521562

0.0055065998

0.0987515605

0.062026978

0.0105482009

0.0396313364

0.0638255331

0.0275953979

0.0049396896

0.1209113608

0.061915268

0.0120876788

0.04

0.032662563

0.02826786

0.0055989304

0.1049937578

0.0623900355

0.0139207685

0.040921659

0.0606121196

0.0279866486

0.0066016413

0.0968789014

0.062194543

0.0149642805

0.0403686636

0.0398034819

0.0278643827

0.0044909627

0.1003121099

0.0618314855

0.0100522351

0.040921659

0.0509718791

0.0277176637

0.0063246493

0.1037453184

0.061300863

0.0125836446

0.0394470046

0.0408746197

0.0278888359

0.0043063014

0.1012484395

0.0616639205

0.0098538488

0.04

0.0409745926

0.0275953979

0.0063246493

0.1037453184

0.062138688

0.0122860651

0.0411059908

0.0405175738

0.027827703

0.0051372772

0.1040574282

0.0622224705

0.0127304505

0.0401843318

0.0349048116

0.0276198511

0.0060476574

0.1003121099

0.0616639205

0.0123852583

0.0416589862

0.0362330225

0.0279010625

0.0043063014

0.1018726592

0.0620549055

0.0106473941

0.0403686636

0

0.0275464916

0.0058629961

0.1037453184

0.0616080655

0.0129804173

0.0401843318

0

0.0276443042

0.0050449466

0.1012484395

0.061859413

0.0132264163

0.039078341

0

0.0280355549

0.0044780364

0.0968789014

0.0613846455

0.0116909062

0.0416589862

0

0.0274609055

0.0055065998

0.0965667915

0.061691848

0.0104490078

0.0412903226

0

0.027827703

0.0066939719

0.102184769

0.0621666155

0.0131788036

0.0411059908

0

0.0276932106

0.0042139707

0.0990636704

0.062082833

0.0110441667

0.0401843318

0

0.0275831713

0.0055860042

0.1003121099

0.0617197755

0.0105005882

0.0412903226

0

0.0278766093

0.0061529143

0.0975031211

0.061524283

0.0090603035

0.0396313364

0

0.0277787967

0.0071556252

0.1003121099

0.061971123

0.0140715421

0.0405529954

0

0.0277665701

0.0058759224

0.1015605493

0.062473818

0.0111433599

0.0403686636

0

0.0277665701

0.0078019397

0.1037453184

0.0613287905

0.0120876788

0.0396313364

0

0.0279010625

0.0051372772

-0.65

0.0615522105

0.0117385189



Sheet1

		347.57		0.0363133641		-0.0037561233		0		0.0000590916		0.0531835206		0.0579774904		-0.0006606265

		347.93		0.0359447005		-0.019366172		0.0262260206		-0.0018004476		0.0609862672		0.0575306504		-0.0014025913

		348.3		0.037235023		-0.0169668233		0.0260548485		-0.0023415052		0.0528714107		0.0573072304		-0.0032396487

		348.66		0.0357603687		-0.006869564		0.0258836763		0.0000461653		0.0662921348		0.0580054179		-0.0009066255

		349.02		0.0376036866		-0.012682272		0.0260426219		-0.0010488762		0.0550561798		0.0585360404		-0.0043307735

		349.38		0.0370506912		-0.0061554721		0.0260181687		-0.000138496		0.0650436954		0.0585918954		-0.0013033982

		349.74		0.0383410138		-0.0201802368		0.0262504738		-0.000310231		0.0715980025		0.0585360404		-0.0013549786

		350.11		0.0383410138		-0.0018709208		0.026213794		0.0000461653		0.0706616729		0.0590108079		0.0017715899

		350.47		0.039078341		0.0176666333		0.0265194586		0.0005207448		0.0722222222		0.0590666629		0.0013232368

		350.83		0.0377880184		0.0274068467		0.0266417244		0.0013387944		0.0962546816		0.0587315329		0.0045489984

		351.19		0.0387096774		0.0083834388		0.0272163738		0.0014440513		0.0797128589		0.0604351105		0.0060845086

		351.55		0.0377880184		0.0313343521		0.0270207485		0.0031854073		0.0809612984		0.060016198		0.0027635215

		351.91		0.0385253456		0.03908939		0.0269840688		0.0019057046		0.0787765293		0.0597648504		0.0025135547

		352.28		0.0383410138		0.0413316386		0.0268618029		0.0038317219		0.0912609238		0.060463038		0.0061360891

		352.64		0.0388940092		0.026592782		0.0272286004		0.0030136723		0.0887640449		0.061300863		0.0073740197

		353		0.0396313364		0.0288350305		0.0270574283		0.0059553267		0.1049937578		0.0609936605		0.008516725

		353.36		0.0403686636		0.0465873549		0.0277054372		0.0055065998		0.0984394507		0.061300863		0.0100522351

		353.72		0.040921659		0.0416886845		0.027680984		0.0065093106		0.0928214732		0.061133298		0.0091118839

		354.08		0.04		0.0423028035		0.0274609055		0.0048602853		0.1009363296		0.0618314855		0.008167565

		354.44		0.0394470046		0.0591839358		0.0277176637		0.0050320203		0.1006242197		0.0613846455		0.0107981677

		354.81		0.0403686636		0.0401605279		0.0278766093		0.0051372772		0.0878277154		0.062026978		0.0104490078

		355.17		0.040921659		0.0502577872		0.0278766093		0.0047550283		0.0981273408		0.0617756305		0.0117900993

		355.53		0.0388940092		0.0273068738		0.0278888359		0.0060605837		0.0990636704		0.062194543		0.0127304505

		355.89		0.0401843318		0.0548993845		0.0277787967		0.0066016413		0.0971910112		0.062194543		0.0113933267

		356.25		0.0411059908		0.0515859981		0.0279132891		0.005968253		0.0903245943		0.061747703		0.0114409394

		356.61		0.0405529954		0.0495436953		0.0279132891		0.0067863026		0.0990636704		0.061468428		0.011591713

		356.97		0.0403686636		0.0423028035		0.0278521562		0.0038446481		0.1009363296		0.061580138		0.0109449736

		357.33		0.0398156682		0.0477584656		0.0276320777		0.0063246493		0.097815231		0.061189153		0.0140715421

		357.69		0.041843318		0.0351618846		0.0281822739		0.0055989304		0.1009363296		0.061524283		0.0115401326

		358.06		0.0405529954		0.0234793413		0.0277054372		0.0049396896		0.090948814		0.0616080655		0.011591713

		358.42		0.0401843318		0.0430168954		0.027827703		0.0069838901		0.109051186		0.0609378055		0.0100522351

		358.78		0.0405529954		0.0441880061		0.0276565308		0.0053090122		0.1062421973		0.0612729355		0.0120876788

		359.14		0.0401843318		0.0555135035		0.028121141		0.004675624		0.0962546816		0.0616080655		0.0140199616

		359.5		0.040921659		0.0395464088		0.0275587182		0.0062323187		0.0990636704		0.0616080655		0.0124844515

		359.86		0.0392626728		0.0340907468		0.0277910232		0.0043063014		0.0921972534		0.0616080655		0.0135239958

		360.22		0.0407373272		0.0138391008		0.0278766093		0.0046626977		0.0950062422		0.0612170805		0.0106989745

		360.58		0.040921659		0.0605121467		0.0276687574		0.0045832933		0.0984394507		0.060965733		0.0085643377

		360.94		0.0405529954		0.0477584656		0.0279255157		0.0042010444		0.1062421973		0.0614963555		0.0095086566

		361.3		0.0411059908		0.0301632414		0.0275831713		0.0041216401		0.0943820225		0.061245008		0.0105482009

		361.66		0.0412903226		0.038475271		0.0275953979		0.0062323187		0.1053058677		0.0615522105		0.0102030087

		362.02		0.0416589862		0.0444450792		0.0276198511		0.0056912611		0.0918851436		0.061635993		0.0116393257

		362.38		0.0403686636		0.0291920764		0.0275587182		0.0058629961		0.0956304619		0.061468428		0.0108973609

		362.75		0.0398156682		0.0358759765		0.0278032498		0.0048602853		0.0925093633		0.0613846455		0.008762724

		363.11		0.0398156682		0.0291920764		0.0278154764		0.006139988		0.0915730337		0.061356718		0.0116909062

		363.47		0.0412903226		0.0380182522		0.0277543435		0.0055065998		0.0940699126		0.0612729355		0.012432871

		363.83		0.0414746544		0.0595409817		0.0277298903		0.0054013429		0.097815231		0.061133298		0.0106989745

		364.19		0.0403686636		0.0280209657		0.0274364523		0.005968253		0.0953183521		0.0620549055		0.0121352915

		364.55		0.0388940092		0.0377611791		0.0274242258		0.0066016413		0.0993757803		0.0615522105		0.0098062361

		364.91		0.0403686636		0.0483725846		0.0277543435		0.0055989304		0.102184769		0.0616080655		0.0103498146

		365.27		0.0396313364		0.0552564304		0.0275220384		0.0049396896		0.0950062422		0.0612729355		0.0135755763

		365.63		0.0401843318		0.0187377712		0.027974422		0.004398632		0.0928214732		0.0615522105		0.0108457804

		365.99		0.0394470046		0.0591839358		0.0276932106		0.0050320203		0.0943820225		0.0613287905		0.0099054292

		366.35		0.0401843318		0.0423028035		0.0279499688		0.004675624		0.0937578027		0.0615522105		0.0111433599

		366.71		0.0388940092		0.0399034548		0.0276565308		0.004847359		0.1006242197		0.0621107605		0.0093102703

		367.07		0.0407373272		0.0540853197		0.0278521562		0.0067992289		0.0878277154		0.0613846455		0.012432871

		367.43		0.0414746544		0.0548993845		0.0274853587		0.0068786332		0.0950062422		0.062026978		0.0110957472

		367.79		0.0401843318		0.051943044		0.0275464916		0.0027366804		0.1056179775		0.061691848		0.0127304505

		368.15		0.0392626728		0.0598980277		0.0274731321		0.0059553267		0.0965667915		0.0609936605		0.0132779968

		368.51		0.0403686636		0.0348048387		0.0275587182		0.0066145676		0.1031210986		0.0614963555		0.009953042

		368.87		0.0403686636		0.0509718791		0.0276076245		0.0047550283		0.1		0.061524283		0.0082191455

		369.23		0.0403686636		0.0412316657		0.0275464916		0.0037523175		0.1		0.0616639205		0.0094570761

		369.59		0.0394470046		0.0506148331		0.0278643827		0.0066016413		0.1		0.061915268		0.0128812241

		369.95		0.0407373272		0.0376612062		0.0276687574		0.0051372772		0.1		0.061356718		0.0117385189

		370.31		0.0401843318		0.0527571088		0.0273141865		0.0067863026		0.093133583		0.0614963555		0.0139723489

		370.67		0.0398156682		0.0444450792		0.0275709447		0.0056912611		0.0984394507		0.0617756305		0.0120360984

		371.03		0.0401843318		0.0327625359		0.0275953979		0.0056783348		0.0968789014		0.062026978		0.010996554

		371.39		0.0411059908		0.0351618846		0.0277543435		0.0050449466		0.1062421973		0.0617197755		0.0106473941

		371.75		0.0429493088		0.0520430169		0.0277176637		0.006139988		0.0993757803		0.061691848		0.0122860651

		372.11		0.0420276498		0.0319484711		0.0275709447		0.0067992289		0.0925093633		0.0616639205		0.0107465873

		372.47		0.0388940092		0.0288350305		0.0277665701		0.0063246493		0.0996878901		0.0611612255		0.0131788036

		372.83		0.0403686636		0.0408746197		0.0274486789		0.0058759224		0.0897003745		0.061245008		0.0088619172

		373.19		0.0401843318		0.051328925		0.0278154764		0.0049396896		0.0937578027		0.0619990505		0.0120876788

		373.55		0.0416589862		0.0426598495		0.0277665701		0.0069838901		0.1056179775		0.061635993		0.0115401326

		373.9		0.0411059908		0.0499007412		0.0274853587		0.0074326171		0.0984394507		0.061915268		0.0105005882

		374.26		0.040921659		0.0337337009		0.0274364523		0.0073532127		0.0987515605		0.061635993		0.0111433599

		374.62		0.0396313364		0.0538282466		0.0277054372		0.0075249477		0.1040574282		0.0614963555		0.0123852583

		374.98		0.0411059908		0.0383752981		0.0279132891		0.0060605837		0.0990636704		0.0608819505		0.0127304505

		375.34		0.0414746544		0.0349048116		0.0277665701		0.0074326171		0.0987515605		0.0619431955		0.0122860651

		375.7		0.040921659		0.045516217		0.0280600081		0.0068915595		0.1012484395		0.061468428		0.0101514283

		376.06		0.0407373272		0.0606121196		0.0277787967		0.0089099074		0.0981273408		0.061635993		0.0106989745

		376.42		0.0405529954		0.0194518631		0.0275953979		0.0077225353		0.097815231		0.061859413		0.0126312574

		376.78		0.0416589862		0.051685971		0.0278399296		0.0090945687		0.0990636704		0.062026978		0.0126828378

		377.14		0.0396313364		0.0426598495		0.0275220384		0.009107495		0.1015605493		0.061747703		0.0103498146

		377.5		0.0412903226		0.0406175467		0.0275709447		0.0115874962		0.0968789014		0.0615522105		0.0125836446

		377.86		0.0387096774		0.0323055171		0.0276687574		0.0103077934		0.1084269663		0.062306253		0.0118377121

		378.22		0.0405529954		0.0502577872		0.0275098118		0.0113105043		0.0953183521		0.061189153		0.0119884857

		378.57		0.0405529954		0.0465873549		0.0278888359		0.0100308015		0.1		0.061468428		0.0103498146

		378.93		0.0411059908		0.0556134763		0.0278154764		0.012695464		0.0987515605		0.060742313		0.0114925198

		379.29		0.039078341		0.0408746197		0.0277910232		0.0108617773		0.1037453184		0.062082833		0.0098538488

		379.65		0.040921659		0.0606121196		0.0277421169		0.0133417785		0.0937578027		0.0613287905		0.0117900993

		380.01		0.040921659		0.0287350576		0.0276932106		0.0131700435		0.1034332085		0.062082833		0.0129288368

		380.37		0.0412903226		0.0541852926		0.0279377422		0.0168503431		0.0943820225		0.061356718		0.0114925198

		380.73		0.0392626728		0.0444450792		0.0275953979		0.0152936484		0.097815231		0.0623341805		0.0114409394

		381.09		0.0414746544		0.0659678087		0.0276565308		0.0178659802		0.0981273408		0.0611612255		0.0142699284

		381.44		0.0412903226		0.0437309873		0.0276076245		0.0202795033		0.1003121099		0.0618873405		0.0109449736

		381.8		0.040921659		0.0488296034		0.0278154764		0.0224825126		0.1087390762		0.061691848		0.012186872

		382.16		0.0405529954		0.0365900684		0.0277421169		0.023234084		0.1078027466		0.0618873405		0.0103498146

		382.52		0.0401843318		0.0295491224		0.0277176637		0.025252432		0.0918851436		0.0616080655		0.0125836446

		382.88		0.0416589862		0.0437309873		0.0275464916		0.0284046003		0.0968789014		0.0619431955		0.0132264163

		383.24		0.0407373272		0.0723946357		0.0275709447		0.0308846015		0.1028089888		0.0618873405		0.0139723489

		383.6		0.0412903226		0.0530141819		0.0279866486		0.0334827859		0.1003121099		0.061915268		0.0112425531

		383.95		0.0398156682		0.0327625359		0.0278399296		0.0373477468		0.0918851436		0.0609378055		0.0105997814

		384.31		0.0412903226		0.0494437224		0.0276932106		0.0388379634		0.0912609238		0.061356718		0.0100522351

		384.67		0.0412903226		0.0499007412		0.0279010625		0.0444572066		0.0950062422		0.061915268		0.0119884857

		385.03		0.0405529954		0.0473014468		0.0278032498		0.0461320845		0.0981273408		0.0618873405		0.0117385189

		385.39		0.0401843318		0.0631114412		0.0277543435		0.0542442552		0.0965667915		0.0621107605		0.0122860651

		385.75		0.0412903226		0.05230009		0.027680984		0.0561961251		0.1009363296		0.061859413		0.0111433599

		386.1		0.04		0.0395464088		0.0275464916		0.0651392715		0.0965667915		0.061524283		0.0084175318

		386.46		0.0401843318		0.0383752981		0.0278032498		0.0713383512		0.0959425718		0.0616080655		0.0085643377

		386.82		0.0405529954		0.0388323169		0.0279866486		0.0794505219		0.1		0.0613846455		0.0114925198

		387.18		0.0411059908		0.0315914252		0.0276443042		0.0841723111		0.0975031211		0.0620549055		0.0115401326

		387.54		0.0420276498		0.0631114412		0.0276565308		0.0919151592		0.0984394507		0.061803558		0.0131788036

		387.9		0.0407373272		0.0537282738		0.0275709447		0.1024537793		0.1012484395		0.0616080655		0.0111433599

		388.25		0.0411059908		0.0477584656		0.0273508663		0.1125048935		0.1065543071		0.061859413		0.0130796104

		388.61		0.0411059908		0.0605121467		0.0276687574		0.1223971991		0.0940699126		0.0618873405		0.0135239958

		388.97		0.0394470046		0.0388323169		0.027974422		0.1348489101		0.0943820225		0.0619990505		0.0105005882

		389.33		0.0398156682		0.03908939		0.0278521562		0.1461261754		0.1018726592		0.062194543		0.0107465873

		389.68		0.039078341		0.0666819006		0.0276687574		0.160793822		0.0990636704		0.062138688		0.012186872

		390.04		0.0416589862		0.039446436		0.0277543435		0.1719787566		0.0925093633		0.062138688		0.0097546556

		390.4		0.0405529954		0.051685971		0.0278032498		0.1893239919		0.1028089888		0.0616080655		0.0120876788

		390.76		0.0392626728		0.0469444008		0.0275098118		0.2056794428		0.0956304619		0.0614405005		0.0115401326

		391.12		0.0407373272		0.0363329953		0.0275464916		0.2266255734		0.0990636704		0.0614405005		0.0140715421

		391.47		0.0416589862		0.013739128		0.0279010625		0.2431656855		0.1028089888		0.061747703		0.0127304505

		391.83		0.040921659		0.0598980277		0.0278154764		0.2672510581		0.0996878901		0.0614405005		0.0133771899

		392.19		0.0407373272		0.0437309873		0.0277787967		0.2845298154		0.0975031211		0.0622224705		0.0125320642

		392.55		0.0420276498		0.0620403033		0.0274242258		0.3124007446		0.1015605493		0.0622224705		0.0112941335

		392.9		0.040921659		0.0473014468		0.027534265		0.3359579859		0.0990636704		0.061468428		0.0111433599

		393.26		0.0411059908		0.0466873277		0.0277543435		0.3649368828		0.0968789014		0.061747703		0.0125836446

		393.62		0.0403686636		0.0387323441		0.027680984		0.3900637451		0.1037453184		0.0617197755		0.0144167343

		393.98		0.0407373272		0.0591839358		0.0280477815		0.426890747		0.0953183521		0.061300863		0.0110957472

		394.33		0.041843318		0.0376612062		0.0278521562		0.4625433031		0.0953183521		0.0622224705		0.0102506214

		394.69		0.041843318		0.0552564304		0.027680984		0.4882906273		0.1112359551		0.061468428		0.0130796104

		395.05		0.04		0.0465873549		0.0277054372		0.5184956752		0.1106117353		0.0619990505		0.0109449736

		395.41		0.0412903226		0.0491866493		0.0278521562		0.5592005643		0.0971910112		0.061077443		0.0141707352

		395.76		0.0420276498		0.0423028035		0.0279377422		0.5923601929		0.0968789014		0.0614405005		0.0123336779

		396.12		0.040921659		0.0459732358		0.0279499688		0.6329727514		0.0996878901		0.0614405005		0.0130796104

		396.48		0.041843318		0.03908939		0.0277421169		0.6585612669		0.0968789014		0.0614963555		0.0104490078

		396.83		0.0401843318		0.0631114412		0.0279132891		0.6949266156		0.1112359551		0.061915268		0.0132779968

		397.19		0.0420276498		0.0269498279		0.0278766093		0.7331644298		0.0956304619		0.061356718		0.01302803

		397.55		0.040921659		0.0263357089		0.0276443042		0.7662982058		0.0971910112		0.062585528		0.0128812241

		397.91		0.0412903226		0.0444450792		0.0276932106		0.80453602		0.1046816479		0.0622783255		0.0122344847

		398.26		0.0422119816		0.0591839358		0.0276687574		0.8428403123		0.0975031211		0.061859413		0.0113933267

		398.62		0.0412903226		0.0512289521		0.0275709447		0.866028231		0.1056179775		0.0618873405		0.0121352915

		398.98		0.0407373272		0.0531141547		0.0277543435		0.9017472652		0.1015605493		0.0620549055		0.0110957472

		399.33		0.0422119816		0.0190948171		0.027680984		0.9251198452		0.0962546816		0.061077443		0.0117385189

		399.69		0.0423963134		0.064539625		0.0278766093		0.9472662742		0.1037453184		0.0624458905		0.0125836446

		400.05		0.0403686636		0.0547994116		0.027827703		0.960759475		0.1059300874		0.0615522105		0.0114409394

		400.4		0.0414746544		0.0459732358		0.0279621954		0.9804129765		0.1040574282		0.0621666155		0.0141707352

		400.76		0.0414746544		0.0501578143		0.0277910232		0.9807028948		0.0940699126		0.062082833		0.0109449736

		401.12		0.0407373272		0.0481155115		0.0277787967		0.9925082913		0.1087390762		0.061915268		0.0133771899

		401.47		0.0403686636		0.0498007684		0.0276076245		1		0.0993757803		0.060909878		0.0106473941

		401.83		0.0401843318		0.0356189034		0.0277910232		0.9801359846		0.097815231		0.0619990505		0.0120876788

		402.19		0.0414746544		0.0312343792		0.0279132891		0.9830111609		0.1006242197		0.062026978		0.0115401326

		402.54		0.0425806452		0.0484725574		0.0277176637		0.970348936		0.1049937578		0.0620549055		0.0137739626

		402.9		0.0423963134		0.0547994116		0.0277298903		0.9527267087		0.1006242197		0.061915268		0.0128296437

		403.26		0.0403686636		0.0466873277		0.0279255157		0.9340629917		0.1012484395		0.0618314855		0.0143691216

		403.61		0.0411059908		0.0708664791		0.0278888359		0.9120088933		0.0956304619		0.061971123		0.009953042

		403.97		0.0416589862		0.0281209386		0.0279255157		0.8811575309		0.0968789014		0.0617756305		0.0143691216

		404.33		0.0401843318		0.0601551008		0.0279988752		0.8556871985		0.0965667915		0.061915268		0.0125320642

		404.68		0.0407373272		0.0484725574		0.0278766093		0.8192959973		0.1059300874		0.0620549055		0.0119884857

		405.04		0.0425806452		0.0533712278		0.0282311802		0.7905940923		0.1012484395		0.061356718		0.0116393257

		405.4		0.0411059908		0.0570416601		0.0279988752		0.7506019958		0.0975031211		0.0614405005		0.0124844515

		405.75		0.041843318		0.0412316657		0.0279132891		0.7125746955		0.0993757803		0.061524283		0.0102506214

		406.11		0.0416589862		0.044902098		0.0278521562		0.6853242283		0.0987515605		0.061971123		0.011591713

		406.46		0.0425806452		0.0415887116		0.0281455942		0.6357555971		0.0934456929		0.0617197755		0.0134248027

		406.82		0.041843318		0.0752510033		0.0279010625		0.6075818234		0.1003121099		0.061747703		0.0119884857

		407.18		0.0416589862		0.0151673117		0.0279010625		0.5705701602		0.0987515605		0.0625576005		0.0108457804

		407.53		0.0420276498		0.0388323169		0.0279499688		0.5423963865		0.0984394507		0.061691848		0.0160554053

		407.89		0.0420276498		0.0448021251		0.0277910232		0.5112015541		0.1046816479		0.0619431955		0.014218348

		408.24		0.0416589862		0.0556134763		0.0276076245		0.4871826596		0.1099875156		0.0614963555		0.0153610532

		408.6		0.0425806452		0.0398034819		0.0277298903		0.4562648191		0.0928214732		0.062362108		0.0114409394

		408.96		0.0440552995		0.0488296034		0.0278643827		0.4311379568		0.0950062422		0.061859413		0.0140715421

		409.31		0.0403686636		0.0337337009		0.0280111017		0.4052983019		0.1109238452		0.062473818		0.0132264163

		409.67		0.0431336406		0.0638255331		0.0280844612		0.3846956413		0.1003121099		0.0621666155		0.0123852583

		410.02		0.0425806452		0.032662563		0.0276932106		0.3737212205		0.1012484395		0.0619431955		0.0137223821

		410.38		0.0423963134		0.0545423385		0.0275464916		0.3526569067		0.1015605493		0.0617197755		0.017047337

		410.73		0.0429493088		0.0273068738		0.0276198511		0.3375276069		0.1049937578		0.061971123		0.0112425531

		411.09		0.0433179724		0.0627543952		0.0278888359		0.3192332124		0.0987515605		0.061915268		0.0123852583

		411.45		0.0429493088		0.0401605279		0.0277665701		0.3059505255		0.1015605493		0.061245008		0.0141191548

		411.8		0.0433179724		0.0566846142		0.0279010625		0.2896874054		0.090948814		0.062082833		0.0151626669

		412.16		0.0440552995		0.051943044		0.0278521562		0.2800979444		0.1034332085		0.0617756305		0.0145159274

		412.51		0.0431336406		0.0459732358		0.0280355549		0.2652197839		0.1018726592		0.061803558		0.0175433028

		412.87		0.0449769585		0.0515859981		0.0282311802		0.25950821		0.1065543071		0.0622224705		0.0138215753

		413.22		0.0451612903		0.0463302818		0.0278888359		0.2470306464		0.0981273408		0.062026978		0.0168489506

		413.58		0.0436866359		0.045873263		0.0277421169		0.2373488547		0.0971910112		0.0627810205		0.0151110864

		413.93		0.0451612903		0.0477584656		0.0279255157		0.2246866298		0.1006242197		0.061747703		0.0129804173

		414.29		0.0453456221		0.032662563		0.0277054372		0.2181440801		0.0993757803		0.062138688		0.0125320642

		414.65		0.0451612903		0.0623973493		0.0277421169		0.2098213956		0.0984394507		0.061635993		0.016452178

		415		0.0466359447		0.0376612062		0.0278399296		0.2003242652		0.0937578027		0.061747703		0.0157062454

		415.36		0.0464516129		0.0566846142		0.0278643827		0.1896009839		0.0990636704		0.0621666155		0.0151626669

		415.71		0.0484792627		0.0362330225		0.0276198511		0.1765952889		0.1124843945		0.0616639205		0.0146151206

		416.07		0.0475576037		0.0570416601		0.0283534461		0.1718734996		0.1018726592		0.0618314855		0.0178408823

		416.42		0.0462672811		0.0415887116		0.0277787967		0.1648692967		0.1003121099		0.061803558		0.0167973702

		416.78		0.0499539171		0.0738228195		0.0277298903		0.1539613541		0.1015605493		0.0614405005		0.0171465301

		417.13		0.0471889401		0.0412316657		0.0279866486		0.1475111351		0.1078027466		0.062250398		0.0170949497

		417.49		0.0488479263		0.0556134763		0.0280477815		0.1427893458		0.1012484395		0.0622783255		0.0160554053

		417.84		0.0495852535		0.0333766549		0.027680984		0.1313532718		0.0996878901		0.0618314855		0.0170949497

		418.2		0.0503225806		0.038475271		0.0278643827		0.1282934342		0.102184769		0.061971123		0.0204199045

		418.55		0.0495852535		0.0483725846		0.0279132891		0.1201812635		0.0968789014		0.0616080655		0.0196739719

		418.91		0.0505069124		0.0395464088		0.0278888359		0.1137975226		0.1040574282		0.061747703		0.0208166771

		419.26		0.0512442396		0.0298061955		0.0277054372		0.1093785778		0.1065543071		0.062362108		0.0165989839

		419.62		0.0529032258		0.0538282466		0.0280111017		0.1033641595		0.0950062422		0.0616080655		0.0185352344

		419.97		0.0510599078		0.0537282738		0.0278888359		0.1011611502		0.102184769		0.0621107605		0.0193763924

		420.33		0.0519815668		0.0491866493		0.0277910232		0.0942234254		0.0984394507		0.0617756305		0.0227013472

		420.68		0.0541935484		0.0569416873		0.0281333676		0.0893428274		0.1015605493		0.0617756305		0.0213602557

		421.03		0.054562212		0.0559705223		0.027827703		0.0854520139		0.0906367041		0.0609936605		0.0202215182

		421.39		0.0532718894		0.0462303089		0.0279377422		0.0797404401		0.0975031211		0.062194543		0.0237408916

		421.74		0.0552995392		0.0509718791		0.0276198511		0.0778809009		0.1062421973		0.060854023		0.0219078019

		422.1		0.05640553		0.045873263		0.0281089144		0.073738948		0.0981273408		0.0618873405		0.0248320164

		422.45		0.0576958525		0.0427598223		0.0278032498		0.072341062		0.1040574282		0.0621107605		0.0231973131

		422.81		0.0586175115		0.0448021251		0.0281455942		0.067460464		0.1		0.061635993		0.0234433121

		423.16		0.0591705069		0.0416886845		0.0277665701		0.0665242313		0.1037453184		0.0610495155		0.0254787558

		423.52		0.0610138249		0.0487296305		0.0278399296		0.0606279961		0.1062421973		0.062641383		0.0232449258

		423.87		0.0604608295		0.0563275682		0.0277910232		0.0620923602		0.1		0.0619431955		0.0269666532

		424.22		0.0602764977		0.0126679901		0.0280233283		0.0570271009		0.0975031211		0.0616080655		0.0281053908

		424.58		0.0626728111		0.0409745926		0.0282189536		0.0585837956		0.0943820225		0.061524283		0.0313311524

		424.93		0.0643317972		0.0205230009		0.0280966878		0.0540725202		0.1015605493		0.0618873405		0.0289981292

		425.29		0.06359447		0.0552564304		0.0279866486		0.0540595939		0.1043695381		0.061580138		0.0314303456

		425.64		0.065437788		0.058369871		0.0279621954		0.0519489153		0.1074906367		0.0618873405		0.0324698899

		426		0.0685714286		0.0459732358		0.0276198511		0.050366368		0.0906367041		0.0617756305		0.0347037199

		426.35		0.0685714286		0.0362330225		0.0276565308		0.0493636572		0.1106117353		0.0618314855		0.0373303549

		426.7		0.0702304147		0.0566846142		0.0278521562		0.0480581018		0.1018726592		0.061691848		0.0399609576

		427.06		0.0718894009		0.0462303089		0.0280600081		0.0461320845		0.0996878901		0.061971123		0.039215025

		427.41		0.0698617512		0.0406175467		0.0279988752		0.0433492388		0.0996878901		0.0623341805		0.0438294909

		427.77		0.0717050691		0.0398034819		0.027827703		0.0426235199		0.1049937578		0.062585528		0.0426867857

		428.12		0.0742857143		0.0502577872		0.0278766093		0.0427029243		0.1071785268		0.0618873405		0.0495826944

		428.47		0.0724423963		0.0448021251		0.0279132891		0.0381916489		0.1034332085		0.062306253		0.0472496712

		428.83		0.0755760369		0.0474014196		0.0280966878		0.0379017306		0.106866417		0.061971123		0.0514673645

		429.18		0.0785253456		0.0533712278		0.027827703		0.0379146569		0.0996878901		0.062362108		0.0493327276

		429.53		0.0814746544		0.058112798		0.0277054372		0.0370707548		0.0940699126		0.0619431955		0.0569229884

		429.89		0.0851612903		0.0440880332		0.0280722347		0.0362527053		0.0990636704		0.0617197755		0.0573673738

		430.24		0.0835023041		0.0534712007		0.0278032498		0.0353164725		0.1084269663		0.061803558		0.0659495662

		430.6		0.0846082949		0.0451591711		0.0280233283		0.0332981246		0.1024968789		0.0614963555		0.0660963721

		430.95		0.0871889401		0.0541852926		0.0280600081		0.0334698596		0.1018726592		0.0617756305		0.0697189064

		431.3		0.0890322581		0.026592782		0.0278643827		0.0301588826		0.0975031211		0.062026978		0.0744285978

		431.66		0.0884792627		0.0363329953		0.0282311802		0.0308846015		0.1065543071		0.0617197755		0.0786462911

		432.01		0.0947465438		0.026235736		0.0278766093		0.0306205358		0.0996878901		0.0625017455		0.0794874491

		432.36		0.0934562212		0.064539625		0.0276565308		0.0294073111		0.1015605493		0.0616639205		0.0865817441

		432.72		0.0976958525		0.0469444008		0.0280844612		0.0274812938		0.1034332085		0.0618873405		0.0862325842

		433.07		0.0982488479		0.0602550736		0.0277543435		0.0267297223		0.1003121099		0.061468428		0.0967986399

		433.42		0.1037788018		0.0408746197		0.0281945005		0.026650318		0.1053058677		0.0617197755		0.0968462526

		433.78		0.0999078341		0.0570416601		0.0278766093		0.0256217546		0.0934456929		0.0615522105		0.1026510365

		434.13		0.1032258065		0.0426598495		0.0281700473		0.0227724308		0.1003121099		0.0623341805		0.106864762

		434.48		0.1076497696		0.0566846142		0.0283045397		0.0239598029		0.0984394507		0.062306253		0.1181251699

		434.84		0.109124424		0.0287350576		0.0288791891		0.0251730276		0.0965667915		0.0621107605		0.1210493843

		435.19		0.1118894009		0.0663248547		0.0289770018		0.023682811		0.1081148564		0.0622224705		0.1284412588

		435.54		0.1161290323		0.0572987332		0.0296983702		0.0204641646		0.1009363296		0.0622783255		0.134242075

		435.9		0.1185253456		0.0777503249		0.0309577082		0.0234981497		0.0996878901		0.062529673		0.1464944144

		436.25		0.1212903226		0.0530141819		0.0310066146		0.0210181485		0.102184769		0.0623341805		0.1494186289

		436.6		0.1251612903		0.0366900413		0.0306031373		0.0210975529		0.102184769		0.061971123		0.1610758094

		436.96		0.1253456221		0.039446436		0.0299184487		0.0213874711		0.1012484395		0.061580138		0.1640000238

		437.31		0.1292165899		0.0441880061		0.029087041		0.0208205609		0.1034332085		0.0622224705		0.1767483291

		437.66		0.130875576		0.0358759765		0.0285979777		0.0188945436		0.1040574282		0.062138688		0.1826483384

		438.01		0.130875576		0.0541852926		0.0278399296		0.0186046254		0.1034332085		0.061915268		0.1872628043

		438.37		0.1375115207		0.0444450792		0.0282067271		0.0191715356		0.1046816479		0.0622224705		0.1941547453

		438.72		0.1389861751		0.0441880061		0.0279255157		0.0191586093		0.0984394507		0.062250398		0.2008522677

		439.07		0.144516129		0.0533712278		0.0279132891		0.0193561969		0.1034332085		0.061803558		0.2131998326

		439.42		0.1450691244		0.0416886845		0.0280722347		0.0181429722		0.1		0.061691848		0.227237649

		439.78		0.1489400922		0.0351618846		0.0278521562		0.0169556		0.0996878901		0.0620549055		0.2374029643

		440.13		0.157235023		0.0520430169		0.0282189536		0.018973948		0.1040574282		0.062529673		0.2533254508

		440.48		0.1568663594		0.0362330225		0.027827703		0.0165862774		0.0934456929		0.0615522105		0.2615069029

		440.84		0.1616589862		0.0584698439		0.0277421169		0.0165733512		0.1081148564		0.0619990505		0.2777269688

		441.19		0.1664516129		0.0473014468		0.0277176637		0.0141856806		0.0990636704		0.0623341805		0.2870987389

		441.54		0.1690322581		0.0299061683		0.0279377422		0.0169426737		0.1006242197		0.061803558		0.2998470441

		441.89		0.174562212		0.0244505063		0.0281333676		0.015385979		0.0962546816		0.0616639205		0.3160631424

		442.25		0.1804608295		0.0445450521		0.0278888359		0.0148190689		0.0984394507		0.062306253		0.3221655058

		442.6		0.1797235023		0.0301632414		0.0280600081		0.0147396645		0.0996878901		0.0616639205		0.3307437305

		442.95		0.1861751152		0.0470443737		0.0282189536		0.0150037302		0.1040574282		0.061803558		0.3425001042

		443.3		0.1933640553		0.0380182522		0.0282800866		0.0141856806		0.0921972534		0.0617756305		0.3553436349

		443.65		0.1974193548		0.0520430169		0.0276687574		0.0154653834		0.1053058677		0.061803558		0.363727441

		444.01		0.2038709677		0.03908939		0.0279621954		0.0134470354		0.106866417		0.062194543		0.3699250298

		444.36		0.2070046083		0.0381182251		0.0280722347		0.0146344076		0.1018726592		0.061635993		0.3908071744

		444.71		0.2121658986		0.0387323441		0.0280111017		0.0136316967		0.1065543071		0.061300863		0.4044442505

		445.06		0.21640553		0.0352618575		0.0279255157		0.0150037302		0.1202871411		0.0619431955		0.4224497934

		445.42		0.2274654378		0.0462303089		0.0286102043		0.0154783097		0.1062421973		0.0617197755		0.4319207566

		445.77		0.2329953917		0.0534712007		0.0279132891		0.0143574156		0.1096754057		0.061524283		0.4585561046

		446.12		0.2411059908		0.0501578143		0.0278643827		0.0134470354		0.0965667915		0.0621666155		0.4652496593

		446.47		0.2529032258		0.0538282466		0.0279377422		0.0144497463		0.0984394507		0.0619431955		0.4944640296

		446.82		0.2575115207		0.0337337009		0.0279377422		0.0123390677		0.1024968789		0.0619990505		0.4982809825

		447.18		0.2643317972		0.0656107628		0.028121141		0.0134341092		0.0984394507		0.061691848		0.5131123442

		447.53		0.2757603687		0.0301632414		0.0281333676		0.0120620757		0.1062421973		0.061971123		0.5324034305

		447.88		0.2807373272		0.0466873277		0.0282800866		0.0128801253		0.1006242197		0.0620549055		0.5460444742

		448.23		0.2962211982		0.0426598495		0.0280600081		0.0114157612		0.1093632959		0.062026978		0.5705927982

		448.58		0.3024884793		0.0638255331		0.0280477815		0.0121414801		0.1015605493		0.062138688		0.5766951616

		448.93		0.3100460829		0.0701523872		0.0280844612		0.0105847854		0.1056179775		0.062250398		0.5830911367

		449.29		0.3255299539		0.0831060141		0.0283656726		0.0123261414		0.1043695381		0.0618314855		0.6060563377

		449.64		0.3352995392		0.0315914252		0.028121141		0.0123390677		0.0990636704		0.061580138		0.6098732907

		449.99		0.3520737327		0.0534712007		0.0279866486		0.0120491495		0.1056179775		0.0619990505		0.6267877088

		450.34		0.36		0.0480155386		0.0281822739		0.0114157612		0.1065543071		0.0613287905		0.6532207028

		450.69		0.3734562212		0.0606121196		0.0280844612		0.0114951656		0.1018726592		0.0613287905		0.6653738491

		451.04		0.3876497696		0.0401605279		0.0280722347		0.0105847854		0.0946941323		0.061971123		0.6755391644

		451.39		0.4022119816		0.0623973493		0.0279377422		0.0120491495		0.0996878901		0.061971123		0.7109035108

		451.75		0.4140092166		0.0437309873		0.0279621954		0.0091998257		0.1		0.062138688		0.7287066997

		452.1		0.4276497696		0.0352618575		0.0280600081		0.0102948672		0.1015605493		0.062026978		0.7462162768

		452.45		0.4436866359		0.0337337009		0.0279132891		0.0104001241		0.0990636704		0.062026978		0.7607460913

		452.8		0.4667281106		0.0548993845		0.0277176637		0.0114028349		0.1040574282		0.061580138		0.7737919761

		453.15		0.4823963134		0.05230009		0.0277543435		0.0095691483		0.1043695381		0.062138688		0.7939758008

		453.5		0.5024884793		0.077036233		0.0279132891		0.0110335123		0.1071785268		0.0618873405		0.8115845711

		453.85		0.5155760369		0.0130250361		0.0281700473		0.0107694467		0.1053058677		0.0621107605		0.8108386385

		454.2		0.5373271889		0.0559705223		0.0281945005		0.0113105043		0.0990636704		0.062641383		0.8282490225

		454.56		0.5576036866		0.0276639198		0.0281700473		0.0083688499		0.0996878901		0.062306253		0.8323635548

		454.91		0.5791705069		0.0502577872		0.0280355549		0.0110335123		0.1124843945		0.0618314855		0.8436239627

		455.26		0.5961290323		0.0512289521		0.0281945005		0.0083688499		0.1087390762		0.061747703		0.8567650729

		455.61		0.6217511521		0.0474014196		0.0278399296		0.0112181736		0.1		0.0617756305		0.8719932073

		455.96		0.6482949309		0.0433739414		0.0281455942		0.0079071966		0.1043695381		0.061580138		0.8943592816

		456.31		0.6648847926		0.0509718791		0.0282189536		0.0105718591		0.1012484395		0.0628368755		0.9022471219

		456.66		0.6820276498		0.064796698		0.0279988752		0.0080918579		0.1024968789		0.061915268		0.9107261535

		457.01		0.7139170507		0.0520430169		0.0281822739		0.0089099074		0.0956304619		0.0619990505		0.9326994229

		457.36		0.7185253456		0.0448021251		0.0281945005		0.0102154628		0.0921972534		0.061915268		0.9275889911

		457.71		0.7448847926		0.0491866493		0.0276565308		0.0087252462		0.0981273408		0.0620549055		0.946784852

		458.06		0.7622119816		0.0569416873		0.0279499688		0.0070762208		0.1009363296		0.061580138		0.9636953024

		458.42		0.7983410138		0.0509718791		0.0280600081		0.0089099074		0.1053058677		0.062417963		0.985767765

		458.77		0.8267281106		0.0362330225		0.0278399296		0.009384487		0.0953183521		0.0616080655		0.9985121026

		459.12		0.825437788		0.0777503249		0.0282189536		0.0090022381		0.1015605493		0.0618314855		0.9739637786

		459.47		0.8674654378		0.0601551008		0.0280111017		0.0090151644		0.1006242197		0.0619431955		1

		459.82		0.8770506912		0.0524000628		0.0280111017		0.0100178752		0.1015605493		0.0616639205		0.9982661035

		460.17		0.8903225806		0.0319484711		0.0278643827		0.0088305031		0.0940699126		0.061803558		0.9708372101

		460.52		0.8984331797		0.044902098		0.0283778992		0.0090022381		0.1246566792		0.062306253		0.9609694743

		460.87		0.8989861751		0.0683671575		0.0288302828		0.0105847854		0.1049937578		0.062585528		0.9378058869

		461.22		0.9133640553		0.0413316386		0.0282067271		0.0088175768		0.1046816479		0.0617756305		0.9386510127

		461.57		0.9380645161		0.0480155386		0.0278766093		0.0079995273		0.1003121099		0.0619431955		0.9429639314

		461.92		0.9489400922		0.0363329953		0.0277910232		0.0075249477		0.1102996255		0.0618314855		0.9371631152

		462.27		0.9496774194		0.0572987332		0.028121141		0.0103077934		0.1046816479		0.0612729355		0.9187607997

		462.62		0.9810138249		0.0656107628		0.0280477815		0.0078942703		0.1149812734		0.061971123		0.9390477853

		462.97		0.9944700461		0.0490866765		0.0281578207		0.0094768176		0.1009363296		0.061747703		0.9487171348

		463.32		0.9955760369		0.0656107628		0.0279010625		0.0087252462		0.0968789014		0.062026978		0.9406348759

		463.67		1		0.0340907468		0.0280233283		0.0076302047		0.0996878901		0.0611612255		0.9423687724

		464.02		0.9913364055		0.057755752		0.0280966878		0.0070632945		0.1087390762		0.062250398		0.9261526741

		464.37		0.9808294931		0.0465873549		0.0282189536		0.0083688499		0.097815231		0.0614963555		0.9130075962

		464.72		0.9880184332		0.0570416601		0.0282311802		0.007709609		0.0950062422		0.0617197755		0.9065124279

		465.07		0.9788018433		0.0601551008		0.0281333676		0.0083688499		0.1009363296		0.061747703		0.8938633158

		465.42		0.9776958525		0.0759650952		0.0280477815		0.0080789316		0.1037453184		0.061635993		0.8771512517

		465.77		0.9815668203		0.0333766549		0.0285246182		0.007814866		0.1009363296		0.061859413		0.8814641704

		466.12		0.9423041475		0.0552564304		0.0281333676		0.0082635929		0.1056179775		0.0613846455		0.8309272378

		466.47		0.961843318		0.0337337009		0.0284268056		0.0073532127		0.1109238452		0.0622783255		0.8423820643

		466.82		0.9465437788		0.0281209386		0.0278766093		0.0083559236		0.0950062422		0.0622224705		0.8162466498

		467.17		0.9310599078		0.05230009		0.0279010625		0.007814866		0.1028089888		0.0618873405		0.7880242111

		467.52		0.9268202765		0.0466873277		0.0280966878		0.007709609		0.1043695381		0.061747703		0.779842759

		467.87		0.9177880184		0.0433739414		0.0280111017		0.0072608821		0.1018726592		0.0619431955		0.7703678281

		468.22		0.9161290323		0.0570416601		0.028414579		0.007709609		0.0984394507		0.0618873405		0.7662532957

		468.57		0.8877419355		0.0340907468		0.0280966878		0.0060605837		0.1018726592		0.062138688		0.7402131066

		468.92		0.8766820276		0.0552564304		0.0282434068		0.0081712623		0.1074906367		0.0619431955		0.7304445639

		469.27		0.8611981567		0.0312343792		0.0282311802		0.0076302047		0.1078027466		0.0622224705		0.7169027133

		469.62		0.8357603687		0.0588268898		0.0279866486		0.0083559236		0.0981273408		0.061691848		0.7050511142

		469.97		0.8224884793		0.0615832845		0.0279255157		0.0070762208		0.0912609238		0.061524283		0.6920052295

		470.32		0.8134562212		0.0584698439		0.0280233283		0.0085405849		0.1053058677		0.0619431955		0.6886842424

		470.66		0.8047926267		0.0298061955		0.0281700473		0.0067068982		0.0946941323		0.061691848		0.6912116842

		471.01		0.7837788018		0.0659678087		0.0282556334		0.0078942703		0.1009363296		0.0617197755		0.672019791

		471.36		0.762764977		0.0544423656		0.0281089144		0.0071685514		0.1037453184		0.0612170805		0.6551053729

		471.71		0.7570506912		0.0620403033		0.0280600081		0.0072479558		0.1065543071		0.0613287905		0.6533714764

		472.06		0.7448847926		0.0473014468		0.0281089144		0.007814866		0.1056179775		0.0614963555		0.6368538309

		472.41		0.7378801843		0.0456161899		0.0279866486		0.0078019397		0.1028089888		0.061524283		0.6226215959

		472.76		0.7203686636		0.0476584927		0.0277787967		0.0080918579		0.1062421973		0.061971123		0.6127498924

		473.11		0.7076497696		0.0638255331		0.0281455942		0.0073402864		0.1043695381		0.0621107605		0.592169295

		473.46		0.705437788		0.0298061955		0.0280355549		0.0080918579		0.1024968789		0.061859413		0.5922169077

		473.81		0.7002764977		0.0531141547		0.0281455942		0.0069709639		0.1046816479		0.0619990505		0.5790757975

		474.16		0.6836866359		0.0487296305		0.0279132891		0.0068915595		0.1003121099		0.062697238		0.5566065622

		474.5		0.6875576037		0.0238363873		0.0282556334		0.0070632945		0.0990636704		0.0619990505		0.5537815409

		474.85		0.6704147465		0.0501578143		0.0283289929		0.0077225353		0.1006242197		0.0619990505		0.5451993485

		475.2		0.650875576		0.0638255331		0.0281089144		0.0089099074		0.1059300874		0.0622224705		0.5254122964

		475.55		0.6442396313		0.0508719062		0.0280600081		0.0073532127		0.1018726592		0.0613287905		0.5160365586

		475.9		0.6471889401		0.0616832574		0.0280477815		0.0076172784		0.1143570537		0.061859413		0.5160881391

		476.25		0.65640553		0.0665819278		0.0283901258		0.0077225353		0.1062421973		0.061189153		0.524170398

		476.6		0.6285714286		0.0491866493		0.0281333676		0.0082635929		0.1062421973		0.061971123		0.4987293356

		476.95		0.6370506912		0.0294491495		0.0283778992		0.0084611805		0.1046816479		0.061915268		0.5127631843

		477.29		0.6311520737		0.0566846142		0.0280477815		0.007986601		0.0996878901		0.0614405005		0.5048793117

		477.64		0.624516129		0.0237364144		0.0278154764		0.0089228337		0.0959425718		0.0621107605		0.4928253585

		477.99		0.6276497696		0.0424027764		0.0283901258		0.0066016413		0.0996878901		0.0621107605		0.4962495065

		478.34		0.6130875576		0.0580128251		0.0279621954		0.0076302047		0.1053058677		0.062194543		0.488857632

		478.69		0.6248847926		0.0477584656		0.0283534461		0.009556222		0.1043695381		0.062138688		0.4948608022

		479.04		0.6252534562		0.0362330225		0.0279377422		0.0065222369		0.1		0.061691848		0.4847907123

		479.38		0.6103225806		0.0499007412		0.0280600081		0.0070632945		0.102184769		0.061803558		0.4632181833

		479.73		0.6064516129		0.0526571359		0.0278521562		0.0072608821		0.1009363296		0.062306253		0.4603891943

		480.08		0.6020276498		0.0552564304		0.0280111017		0.0076172784		0.1109238452		0.061635993		0.4551835371

		480.43		0.6001843318		0.0462303089		0.0283289929		0.0055065998		0.102184769		0.0620549055		0.4411457207

		480.78		0.5959447005		0.0488296034		0.0279132891		0.0072479558		0.1015605493		0.062306253		0.4339562003

		481.13		0.5810138249		0.0433739414		0.0280844612		0.0070762208		0.0993757803		0.0618873405		0.4153554984

		481.47		0.5758525346		0.0731087276		0.0280722347		0.0080789316		0.1046816479		0.0619431955		0.4123320908

		481.82		0.5841474654		0.0415887116		0.028121141		0.0064299063		0.1024968789		0.0614963555		0.4147603394

		482.17		0.5725345622		0.0670389466		0.0282189536		0.0078942703		0.1093632959		0.0618873405		0.4034047061

		482.52		0.5695852535		0.0451591711		0.0283289929		0.0097538096		0.102184769		0.0616080655		0.3963104111

		482.87		0.5635023041		0.0402605007		0.0283167663		0.0072479558		0.1115480649		0.0622783255		0.3894184702

		483.21		0.5596313364		0.0469444008		0.0285857511		0.0063375756		0.0975031211		0.062082833		0.3921442983

		483.56		0.5561290323		0.0481155115		0.0286468841		0.0083559236		0.102184769		0.0621666155		0.3869386411

		483.91		0.5522580645		0.0490866765		0.0290381347		0.007814866		0.1006242197		0.0624458905		0.3815306299

		484.26		0.5430414747		0.077036233		0.0288180562		0.0072479558		0.1015605493		0.0616080655		0.3726548256

		484.61		0.5343778802		0.0601551008		0.0288425094		0.0054142691		0.0975031211		0.0613846455		0.370024223

		484.95		0.5338248848		0.0663248547		0.0289770018		0.0084482542		0.1015605493		0.061915268		0.3658104974

		485.3		0.5312442396		0.058369871		0.0294171588		0.007537874		0.1012484395		0.062753093		0.3641718264

		485.65		0.5231336406		0.0395464088		0.0292826664		0.0072479558		0.0987515605		0.061971123		0.3580734307

		486		0.5152073733		0.0373041603		0.029148174		0.006245245		0.1156054931		0.0623900355		0.35236784

		486.34		0.5113364055		0.0877476114		0.0300040348		0.0086329155		0.1078027466		0.0621107605		0.351526682

		486.69		0.5030414747		0.0744369385		0.029673917		0.005968253		0.0928214732		0.061747703		0.3385799904

		487.04		0.4978801843		0.0634684871		0.029673917		0.0069709639		0.1009363296		0.0627251655		0.3305969246

		487.39		0.4858986175		0.0672960197		0.029380479		0.0058759224		0.1118601748		0.062753093		0.3174518467

		487.73		0.4851612903		0.0659678087		0.0294782917		0.0085405849		0.1012484395		0.061803558		0.3058978271

		488.08		0.4766820276		0.0251645982		0.0295394246		0.0071685514		0.1012484395		0.0614963555		0.3032672244

		488.43		0.4750230415		0.0609691655		0.0297717297		0.0069709639		0.0993757803		0.062362108		0.2978631809

		488.78		0.4656221198		0.0612262386		0.0294171588		0.0069838901		0.0946941323		0.062138688		0.2863051936

		489.12		0.465437788		0.0620403033		0.0294293854		0.0066939719		0.1		0.061691848		0.2877454783

		489.47		0.455483871		0.0387323441		0.0293315727		0.007814866		0.1024968789		0.0623341805		0.2791632858

		489.82		0.4510599078		0.0623973493		0.0292093069		0.0083559236		0.0975031211		0.061859413		0.2736600492

		490.16		0.4506912442		0.0462303089		0.0294293854		0.0091998257		0.1024968789		0.0614405005		0.2683512311

		490.51		0.4473732719		0.0570416601		0.0292215335		0.0074326171		0.106866417		0.061803558		0.2658237893

		490.86		0.4392626728		0.058369871		0.0294782917		0.0068915595		0.1		0.062250398		0.2649786636

		491.21		0.4377880184		0.0684671304		0.0290748145		0.0057706654		0.1049937578		0.062417963		0.2563012457

		491.55		0.4302304147		0.0362330225		0.0291604005		0.0079995273		0.097815231		0.0618314855		0.2474214737

		491.9		0.4287557604		0.0791785087		0.0290625879		0.0074326171		0.0956304619		0.0620549055		0.2484649858

		492.25		0.4241474654		0.0680101115		0.0288914157		0.0067992289		0.1074906367		0.062250398		0.2450408378

		492.59		0.4210138249		0.0781073709		0.0289892284		0.0082635929		0.1081148564		0.061635993		0.2399343738

		492.94		0.4141935484		0.0451591711		0.0290748145		0.0092921563		0.1034332085		0.062473818		0.2346255557

		493.29		0.4132718894		0.0474014196		0.0289892284		0.0070632945		0.1043695381		0.0619431955		0.230312637

		493.63		0.4160368664		0.0437309873		0.0291604005		0.0071685514		0.0996878901		0.0621666155		0.2255989779

		493.98		0.4075576037		0.0656107628		0.0289036423		0.0078942703		0.1062421973		0.0625576005		0.2208892865

		494.33		0.4123502304		0.051943044		0.028940322		0.0070762208		0.0943820225		0.061468428		0.2129022531

		494.67		0.4031336406		0.0816778303		0.0288302828		0.0072479558		0.1		0.0617197755		0.210176425

		495.02		0.4029493088		0.0490866765		0.028561298		0.0065222369		0.1009363296		0.0623900355		0.2025861641

		495.37		0.4055299539		0.051328925		0.0290136815		0.0073402864		0.1018726592		0.062082833		0.2035304831

		495.71		0.3983410138		0.0547994116		0.0286346575		0.0070762208		0.1012484395		0.062362108		0.1920716889

		496.06		0.400921659		0.077036233		0.0286224309		0.0063246493		0.102184769		0.061747703		0.1851797479

		496.41		0.4001843318		0.0305202874		0.0286591106		0.0083688499		0.1065543071		0.061859413		0.1818547931

		496.75		0.3974193548		0.0716805439		0.0283534461		0.0070632945		0.1053058677		0.0618314855		0.180319283

		497.1		0.397235023		0.0348048387		0.0287202436		0.0083688499		0.0996878901		0.062306253		0.1724314426

		497.45		0.3911520737		0.0620403033		0.0285490714		0.0081712623		0.109051186		0.0619431955		0.1667298196

		497.79		0.3931797235		0.0622973764		0.0289770018		0.0082765192		0.1031210986		0.062362108		0.1684637161

		498.14		0.3913364055		0.0484725574		0.0286468841		0.0076172784		0.1059300874		0.0619431955		0.165737888

		498.48		0.3929953917		0.0423028035		0.0284879385		0.0077225353		0.1081148564		0.0613846455		0.1610242289

		498.83		0.3889400922		0.0656107628		0.0283656726		0.0069709639		0.1071785268		0.062529673		0.1612741957

		499.18		0.3876497696		0.0594410089		0.0284512587		0.0057835917		0.0968789014		0.061915268		0.1538823212

		499.52		0.387281106		0.0534712007		0.0284757119		0.0082635929		0.1012484395		0.0619990505		0.1534379358

		499.87		0.3839631336		0.0433739414		0.0285979777		0.0064299063		0.1040574282		0.061524283		0.1497162084

		500.21		0.3848847926		0.0570416601		0.0282923131		0.0069709639		0.1009363296		0.061189153		0.1465936076

		500.56		0.3782488479		0.0494437224		0.0284268056		0.005968253		0.0993757803		0.0621107605		0.1394993126

		500.91		0.3771428571		0.0598980277		0.028414579		0.0076172784		0.0996878901		0.0619990505		0.1390549272

		501.25		0.384516129		0.0580128251		0.0284023524		0.0080918579		0.0962546816		0.0627251655		0.1369202904

		501.6		0.3806451613		0.0445450521		0.0282189536		0.0093715607		0.1015605493		0.062306253		0.1348888144

		501.94		0.3841474654		0.0423028035		0.028414579		0.0044909627		0.1015605493		0.0614405005		0.128786451

		502.29		0.3767741935		0.0488296034		0.0281822739		0.0082635929		0.1015605493		0.061747703		0.1249694981

		502.64		0.3789861751		0.0415887116		0.0287324701		0.0054142691		0.1028089888		0.0621107605		0.1240251792

		502.98		0.3804608295		0.0609691655		0.0281822739		0.0072479558		0.0968789014		0.062194543		0.1199106468

		503.33		0.3776958525		0.0462303089		0.0282800866		0.0055989304		0.0975031211		0.0620549055		0.1181727826

		503.67		0.3799078341		0.0363329953		0.0278154764		0.0057706654		0.0940699126		0.0616639205		0.1167364656

		504.02		0.3756682028		0.0223082306		0.0281578207		0.0058759224		0.1024968789		0.0619431955		0.1100389432

		504.36		0.3767741935		0.0548993845		0.0281089144		0.0070632945		0.1096754057		0.0625017455		0.1095945579

		504.71		0.3834101382		0.0740798926		0.0279132891		0.0070762208		0.097815231		0.0621666155		0.103194615

		505.05		0.3806451613		0.0606121196		0.0282311802		0.007986601		0.1074906367		0.062082833		0.102948616

		505.4		0.375483871		0.0383752981		0.02826786		0.0047679546		0.0968789014		0.0622783255		0.1006155928

		505.75		0.3732718894		0.0627543952		0.0283289929		0.0073402864		0.1053058677		0.0614405005		0.0984849236

		506.09		0.3804608295		0.0605121467		0.027974422		0.0065222369		0.1040574282		0.062138688		0.0947631962

		506.44		0.3830414747		0.0349048116		0.0282311802		0.0059553267		0.1115480649		0.0618873405		0.0961042877

		506.78		0.3874654378		0.033019609		0.028121141		0.0058759224		0.0993757803		0.061971123		0.0904978902

		507.13		0.387281106		0.0531141547		0.0280600081		0.0083559236		0.1043695381		0.062250398		0.0904502774

		507.47		0.3900460829		0.039446436		0.0280111017		0.0063375756		0.1040574282		0.0617197755		0.0876212884

		507.82		0.3841474654		0.0570416601		0.0278766093		0.0070632945		0.1018726592		0.061803558		0.0851930398

		508.16		0.3939170507		0.0415887116		0.0280966878		0.0067992289		0.1012484395		0.0618314855		0.0852406525

		508.51		0.3904147465		0.0548993845		0.0283412195		0.0073402864		0.1099875156		0.0621107605		0.084101915

		508.85		0.3929953917		0.0551564575		0.0284390321		0.0063375756		0.1015605493		0.0619990505		0.0831575961

		509.2		0.3950230415		0.0481155115		0.0281455942		0.0066016413		0.1024968789		0.0618873405		0.0801341885

		509.54		0.3964976959		0.0469444008		0.028121141		0.0057835917		0.0965667915		0.0621107605		0.0779003585

		509.89		0.3970506912		0.0584698439		0.0280966878		0.0065093106		0.1034332085		0.061859413		0.0770592005

		510.23		0.4060829493		0.0537282738		0.0282800866		0.0058759224		0.0946941323		0.062306253		0.0720479619

		510.58		0.4016589862		0.0524000628		0.0282556334		0.0070632945		0.1028089888		0.0615522105		0.0710084175

		510.92		0.4073732719		0.0444450792		0.0280966878		0.0047679546		0.1037453184		0.0618873405		0.0671874969

		511.27		0.4051612903		0.0559705223		0.0281333676		0.0068786332		0.0893882647		0.0619990505		0.0702148722

		511.61		0.412718894		0.0569416873		0.0280477815		0.0074455434		0.0990636704		0.062082833		0.0666915311

		511.96		0.415483871		0.0691812222		0.027974422		0.0090022381		0.1034332085		0.0619431955		0.0654536004

		512.3		0.4208294931		0.0398034819		0.027974422		0.0061529143		0.1056179775		0.061524283		0.06540202

		512.65		0.4182488479		0.0438309602		0.027974422		0.0071556252		0.1102996255		0.061580138		0.0625769987

		512.99		0.4237788018		0.0294491495		0.0278766093		0.0058759224		0.1074906367		0.062641383		0.0618310661

		513.33		0.4283870968		0.0506148331		0.027827703		0.0066939719		0.1065543071		0.061915268		0.0583116927

		513.68		0.4298617512		0.0501578143		0.0281945005		0.0051372772		0.0987515605		0.061859413		0.0569706011

		514.02		0.4335483871		0.0495436953		0.0280233283		0.00641698		0.0956304619		0.0620549055		0.0582124995

		514.37		0.4333640553		0.0462303089		0.0280966878		0.0061529143		0.1003121099		0.061803558		0.0554827037

		514.71		0.4411059908		0.0538282466		0.0281822739		0.0076172784		0.1043695381		0.062026978		0.0574189542

		515.06		0.4431336406		0.0333766549		0.0279621954		0.0069838901		0.1049937578		0.061971123		0.0543915789

		515.4		0.4458986175		0.0263357089		0.0283656726		0.0060476574		0.1018726592		0.0613846455		0.0534512277

		515.74		0.4488479263		0.0401605279		0.0278521562		0.0048602853		0.1043695381		0.0613846455		0.0543915789

		516.09		0.4521658986		0.0666819006		0.0279010625		0.0060476574		0.1034332085		0.062194543		0.0509713986

		516.43		0.455483871		0.0373041603		0.0281945005		0.0061529143		0.1087390762		0.061803558		0.0535980336

		516.78		0.4628571429		0.0684671304		0.0283412195		0.0076172784		0.1065543071		0.0623341805		0.0503762397

		517.12		0.4617511521		0.045516217		0.0281333676		0.006245245		0.1143570537		0.061971123		0.0469520917

		517.47		0.4687557604		0.0670389466		0.0285246182		0.0072479558		0.1065543071		0.0618314855		0.0518641371

		517.81		0.4715207373		0.039446436		0.0282067271		0.0060605837		0.1018726592		0.062585528		0.0467537054

		518.15		0.4763133641		0.0527571088		0.0280966878		0.0070632945		0.1031210986		0.0623341805		0.0481939901

		518.5		0.4798156682		0.0530141819		0.0280233283		0.006245245		0.1043695381		0.061803558		0.04407549

		518.84		0.4764976959		0.070966452		0.0281578207		0.0055860042		0.1018726592		0.0621107605		0.0460117405

		519.18		0.4825806452		0.0530141819		0.0281455942		0.0063375756		0.0996878901		0.0618314855		0.0426867857

		519.53		0.4877419355		0.0677530385		0.028121141		0.0069709639		0.1078027466		0.061580138		0.0446230362

		519.87		0.4925345622		0.0490866765		0.0278766093		0.005968253		0.1056179775		0.0621107605		0.0420916267

		520.22		0.4912442396		0.0731087276		0.0282434068		0.0074326171		0.1071785268		0.061133298		0.0434327183

		520.56		0.4951152074		0.0473014468		0.0283167663		0.0069838901		0.1040574282		0.0617756305		0.0396117976

		520.9		0.5002764977		0.0798926006		0.0282067271		0.0081712623		0.102184769		0.0616639205		0.0391674123

		521.25		0.5010138249		0.0487296305		0.0281089144		0.0055065998		0.0993757803		0.0625017455		0.0357432643

		521.59		0.5076497696		0.0441880061		0.0279988752		0.0070632945		0.1134207241		0.061468428		0.0359932311

		521.93		0.5115207373		0.0494437224		0.0285490714		0.0057835917		0.1053058677		0.062026978		0.0411988882

		522.28		0.5163133641		0.0420457304		0.0279621954		0.0071556252		0.1043695381		0.061412573		0.0376795148

		522.62		0.517235023		0.0351618846		0.0277421169		0.0050449466		0.1081148564		0.062138688		0.0372311617

		522.96		0.520921659		0.0681100844		0.0281700473		0.0062323187		0.0971910112		0.0619990505		0.037778708

		523.31		0.5288479263		0.039446436		0.0282067271		0.0080918579		0.1009363296		0.061915268		0.0344537532

		523.65		0.5319815668		0.0573987061		0.028121141		0.007986601		0.1015605493		0.061859413		0.0356956516

		523.99		0.5316129032		0.0376612062		0.027974422		0.0068915595		0.1006242197		0.061971123		0.0327674694

		524.34		0.5382488479		0.0395464088		0.0281700473		0.0065093106		0.106866417		0.0612729355		0.0351996858

		524.68		0.5360368664		0.0515859981		0.0279377422		0.0057835917		0.1009363296		0.0618314855		0.0308827993

		525.02		0.5448847926		0.0413316386		0.0278888359		0.0076172784		0.1184144819		0.062138688		0.0342077541

		525.37		0.5469124424		0.0569416873		0.0283656726		0.0060605837		0.1049937578		0.0622783255		0.0338585942

		525.71		0.5487557604		0.0416886845		0.0277787967		0.0055860042		0.1049937578		0.062473818		0.0349021063

		526.05		0.5483870968		0.0362330225		0.0279377422		0.0055065998		0.1015605493		0.061971123		0.033759401

		526.4		0.5500460829		0.0420457304		0.0283412195		0.0075249477		0.1056179775		0.062920658		0.0305376071

		526.74		0.5535483871		0.0487296305		0.0281089144		0.0069838901		0.1078027466		0.061412573		0.0291965155

		527.08		0.5568663594		0.0584698439		0.0280722347		0.0072479558		0.1043695381		0.062082833		0.0297440618

		527.42		0.5585253456		0.0412316657		0.0280966878		0.0055065998		0.0996878901		0.0616080655		0.0284029702

		527.77		0.5660829493		0.0613262115		0.0280844612		0.0056783348		0.1040574282		0.0619990505		0.0276610054

		528.11		0.5629493088		0.0540853197		0.0282067271		0.005968253		0.106866417		0.061971123		0.0281053908

		528.45		0.5703225806		0.0659678087		0.0277421169		0.0083559236		0.1053058677		0.0622783255		0.0291489028

		528.8		0.5682949309		0.0340907468		0.0277421169		0.0049526159		0.1152933833		0.062250398		0.0268158796

		529.14		0.5716129032		0.0563275682		0.0282434068		0.0065093106		0.1034332085		0.062194543		0.0289505165

		529.48		0.5688479263		0.0558705494		0.0281945005		0.0058759224		0.106866417		0.0626134555		0.0271134591

		529.82		0.5793548387		0.0391893629		0.0282800866		0.0054013429		0.106866417		0.061189153		0.0254787558

		530.17		0.5738248848		0.0469444008		0.0280966878		0.0056912611		0.1049937578		0.0619431955		0.0238400848

		530.51		0.5811981567		0.0506148331		0.0281578207		0.0069709639		0.1127965044		0.0616080655		0.0267682669

		530.85		0.5848847926		0.0565846413		0.0281700473		0.0052296079		0.1046816479		0.062026978		0.0266174933

		531.19		0.5887557604		0.0659678087		0.0281700473		0.0080789316		0.1018726592		0.061580138		0.0270658464

		531.54		0.5867281106		0.0501578143		0.028121141		0.006245245		0.1062421973		0.061189153		0.0256255617

		531.88		0.5939170507		0.0481155115		0.0281455942		0.0071556252		0.1087390762		0.062138688		0.0258755285

		532.22		0.5907834101		0.0540853197		0.0282067271		0.0050449466		0.1102996255		0.061635993		0.0249312095

		532.56		0.5941013825		0.0652537168		0.0282434068		0.0069709639		0.1112359551		0.061356718		0.0265698806

		532.9		0.5939170507		0.0597980548		0.0286102043		0.0055989304		0.1059300874		0.061635993		0.0225505736

		533.25		0.5988940092		0.058112798		0.0287936031		0.0059553267		0.1121722846		0.061412573		0.0235940857

		533.59		0.5996313364		0.0376612062		0.0283901258		0.0058759224		0.1053058677		0.0615522105		0.0225505736

		533.93		0.6020276498		0.0698953141		0.0285001651		0.0063246493		0.106866417		0.062082833		0.0239908584

		534.27		0.6023963134		0.0630114683		0.0288669625		0.0066145676		0.1149812734		0.0613846455		0.0232449258

		534.62		0.6081105991		0.0916751168		0.0289036423		0.0088175768		0.1018726592		0.062306253		0.025577949

		534.96		0.6055299539		0.0615832845		0.0285735246		0.0044909627		0.0987515605		0.0616639205		0.0202691309

		535.3		0.6079262673		0.0656107628		0.0282923131		0.0057706654		0.1056179775		0.0622783255		0.021312643

		535.64		0.601843318		0.0533712278		0.0289158689		0.0077225353		0.1106117353		0.0618873405		0.0211618694

		535.98		0.6053456221		0.0520430169		0.0288302828		0.0065093106		0.1131086142		0.0619431955		0.0232965062

		536.32		0.611797235		0.0572987332		0.0285735246		0.0060605837		0.1		0.062529673		0.0202691309

		536.67		0.6106912442		0.0570416601		0.0290381347		0.0050320203		0.1049937578		0.0621107605		0.0228005404

		537.01		0.6140092166		0.045516217		0.0289892284		0.0060605837		0.1084269663		0.0621666155		0.0222529941

		537.35		0.6141935484		0.0670389466		0.0294538385		0.0060476574		0.1165418227		0.061971123		0.0206182908

		537.69		0.6130875576		0.0640826061		0.0296983702		0.0060605837		0.1212234707		0.0615522105		0.0207650967

		538.03		0.6199078341		0.0766791871		0.0298817689		0.0069709639		0.1081148564		0.062306253		0.0227013472

		538.37		0.6165898618		0.05230009		0.0297228234		0.0063375756		0.1040574282		0.0621666155		0.0179876881

		538.72		0.6213824885		0.0534712007		0.0301874335		0.0070632945		0.1096754057		0.062417963		0.0217094156

		539.06		0.6199078341		0.0744369385		0.0304930981		0.0070762208		0.1046816479		0.0624458905		0.0189796198

		539.4		0.6243317972		0.08346306		0.031141107		0.0081712623		0.102184769		0.0627251655		0.0209158703

		539.74		0.628202765		0.0937174196		0.0320947805		0.0056912611		0.109051186		0.062529673		0.0176901087

		540.08		0.627281106		0.0998871735		0.0326816565		0.0069709639		0.1115480649		0.062138688		0.0183368481

		540.42		0.6265437788		0.1001442466		0.0339409945		0.0064299063		0.1056179775		0.062585528		0.0174917223

		540.76		0.6223041475		0.1266656193		0.0359706073		0.0073402864		0.1121722846		0.0630044405		0.019527166

		541.11		0.6287557604		0.1447749896		0.037474477		0.006245245		0.1118601748		0.0623900355		0.0181860745

		541.45		0.6256221198		0.1623702138		0.0396997151		0.0071556252		0.1118601748		0.062362108		0.0209158703

		541.79		0.626359447		0.1265656465		0.0411913583		0.0061529143		0.1074906367		0.0627810205		0.0198723582

		542.13		0.6237788018		0.1459461003		0.0408123342		0.0074326171		0.109051186		0.061245008		0.0211142566

		542.47		0.6267281106		0.1258515546		0.0401031924		0.0058759224		0.106866417		0.063199933		0.0189796198

		542.81		0.6311520737		0.1259515274		0.0402988177		0.0060476574		0.1112359551		0.063646773		0.020717484

		543.15		0.6324423963		0.1379911167		0.0389172138		0.0055065998		0.1156054931		0.062026978		0.0173925292

		543.49		0.6320737327		0.1323783544		0.0383792442		0.0073402864		0.1059300874		0.062417963		0.0162537917

		543.83		0.6329953917		0.1176394979		0.0380735796		0.0045832933		0.1112359551		0.062808948		0.0163014044

		544.18		0.6344700461		0.1363058598		0.0381591657		0.0066016413		0.1168539326		0.0622783255		0.0177416891

		544.52		0.6339170507		0.1472743113		0.0382569783		0.0067068982		0.1124843945		0.061803558		0.0151110864

		544.86		0.6324423963		0.1355917679		0.0391128391		0.0075249477		0.1230961298		0.062082833		0.0185352344

		545.2		0.6355760369		0.116925406		0.042255071		0.0049526159		0.1059300874		0.062808948		0.0146151206

		545.54		0.6361290323		0.1330924463		0.0454584357		0.0057706654		0.1184144819		0.062697238		0.0162537917

		545.88		0.6392626728		0.1062140276		0.0497255132		0.0043063014		0.1140449438		0.063032368		0.0158054386

		546.22		0.639078341		0.1391622274		0.0506180538		0.0051243509		0.1168539326		0.0630602955		0.0168489506

		546.56		0.6405529954		0.116925406		0.0481116042		0.0061529143		0.1149812734		0.063032368		0.017293336

		546.9		0.64		0.0995301275		0.0453239433		0.0063246493		0.1202871411		0.0630044405		0.0173449164

		547.24		0.6423963134		0.0905040061		0.0421205786		0.0052296079		0.1162297129		0.062082833		0.0131272232

		547.58		0.6383410138		0.0988160356		0.0384526037		0.0059553267		0.1252808989		0.061580138		0.0178408823

		547.92		0.6374193548		0.0890758223		0.0366308428		0.0065222369		0.1230961298		0.061580138		0.0147143138

		548.26		0.639078341		0.0970308059		0.0356893959		0.0074326171		0.1202871411		0.062306253		0.015857019

		548.6		0.6363133641		0.0837201331		0.0349680275		0.0060605837		0.1143570537		0.062529673		0.0174917223

		548.94		0.6407373272		0.0906039789		0.034307792		0.0067863026		0.1221598002		0.0620549055		0.0168489506

		549.28		0.6339170507		0.0815778574		0.0339532211		0.0056912611		0.118102372		0.0621666155		0.0154086659

		549.62		0.6446082949		0.1066710464		0.0332563059		0.0062323187		0.1252808989		0.062250398		0.0154602464

		549.96		0.6352073733		0.0947885574		0.0328039223		0.0066145676		0.1299625468		0.062138688		0.016698177

		550.3		0.639078341		0.1055999086		0.0323393121		0.0059553267		0.1280898876		0.062641383		0.0172457233

		550.64		0.6352073733		0.0740798926		0.0320458741		0.0055065998		0.1255930087		0.061635993		0.0127304505

		550.98		0.6392626728		0.0884617033		0.0315079045		0.0059553267		0.1234082397		0.062417963		0.0167497575

		551.32		0.6346543779		0.0862194547		0.0314467716		0.0045832933		0.1271535581		0.062194543		0.0137223821

		551.66		0.6403686636		0.0870335195		0.0311288804		0.0063246493		0.1333957553		0.0623900355		0.0153610532

		552		0.6376036866		0.071223525		0.0310310677		0.0065222369		0.1199750312		0.0619431955		0.0149127001

		552.34		0.6383410138		0.0995301275		0.0304564183		0.0076172784		0.1368289638		0.0618314855		0.0171465301

		552.68		0.6423963134		0.0983590168		0.0303708323		0.0066145676		0.1262172285		0.061747703		0.0131272232

		553.02		0.6433179724		0.0931033005		0.03070095		0.0069709639		0.1271535581		0.0625017455		0.0171465301

		553.36		0.6479262673		0.0822919493		0.0302118867		0.0065222369		0.131835206		0.062641383		0.016698177

		553.7		0.6412903226		0.0913180708		0.0300040348		0.0055860042		0.134019975		0.061915268		0.0161545985

		554.04		0.6364976959		0.0819349034		0.0298450892		0.0055065998		0.131835206		0.061915268		0.0147143138

		554.38		0.6435023041		0.1034576329		0.0296127841		0.0058629961		0.1324594257		0.062585528		0.0148650874

		554.72		0.6352073733		0.0933603736		0.029527198		0.0057835917		0.1418227216		0.062194543		0.0135239958

		555.06		0.6350230415		0.1127408275		0.029441612		0.0054013429		0.1330836454		0.0618873405		0.0150634737

		555.4		0.6370506912		0.0783644439		0.0294171588		0.0074455434		0.1443196005		0.062417963		0.0153094727

		555.74		0.6411059908		0.1088133221		0.0292826664		0.0073402864		0.1421348315		0.0613287905		0.0161545985

		556.08		0.6366820276		0.1119267627		0.0294538385		0.0054142691		0.1393258427		0.061580138		0.0133256095

		556.42		0.6344700461		0.1084562762		0.0294538385		0.0068786332		0.1505617978		0.0617197755		0.0141707352

		556.76		0.6394470046		0.1030006141		0.029148174		0.0088305031		0.1474406991		0.061133298		0.0138215753

		557.1		0.6425806452		0.1298790328		0.0294660651		0.006139988		0.1446317104		0.062082833		0.0159562122

		557.44		0.6342857143		0.1208529114		0.0294660651		0.0044909627		0.1468164794		0.062082833		0.0128296437

		557.78		0.6333640553		0.1170253788		0.0291604005		0.0067863026		0.1474406991		0.0621666155		0.0147658942

		558.12		0.6341013825		0.1015724303		0.0293560259		0.005968253		0.1496254682		0.061356718		0.0138215753

		558.46		0.6405529954		0.1534440652		0.0290748145		0.004847359		0.1446317104		0.061691848		0.0154602464

		558.79		0.6396313364		0.1279938302		0.0290503613		0.0057835917		0.1577403246		0.0615522105		0.0149127001

		559.13		0.6392626728		0.1238092518		0.029294893		0.0062323187		0.1521223471		0.0616639205		0.0154602464

		559.47		0.6414746544		0.1329924735		0.0290748145		0.0055989304		0.1549313358		0.0624458905		0.0159046317

		559.81		0.6411059908		0.1723675002		0.0288302828		0.0057706654		0.1583645443		0.061021588		0.0142699284

		560.15		0.6341013825		0.1347777032		0.0293315727		0.0050449466		0.1555555556		0.0618873405		0.0137223821

		560.49		0.637235023		0.1520158814		0.0290992676		0.0058629961		0.1558676654		0.0621107605		0.0157578258

		560.83		0.640921659		0.1444179437		0.0293682525		0.0045832933		0.1586766542		0.061971123		0.0144167343

		561.17		0.639078341		0.1695111327		0.0292826664		0.0060476574		0.1555555556		0.0614405005		0.0155594395

		561.51		0.6401843318		0.1708393436		0.0292582132		0.0049526159		0.1699126092		0.0622224705		0.0138215753

		561.84		0.639078341		0.1812936489		0.0296494639		0.0074326171		0.1617977528		0.0613846455		0.0150634737

		562.18		0.6333640553		0.1865493652		0.0294660651		0.0068915595		0.1730337079		0.0616639205		0.0139207685

		562.52		0.6376036866		0.1923620732		0.0292215335		0.0065093106		0.1639825218		0.062138688		0.01526186

		562.86		0.6370506912		0.1847641354		0.0293315727		0.005968253		0.1686641698		0.0622224705		0.0133256095

		563.2		0.6346543779		0.2070009569		0.0294782917		0.00641698		0.1802122347		0.061635993		0.0156586327

		563.54		0.6398156682		0.2347505677		0.0296372373		0.0067068982		0.1802122347		0.0620549055		0.0126312574

		563.88		0.6331797235		0.2559162513		0.0294782917		0.0067863026		0.1852059925		0.061356718		0.0159562122

		564.21		0.6396313364		0.2183264542		0.0297472765		0.0053219385		0.1951935081		0.0613846455		0.0116393257

		564.55		0.6337327189		0.2416344135		0.0296250107		0.0059553267		0.1889513109		0.061971123		0.0146667011

		564.89		0.6296774194		0.2347505677		0.0293560259		0.0042139707		0.1892634207		0.061468428		0.0137223821

		565.23		0.6335483871		0.2559162513		0.0299429019		0.0052166816		0.1898876404		0.0617756305		0.0150634737

		565.57		0.6317050691		0.2665276568		0.0301018474		0.0052296079		0.2026841448		0.061915268		0.0128296437

		565.91		0.6302304147		0.2923349377		0.0304319652		0.0078019397		0.1980024969		0.0616639205		0.0176424959

		566.24		0.6337327189		0.3050886188		0.0301507538		0.0047679546		0.2048689139		0.062026978		0.0118377121

		566.58		0.6376036866		0.2941201674		0.0300651677		0.0060476574		0.2076779026		0.0617197755		0.0150634737

		566.92		0.6307834101		0.3029463431		0.0299306753		0.0048602853		0.2073657928		0.0622783255		0.0121352915

		567.26		0.6307834101		0.3098301889		0.0303830588		0.004570367		0.2167290886		0.0623341805		0.0131788036

		567.6		0.6302304147		0.3268684214		0.0307498563		0.0045832933		0.2198501873		0.061524283		0.0148135069

		567.93		0.6324423963		0.3294677159		0.0305053247		0.0068786332		0.2239076155		0.061915268		0.0163529848

		568.27		0.6307834101		0.3615018781		0.0305786842		0.0063375756		0.2198501873		0.0618314855		0.0133256095

		568.61		0.6342857143		0.3687427698		0.0308109893		0.004847359		0.218289638		0.0618873405		0.01526186

		568.95		0.6305990783		0.3947071509		0.0310310677		0.005968253		0.2260923845		0.062082833		0.0146151206

		569.29		0.627281106		0.4012339508		0.0311288804		0.0059553267		0.2370162297		0.061859413		0.0135755763

		569.62		0.6294930876		0.4018480698		0.0309699348		0.0057835917		0.2332709114		0.061635993		0.0117385189

		569.96		0.6285714286		0.4419371885		0.0313978652		0.006139988		0.2376404494		0.061412573		0.0162537917

		570.3		0.6247004608		0.4504063183		0.0312511462		0.0051372772		0.245443196		0.061803558		0.0132264163

		570.64		0.6191705069		0.4694297262		0.0314589982		0.0051243509		0.2526217228		0.0614405005		0.012782031

		570.97		0.6215668203		0.4693297534		0.0315568108		0.0051372772		0.2569912609		0.0616080655		0.013623189

		571.31		0.6248847926		0.5237007098		0.0318869286		0.0068786332		0.2585518102		0.061859413		0.0151626669

		571.65		0.6219354839		0.5196732316		0.0318991551		0.0060605837		0.2610486891		0.0614963555		0.0126312574

		571.99		0.6230414747		0.5647609934		0.03216814		0.0068786332		0.2669787765		0.061524283		0.0162537917

		572.32		0.6186175115		0.5718019395		0.0323637653		0.0055989304		0.2688514357		0.0612729355		0.0122344847

		572.66		0.6184331797		0.5879689798		0.0323882185		0.0054013429		0.2741573034		0.0614963555		0.0144683147

		573		0.6188018433		0.6157185907		0.0326816565		0.0060605837		0.2882022472		0.062194543		0.0149127001

		573.34		0.6200921659		0.6197460689		0.0323393121		0.0050320203		0.2828963795		0.062082833		0.0144683147

		573.67		0.6189861751		0.6360702095		0.0330117742		0.005968253		0.2885143571		0.061300863		0.0133256095

		574.01		0.6141935484		0.6472386067		0.0329506413		0.0054936735		0.2913233458		0.0618873405		0.0131788036

		574.35		0.6105069124		0.6664191148		0.0331095869		0.0054142691		0.2960049938		0.0620549055		0.0131272232

		574.69		0.6105069124		0.7300732658		0.0336353299		0.0063246493		0.2975655431		0.0620549055		0.0139723489

		575.02		0.6167741935		0.7506819578		0.0340999401		0.005968253		0.3094257179		0.0615522105		0.0154086659

		575.36		0.6162211982		0.7382853226		0.0341243933		0.0066939719		0.3056803995		0.0618314855		0.0134763831

		575.7		0.6121658986		0.7499678659		0.0346379097		0.0065222369		0.3078651685		0.061524283		0.0140199616

		576.03		0.6099539171		0.7557805738		0.0354693174		0.006139988		0.3137952559		0.0618314855		0.0125836446

		576.37		0.6084792627		0.7970979306		0.036215139		0.0055989304		0.3144194757		0.0624458905		0.0107465873

		576.71		0.612718894		0.7957697196		0.0373522112		0.0054936735		0.3237827715		0.0619431955		0.0136747694

		577.04		0.6081105991		0.8313743413		0.0377801416		0.0061529143		0.3262796504		0.0617756305		0.0133256095

		577.38		0.6092165899		0.8507547951		0.0376945555		0.0068786332		0.3390761548		0.062362108		0.0142699284

		577.72		0.6057142857		0.8295891115		0.0381347125		0.0049526159		0.3265917603		0.062306253		0.0149127001

		578.06		0.5983410138		0.8536111627		0.0382447517		0.0069709639		0.3325218477		0.062082833		0.0148650874

		578.39		0.598156682		0.8381582142		0.0384648302		0.0057835917		0.3294007491		0.062026978		0.0122344847

		578.73		0.6029493088		0.8882446193		0.0393451442		0.0057706654		0.336267166		0.061971123		0.0148650874

		579.07		0.6001843318		0.8924291978		0.0398342075		0.0060605837		0.3287765293		0.062194543		0.014218348

		579.4		0.5977880184		0.8811037004		0.0399197936		0.0058629961		0.331897628		0.0627251655		0.0140715421

		579.74		0.5977880184		0.8881446465		0.0402988177		0.0053219385		0.3378277154		0.0614963555		0.0133256095

		580.07		0.5996313364		0.9075251003		0.0401031924		0.0065093106		0.3421972534		0.062250398		0.0130796104

		580.41		0.5883870968		0.9006412545		0.0398342075		0.0056912611		0.3353308365		0.0614405005		0.013623189

		580.75		0.5913364055		0.9218069381		0.0398831139		0.0052166816		0.3390761548		0.0621107605		0.0146667011

		581.08		0.5905990783		0.9309901598		0.0401276455		0.0061529143		0.3440699126		0.061915268		0.0140199616

		581.42		0.5847004608		0.9596538083		0.0404088569		0.0062323187		0.35		0.061803558		0.0142699284

		581.76		0.5889400922		0.9495565489		0.0414114367		0.0055989304		0.3372034956		0.062753093		0.0095562693

		582.09		0.5847004608		0.9296619489		0.0415703823		0.0069709639		0.3375156055		0.062306253		0.0137739626

		582.43		0.5830414747		0.9406304003		0.0421694849		0.0050449466		0.3421972534		0.061635993		0.0116393257

		582.77		0.5802764977		0.9778631514		0.042548509		0.0053090122		0.3375156055		0.0617756305		0.0153610532

		583.1		0.5797235023		0.9613390651		0.0431842913		0.0054142691		0.3397003745		0.062082833		0.0135239958

		583.44		0.5789861751		0.9500135677		0.0436122217		0.0062323187		0.3375156055		0.062026978		0.012782031

		583.77		0.5795391705		0.9609784487		0.0439056597		0.0051372772		0.3381398252		0.0622224705		0.0126312574

		584.11		0.5789861751		0.9992859081		0.0443335901		0.0057706654		0.3421972534		0.0621666155		0.0142699284

		584.45		0.5782488479		0.9888316029		0.0445903483		0.0054142691		0.3334581773		0.062194543		0.0129288368

		584.78		0.5723502304		0.9892886217		0.0451894509		0.0060476574		0.3418851436		0.061803558		0.0159562122

		585.12		0.5719815668		0.9827618218		0.0456785142		0.0061529143		0.3359550562		0.0618873405		0.0126312574

		585.45		0.5664516129		1		0.046008632		0.006139988		0.3315855181		0.0616639205		0.0130796104

		585.79		0.5662672811		0.9741927191		0.046387656		0.0039369788		0.3434456929		0.0614405005		0.01302803

		586.12		0.5655299539		0.9867893		0.0471701574		0.0087252462		0.3325218477		0.0621666155		0.0162537917

		586.46		0.5695852535		0.981333638		0.0479526587		0.0073532127		0.3306491885		0.062026978		0.0152102796

		586.8		0.561843318		0.980362473		0.0484539486		0.00641698		0.3309612984		0.0619990505		0.0147658942

		587.13		0.5633179724		0.9520523001		0.0497132866		0.005968253		0.3259675406		0.062026978		0.0131272232

		587.47		0.56		0.9771490595		0.0498722322		0.0068786332		0.3197253433		0.062194543		0.0117900993

		587.8		0.5522580645		0.9506276868		0.0501289905		0.0057835917		0.3281523096		0.0623341805		0.012432871

		588.14		0.5563133641		0.9900027135		0.0502145765		0.0060476574		0.3231585518		0.061915268		0.0124844515

		588.47		0.5563133641		0.9663341379		0.0505202411		0.0050449466		0.3215980025		0.0616639205		0.0111433599

		588.81		0.5568663594		0.9464431083		0.0507403196		0.0066939719		0.318164794		0.0616080655		0.012782031

		589.14		0.5517050691		0.9631242948		0.0501656702		0.0049526159		0.3156679151		0.061524283		0.0132264163

		589.48		0.5502304147		0.9335894543		0.0508259057		0.004570367		0.3094257179		0.0617756305		0.0122860651

		589.82		0.5434101382		0.9563404219		0.0517306728		0.006245245		0.2985018727		0.061691848		0.0113417462

		590.15		0.5467281106		0.9589397164		0.0521830564		0.0059553267		0.30443196		0.0614963555		0.0156586327

		590.49		0.544516129		0.9545551922		0.053075597		0.0053219385		0.2969413233		0.061133298		0.0112425531

		590.82		0.5397235023		0.9507276596		0.053454621		0.0067863026		0.2956928839		0.0618314855		0.012186872

		591.16		0.5415668203		0.9417015382		0.0542493489		0.0043063014		0.2941323346		0.061635993		0.0129288368

		591.49		0.5388018433		0.9521558434		0.054775092		0.0047550283		0.3003745318		0.0617197755		0.0118892925

		591.83		0.53640553		0.8835030492		0.0563400946		0.0060605837		0.3025593009		0.0617756305		0.012432871

		592.16		0.5288479263		0.9143089733		0.0572815415		0.0062323187		0.2816479401		0.0619431955		0.0140715421

		592.5		0.5347465438		0.8638655222		0.0582229884		0.0052296079		0.2822721598		0.0623900355		0.0119369052

		592.83		0.5312442396		0.8500407032		0.0592377948		0.0060476574		0.2782147316		0.062250398		0.0139723489

		593.17		0.5271889401		0.8563675574		0.0595190062		0.0061529143		0.2838327091		0.0621107605		0.0104490078

		593.5		0.5290322581		0.857895714		0.0607905709		0.0054013429		0.2741573034		0.0621107605		0.0123852583

		593.84		0.5247926267		0.8210200089		0.0608761569		0.0057835917		0.2725967541		0.061971123		0.0097546556

		594.17		0.5198156682		0.8143361088		0.0621232684		0.0059553267		0.2754057428		0.0617197755		0.0122860651

		594.5		0.5192626728		0.8313743413		0.0621844013		0.0053219385		0.2679151061		0.0618873405		0.0119369052

		594.84		0.5164976959		0.7797026521		0.0626734646		0.007986601		0.2691635456		0.0617756305		0.012186872

		595.17		0.5155760369		0.8056670332		0.0630280356		0.0063375756		0.2588639201		0.0613846455		0.0095562693

		595.51		0.5129953917		0.7643496765		0.0640917483		0.0046626977		0.2554307116		0.061412573		0.0138731558

		595.84		0.5104147465		0.7342578443		0.0644463192		0.0068915595		0.2495006242		0.062082833		0.0115401326

		596.18		0.507281106		0.7514960225		0.0654611256		0.0059553267		0.2448189763		0.0626134555		0.011591713

		596.51		0.5070967742		0.7367571659		0.0668060497		0.004675624		0.247627965		0.061915268		0.0143175411

		596.85		0.5096774194		0.7532812522		0.0679186688		0.0065093106		0.2435705368		0.062138688		0.0143691216

		597.18		0.5080184332		0.7378283037		0.0686400372		0.0054142691		0.247627965		0.061915268		0.0111433599

		597.51		0.5061751152		0.7104357389		0.0695325777		0.0057706654		0.2410736579		0.061691848		0.0136747694

		597.85		0.5002764977		0.7149773633		0.0710119943		0.0063375756		0.2388888889		0.0619990505		0.0115401326

		598.18		0.4976958525		0.7018666362		0.0719534412		0.0066939719		0.2407615481		0.0624458905		0.0123852583

		598.52		0.4914285714		0.6956968823		0.0731883261		0.0064299063		0.229525593		0.062250398		0.0122344847

		598.85		0.4919815668		0.6875847984		0.0748144616		0.006139988		0.2232833958		0.062082833		0.0126828378

		599.19		0.4923502304		0.639640669		0.0760004402		0.0041216401		0.2251560549		0.0621107605		0.0115401326

		599.52		0.4886635945		0.6497379283		0.0772475516		0.0074326171		0.2257802747		0.0617197755		0.0143691216

		599.85		0.4882949309		0.6271440609		0.0785191163		0.0071685514		0.2198501873		0.061859413		0.0103498146

		600.19		0.4864516129		0.6447392851		0.0802430645		0.006139988		0.2126716604		0.0616080655		0.0114925198

		600.52		0.4825806452		0.6089347177		0.0812945506		0.0057835917		0.2232833958		0.0620549055		0.0113417462

		600.86		0.4792626728		0.6015367257		0.083042952		0.0072479558		0.2192259675		0.0621666155		0.0146667011

		601.19		0.4741013825		0.5707308016		0.0833486166		0.005968253		0.2123595506		0.0618873405		0.0112425531

		601.52		0.4770506912		0.5633328097		0.0839599457		0.0071556252		0.2132958801		0.0617756305		0.0118892925

		601.86		0.4742857143		0.5693026179		0.0855983078		0.0071685514		0.2051810237		0.0613287905		0.0129288368

		602.19		0.4722580645		0.5954669447		0.087468975		0.0049396896		0.2039325843		0.062753093		0.0142699284

		602.52		0.4733640553		0.5418100801		0.0890584308		0.0044909627		0.2014357054		0.061859413		0.0123336779

		602.86		0.4685714286		0.5461946043		0.0902810891		0.0052166816		0.2042446941		0.0613287905		0.0141707352

		603.19		0.4639631336		0.5153886802		0.0917115994		0.0055065998		0.2014357054		0.0617756305		0.0114409394

		603.53		0.46359447		0.5515502935		0.0927508589		0.0068786332		0.1911360799		0.061915268		0.0110957472

		603.86		0.4637788018		0.510032991		0.0954773869		0.0057835917		0.2033083645		0.062026978		0.0091594967

		604.19		0.4613824885		0.5258429855		0.0972991478		0.0065093106		0.1892634207		0.0614963555		0.0147658942

		604.53		0.4573271889		0.5178880018		0.0982283681		0.0064299063		0.188639201		0.0622224705		0.0129288368

		604.86		0.4584331797		0.5140604693		0.1000868087		0.0069709639		0.1823970037		0.062417963		0.0125836446

		605.19		0.4470046083		0.4786129479		0.1019330228		0.0071685514		0.2014357054		0.061971123		0.0126312574

		605.53		0.4519815668		0.4762135992		0.1040115419		0.0066016413		0.1758426966		0.061971123		0.0160554053

		605.86		0.450875576		0.4746854425		0.1059922483		0.0050449466		0.1774032459		0.062026978		0.0126312574

		606.19		0.4534562212		0.4694297262		0.10866987		0.0042010444		0.1755305868		0.062585528		0.0133771899

		606.52		0.4458986175		0.4439794913		0.1102470992		0.0067992289		0.1764669164		0.0619431955		0.0113417462

		606.86		0.4398156682		0.4908524829		0.1123745247		0.0054013429		0.1745942572		0.062306253		0.0144683147

		607.19		0.4387096774		0.4853968209		0.114856521		0.0055989304		0.1758426966		0.0614963555		0.0132264163

		607.52		0.4329953917		0.4662163127		0.1171795718		0.0065093106		0.1767790262		0.0619990505		0.01526186

		607.86		0.4346543779		0.4386238021		0.1192947707		0.0067068982		0.1755305868		0.0616639205		0.0114409394

		608.19		0.4344700461		0.4862108856		0.1214221961		0.0053090122		0.1689762797		0.061468428		0.0145675079

		608.52		0.4304147465		0.4346962967		0.1240753647		0.0055989304		0.1642946317		0.0621666155		0.009953042

		608.86		0.4293087558		0.4390808209		0.1269730648		0.0060476574		0.1667915106		0.0618314855		0.0145675079

		609.19		0.4289400922		0.4432653994		0.1303353752		0.0058759224		0.170536829		0.061859413		0.0118377121

		609.52		0.4256221198		0.3994487211		0.1330741298		0.0066939719		0.165855181		0.061635993		0.0131788036

		609.85		0.4197235023		0.3847098645		0.1376101921		0.0070762208		0.1552434457		0.062250398		0.0120360984

		610.19		0.4239631336		0.3794541482		0.1443103596		0.0054013429		0.165855181		0.0618314855		0.012186872

		610.52		0.415483871		0.3465059484		0.1502647055		0.005968253		0.1571161049		0.0625017455		0.0128296437

		610.85		0.4193548387		0.374098459		0.1585665554		0.0072479558		0.1514981273		0.062808948		0.0135755763

		611.18		0.4151152074		0.3607877862		0.1656090672		0.004675624		0.149937578		0.063423353		0.0138215753

		611.52		0.4156682028		0.3423213699		0.1703774346		0.00641698		0.1583645443		0.0626134555		0.0111949404

		611.85		0.4119815668		0.3200845485		0.1696316131		0.005968253		0.1564918851		0.062585528		0.009953042

		612.18		0.410875576		0.3169711078		0.1707197789		0.0055860042		0.1418227216		0.0624458905		0.0140715421

		612.51		0.4084792627		0.3147288593		0.1702918485		0.0058759224		0.1446317104		0.0621107605		0.0110441667

		612.85		0.4068202765		0.2884074323		0.170218489		0.0052166816		0.1614856429		0.0623900355		0.0138731558

		613.18		0.3959447005		0.2683128865		0.1705608334		0.0055065998		0.138701623		0.062082833		0.013623189

		613.51		0.3955760369		0.3091160971		0.1717712651		0.0078942703		0.1505617978		0.0617197755		0.0122860651

		613.84		0.3957603687		0.2686699324		0.1743388475		0.0067068982		0.1543071161		0.0624458905		0.0113417462

		614.18		0.3953917051		0.2780530999		0.1778234237		0.0042933751		0.1480649189		0.061803558		0.0134763831

		614.51		0.3929953917		0.2640283352		0.1793639732		0.0063375756		0.1411985019		0.0619990505		0.0100522351

		614.84		0.3898617512		0.2680558134		0.1827751898		0.0049396896		0.1399500624		0.0627251655		0.0106989745

		615.17		0.3878341014		0.2508176352		0.1861008204		0.0045832933		0.1486891386		0.062362108		0.0109449736

		615.5		0.3817511521		0.2609148945		0.1882649256		0.0065093106		0.1415106117		0.0620549055		0.0132779968

		615.84		0.3865437788		0.2736685757		0.190746922		0.0054142691		0.1299625468		0.061915268		0.0111433599

		616.17		0.3811981567		0.2462760108		0.1938035677		0.0067863026		0.1390137328		0.0624458905		0.0128812241

		616.5		0.3811981567		0.2333223839		0.1971536515		0.006245245		0.1383895131		0.061691848		0.0111433599

		616.83		0.3699539171		0.2630571702		0.1992933035		0.0057706654		0.1380774032		0.0623341805		0.0139723489

		617.16		0.3725345622		0.2511746812		0.2041961633		0.0051372772		0.143071161		0.062417963		0.0101514283

		617.5		0.3688479263		0.2362787243		0.2090501168		0.0086329155		0.143071161		0.061356718		0.0149642805

		617.83		0.3664516129		0.2501035433		0.2129381702		0.0050449466		0.1284019975		0.062138688		0.0129288368

		618.16		0.3658986175		0.2380639541		0.2161170818		0.0053090122		0.1324594257		0.062138688		0.012782031

		618.49		0.3620276498		0.2222539596		0.221386739		0.0050449466		0.1321473159		0.0623341805		0.0123336779

		618.82		0.3616589862		0.2369928162		0.224321119		0.0050320203		0.1284019975		0.0620549055		0.0142699284

		619.15		0.3559447005		0.2354646596		0.2293217914		0.0051372772		0.1265293383		0.062082833		0.0121352915

		619.48		0.3552073733		0.2244962082		0.233234298		0.006139988		0.1365168539		0.0617756305		0.0133771899

		619.82		0.3544700461		0.2176123624		0.238014892		0.0056912611		0.140886392		0.062753093		0.0120360984

		620.15		0.3522580645		0.2187834731		0.2429177518		0.0049396896		0.129650437		0.0618873405		0.0139723489

		620.48		0.3517050691		0.232965338		0.2485053002		0.005968253		0.1305867665		0.062417963		0.0143175411

		620.81		0.3564976959		0.2105714163		0.2537994107		0.0067863026		0.1193508115		0.062473818		0.0128812241

		621.14		0.3476497696		0.2090432597		0.2596192642		0.0040293094		0.12278402		0.0617756305		0.0115401326

		621.47		0.3478341014		0.2144989217		0.2646321632		0.0076172784		0.1209113608		0.0623341805		0.0141707352

		621.8		0.3437788018		0.200831203		0.2702930712		0.0047679546		0.1184144819		0.0621107605		0.0129288368

		622.13		0.3417511521		0.2166411974		0.276516402		0.0058629961		0.1187265918		0.062697238		0.0141707352

		622.47		0.3411981567		0.2193975921		0.2828130922		0.0069838901		0.1209113608		0.0617197755		0.0119369052

		622.8		0.3410138249		0.1987889002		0.2866522393		0.0062323187		0.1246566792		0.062473818		0.012782031

		623.13		0.3367741935		0.1840500436		0.2940126423		0.005968253		0.1237203496		0.061915268		0.0111433599

		623.46		0.3349308756		0.1891486596		0.2988543692		0.0056783348		0.1140449438		0.061971123		0.012186872

		623.79		0.333640553		0.1822648138		0.3081954786		0.0050449466		0.1196629213		0.0624458905		0.0125320642

		624.12		0.3351152074		0.1884345678		0.3118512269		0.0050320203		0.1234082397		0.061691848		0.0140715421

		624.45		0.332718894		0.1847641354		0.3210089376		0.0055065998		0.1199750312		0.0626134555		0.0138215753

		624.78		0.3316129032		0.1716534084		0.3276601988		0.0059553267		0.1165418227		0.062697238		0.0116909062

		625.11		0.3251612903		0.1529870464		0.3332477473		0.0064299063		0.1218476904		0.0622224705		0.0107465873

		625.44		0.3244239631		0.1905768434		0.3393732654		0.0056783348		0.1205992509		0.0616639205		0.0122860651

		625.77		0.3257142857		0.1836929976		0.34844539		0.005968253		0.1193508115		0.0625017455		0.012432871

		626.11		0.3187096774		0.1848641083		0.3570039981		0.0066939719		0.1205992509		0.0621666155		0.0123852583

		626.44		0.3211059908		0.181193676		0.3624448275		0.0056912611		0.113732834		0.062641383		0.0115401326

		626.77		0.3212903226		0.1884345678		0.3709912091		0.0050320203		0.1143570537		0.0630044405		0.0125836446

		627.1		0.3203686636		0.1833359517		0.3791218868		0.0055989304		0.1146691635		0.062417963		0.0122344847

		627.43		0.3141013825		0.187006384		0.3877783076		0.0054013429		0.1152933833		0.0623341805		0.0144683147

		627.76		0.3139170507		0.1626272869		0.3951753903		0.0051372772		0.1165418227		0.062864803		0.0092586898

		628.09		0.3152073733		0.1430897328		0.4035383731		0.00641698		0.1168539326		0.0627810205		0.0146667011

		628.42		0.3157603687		0.1454890815		0.411253347		0.0065222369		0.1109238452		0.062808948		0.0116393257

		628.75		0.3135483871		0.148445422		0.4203988311		0.0058629961		0.1024968789		0.063032368		0.0140715421

		629.08		0.3113364055		0.1412045302		0.4329555319		0.0067068982		0.1140449438		0.062473818		0.0128296437

		629.41		0.3074654378		0.1423756409		0.4392522222		0.0071556252		0.1109238452		0.062473818		0.010996554

		629.74		0.3100460829		0.1369199789		0.4497793102		0.0039369788		0.1230961298		0.063088223		0.0134248027

		630.07		0.3061751152		0.1313072166		0.4560148675		0.0060476574		0.1209113608		0.0636747005		0.0146667011

		630.4		0.3087557604		0.1244233708		0.4690850848		0.0057835917		0.1134207241		0.0632837155		0.0127304505

		630.73		0.304516129		0.1430897328		0.4789274841		0.0062323187		0.115917603		0.0635071355		0.012186872

		631.06		0.3043317972		0.1047858438		0.4888187898		0.0055065998		0.1221598002		0.063870193		0.0146151206

		631.39		0.3006451613		0.1488024679		0.4995048234		0.0052166816		0.1140449438		0.063814338		0.0116909062

		631.72		0.3000921659		0.1154972222		0.5110344912		0.0042139707		0.1112359551		0.064093613		0.0112425531

		632.05		0.3021198157		0.1266656193		0.5239213097		0.0052166816		0.1124843945		0.0637305555		0.0151626669

		632.38		0.2993548387		0.1197817735		0.5330056609		0.0044909627		0.1115480649		0.0644008155		0.0140199616

		632.71		0.2938248848		0.1359488139		0.5416865349		0.0066939719		0.1099875156		0.0644008155		0.0106989745

		633.04		0.2951152074		0.1254945086		0.554438861		0.0063375756		0.1074906367		0.065322423		0.0113417462

		633.37		0.2919815668		0.1313072166		0.5674723985		0.0047550283		0.1162297129		0.065769263		0.0110957472

		633.7		0.2903225806		0.1208529114		0.576899094		0.0049526159		0.1187265918		0.0665791605		0.0101514283

		634.03		0.2906912442		0.1252374356		0.5916688063		0.0059553267		0.1109238452		0.0674728405		0.0141707352

		634.36		0.2912442396		0.1151401762		0.6020247222		0.004675624		0.1124843945		0.0689250705		0.0111433599

		634.69		0.2888479263		0.1163112869		0.6159385736		0.0068786332		0.109051186		0.071410618		0.0105997814

		635.02		0.2866359447		0.1008583385		0.6294000416		0.0054142691		0.1156054931		0.0728907755		0.0122344847

		635.34		0.2855299539		0.1127408275		0.6416755309		0.0062323187		0.1127965044		0.0769961181		0.0113933267

		635.67		0.2840552995		0.1030006141		0.6532296519		0.006245245		0.1171660424		0.0838104281		0.0123336779

		636		0.282764977		0.1120267356		0.6665933072		0.0060476574		0.1087390762		0.0982489457		0.0146667011

		636.33		0.2836866359		0.0922892358		0.6828668892		0.0042139707		0.1140449438		0.1414248611		0.0126312574

		636.66		0.2779723502		0.1280938031		0.6944943697		0.0068786332		0.1165418227		0.3002764823		0.0131788036

		636.99		0.2759447005		0.0994301547		0.7076257198		0.0048602853		0.113732834		0.5884882844		0.0113417462

		637.32		0.2753917051		0.0995301275		0.7211727738		0.0047550283		0.1140449438		1		0.0131788036

		637.65		0.2737327189		0.0969308331		0.7352211178		0.0070762208		0.1099875156		0.9220543469		0.0112425531

		637.98		0.2735483871		0.1184535626		0.747851178		0.0057706654		0.1053058677		0.6042952495		0.0142699284

		638.31		0.2726267281		0.1026435682		0.764039174		0.004675624		0.1018726592		0.3206914849		0.009953042

		638.64		0.2705990783		0.0931033005		0.7805083813		0.0060476574		0.1078027466		0.1748261513		0.0108973609

		638.97		0.2715207373		0.1126408546		0.784506474		0.005968253		0.1028089888		0.1125478258		0.0131272232

		639.29		0.2694930876		0.0984589897		0.806673269		0.0051243509		0.109051186		0.0895355657		0.0135755763

		639.62		0.2685714286		0.103714706		0.8183129761		0.0067068982		0.1084269663		0.0788114056		0.0122344847

		639.95		0.2667281106		0.0959596681		0.8297448312		0.004847359		0.1034332085		0.071354763		0.0135755763

		640.28		0.2624884793		0.1083563033		0.8459695069		0.0043063014		0.1102996255		0.0694277655		0.0106473941

		640.61		0.2608294931		0.0888187492		0.8542469036		0.0065093106		0.1127965044		0.0661323205		0.0123852583

		640.94		0.2586175115		0.0983590168		0.8685886855		0.0055065998		0.1046816479		0.066327813		0.012432871

		641.27		0.2600921659		0.0913180708		0.8825881231		0.0049396896		0.0990636704		0.0654620605		0.0105005882

		641.59		0.2586175115		0.0801496737		0.8932986098		0.0056912611		0.1102996255		0.0645683805		0.0134248027

		641.92		0.2565898618		0.1116696897		0.9075548057		0.0039240525		0.1109238452		0.0637305555		0.0122860651

		642.25		0.251797235		0.0897899142		0.9160156011		0.0045832933		0.1124843945		0.0642891055		0.0111433599

		642.58		0.2503225806		0.0970308059		0.9314822287		0.0051243509		0.1028089888		0.064037758		0.0133771899

		642.91		0.2514285714		0.0812208115		0.9438433041		0.005968253		0.102184769		0.063479208		0.0112425531

		643.24		0.2468202765		0.1013153573		0.9496020247		0.0046626977		0.1053058677		0.063535063		0.0114925198

		643.57		0.2499539171		0.0755080764		0.9619508736		0.004675624		0.1056179775		0.0637305555		0.0117385189

		643.89		0.2468202765		0.0973878519		0.967159398		0.0063246493		0.1065543071		0.062585528		0.0108973609

		644.22		0.2414746544		0.0815778574		0.9774908606		0.0065222369		0.1146691635		0.062529673		0.0108457804

		644.55		0.2451612903		0.0984589897		0.9872721271		0.0055860042		0.1031210986		0.062697238		0.0128812241

		644.88		0.2425806452		0.0897899142		0.9906099842		0.0053219385		0.1146691635		0.0618314855		0.0118377121

		645.21		0.2420276498		0.0870335195		0.9917470565		0.0050320203		0.1081148564		0.062194543		0.0131788036

		645.53		0.2414746544		0.0662248818		0.9987162088		0.0052296079		0.1024968789		0.063088223		0.0108457804

		645.86		0.2379723502		0.0720375898		0.9983371847		0.00641698		0.1009363296		0.062641383		0.0134763831

		646.19		0.2370506912		0.0744369385		0.9991685924		0.0063375756		0.1093632959		0.0623341805		0.0100522351

		646.52		0.2355760369		0.0656107628		1		0.0054936735		0.1062421973		0.063032368		0.0116909062

		646.85		0.2313364055		0.0851483169		0.9974690973		0.0065222369		0.1093632959		0.061189153		0.0108457804

		647.17		0.2322580645		0.070966452		0.9993886708		0.0053090122		0.1124843945		0.061691848		0.0104013951

		647.5		0.2278341014		0.0669389737		0.9964787441		0.0058759224		0.1031210986		0.0626693105		0.012432871

		647.83		0.227281106		0.08346306		0.9891917006		0.0062323187		0.1037453184		0.0620549055		0.0114925198

		648.16		0.2274654378		0.0894328682		0.988213574		0.0055989304		0.1037453184		0.0622783255		0.0106473941

		648.48		0.2217511521		0.0691812222		0.979385981		0.00641698		0.1037453184		0.0618873405		0.012782031

		648.81		0.2210138249		0.0926462817		0.9677340474		0.0069838901		0.1049937578		0.062306253		0.0115401326

		649.14		0.2204608295		0.0988160356		0.9584296177		0.0065093106		0.1106117353		0.0620549055		0.0140715421

		649.47		0.2199078341		0.0930033277		0.946105222		0.0061529143		0.1062421973		0.0622783255		0.0125320642

		649.79		0.21640553		0.0995301275		0.9297949602		0.0049396896		0.1040574282		0.0620549055		0.0129804173

		650.12		0.2173271889		0.0762221683		0.9212241255		0.005968253		0.1018726592		0.0620549055		0.0129288368

		650.45		0.2197235023		0.0663248547		0.909070902		0.0046626977		0.1065543071		0.0625017455		0.0122860651

		650.78		0.2138248848		0.0580128251		0.8860115663		0.0056912611		0.1062421973		0.061468428		0.0119369052

		651.1		0.2119815668		0.0891757951		0.8732347871		0.0057706654		0.0993757803		0.0618314855		0.0134763831

		651.43		0.2112442396		0.0737228467		0.8487449413		0.0049526159		0.1081148564		0.0619431955		0.0097546556

		651.76		0.211797235		0.0827489681		0.8333638998		0.004847359		0.1096754057		0.0622224705		0.0101038156

		652.09		0.2090322581		0.0783644439		0.8124564428		0.0043063014		0.1028089888		0.062753093		0.0110441667

		652.41		0.2066359447		0.0741798655		0.791720158		0.0066016413		0.1049937578		0.062138688		0.0137739626

		652.74		0.2040552995		0.0805067196		0.7694800034		0.0050449466		0.1031210986		0.0618873405		0.0122344847

		653.07		0.2073732719		0.0627543952		0.747765592		0.0050320203		0.1012484395		0.062138688		0.0129804173

		653.39		0.2035023041		0.0672960197		0.7261367666		0.0044909627		0.1087390762		0.061412573		0.0112425531

		653.72		0.2023963134		0.0859623816		0.7039944247		0.0063246493		0.1053058677		0.061915268		0.0111949404

		654.05		0.1996313364		0.0640826061		0.6861313869		0.0045832933		0.1059300874		0.061635993		0.0119369052

		654.37		0.2014746544		0.0695382682		0.6651872501		0.0078942703		0.1015605493		0.062529673		0.0136747694

		654.7		0.199078341		0.051943044		0.6403061536		0.0068915595		0.115917603		0.061580138		0.0102506214

		655.03		0.1959447005		0.083820106		0.6187995941		0.0075249477		0.1093632959		0.0623900355		0.0142699284

		655.35		0.1952073733		0.0740798926		0.5976476054		0.0043063014		0.1081148564		0.061747703		0.0105482009

		655.68		0.1937327189		0.0656107628		0.5767279218		0.0042933751		0.1024968789		0.0619431955		0.010996554

		656.01		0.1915207373		0.0669389737		0.5578011713		0.004675624		0.1003121099		0.061971123		0.0135239958

		656.33		0.1920737327		0.0756080492		0.5364902371		0.0072479558		0.1059300874		0.0617197755		0.0118892925

		656.66		0.1889400922		0.0426598495		0.514763599		0.004675624		0.1015605493		0.0611053705		0.0110441667

		656.99		0.1880184332		0.0806066925		0.4990157601		0.0051243509		0.1084269663		0.061971123		0.0131788036

		657.31		0.184516129		0.0605121467		0.4801745956		0.0048602853		0.0996878901		0.061859413		0.0110441667

		657.64		0.1874654378		0.0931033005		0.4619203071		0.0046626977		0.1056179775		0.0619990505		0.0132779968

		657.97		0.1828571429		0.078007398		0.4472361809		0.006245245		0.1006242197		0.062138688		0.0109449736

		658.29		0.1806451613		0.0845341979		0.4311582242		0.0069709639		0.1006242197		0.0624458905		0.012782031

		658.62		0.1788018433		0.0572987332		0.4135641712		0.0040293094		0.1009363296		0.061859413		0.0125320642

		658.95		0.1841474654		0.0734657736		0.397999731		0.0069709639		0.1053058677		0.0617756305		0.0114925198

		659.27		0.1775115207		0.0787214899		0.3844649036		0.0056912611		0.1062421973		0.0611612255		0.012432871

		659.6		0.1789861751		0.0620403033		0.3687048381		0.0073402864		0.102184769		0.061580138		0.0157578258

		659.92		0.1773271889		0.0515859981		0.3578843121		0.0064299063		0.0943820225		0.0617756305		0.0098538488

		660.25		0.1741935484		0.0748939574		0.3428211618		0.0042933751		0.1099875156		0.0617756305		0.0140715421

		660.58		0.1716129032		0.0448021251		0.3308757901		0.0057835917		0.1059300874		0.061691848		0.0117385189

		660.9		0.1710599078		0.0766791871		0.3194072553		0.0065093106		0.1065543071		0.062473818		0.0138731558

		661.23		0.1703225806		0.0533712278		0.3073762975		0.005968253		0.1096754057		0.061356718		0.0091594967

		661.55		0.1686635945		0.0766791871		0.2979618286		0.0070632945		0.0996878901		0.0621666155		0.0137739626

		661.88		0.1695852535		0.0655107899		0.2886207192		0.0057835917		0.1124843945		0.062529673		0.0103498146

		662.21		0.1673732719		0.0802496465		0.2789617186		0.0050320203		0.1018726592		0.0616080655		0.0136747694

		662.53		0.1675576037		0.0512289521		0.2694738901		0.0057835917		0.1015605493		0.062026978		0.0112425531

		662.86		0.1614746544		0.0673959925		0.2591913338		0.0065093106		0.1065543071		0.061524283		0.0134763831

		663.18		0.1664516129		0.0572987332		0.2524911663		0.0044909627		0.0981273408		0.061635993		0.0123336779

		663.51		0.1638709677		0.0698953141		0.2425142745		0.0056783348		0.1012484395		0.061747703		0.0123852583

		663.83		0.1596313364		0.0444450792		0.235960826		0.0048602853		0.1015605493		0.062753093		0.0121352915

		664.16		0.1633179724		0.0416886845		0.2275000306		0.004570367		0.1106117353		0.061468428		0.0133771899

		664.48		0.1588940092		0.0473014468		0.2200784947		0.0044909627		0.1087390762		0.061859413		0.0116393257

		664.81		0.1555760369		0.0691812222		0.2122045752		0.0059553267		0.1043695381		0.061803558		0.0108973609

		665.14		0.1585253456		0.0465873549		0.2068860116		0.0050449466		0.1003121099		0.0616080655		0.0111433599

		665.46		0.1557603687		0.0541852926		0.2015185416		0.006139988		0.1024968789		0.0621666155		0.0124844515

		665.79		0.1537327189		0.0408746197		0.1937546614		0.0051372772		0.0906367041		0.061971123		0.009953042

		666.11		0.1546543779		0.051685971		0.1894753573		0.0066016413		0.1043695381		0.061915268		0.0124844515

		666.44		0.1504147465		0.0719376169		0.1833253861		0.0052296079		0.106866417		0.0619431955		0.0111433599

		666.76		0.1500460829		0.0791785087		0.1786303782		0.0063246493		0.0993757803		0.0623900355		0.0120876788

		667.09		0.1522580645		0.0572987332		0.1730428297		0.0040293094		0.0990636704		0.0617756305		0.0106473941

		667.41		0.1507834101		0.0798926006		0.1677487193		0.0057706654		0.1031210986		0.061915268		0.0097070429

		667.74		0.1507834101		0.0658678359		0.1641418773		0.0053219385		0.1053058677		0.0625017455		0.0073740197

		668.06		0.1480184332		0.0606121196		0.1589211263		0.0054013429		0.1034332085		0.061635993		0.0126828378

		668.39		0.148202765		0.032662563		0.1547640881		0.0049526159		0.0981273408		0.0628927305		0.0092586898

		668.71		0.1437788018		0.0627543952		0.1496166966		0.0057706654		0.1074906367		0.061971123		0.0114925198

		669.04		0.146359447		0.0551564575		0.1461932534		0.0056912611		0.0996878901		0.0619431955		0.0122344847

		669.36		0.1437788018		0.0563275682		0.1411925809		0.006139988		0.1034332085		0.061747703		0.0135755763

		669.69		0.1437788018		0.0508719062		0.137377887		0.0035676562		0.1096754057		0.062585528		0.0112425531

		670.01		0.1424884793		0.051685971		0.1351771021		0.0054013429		0.109051186		0.061859413		0.0120876788

		670.34		0.1413824885		0.0430168954		0.1309956107		0.0061529143		0.1028089888		0.0621107605		0.0138215753

		670.66		0.1384331797		0.0659678087		0.1273643155		0.0057706654		0.0956304619		0.062306253		0.0142699284

		670.98		0.1391705069		0.0569416873		0.1232684102		0.0054142691		0.1037453184		0.061133298		0.0104490078

		671.31		0.1386175115		0.0491866493		0.1200405923		0.0056783348		0.1028089888		0.061691848		0.0107981677

		671.63		0.135483871		0.0590839629		0.1160547262		0.0044909627		0.1074906367		0.0618314855		0.0108457804

		671.96		0.1397235023		0.0470443737		0.1139639805		0.0053090122		0.1078027466		0.061524283		0.0134763831

		672.28		0.1371428571		0.0412316657		0.111897688		0.0055989304		0.1015605493		0.061524283		0.0105482009

		672.61		0.1343778802		0.0791785087		0.1079607282		0.0065093106		0.1059300874		0.061635993		0.0142699284

		672.93		0.1321658986		0.0508719062		0.104537285		0.0050449466		0.1012484395		0.061747703		0.0125320642

		673.26		0.131797235		0.0873905654		0.1027032975		0.0054013429		0.1062421973		0.0614405005		0.0135755763

		673.58		0.1347465438		0.0644396521		0.099169815		0.0042139707		0.106866417		0.061691848		0.0107465873

		673.9		0.1305069124		0.0399034548		0.0960275832		0.0054936735		0.1009363296		0.061635993		0.0120876788

		674.23		0.1294009217		0.032662563		0.0947682451		0.0056912611		0.1034332085		0.0615522105		0.0083659514

		674.55		0.1297695853		0.0434739142		0.0920783969		0.004847359		0.0956304619		0.061077443		0.0105997814

		674.88		0.1299539171		0.045516217		0.0898042524		0.0052296079		0.0996878901		0.0614405005		0.0112425531

		675.2		0.1284792627		0.0452591439		0.0872611231		0.0071556252		0.0965667915		0.061803558		0.0112941335

		675.52		0.1266359447		0.0515859981		0.084889166		0.0047679546		0.1034332085		0.0618314855		0.0137223821

		675.85		0.1284792627		0.0766791871		0.0829818191		0.0065093106		0.1078027466		0.061524283		0.0125836446

		676.17		0.1251612903		0.0355189306		0.0802675176		0.0057835917		0.1109238452		0.0617756305		0.0112425531

		676.5		0.1247926267		0.0677530385		0.0789470467		0.0057706654		0.1006242197		0.0614405005		0.0151626669

		676.82		0.1257142857		0.0562275954		0.0764283706		0.0051372772		0.1049937578		0.061580138		0.0121352915

		677.14		0.1240552995		0.0631114412		0.0746188363		0.0066016413		0.1015605493		0.061468428		0.0123852583

		677.47		0.122764977		0.0612262386		0.0733594982		0.004398632		0.0993757803		0.061915268		0.0112425531

		677.79		0.1223963134		0.051328925		0.0715377373		0.0057706654		0.1006242197		0.061189153		0.0132779968

		678.11		0.1223963134		0.0744369385		0.0693247258		0.0041216401		0.1012484395		0.0612729355		0.01302803

		678.44		0.1192626728		0.0873905654		0.0682243333		0.0055860042		0.1062421973		0.061803558		0.0122860651

		678.76		0.12		0.0423028035		0.066182494		0.0060605837		0.102184769		0.062082833		0.0097546556

		679.08		0.1198156682		0.038475271		0.0654978053		0.0066016413		0.0996878901		0.0617197755		0.0133771899

		679.41		0.1174193548		0.0544423656		0.0637004976		0.0044909627		0.1056179775		0.061635993		0.0114409394

		679.73		0.1205529954		0.0541852926		0.0625145191		0.0066016413		0.1106117353		0.0608260955		0.0124844515

		680.05		0.1168663594		0.0547994116		0.0611940481		0.0060605837		0.0984394507		0.0619431955		0.0106473941

		680.38		0.1179723502		0.0638255331		0.0598980303		0.0058629961		0.1046816479		0.062306253		0.011591713

		680.7		0.1144700461		0.0305202874		0.0585041998		0.0061529143		0.1009363296		0.0618873405		0.0121352915

		681.02		0.1166820276		0.0363329953		0.0572815415		0.0066016413		0.0996878901		0.0609378055		0.0120876788

		681.35		0.1137327189		0.0505148603		0.0562056022		0.005968253		0.1049937578		0.062026978		0.009953042

		681.67		0.1115207373		0.0552564304		0.0545427869		0.0073402864		0.1093632959		0.061635993		0.0117900993

		681.99		0.1120737327		0.0672960197		0.0534423945		0.005968253		0.1081148564		0.0619431955		0.0109449736

		682.32		0.1109677419		0.0656107628		0.0531856362		0.0071556252		0.1074906367		0.062026978		0.0148650874

		682.64		0.1104147465		0.0576557791		0.0515961804		0.0053219385		0.1034332085		0.0618873405		0.0119369052

		682.96		0.1111520737		0.0798926006		0.0508259057		0.0066939719		0.1006242197		0.061635993		0.0112941335

		683.29		0.1102304147		0.0544423656		0.0501045373		0.0050449466		0.1009363296		0.061691848		0.009953042

		683.61		0.1089400922		0.0541852926		0.0487596132		0.0051243509		0.1024968789		0.0620549055		0.0130796104

		683.93		0.1067281106		0.0483725846		0.0482460967		0.0065222369		0.1018726592		0.062026978		0.0098538488

		684.25		0.108202765		0.0470443737		0.0469867586		0.007709609		0.1031210986		0.0625576005		0.0113933267

		684.58		0.1069124424		0.03908939		0.0462164839		0.0057835917		0.097815231		0.062417963		0.0127304505

		684.9		0.1056221198		0.0634684871		0.0460330851		0.0068786332		0.1056179775		0.061412573		0.012782031

		685.22		0.1069124424		0.0601551008		0.0452016775		0.004675624		0.1024968789		0.061691848		0.0111433599

		685.54		0.1058064516		0.0666819006		0.0444314028		0.0066016413		0.1149812734		0.0620549055		0.012186872

		685.87		0.106359447		0.0662248818		0.0443091369		0.0055989304		0.1018726592		0.062641383		0.0146151206

		686.19		0.1041474654		0.0502577872		0.0430864786		0.0058629961		0.1028089888		0.062026978		0.012186872

		686.51		0.1024884793		0.0494437224		0.0422672976		0.0053219385		0.102184769		0.0616080655		0.0115401326

		686.83		0.1039631336		0.0524000628		0.0420105393		0.0062323187		0.0962546816		0.0617197755		0.0119884857

		687.16		0.1034101382		0.0440880332		0.0420105393		0.0056912611		0.0968789014		0.061971123		0.0116393257

		687.48		0.1023041475		0.0566846142		0.0406900683		0.0075249477		0.1087390762		0.0619431955		0.0128812241

		687.8		0.1000921659		0.0226652766		0.040201005		0.0081841886		0.0943820225		0.0618873405		0.0137223821

		688.12		0.0999078341		0.0556134763		0.0398464341		0.0057706654		0.1009363296		0.061747703		0.0116909062

		688.45		0.0973271889		0.0362330225		0.0394307303		0.0049526159		0.0971910112		0.061189153		0.0104490078

		688.77		0.0982488479		0.0656107628		0.0391128391		0.0057706654		0.1059300874		0.0619990505		0.0125836446

		689.09		0.0999078341		0.0540853197		0.0385259631		0.0042139707		0.1037453184		0.0613846455		0.0103498146

		689.41		0.0993548387		0.0534712007		0.0380368998		0.0054936735		0.0946941323		0.0619990505		0.0122860651

		689.73		0.0973271889		0.0537282738		0.0375233833		0.0039369788		0.1006242197		0.0619990505		0.0120360984

		690.06		0.0958525346		0.0691812222		0.0373155314		0.004847359		0.1109238452		0.061915268		0.0119884857

		690.38		0.0947465438		0.0551564575		0.0366186162		0.0065222369		0.1018726592		0.0614405005		0.0109449736

		690.7		0.0962211982		0.0506148331		0.0363374048		0.0056783348		0.1102996255		0.0616080655		0.0129804173

		691.02		0.0941935484		0.0433739414		0.0362273655		0.0055065998		0.097815231		0.0617197755		0.009357883

		691.34		0.0943778802		0.0441880061		0.0358238883		0.0067863026		0.1024968789		0.061300863		0.012186872

		691.66		0.093640553		0.0615832845		0.0352614655		0.0043063014		0.0971910112		0.0610495155		0.0121352915

		691.99		0.0925345622		0.0781073709		0.0349313477		0.0065093106		0.1109238452		0.0614963555		0.0118892925

		692.31		0.092718894		0.0480155386		0.0354081845		0.005968253		0.1043695381		0.061915268		0.0127304505

		692.63		0.0906912442		0.0602550736		0.0347846287		0.0054013429		0.1009363296		0.0623341805		0.012782031

		692.95		0.0903225806		0.0662248818		0.0347357224		0.0065222369		0.0946941323		0.0617197755		0.0108457804

		693.27		0.0901382488		0.0666819006		0.0340021274		0.0055860042		0.102184769		0.061971123		0.0132779968

		693.59		0.0905069124		0.026235736		0.0339899008		0.006245245		0.0975031211		0.061356718		0.0121352915

		693.91		0.092718894		0.0591839358		0.033720916		0.0053090122		0.106866417		0.0622224705		0.0138731558

		694.24		0.0903225806		0.0676530656		0.0337698223		0.0063375756		0.0971910112		0.0614963555		0.0121352915

		694.56		0.0890322581		0.0477584656		0.0332318527		0.0050320203		0.0968789014		0.061803558		0.0094094634

		694.88		0.0888479263		0.0312343792		0.0329628679		0.0058759224		0.1003121099		0.0616080655		0.0123336779

		695.2		0.0857142857		0.0723946357		0.032987321		0.0072479558		0.0981273408		0.061803558		0.01526186

		695.52		0.0871889401		0.0412316657		0.032400445		0.0040293094		0.0950062422		0.0619990505		0.0119369052

		695.84		0.0879262673		0.0474014196		0.03216814		0.0074326171		0.1053058677		0.0621666155		0.0128812241

		696.16		0.0844239631		0.0433739414		0.0325104843		0.007537874		0.097815231		0.0619990505		0.0110441667

		696.48		0.0855299539		0.0388323169		0.0318991551		0.0060476574		0.1056179775		0.062585528		0.0114925198

		696.81		0.0849769585		0.0490866765		0.0318013425		0.0054142691		0.0965667915		0.0611612255		0.0134248027

		697.13		0.0846082949		0.0763221411		0.0316179437		0.0062323187		0.0975031211		0.0608819505		0.0128812241

		697.45		0.0851612903		0.0305202874		0.0314712247		0.0044909627		0.1037453184		0.062082833		0.0106473941

		697.77		0.0814746544		0.0659678087		0.0313245057		0.0065093106		0.1065543071		0.061971123		0.0125836446

		698.09		0.0829493088		0.0547994116		0.0312633728		0.0058759224		0.1024968789		0.0621666155		0.0104490078

		698.41		0.0840552995		0.0509718791		0.0310066146		0.0042933751		0.109051186		0.0618873405		0.0123852583

		698.73		0.080921659		0.0415887116		0.0310677475		0.0049526159		0.0990636704		0.0622783255		0.0119369052

		699.05		0.080921659		0.0627543952		0.0310432943		0.0063246493		0.1012484395		0.0623900355		0.0117900993

		699.37		0.0803686636		0.0276639198		0.030554231		0.0060605837		0.0962546816		0.0618314855		0.0118377121

		699.69		0.080921659		0.0620403033		0.0307376298		0.0058629961		0.1024968789		0.062473818		0.0106989745

		700.01		0.0796313364		0.0362330225		0.0304441918		0.0051372772		0.1059300874		0.0616639205		0.0129288368

		692.8		0.079078341		0.0681100844		0.0303096993		0.0052166816		0.1046816479		0.0617756305		0.0135755763

		700.65		0.079078341		0.0580128251		0.0304319652		0.0071685514		0.1015605493		0.062306253		0.0121352915

		700.97		0.0770506912		0.0366900413		0.0301874335		0.006139988		0.1049937578		0.061747703		0.0150634737

		701.29		0.0770506912		0.0387323441		0.0301263006		0.0041216401		0.1099875156		0.061468428		0.0101514283

		701.61		0.0787096774		0.0452591439		0.0301874335		0.006139988		0.0943820225		0.0611053705		0.0110957472

		701.93		0.0777880184		0.0697953413		0.0299551284		0.0063375756		0.0987515605		0.0619990505		0.0100522351

		702.25		0.0757603687		0.0595409817		0.030114074		0.0052166816		0.1028089888		0.0624458905		0.0118892925

		702.57		0.0739170507		0.0572987332		0.0298817689		0.0056912611		0.1031210986		0.0621107605		0.0086635308

		702.89		0.0742857143		0.0545423385		0.030114074		0.0069709639		0.1087390762		0.0612170805		0.0141707352

		703.21		0.0763133641		0.0619403305		0.0297961829		0.0060605837		0.1009363296		0.062417963		0.0126312574

		703.53		0.0759447005		0.0777503249		0.029673917		0.0065093106		0.1034332085		0.062138688		0.0130796104

		703.85		0.0752073733		0.0705094332		0.0296250107		0.0051372772		0.0946941323		0.0620549055		0.0120360984

		704.17		0.0737327189		0.0827489681		0.0295638778		0.0057706654		0.1093632959		0.061859413		0.0137739626

		704.49		0.0744700461		0.0465873549		0.0295516512		0.0044909627		0.1074906367		0.0612170805		0.0129288368

		704.81		0.0741013825		0.0563275682		0.0297839563		0.0052166816		0.1046816479		0.061859413		0.0135755763

		705.13		0.0731797235		0.0622973764		0.0297350499		0.0055065998		0.1046816479		0.061580138		0.0120360984

		705.45		0.0713364055		0.0495436953		0.029441612		0.0054936735		0.1065543071		0.061635993		0.0126828378

		705.77		0.0724423963		0.0690812494		0.029673917		0.0057835917		0.1028089888		0.061635993		0.0116393257

		706.09		0.0722580645		0.077036233		0.0296616904		0.006139988		0.1		0.0612729355		0.0124844515

		706.41		0.0702304147		0.0662248818		0.0296616904		0.0060605837		0.0996878901		0.061580138		0.0114409394

		706.73		0.0702304147		0.0659678087		0.0297228234		0.0057706654		0.0984394507		0.061580138		0.0106989745

		707.05		0.0696774194		0.0637255602		0.0296005575		0.0044909627		0.1078027466		0.061580138		0.0092586898

		707.37		0.0689400922		0.0627543952		0.0298084094		0.0060476574		0.0965667915		0.0618873405		0.012186872

		707.69		0.0694930876		0.0594410089		0.0297228234		0.0052296079		0.1024968789		0.0624458905		0.0117385189

		708.01		0.0689400922		0.0545423385		0.0300773943		0.0050320203		0.1084269663		0.062306253		0.0149642805

		708.33		0.0678341014		0.0419457576		0.0301996601		0.0052296079		0.0971910112		0.061300863		0.009953042

		708.65		0.0689400922		0.0502577872		0.0299306753		0.004847359		0.097815231		0.061747703		0.0118892925

		708.97		0.0685714286		0.0498007684		0.0297228234		0.0057835917		0.1065543071		0.061971123		0.0117385189

		709.29		0.067281106		0.0623973493		0.029527198		0.0074326171		0.0950062422		0.062306253		0.0111949404

		709.61		0.067281106		0.0490866765		0.0295516512		0.0044909627		0.1046816479		0.061747703		0.0116393257

		709.92		0.0667281106		0.0552564304		0.0294293854		0.0058629961		0.1037453184		0.0614963555		0.0124844515

		710.24		0.0659907834		0.0683671575		0.0291237208		0.0048602853		0.0990636704		0.0615522105		0.0098538488

		710.56		0.0656221198		0.0723946357		0.0293193461		0.0065093106		0.0962546816		0.061300863		0.0122860651

		710.88		0.0637788018		0.0558705494		0.0287691499		0.0055989304		0.1053058677		0.0621666155		0.0129288368

		711.2		0.06359447		0.0427598223		0.0290381347		0.0044780364		0.1028089888		0.061635993		0.0146667011

		711.52		0.0656221198		0.0430168954		0.0289525486		0.0055065998		0.0993757803		0.0621666155		0.0101514283

		711.84		0.0639631336		0.0424027764		0.0291726271		0.0072479558		0.1087390762		0.0611053705		0.0128812241

		712.16		0.0648847926		0.0465873549		0.0292704398		0.0047679546		0.0981273408		0.061189153		0.0111433599

		712.48		0.0637788018		0.0548993845		0.0289770018		0.0047550283		0.0990636704		0.0618314855		0.0124844515

		712.79		0.0608294931		0.0515859981		0.0289770018		0.0050449466		0.1031210986		0.0612170805		0.0106473941

		713.11		0.0621198157		0.0381182251		0.0291114942		0.0058629961		0.0981273408		0.0614963555		0.0134763831

		713.43		0.0624884793		0.0365900684		0.0287813765		0.0047679546		0.1028089888		0.061580138		0.0103498146

		713.75		0.0630414747		0.0634684871		0.0286713372		0.0058629961		0.1018726592		0.061189153		0.011591713

		714.07		0.0617511521		0.0626544224		0.0287691499		0.0040293094		0.0971910112		0.0617756305		0.0112425531

		714.39		0.0613824885		0.0613262115		0.0286468841		0.0071556252		0.102184769		0.061747703		0.0131788036

		714.71		0.0593548387		0.0469444008		0.0287324701		0.005968253		0.0950062422		0.061691848		0.0108457804

		715.02		0.0599078341		0.0741798655		0.0285123916		0.0065093106		0.1084269663		0.0618314855		0.0113933267

		715.34		0.0610138249		0.0547994116		0.0283534461		0.0060605837		0.0984394507		0.0621666155		0.0113417462

		715.66		0.0575115207		0.0474014196		0.0284023524		0.0060476574		0.1003121099		0.0619431955		0.0135755763

		715.98		0.0589861751		0.0444450792		0.0285368448		0.0061529143		0.1043695381		0.061915268		0.0112425531

		716.3		0.0573271889		0.0366900413		0.0283901258		0.0046626977		0.1012484395		0.0616080655		0.012782031

		716.61		0.0591705069		0.0444450792		0.0282434068		0.0057835917		0.0984394507		0.062138688		0.0118377121

		716.93		0.0595391705		0.0648966709		0.0280477815		0.00641698		0.1031210986		0.061859413		0.0116909062

		717.25		0.0576958525		0.0387323441		0.0284023524		0.0052296079		0.1078027466		0.061468428		0.0098538488

		717.57		0.0576958525		0.0595409817		0.0286957904		0.004570367		0.1046816479		0.0616080655		0.0149642805

		717.89		0.05640553		0.0498007684		0.0286224309		0.0070762208		0.1040574282		0.061971123		0.0126312574

		718.2		0.0567741935		0.0352618575		0.0280844612		0.0066939719		0.1053058677		0.061859413		0.0113933267

		718.52		0.0541935484		0.0537282738		0.0282311802		0.0056912611		0.1081148564		0.061971123		0.0121352915

		718.84		0.0541935484		0.0366900413		0.0280477815		0.0066939719		0.0971910112		0.061635993		0.0139723489

		719.16		0.0558525346		0.0369471144		0.0284512587		0.0050449466		0.0984394507		0.061468428		0.0123336779

		719.48		0.0560368664		0.0573987061		0.0281945005		0.007986601		0.1034332085		0.061971123		0.0120876788

		719.79		0.0540092166		0.0540853197		0.0284023524		0.0050449466		0.0968789014		0.061971123		0.01302803

		720.11		0.052718894		0.0409745926		0.0282311802		0.0057706654		0.1034332085		0.061468428		0.0124844515

		720.43		0.0552995392		0.0533712278		0.0282923131		0.0041216401		0.1024968789		0.0613846455		0.0131272232

		720.75		0.053640553		0.0548993845		0.0279621954		0.0062323187		0.1046816479		0.062138688		0.0146667011

		721.06		0.0529032258		0.0226652766		0.0283901258		0.0053219385		0.1006242197		0.061635993		0.0110441667

		721.38		0.0543778802		0.0602550736		0.0281089144		0.0065093106		0.0996878901		0.0615522105		0.0140715421

		721.7		0.0532718894		0.039446436		0.0282800866		0.0043063014		0.1012484395		0.0619431955		0.0118377121

		722.02		0.0538248848		0.0673959925		0.027974422		0.0067863026		0.1093632959		0.0618873405		0.0128812241

		722.33		0.0534562212		0.0544423656		0.0280722347		0.0060605837		0.1040574282		0.062250398		0.0121352915

		722.65		0.0521658986		0.0548993845		0.0280600081		0.0056783348		0.1056179775		0.061747703		0.0133771899

		722.97		0.050875576		0.0440880332		0.0282311802		0.0052296079		0.1087390762		0.061077443		0.0104490078

		723.28		0.0530875576		0.064182579		0.0280844612		0.0060476574		0.1071785268		0.061747703		0.0135755763

		723.6		0.0529032258		0.0476584927		0.0282311802		0.0052296079		0.0990636704		0.060909878		0.0104490078

		723.92		0.0505069124		0.0677530385		0.0280722347		0.0073402864		0.1046816479		0.0618314855		0.0116909062

		724.24		0.0503225806		0.0630114683		0.0280233283		0.0067068982		0.1062421973		0.061635993		0.0138215753

		724.55		0.0506912442		0.0691812222		0.0280355549		0.0057706654		0.1059300874		0.062306253		0.0114925198

		724.87		0.0501382488		0.0462303089		0.0280966878		0.0053219385		0.097815231		0.062864803		0.012432871

		725.19		0.0501382488		0.0616832574		0.0282067271		0.007986601		0.0943820225		0.0619990505		0.0123852583

		725.5		0.0512442396		0.0426598495		0.0280355549		0.005968253		0.0912609238		0.0616080655		0.0110441667

		725.82		0.0512442396		0.0434739142		0.0282800866		0.0058629961		0.1078027466		0.060854023		0.012782031

		726.14		0.0497695853		0.0508719062		0.0283656726		0.0055989304		0.1006242197		0.061356718		0.0128296437

		726.45		0.0497695853		0.0434739142		0.0278766093		0.006139988		0.1037453184		0.061747703		0.0091118839

		726.77		0.0495852535		0.0448021251		0.0282556334		0.0052296079		0.0996878901		0.061524283		0.0116393257

		727.09		0.0479262673		0.0820348762		0.0280355549		0.0050320203		0.1059300874		0.0617756305		0.0116909062

		727.4		0.0488479263		0.0451591711		0.0279866486		0.0055989304		0.1003121099		0.062082833		0.0104490078

		727.72		0.0499539171		0.0391893629		0.0279621954		0.0073402864		0.1015605493		0.060965733		0.0130796104

		728.04		0.0484792627		0.033019609		0.0281700473		0.0068915595		0.1006242197		0.062473818		0.0116393257

		728.35		0.0490322581		0.0402605007		0.0284634853		0.0062323187		0.0925093633		0.062026978		0.0141707352

		728.67		0.0484792627		0.0505148603		0.0280722347		0.005968253		0.1006242197		0.0616080655		0.0128296437

		728.98		0.0477419355		0.0563275682		0.0277054372		0.0058629961		0.0996878901		0.0621107605		0.0131788036

		729.3		0.0482949309		0.0387323441		0.028121141		0.0043063014		0.1028089888		0.062473818		0.0108457804

		729.62		0.0488479263		0.0402605007		0.0280233283		0.0057706654		0.0981273408		0.062026978		0.011591713

		729.93		0.0470046083		0.0444450792		0.02826786		0.0049526159		0.1040574282		0.0619431955		0.0117385189

		730.25		0.0471889401		0.0620403033		0.0279255157		0.0068786332		0.0975031211		0.0622783255		0.0124844515

		730.57		0.0481105991		0.0512289521		0.0280844612		0.0051372772		0.1043695381		0.0613846455		0.0117385189

		730.88		0.0468202765		0.0766791871		0.0286102043		0.0052166816		0.1037453184		0.0618873405		0.0126828378

		731.2		0.0477419355		0.0348048387		0.0280966878		0.0053219385		0.0956304619		0.061803558		0.0091594967

		731.51		0.0468202765		0.0466873277		0.0283289929		0.0050320203		0.0971910112		0.0616080655		0.0130796104

		731.83		0.0473732719		0.0576557791		0.0279132891		0.0049526159		0.0959425718		0.0610495155		0.0116393257

		732.15		0.0482949309		0.0420457304		0.027827703		0.0058629961		0.1006242197		0.0623900355		0.0114925198

		732.46		0.0477419355		0.033019609		0.0284757119		0.0054142691		0.1031210986		0.061635993		0.0116393257

		732.78		0.0488479263		0.0591839358		0.0280722347		0.0056783348		0.1		0.0613846455		0.0117900993

		733.09		0.0464516129		0.039446436		0.0280477815		0.0047679546		0.0971910112		0.062194543		0.0105482009

		733.41		0.0479262673		0.0816778303		0.0282189536		0.0055860042		0.0965667915		0.0622224705		0.0129804173

		733.72		0.0464516129		0.0208800468		0.0284268056		0.0049526159		0.1127965044		0.0618873405		0.0112425531

		734.04		0.0471889401		0.0456161899		0.0283167663		0.0063246493		0.1059300874		0.061412573		0.0140715421

		734.35		0.0466359447		0.0612262386		0.0281578207		0.0060605837		0.1043695381		0.061356718		0.0135239958

		734.67		0.0494009217		0.057755752		0.0284634853		0.006139988		0.1046816479		0.062026978		0.0150634737

		734.99		0.0462672811		0.0490866765		0.0283534461		0.0048602853		0.1040574282		0.0619431955		0.0113417462

		735.3		0.0471889401		0.0420457304		0.0280233283		0.00641698		0.0990636704		0.061691848		0.0130796104

		735.62		0.0457142857		0.0558705494		0.0283167663		0.0055065998		0.1053058677		0.0613846455		0.0096554625

		735.93		0.0455299539		0.0491866493		0.0280355549		0.0066939719		0.0996878901		0.0616639205		0.0136747694

		736.25		0.0457142857		0.0533712278		0.0279377422		0.0060605837		0.0984394507		0.061468428		0.0129288368

		736.56		0.0458986175		0.0566846142		0.027827703		0.00641698		0.1124843945		0.0615522105		0.0125836446

		736.88		0.0453456221		0.0426598495		0.0283534461		0.0057835917		0.1053058677		0.0614405005		0.0127304505

		737.19		0.0457142857		0.0488296034		0.0284757119		0.0058629961		0.0906367041		0.0620549055		0.0129804173

		737.51		0.0479262673		0.045516217		0.0279499688		0.0040293094		0.0987515605		0.062250398		0.0134248027

		737.82		0.0462672811		0.0202659278		0.027974422		0.0055860042		0.1218476904		0.061691848		0.0111949404

		738.14		0.0464516129		0.0533712278		0.0287324701		0.0071685514		0.1062421973		0.0615522105		0.0159046317

		738.45		0.0458986175		0.0538282466		0.0277421169		0.0063246493		0.1102996255		0.061356718		0.0136747694

		738.77		0.0468202765		0.0558705494		0.0285735246		0.0065222369		0.0971910112		0.0616080655		0.0141191548

		739.08		0.0442396313		0.0424027764		0.0280600081		0.0066016413		0.1		0.061524283		0.0131788036

		739.4		0.0455299539		0.0280209657		0.0281945005		0.0055065998		0.0981273408		0.061300863		0.0090603035

		739.71		0.0453456221		0.032048444		0.0283901258		0.0056783348		0.1056179775		0.062362108		0.0148650874

		740.03		0.0457142857		0.0373041603		0.0279866486		0.0052296079		0.0968789014		0.062026978		0.0121352915

		740.34		0.0460829493		0.0277638927		0.027974422		0.0058629961		0.0968789014		0.061524283		0.0130796104

		740.65		0.0460829493		0.0426598495		0.0278643827		0.0055065998		0.1034332085		0.0614963555		0.0102506214

		740.97		0.0464516129		0.0466873277		0.0282311802		0.007709609		0.1043695381		0.0624458905		0.0111949404

		741.28		0.0468202765		0.0426598495		0.0278154764		0.0063375756		0.1102996255		0.061468428		0.0131272232

		741.6		0.0473732719		0.0488296034		0.0279499688		0.0059553267		0.1034332085		0.061691848		0.0132779968

		741.91		0.0471889401		0.0362330225		0.0279132891		0.0049526159		0.0993757803		0.061803558		0.0104490078

		742.23		0.0458986175		0.0598980277		0.0282311802		0.00641698		0.0950062422		0.0620549055		0.011591713

		742.54		0.0475576037		0.0273068738		0.0281333676		0.0061529143		0.1006242197		0.061747703		0.0129288368

		742.86		0.0471889401		0.0524000628		0.027974422		0.0063246493		0.102184769		0.0621107605		0.0108973609

		743.17		0.0453456221		0.0512289521		0.0282189536		0.0045832933		0.1034332085		0.0617197755		0.0127304505

		743.48		0.0464516129		0.0677530385		0.0280111017		0.0057706654		0.0975031211		0.0615522105		0.0125836446

		743.8		0.0451612903		0.0319484711		0.027827703		0.0040293094		0.1006242197		0.062026978		0.0106473941

		744.11		0.0464516129		0.0491866493		0.027827703		0.0053090122		0.106866417		0.061077443		0.0129804173

		744.43		0.0455299539		0.0251645982		0.0282067271		0.0057835917		0.1003121099		0.061524283		0.0115401326

		744.74		0.0479262673		0.0666819006		0.0281822739		0.0060476574		0.102184769		0.061468428		0.0136747694

		745.05		0.0466359447		0.0490866765		0.0280233283		0.0055989304		0.1056179775		0.062194543		0.0115401326

		745.37		0.0455299539		0.0688241763		0.0280477815		0.0066016413		0.1034332085		0.0613846455		0.0118892925

		745.68		0.0449769585		0.0437309873		0.0281089144		0.0057835917		0.1037453184		0.0621666155		0.0117385189

		746		0.0470046083		0.057755752		0.0283045397		0.0044780364		0.1034332085		0.0617756305		0.0151626669

		746.31		0.0464516129		0.0412316657		0.0278766093		0.0033829949		0.0993757803		0.0619990505		0.0111433599

		746.62		0.0471889401		0.044902098		0.0279255157		0.0068786332		0.1056179775		0.061971123		0.012782031

		746.94		0.0466359447		0.0194518631		0.0282067271		0.0051372772		0.102184769		0.061971123		0.0120360984

		747.25		0.0460829493		0.0327625359		0.0283289929		0.0065093106		0.1078027466		0.060854023		0.0105997814

		747.56		0.0468202765		0.071580571		0.0281700473		0.0054142691		0.0975031211		0.0615522105		0.0090603035

		747.88		0.0458986175		0.0634684871		0.0282434068		0.0067863026		0.102184769		0.0616639205		0.0111949404

		748.19		0.0462672811		0.0444450792		0.0282311802		0.0064299063		0.1003121099		0.0621107605		0.0100522351

		748.5		0.0453456221		0.0845341979		0.0278154764		0.0055860042		0.1034332085		0.0621666155		0.0129804173

		748.82		0.0460829493		0.0487296305		0.0279377422		0.004398632		0.1040574282		0.0621666155		0.012432871

		749.13		0.0455299539		0.0349048116		0.0278766093		0.0070632945		0.097815231		0.0606026755		0.0133771899

		749.44		0.0473732719		0.0480155386		0.0280477815		0.005968253		0.1012484395		0.0615522105		0.0106473941

		749.76		0.0470046083		0.0552564304		0.0281333676		0.0076172784		0.1018726592		0.061691848		0.0135755763

		750.07		0.0462672811		0.0473014468		0.0280722347		0.0043063014		0.1024968789		0.062306253		0.0109449736

		750.38		0.0455299539		0.0484725574		0.0276443042		0.0056783348		0.1043695381		0.062026978		0.0136747694

		750.7		0.0455299539		0.033019609		0.0280844612		0.004675624		0.0990636704		0.062306253		0.0139207685

		751.01		0.0458986175		0.0681100844		0.0281700473		0.0059553267		0.0971910112		0.061971123		0.0130796104

		751.32		0.0470046083		0.0419457576		0.0279866486		0.0067068982		0.1065543071		0.0619990505		0.0122344847

		751.63		0.0464516129		0.0441880061		0.0281700473		0.0054936735		0.0984394507		0.0618873405		0.0126828378

		751.95		0.0462672811		0.0380182522		0.0280722347		0.0076302047		0.1053058677		0.0613287905		0.0104490078

		752.26		0.0464516129		0.0541852926		0.0281333676		0.00641698		0.1059300874		0.061412573		0.0151626669

		752.57		0.0460829493		0.0426598495		0.0282311802		0.0064299063		0.1028089888		0.062473818		0.0097546556

		752.89		0.0455299539		0.0527571088		0.0279377422		0.0054936735		0.1056179775		0.061524283		0.0140715421

		753.2		0.0466359447		0.0540853197		0.0278399296		0.0070762208		0.0946941323		0.0621666155		0.013623189

		753.51		0.0447926267		0.0552564304		0.0281333676		0.0070632945		0.1093632959		0.061747703		0.0123852583

		753.82		0.0451612903		0.0615832845		0.0280722347		0.0052296079		0.0996878901		0.061859413		0.0122344847

		754.14		0.0447926267		0.058112798		0.0276687574		0.0056783348		0.0968789014		0.0617197755		0.0132779968

		754.45		0.0457142857		0.0601551008		0.0276320777		0.0055065998		0.0959425718		0.061356718		0.0089611103

		754.76		0.0457142857		0.064539625		0.0280966878		0.0069709639		0.106866417		0.0617197755		0.012782031

		755.07		0.0442396313		0.0273068738		0.0279132891		0.0055989304		0.0981273408		0.0616080655		0.0116393257

		755.39		0.0457142857		0.0606121196		0.0279499688		0.0072479558		0.1037453184		0.061747703		0.0138731558

		755.7		0.0436866359		0.039446436		0.0283167663		0.0057835917		0.106866417		0.061915268		0.0116393257

		756.01		0.0470046083		0.0463302818		0.0282556334		0.0074326171		0.1049937578		0.0618873405		0.012186872

		756.32		0.0464516129		0.0369471144		0.0279866486		0.0068915595		0.1053058677		0.0624458905		0.0103498146

		756.63		0.0462672811		0.0570416601		0.0282923131		0.006139988		0.1062421973		0.061412573		0.0137739626

		756.95		0.0462672811		0.0344477927		0.0279132891		0.006245245		0.1009363296		0.061915268		0.0091594967

		757.26		0.0440552995		0.0573987061		0.027974422		0.007709609		0.0987515605		0.062138688		0.0114925198

		757.57		0.0464516129		0.0301632414		0.0280600081		0.0055989304		0.0996878901		0.0621107605		0.009953042

		757.88		0.0458986175		0.0538282466		0.0278521562		0.0068786332		0.1062421973		0.0616639205		0.0095086566

		758.19		0.0468202765		0.0430168954		0.0281822739		0.0071685514		0.0906367041		0.062250398		0.0112425531

		758.51		0.0455299539		0.0456161899		0.0280233283		0.0054936735		0.0968789014		0.0619431955		0.0107981677

		758.82		0.0453456221		0.0180236793		0.0279255157		0.0067992289		0.1043695381		0.0627251655		0.0135239958

		759.13		0.0444239631		0.0602550736		0.0280722347		0.0075249477		0.0897003745		0.061915268		0.0142699284

		759.44		0.0455299539		0.0551564575		0.0279499688		0.0056912611		0.0965667915		0.0611612255		0.0104490078

		759.75		0.0455299539		0.0720375898		0.0277421169		0.0071556252		0.1034332085		0.0621107605		0.0138731558

		760.06		0.0447926267		0.0501578143		0.0280111017		0.0072608821		0.1037453184		0.0619431955		0.0101514283

		760.38		0.0440552995		0.0713234979		0.0280477815		0.0073402864		0.0943820225		0.061859413		0.0117900993

		760.69		0.0453456221		0.0355189306		0.0278888359		0.0071685514		0.097815231		0.062529673		0.0123336779

		761		0.0453456221		0.0588268898		0.0282189536		0.0065093106		0.0956304619		0.061747703		0.012782031

		761.31		0.0457142857		0.0487296305		0.0280233283		0.0058759224		0.1059300874		0.062250398		0.0105482009

		761.62		0.0446082949		0.0531141547		0.0278643827		0.0081712623		0.1034332085		0.0617756305		0.0113933267

		761.93		0.0457142857		0.0412316657		0.0279499688		0.0067068982		0.1106117353		0.062082833		0.0105482009

		762.24		0.0457142857		0.0663248547		0.02826786		0.00927923		0.1012484395		0.062194543		0.012782031

		762.56		0.0462672811		0.05230009		0.027974422		0.007537874		0.1003121099		0.061133298		0.0127304505

		762.87		0.0442396313		0.0474014196		0.0280355549		0.0069709639		0.1034332085		0.0616639205		0.0118892925

		763.18		0.0444239631		0.05230009		0.0278399296		0.0072608821		0.1056179775		0.062138688		0.0106473941

		763.49		0.0449769585		0.0474014196		0.0279010625		0.0090945687		0.097815231		0.061468428		0.0129804173

		763.8		0.0435023041		0.0351618846		0.0280722347		0.0063375756		0.1009363296		0.061859413		0.0126312574

		764.11		0.0449769585		0.0598980277		0.0281578207		0.0081712623		0.1046816479		0.061859413		0.0146667011

		764.42		0.0453456221		0.0248075522		0.028121141		0.0076302047		0.1018726592		0.062082833		0.0113417462

		764.73		0.0436866359		0.0681100844		0.0280233283		0.0094638913		0.1049937578		0.0618314855		0.0119884857

		765.04		0.0442396313		0.0405175738		0.0279621954		0.0077225353		0.0956304619		0.0617756305		0.0121352915

		765.36		0.0440552995		0.0602550736		0.0279377422		0.0086329155		0.1031210986		0.0617756305		0.0116909062

		765.67		0.0444239631		0.026235736		0.0277543435		0.0088305031		0.1034332085		0.061859413		0.0116393257

		765.98		0.0447926267		0.0456161899		0.0279866486		0.0082635929		0.0990636704		0.0617197755		0.0118892925

		766.29		0.0442396313		0.0358759765		0.0280233283		0.0088305031		0.1034332085		0.0619431955		0.0112425531

		766.6		0.0449769585		0.0338336737		0.0280600081		0.0096485526		0.1071785268		0.0617756305		0.011591713

		766.91		0.0438709677		0.0537282738		0.0282556334		0.0091998257		0.0971910112		0.062026978		0.0104490078

		767.22		0.0433179724		0.0434739142		0.0278766093		0.0085405849		0.0984394507		0.0619990505		0.0114925198

		767.53		0.0444239631		0.0348048387		0.0279255157		0.0107694467		0.1087390762		0.061803558		0.0083659514

		767.84		0.0444239631		0.0495436953		0.0277543435		0.0105718591		0.1024968789		0.061859413		0.0142699284

		768.15		0.0436866359		0.0401605279		0.0278888359		0.0100308015		0.1046816479		0.0616080655		0.0102506214

		768.46		0.0444239631		0.0470443737		0.0279255157		0.0112181736		0.1043695381		0.0618873405		0.0141707352

		768.77		0.0444239631		0.0319484711		0.0279988752		0.0102154628		0.0993757803		0.061803558		0.0113417462

		769.08		0.0446082949		0.0388323169		0.0279132891		0.0114028349		0.1015605493		0.061356718		0.0112941335

		769.39		0.0451612903		0.0348048387		0.0282556334		0.0098461402		0.1031210986		0.0616639205		0.0116393257

		769.7		0.0433179724		0.0470443737		0.0284268056		0.0114028349		0.1031210986		0.062362108		0.0131788036

		770.01		0.0440552995		0.0290921036		0.0276443042		0.0115080919		0.0990636704		0.061412573		0.0116393257

		770.32		0.0446082949		0.0570416601		0.0279132891		0.0127877946		0.1049937578		0.061412573		0.0134763831

		770.63		0.0444239631		0.0162384496		0.0282189536		0.0128930516		0.1003121099		0.0617756305		0.0117385189

		770.94		0.0433179724		0.0609691655		0.0280111017		0.0131571172		0.1028089888		0.0619431955		0.0123852583

		771.25		0.0433179724		0.0483725846		0.0277665701		0.0127083903		0.109051186		0.0618873405		0.0107465873

		771.56		0.0449769585		0.0559705223		0.0278888359		0.0126031333		0.1009363296		0.061859413		0.0126828378

		771.87		0.0440552995		0.0465873549		0.0278032498		0.0130777129		0.1015605493		0.0621666155		0.0100522351

		772.18		0.0438709677		0.0434739142		0.0280111017		0.0146344076		0.1031210986		0.061468428		0.0134763831

		772.49		0.0444239631		0.032662563		0.0281333676		0.0120620757		0.0959425718		0.062250398		0.013623189

		772.8		0.0440552995		0.0499007412		0.0280722347		0.0125108027		0.0996878901		0.0616639205		0.0125836446

		773.11		0.0442396313		0.0333766549		0.0279988752		0.0141856806		0.1009363296		0.0621107605		0.0117385189

		773.42		0.0446082949		0.0609691655		0.0279377422		0.0129724559		0.1015605493		0.061859413		0.0140715421

		773.73		0.0436866359		0.0437309873		0.027974422		0.0133547048		0.1018726592		0.0624458905		0.0126312574

		774.04		0.0440552995		0.0598980277		0.0279377422		0.0156500447		0.1071785268		0.0617197755		0.0133771899

		774.35		0.0431336406		0.0419457576		0.0280477815		0.0157553016		0.1081148564		0.062250398		0.0123336779

		774.66		0.0433179724		0.0648966709		0.0280355549		0.0159270366		0.0981273408		0.0622783255		0.0119884857

		774.97		0.0438709677		0.0462303089		0.0279255157		0.0166786081		0.1040574282		0.062306253		0.0140199616

		775.28		0.0425806452		0.0556134763		0.0280477815		0.0167580125		0.1012484395		0.061859413		0.0151626669

		775.58		0.0433179724		0.0412316657		0.028121141		0.0163092855		0.1006242197		0.062082833		0.0125320642

		775.89		0.0440552995		0.0420457304		0.0280477815		0.0173119963		0.0984394507		0.0618873405		0.012186872

		776.2		0.0438709677		0.03908939		0.0280966878		0.0177865759		0.1003121099		0.0621666155		0.0108457804

		776.51		0.0422119816		0.0420457304		0.0279621954		0.0214668755		0.1037453184		0.062362108		0.0136747694

		776.82		0.0422119816		0.0423028035		0.0280844612		0.0195408582		0.1003121099		0.062026978		0.0126312574

		777.13		0.0431336406		0.058112798		0.0279499688		0.0193432706		0.0996878901		0.0618873405		0.0132779968

		777.44		0.042764977		0.0340907468		0.0278032498		0.0208334872		0.0990636704		0.062026978		0.0089611103

		777.75		0.0442396313		0.0638255331		0.0277543435		0.0207282303		0.0975031211		0.061747703		0.0110957472

		778.06		0.042764977		0.045873263		0.027827703		0.0211104792		0.1040574282		0.061915268		0.0085643377

		778.37		0.0425806452		0.0491866493		0.0280233283		0.021836198		0.1024968789		0.0620549055		0.0114925198

		778.67		0.0431336406		0.032662563		0.0277910232		0.0236957373		0.1065543071		0.0621666155		0.0109449736

		778.98		0.0431336406		0.0463302818		0.0280844612		0.0223901819		0.1053058677		0.061747703		0.011591713

		779.29		0.042764977		0.0487296305		0.0277298903		0.0210181485		0.1012484395		0.0619431955		0.0115401326

		779.6		0.0425806452		0.0559705223		0.0278399296		0.0241444642		0.0990636704		0.0616639205		0.0105005882

		779.91		0.042764977		0.0387323441		0.0278766093		0.0226801002		0.0968789014		0.062082833		0.009953042

		780.22		0.0429493088		0.0395464088		0.0278888359		0.02497544		0.1059300874		0.0618873405		0.0119884857

		780.53		0.0420276498		0.0615832845		0.0279621954		0.0236034066		0.1015605493		0.0615522105		0.009953042

		780.83		0.0416589862		0.0459732358		0.0278521562		0.0281146821		0.0975031211		0.0623341805		0.0099054292

		781.14		0.0416589862		0.0312343792		0.0277910232		0.0280352777		0.1040574282		0.0611053705		0.0109449736

		781.45		0.0420276498		0.0506148331		0.0279255157		0.0285763353		0.1056179775		0.061468428		0.012782031

		781.76		0.0433179724		0.0362330225		0.0279988752		0.0294202374		0.1049937578		0.0617756305		0.0127304505

		782.07		0.0431336406		0.0488296034		0.0278888359		0.0311615934		0.1037453184		0.061971123		0.0136747694

		782.38		0.0436866359		0.0415887116		0.027974422		0.0293279068		0.0946941323		0.0621666155		0.0118377121

		782.68		0.0431336406		0.0506148331		0.0277176637		0.0302382869		0.1053058677		0.061356718		0.0116909062

		782.99		0.0440552995		0.0365900684		0.0281089144		0.0324671488		0.1040574282		0.0625576005		0.0120360984

		783.3		0.0433179724		0.0366900413		0.0278766093		0.033100537		0.1009363296		0.0621107605		0.0122860651

		783.61		0.0416589862		0.0669389737		0.0279255157		0.0354217295		0.1009363296		0.0615522105		0.0103498146

		783.92		0.0442396313		0.0716805439		0.028121141		0.0365167709		0.0962546816		0.061803558		0.0135755763

		784.22		0.0429493088		0.0487296305		0.028121141		0.0354217295		0.1031210986		0.0621107605		0.0122344847

		784.53		0.0416589862		0.0499007412		0.0278766093		0.0372554161		0.1024968789		0.061635993		0.0099054292

		784.84		0.0422119816		0.0315914252		0.0281333676		0.0390226247		0.0918851436		0.0623341805		0.0106473941

		785.15		0.0422119816		0.0548993845		0.028121141		0.0403946581		0.1062421973		0.0620549055		0.0117900993

		785.45		0.0429493088		0.0465873549		0.0280477815		0.0424388586		0.1003121099		0.061077443		0.0106473941

		785.76		0.0416589862		0.0524000628		0.0280477815		0.0428875856		0.097815231		0.0618314855		0.0126828378

		786.07		0.0431336406		0.0462303089		0.0278521562		0.0425311893		0.1040574282		0.061524283		0.0118377121

		786.38		0.0423963134		0.0356189034		0.0280355549		0.0450111905		0.1012484395		0.0620549055		0.0125836446

		786.68		0.0422119816		0.026592782		0.0282556334		0.0463167458		0.1087390762		0.061747703		0.012432871

		786.99		0.0416589862		0.0648966709		0.0282067271		0.0474117873		0.1046816479		0.061859413		0.010996554

		787.3		0.0433179724		0.0255216441		0.0280233283		0.0491789959		0.1009363296		0.0621107605		0.0112425531

		787.61		0.0420276498		0.0381182251		0.027827703		0.0497200535		0.0990636704		0.0623900355		0.0118892925

		787.91		0.0414746544		0.0580128251		0.0276932106		0.0524105685		0.1024968789		0.061356718		0.0123336779

		788.22		0.0422119816		0.0616832574		0.0279255157		0.0525823035		0.1040574282		0.0614963555		0.0143691216

		788.53		0.0422119816		0.0551564575		0.0279499688		0.0526875605		0.1034332085		0.0625017455		0.0117385189

		788.83		0.0425806452		0.0438309602		0.0277665701		0.0538749326		0.1028089888		0.061691848		0.0140715421

		789.14		0.0407373272		0.0355189306		0.0279377422		0.0553651492		0.1012484395		0.0617197755		0.0094570761

		789.45		0.0436866359		0.0698953141		0.0278032498		0.0559062068		0.0965667915		0.060742313		0.0119884857

		789.76		0.0440552995		0.0412316657		0.0278521562		0.0565654477		0.1024968789		0.0621666155		0.009357883

		790.06		0.041843318		0.0334766278		0.0280722347		0.0588607875		0.1003121099		0.0619431955		0.0106989745

		790.37		0.0414746544		0.0323055171		0.0278643827		0.0597970203		0.1037453184		0.0619431955		0.0111433599

		790.68		0.0407373272		0.0481155115		0.0280844612		0.0641236344		0.1006242197		0.062306253		0.0123852583

		790.98		0.042764977		0.0462303089		0.0277176637		0.062751601		0.1043695381		0.062082833		0.0121352915

		791.29		0.0431336406		0.0527571088		0.0280477815		0.0649546103		0.1031210986		0.0626134555		0.0146667011

		791.6		0.0411059908		0.03908939		0.02826786		0.0651521978		0.1049937578		0.0624458905		0.0096554625

		791.9		0.0423963134		0.0545423385		0.0279010625		0.0666165619		0.0990636704		0.061356718		0.0132779968

		792.21		0.0420276498		0.0487296305		0.0277787967		0.0695840689		0.0953183521		0.0617197755		0.0125320642

		792.52		0.041843318		0.057755752		0.0277176637		0.0688324974		0.1012484395		0.0622224705		0.0126828378

		792.82		0.0412903226		0.0073123009		0.0280966878		0.070876698		0.0940699126		0.0622224705		0.0104490078

		793.13		0.040921659		0.0388323169		0.0278888359		0.0717870781		0.0987515605		0.0621107605		0.0124844515

		793.44		0.0423963134		0.0494437224		0.0279988752		0.0730003028		0.1040574282		0.061971123		0.0115401326

		793.74		0.0411059908		0.0723946357		0.0276565308		0.0729873766		0.1015605493		0.061580138		0.0130796104

		794.05		0.0414746544		0.0405175738		0.0279866486		0.0749392464		0.0918851436		0.0618873405		0.0118377121

		794.35		0.0420276498		0.0452591439		0.0277910232		0.0764959411		0.0962546816		0.061356718		0.0125836446

		794.66		0.0422119816		0.0412316657		0.0279499688		0.0799251014		0.1031210986		0.0610495155		0.0118377121

		794.97		0.0416589862		0.0481155115		0.0280844612		0.0767729331		0.1009363296		0.061524283		0.0126828378

		795.27		0.041843318		0.0612262386		0.0278399296		0.0775245046		0.1015605493		0.062417963		0.0097546556

		795.58		0.0420276498		0.0524000628		0.0280722347		0.0822204413		0.0993757803		0.0620549055		0.011591713

		795.89		0.0416589862		0.03908939		0.0282067271		0.0812177304		0.1018726592		0.0621107605		0.0113417462

		796.19		0.04		0.025621617		0.0279010625		0.0802814977		0.0950062422		0.061803558		0.0133771899

		796.5		0.041843318		0.039446436		0.0277665701		0.0819563756		0.1018726592		0.0621107605		0.0123336779

		796.8		0.0411059908		0.0456161899		0.0275831713		0.0845287074		0.0965667915		0.061971123		0.0135755763

		797.11		0.0405529954		0.0348048387		0.0279866486		0.0843569724		0.1165418227		0.0622783255		0.0115401326

		797.41		0.0411059908		0.0270498008		0.0282067271		0.0848056994		0.1056179775		0.0619431955		0.0131788036

		797.72		0.0405529954		0.0387323441		0.0280966878		0.0844493031		0.0950062422		0.061580138		0.0133256095

		798.03		0.0411059908		0.0509718791		0.0277054372		0.0866523123		0.0996878901		0.0621666155		0.0120876788

		798.33		0.0414746544		0.0351618846		0.0280600081		0.0872192225		0.1018726592		0.061189153		0.0117385189

		798.64		0.0411059908		0.0438309602		0.0279132891		0.0885912559		0.102184769		0.062138688		0.0103022019

		798.94		0.0416589862		0.0487296305		0.0279988752		0.0883271903		0.1028089888		0.061580138		0.0109449736

		799.25		0.0414746544		0.0377611791		0.0277054372		0.0882219333		0.1062421973		0.061971123		0.0110957472

		799.55		0.041843318		0.0315914252		0.0279866486		0.0907277871		0.1009363296		0.061468428		0.0125320642

		799.86		0.0414746544		0.064539625		0.0279621954		0.089883885		0.1031210986		0.0617197755		0.012782031

		800.16		0.040921659		0.0151673117		0.0277298903		0.0891581661		0.0965667915		0.062641383		0.0115401326

		800.47		0.0412903226		0.0627543952		0.0277054372		0.0908995221		0.1015605493		0.0613287905		0.012186872

		800.77		0.0411059908		0.0373041603		0.0277543435		0.0898044806		0.1006242197		0.062194543		0.0123336779

		801.08		0.041843318		0.0491866493		0.0276320777		0.0894222317		0.1043695381		0.0615522105		0.0126828378

		801.39		0.040921659		0.0448021251		0.0278154764		0.08971215		0.1006242197		0.0621107605		0.0116393257

		801.69		0.0411059908		0.0691812222		0.028121141		0.0894222317		0.1009363296		0.061859413		0.011591713

		802		0.04		0.0323055171		0.0279377422		0.0877732064		0.106866417		0.0618314855		0.0115401326

		802.3		0.040921659		0.0684671304		0.0279255157		0.0892375704		0.0959425718		0.0616639205		0.0101038156

		802.61		0.0422119816		0.058369871		0.0278643827		0.0885118516		0.097815231		0.0623341805		0.0098538488

		802.91		0.0407373272		0.0563275682		0.0279010625		0.0875756188		0.0993757803		0.0613846455		0.0132779968

		803.21		0.0420276498		0.0301632414		0.0277910232		0.0877732064		0.0965667915		0.0615522105		0.0120360984

		803.52		0.0414746544		0.0602550736		0.0281089144		0.0862829897		0.1018726592		0.0617756305		0.0123852583

		803.82		0.0407373272		0.039446436		0.0277054372		0.0866652386		0.093133583		0.062026978		0.0117385189

		804.13		0.0412903226		0.0366900413		0.0278399296		0.0841593849		0.1012484395		0.0618314855		0.0146667011

		804.43		0.0403686636		0.0412316657		0.0276932106		0.083433666		0.097815231		0.0618314855		0.0109449736

		804.74		0.0405529954		0.0466873277		0.0278643827		0.0838823929		0.1024968789		0.061300863		0.0128812241

		805.04		0.0398156682		0.0590839629		0.0276443042		0.0821410369		0.1037453184		0.0619431955		0.0117385189

		805.35		0.0412903226		0.051685971		0.0277054372		0.0828667558		0.102184769		0.061971123		0.0123852583

		805.65		0.0422119816		0.0380182522		0.0277298903		0.0776168352		0.1012484395		0.0619990505		0.0112425531

		805.96		0.0403686636		0.0424027764		0.0282556334		0.0793581912		0.0981273408		0.0620549055		0.0136747694

		806.26		0.0414746544		0.0697953413		0.0280600081		0.0785401417		0.0993757803		0.0620549055		0.0119369052

		806.56		0.0411059908		0.0356189034		0.0280111017		0.0776039089		0.1003121099		0.061971123		0.0096078498

		806.87		0.0401843318		0.0373041603		0.0279010625		0.0763242061		0.0953183521		0.0621666155		0.0113417462

		807.17		0.040921659		0.0399034548		0.0277910232		0.0750186508		0.0990636704		0.0618873405		0.0110957472

		807.48		0.0407373272		0.026235736		0.0276320777		0.0722616577		0.0990636704		0.062641383		0.009953042

		807.78		0.0412903226		0.0481155115		0.0280966878		0.0730797072		0.1056179775		0.0612729355		0.0110957472

		808.09		0.041843318		0.032662563		0.0279499688		0.0705073754		0.1049937578		0.0614405005		0.0096554625

		808.39		0.04		0.0474014196		0.0277543435		0.0691094894		0.1096754057		0.0617756305		0.0112941335

		808.69		0.0403686636		0.0505148603		0.0280477815		0.0686607624		0.1102996255		0.0619990505		0.012432871

		809		0.040921659		0.038475271		0.028121141		0.0684631748		0.1031210986		0.0623900355		0.0144683147

		809.3		0.0423963134		0.0515859981		0.027827703		0.0660755043		0.0996878901		0.0616639205		0.013623189

		809.6		0.0407373272		0.0659678087		0.0279377422		0.0643082957		0.1043695381		0.062250398		0.0123852583

		809.91		0.0412903226		0.0423028035		0.0280111017		0.0612743107		0.0993757803		0.061803558		0.0116393257

		810.21		0.0401843318		0.064539625		0.0279621954		0.0625540134		0.1049937578		0.0619431955		0.0126828378

		810.52		0.0412903226		0.0551564575		0.0282311802		0.0582273993		0.0959425718		0.0619431955		0.0115401326

		810.82		0.0412903226		0.0420457304		0.0281945005		0.0587684569		0.1006242197		0.0616080655		0.0113933267

		811.12		0.0405529954		0.0558705494		0.0278399296		0.0577657461		0.1018726592		0.0626134555		0.0117385189

		811.43		0.0407373272		0.044902098		0.0278521562		0.0562755294		0.1059300874		0.062250398		0.0118892925

		811.73		0.0412903226		0.0098116226		0.0279866486		0.0556421412		0.1062421973		0.0620549055		0.0088619172

		812.03		0.040921659		0.0427598223		0.0278399296		0.0538749326		0.0962546816		0.061580138		0.0126828378

		812.34		0.0416589862		0.0423028035		0.0280233283		0.0516719234		0.0965667915		0.062362108		0.009953042

		812.64		0.0416589862		0.0238363873		0.0281455942		0.050366368		0.1018726592		0.0612170805		0.0133771899

		812.94		0.0411059908		0.0430168954		0.0281455942		0.0494559878		0.1043695381		0.0618314855		0.0127304505

		813.25		0.0411059908		0.0427598223		0.0280233283		0.0482427631		0.1065543071		0.061468428		0.0128812241

		813.55		0.0396313364		0.0380182522		0.0277298903		0.0468707297		0.1024968789		0.0619990505		0.0116393257

		813.85		0.0407373272		0.0441880061		0.0279010625		0.0470424647		0.1031210986		0.0622783255		0.0106989745

		814.16		0.040921659		0.045873263		0.0277665701		0.0441931409		0.1078027466		0.0620549055		0.0103498146

		814.46		0.0422119816		0.0534712007		0.0282067271		0.0455651744		0.1053058677		0.0621107605		0.0128812241

		814.76		0.0414746544		0.0323055171		0.0277421169		0.0419772054		0.0956304619		0.0612170805		0.0107465873

		815.06		0.04		0.0524000628		0.027534265		0.0423336017		0.106866417		0.061580138		0.0139723489

		815.37		0.0414746544		0.045873263		0.0277298903		0.0412385602		0.0984394507		0.0622224705		0.0111433599

		815.67		0.0407373272		0.0670389466		0.0280477815		0.0403946581		0.0981273408		0.061747703		0.011591713

		815.97		0.0403686636		0.0298061955		0.0276320777		0.0377299956		0.0981273408		0.062417963		0.0111433599

		816.28		0.041843318		0.0609691655		0.0278888359		0.039379021		0.1012484395		0.0616639205		0.0104013951

		816.58		0.0401843318		0.0337337009		0.0278032498		0.0354217295		0.0943820225		0.0620549055		0.0117385189

		816.88		0.0392626728		0.0409745926		0.0276687574		0.0328235451		0.0965667915		0.061245008		0.012782031

		817.18		0.0416589862		0.045873263		0.0277421169		0.034498423		0.0965667915		0.0612729355		0.0111433599

		817.49		0.0414746544		0.0531141547		0.0278399296		0.0354088032		0.1009363296		0.061412573		0.0144683147

		817.79		0.0405529954		0.0473014468		0.0280722347		0.0316361729		0.1018726592		0.0615522105		0.0119369052

		818.09		0.04		0.0545423385		0.0279621954		0.0343008354		0.102184769		0.0616080655		0.012186872

		818.39		0.0414746544		0.0412316657		0.027827703		0.0314515116		0.0940699126		0.062194543		0.0127304505

		818.7		0.0405529954		0.0545423385		0.0282067271		0.0308846015		0.1		0.061635993		0.0117900993

		819		0.0422119816		0.0412316657		0.0279988752		0.0292355761		0.097815231		0.0611053705		0.0128296437

		819.3		0.0405529954		0.051685971		0.0278643827		0.0321772305		0.1043695381		0.0616080655		0.012186872

		819.6		0.0412903226		0.033019609		0.027680984		0.0287739229		0.0996878901		0.062194543		0.0102506214

		819.9		0.040921659		0.0666819006		0.0275953979		0.0292226498		0.113732834		0.061635993		0.0113933267

		820.21		0.040921659		0.0487296305		0.0282434068		0.0275736245		0.1003121099		0.062417963		0.0129288368

		820.51		0.040921659		0.0474014196		0.0277787967		0.0270067143		0.1046816479		0.0619431955		0.0151626669

		820.81		0.040921659		0.0565846413		0.0279132891		0.0265579873		0.0990636704		0.0609936605		0.0125320642

		821.11		0.04		0.0552564304		0.0280355549		0.0259910772		0.1006242197		0.061747703		0.0140715421

		821.41		0.040921659		0.0340907468		0.0281455942		0.0272043019		0.0965667915		0.0623341805		0.0123336779

		821.72		0.040921659		0.0295491224		0.0277298903		0.0274683675		0.1043695381		0.0617197755		0.0125836446

		822.02		0.0411059908		0.0490866765		0.0277298903		0.0251730276		0.0993757803		0.0617197755		0.0106473941

		822.32		0.0405529954		0.0566846142		0.0277054372		0.0244214562		0.1081148564		0.0618873405		0.0133771899

		822.62		0.041843318		0.0498007684		0.0277298903		0.0226801002		0.0953183521		0.0617197755		0.0114409394

		822.92		0.0405529954		0.0527571088		0.0279988752		0.023405819		0.1065543071		0.0618314855		0.0111949404

		823.22		0.0401843318		0.0419457576		0.0280722347		0.0224031082		0.1015605493		0.061915268		0.014218348

		823.53		0.0416589862		0.0563275682		0.0279132891		0.0222978513		0.0984394507		0.061859413		0.0126828378

		823.83		0.0411059908		0.0355189306		0.0282434068		0.0229570921		0.0993757803		0.0620549055		0.0117385189

		824.13		0.0407373272		0.044902098		0.0277176637		0.0227595045		0.1087390762		0.0618873405		0.0129804173

		824.43		0.0405529954		0.0415887116		0.0278888359		0.0225877695		0.0981273408		0.062082833		0.0110441667

		824.73		0.0407373272		0.0613262115		0.0277787967		0.0223901819		0.1006242197		0.062417963		0.0128812241

		825.03		0.04		0.0551564575		0.027827703		0.0230494227		0.1053058677		0.0624458905		0.0106473941

		825.33		0.0416589862		0.0716805439		0.0277421169		0.0212822142		0.1028089888		0.061747703		0.0145675079

		825.63		0.042764977		0.0355189306		0.0279255157		0.0213874711		0.0984394507		0.0622224705		0.0121352915

		825.94		0.0407373272		0.0466873277		0.0278032498		0.0198972545		0.1040574282		0.061803558		0.0125836446

		826.24		0.040921659		0.0569416873		0.0277787967		0.0197255195		0.0968789014		0.061747703		0.0109449736

		826.54		0.0414746544		0.0606121196		0.0278643827		0.0208205609		0.1062421973		0.062417963		0.0105005882

		826.84		0.041843318		0.0448021251		0.0278888359		0.0196331888		0.1028089888		0.0623341805		0.0114409394

		827.14		0.0412903226		0.0566846142		0.0276932106		0.0188816173		0.1018726592		0.062473818		0.011591713

		827.44		0.0407373272		0.0480155386		0.0278154764		0.0174172533		0.0968789014		0.062306253		0.0105482009

		827.74		0.04		0.0495436953		0.0277054372		0.0193432706		0.1006242197		0.062138688		0.0118892925

		828.04		0.0411059908		0.0230223225		0.0279621954		0.0168632694		0.1015605493		0.0619990505		0.0098538488

		828.34		0.0405529954		0.0470443737		0.0277298903		0.0184199641		0.1087390762		0.062417963		0.0131788036

		828.64		0.0429493088		0.0351618846		0.0279988752		0.0182482291		0.0965667915		0.061747703		0.0125320642

		828.94		0.0422119816		0.0531141547		0.0279010625		0.0167580125		0.1074906367		0.0618873405		0.0103022019

		829.24		0.0414746544		0.0433739414		0.0279132891		0.0180635678		0.1		0.062082833		0.0126312574

		829.54		0.0412903226		0.0466873277		0.0276932106		0.0184199641		0.1024968789		0.062194543		0.012186872

		829.85		0.0401843318		0.0526571359		0.0279132891		0.0159399629		0.0943820225		0.062138688		0.013623189

		830.15		0.0403686636		0.0598980277		0.0277910232		0.0156500447		0.0971910112		0.061300863		0.0137739626

		830.45		0.0414746544		0.032662563		0.0280844612		0.0166786081		0.1062421973		0.0619431955		0.0116393257

		830.75		0.0416589862		0.057755752		0.0277298903		0.0160193673		0.0946941323		0.0610495155		0.0112941335

		831.05		0.0411059908		0.0337337009		0.0279621954		0.0161246242		0.1		0.061747703		0.0128296437

		831.35		0.0396313364		0.0638255331		0.0279132891		0.0162040286		0.0934456929		0.0607702405		0.0113933267

		831.65		0.0403686636		0.0430168954		0.0279499688		0.0142780113		0.1078027466		0.0616639205		0.0129288368

		831.95		0.0423963134		0.0509718791		0.0280722347		0.0174966576		0.1003121099		0.0615522105		0.0124844515

		832.25		0.0420276498		0.0351618846		0.0275831713		0.015385979		0.1009363296		0.0618873405		0.0096554625

		832.55		0.0416589862		0.0474014196		0.0275220384		0.0164810205		0.1062421973		0.0623900355		0.0132779968

		832.85		0.0414746544		0.0508719062		0.0278521562		0.0140010193		0.0984394507		0.0617756305		0.0116393257

		833.15		0.040921659		0.0352618575		0.0275953979		0.0146344076		0.1062421973		0.061859413		0.0126828378

		833.45		0.0411059908		0.0383752981		0.0280111017		0.0145550032		0.1034332085		0.0621107605		0.0102506214

		833.75		0.0405529954		0.064182579		0.0277910232		0.0143574156		0.0981273408		0.061691848		0.0103022019

		834.05		0.0401843318		0.0180236793		0.027827703		0.0128007209		0.0962546816		0.0620549055		0.0118377121

		834.35		0.0416589862		0.0556134763		0.0278521562		0.0141727543		0.1059300874		0.0617756305		0.0123852583

		834.65		0.0425806452		0.0465873549		0.0278888359		0.0137240274		0.1031210986		0.062306253		0.0106473941

		834.95		0.0414746544		0.0531141547		0.0278399296		0.0122338107		0.1009363296		0.062306253		0.010996554

		835.24		0.0412903226		0.0487296305		0.0278399296		0.0121544064		0.1065543071		0.061915268		0.0103498146

		835.54		0.0405529954		0.0459732358		0.0276565308		0.0122338107		0.0981273408		0.061803558		0.0135755763

		835.84		0.04		0.0540853197		0.0281945005		0.01409335		0.0975031211		0.061747703		0.0143175411

		836.14		0.0407373272		0.0602550736		0.0278399296		0.0125108027		0.0984394507		0.061245008		0.0134763831

		836.44		0.040921659		0.0401605279		0.0279132891		0.0111387693		0.1012484395		0.0620549055		0.0106473941

		836.74		0.0414746544		0.0673959925		0.0277543435		0.012418472		0.0965667915		0.061859413		0.0108973609

		837.04		0.0411059908		0.0540853197		0.027680984		0.0128930516		0.1065543071		0.061580138		0.0111433599

		837.34		0.0412903226		0.0463302818		0.0281578207		0.0106641897		0.0968789014		0.061859413		0.0135755763

		837.64		0.0407373272		0.0498007684		0.0280844612		0.0135393661		0.0984394507		0.061635993		0.0086635308

		837.94		0.0392626728		0.0420457304		0.0278643827		0.010848851		0.106866417		0.0613846455		0.0136747694

		838.24		0.0405529954		0.0412316657		0.0280966878		0.0102154628		0.1065543071		0.0618873405		0.0113417462

		838.54		0.0422119816		0.0474014196		0.0277665701		0.0126031333		0.0984394507		0.0618873405		0.0116909062

		838.84		0.0407373272		0.0333766549		0.0280600081		0.0114157612		0.0987515605		0.061524283		0.0105482009

		839.13		0.0405529954		0.0677530385		0.0278399296		0.012418472		0.1062421973		0.0617197755		0.011591713

		839.43		0.041843318		0.0401605279		0.0278032498		0.0104924547		0.0987515605		0.0621107605		0.0109449736

		839.73		0.0403686636		0.0538282466		0.0280355549		0.0109411817		0.102184769		0.0616080655		0.0119884857

		840.03		0.041843318		0.0444450792		0.0281455942		0.0095691483		0.0950062422		0.0626134555		0.0114409394

		840.33		0.0420276498		0.0666819006		0.0275953979		0.0091868994		0.1078027466		0.0617756305		0.0148650874

		840.63		0.0412903226		0.0423028035		0.0278643827		0.0104924547		0.1062421973		0.0622224705		0.012432871

		840.93		0.04		0.0481155115		0.0280111017		0.0101102059		0.0962546816		0.061915268		0.0132779968

		841.23		0.0420276498		0.0344477927		0.027680984		0.0085535111		0.1015605493		0.061971123		0.0119369052

		841.52		0.0422119816		0.0666819006		0.0276198511		0.0114951656		0.106866417		0.0621666155		0.0128812241

		841.82		0.0416589862		0.0498007684		0.0280477815		0.0085535111		0.0996878901		0.062529673		0.0119369052

		842.12		0.0412903226		0.0634684871		0.0277054372		0.0081712623		0.1043695381		0.061524283		0.0133771899

		842.42		0.0414746544		0.0376612062		0.0277665701		0.010677116		0.0981273408		0.061803558		0.0101514283

		842.72		0.0414746544		0.070609406		0.028121141		0.0087252462		0.1046816479		0.061524283		0.016452178

		843.02		0.0403686636		0.033019609		0.0283045397		0.009107495		0.1049937578		0.062306253		0.0143175411

		843.31		0.0401843318		0.0681100844		0.0279010625		0.0103871978		0.1009363296		0.061691848		0.0136747694

		843.61		0.0407373272		0.0487296305		0.0280111017		0.0084611805		0.1162297129		0.0623900355		0.0103498146

		843.91		0.0420276498		0.0563275682		0.0288058296		0.0109411817		0.0959425718		0.0623341805		0.0190312002

		844.21		0.0407373272		0.0505148603		0.0279132891		0.0083688499		0.1012484395		0.0612729355		0.0116393257

		844.51		0.0403686636		0.0566846142		0.0282434068		0.0102948672		0.1112359551		0.062250398		0.0126828378

		844.8		0.0412903226		0.039446436		0.0282311802		0.009107495		0.1024968789		0.0613287905		0.0126312574

		845.1		0.0422119816		0.0388323169		0.0279132891		0.0087252462		0.1015605493		0.062250398		0.0136747694

		845.4		0.040921659		0.0419457576		0.0278154764		0.0080918579		0.1018726592		0.061915268		0.0116393257

		845.7		0.0422119816		0.0420457304		0.0277787967		0.0088175768		0.1056179775		0.061859413		0.0106989745

		845.99		0.0411059908		0.0419457576		0.0276932106		0.0067068982		0.1065543071		0.061803558		0.0115401326

		846.29		0.0411059908		0.0527571088		0.027680984		0.0090945687		0.1024968789		0.061356718		0.0155594395

		846.59		0.0416589862		0.0508719062		0.027974422		0.005968253		0.1018726592		0.0617756305		0.014218348

		846.89		0.0422119816		0.0556134763		0.0279010625		0.0086329155		0.1031210986		0.0615522105		0.0123852583

		847.19		0.0416589862		0.0373041603		0.0279255157		0.0082765192		0.1046816479		0.0613287905		0.0118377121

		847.48		0.041843318		0.0831060141		0.0279499688		0.0088175768		0.106866417		0.062138688		0.012782031

		847.78		0.040921659		0.0437309873		0.0277665701		0.0069838901		0.1059300874		0.0618873405		0.012432871

		848.08		0.0422119816		0.0484725574		0.0278521562		0.0091868994		0.1028089888		0.061971123		0.012782031

		848.37		0.0416589862		0.0533712278		0.0277543435		0.0060605837		0.1009363296		0.061747703		0.0107465873

		848.67		0.0401843318		0.0366900413		0.0280355549		0.0076172784		0.1009363296		0.0621107605		0.012186872

		848.97		0.0429493088		0.0194518631		0.0280477815		0.007814866		0.1006242197		0.0623341805		0.0139207685

		849.27		0.041843318		0.0481155115		0.0279377422		0.0087252462		0.1024968789		0.061524283		0.0135755763

		849.56		0.0422119816		0.0376612062		0.0276320777		0.0077225353		0.1046816479		0.062306253		0.0105482009

		849.86		0.0420276498		0.051328925		0.0281333676		0.0091868994		0.1053058677		0.0618314855		0.0130796104

		850.16		0.042764977		0.0569416873		0.0282189536		0.0077225353		0.0975031211		0.061412573		0.0113417462

		850.45		0.0401843318		0.0488296034		0.0277298903		0.0075249477		0.0965667915		0.0616080655		0.0161545985

		850.75		0.0403686636		0.0323055171		0.0278766093		0.0090151644		0.1034332085		0.0621666155		0.01302803

		851.05		0.041843318		0.0474014196		0.0280722347		0.0090022381		0.0962546816		0.0617756305		0.0142699284

		851.35		0.0416589862		0.0376612062		0.027974422		0.0070762208		0.0940699126		0.0621666155		0.0122344847

		851.64		0.0429493088		0.0352618575		0.0279377422		0.007986601		0.0959425718		0.0612729355		0.0150634737

		851.94		0.041843318		0.0348048387		0.028121141		0.007537874		0.102184769		0.0618873405		0.0140199616

		852.24		0.0420276498		0.0463302818		0.0278766093		0.0088175768		0.1015605493		0.0619431955		0.0131788036

		852.53		0.04		0.0487296305		0.0278521562		0.007537874		0.1056179775		0.0614963555		0.0132264163

		852.83		0.0411059908		0.0488296034		0.0278643827		0.0076172784		0.1040574282		0.0614963555		0.0137739626

		853.13		0.0425806452		0.0248075522		0.0280355549		0.0066145676		0.0965667915		0.061859413		0.0138215753

		853.42		0.0414746544		0.038475271		0.0278766093		0.0083559236		0.1024968789		0.0613287905		0.0125836446

		853.72		0.0412903226		0.0426598495		0.0277054372		0.007814866		0.0990636704		0.062082833		0.0119369052

		854.01		0.0412903226		0.0545423385		0.027534265		0.0090945687		0.0968789014		0.0617197755		0.0143691216

		854.31		0.0422119816		0.0426598495		0.0273630928		0.0066145676		0.1087390762		0.0618314855		0.0143175411

		854.61		0.0411059908		0.0541852926		0.0277298903		0.0071556252		0.1031210986		0.061468428		0.0142699284

		854.9		0.0412903226		0.0498007684		0.0277665701		0.0071685514		0.1012484395		0.061412573		0.0131272232

		855.2		0.0416589862		0.0552564304		0.027534265		0.0088175768		0.1106117353		0.0613846455		0.0139723489

		855.5		0.0420276498		0.0294491495		0.0280722347		0.0068915595		0.1046816479		0.061859413		0.0135239958

		855.79		0.0422119816		0.0349048116		0.0276932106		0.0078019397		0.1040574282		0.062473818		0.0120876788

		856.09		0.0423963134		0.0430168954		0.027827703		0.0066145676		0.0887640449		0.0613846455		0.014218348

		856.38		0.041843318		0.0349048116		0.027827703		0.007986601		0.097815231		0.061803558		0.0136747694

		856.68		0.0420276498		0.0401605279		0.0278766093		0.0063375756		0.1006242197		0.061915268		0.0129288368

		856.98		0.0416589862		0.0681100844		0.0273753194		0.0066939719		0.1024968789		0.061915268		0.0122860651

		857.27		0.0411059908		0.0490866765		0.0281333676		0.0072608821		0.0975031211		0.061915268		0.0121352915

		857.57		0.0398156682		0.0270498008		0.0275098118		0.0073402864		0.1031210986		0.0621666155		0.0111949404

		857.86		0.0420276498		0.0219511847		0.0279010625		0.0070762208		0.109051186		0.0617756305		0.012432871

		858.16		0.0423963134		0.0534712007		0.0280233283		0.0075249477		0.0981273408		0.061300863		0.0159562122

		858.45		0.0416589862		0.0505148603		0.0276320777		0.0065222369		0.0956304619		0.0619990505		0.0156070522

		858.75		0.040921659		0.0648966709		0.027974422		0.0065093106		0.0990636704		0.0621107605		0.0136747694

		859.04		0.0411059908		0.0423028035		0.0279621954		0.0063375756		0.1037453184		0.0619990505		0.0129288368

		859.34		0.0425806452		0.0381182251		0.0279255157		0.0068786332		0.0959425718		0.061635993		0.0149642805

		859.64		0.0435023041		0.0205230009		0.027680984		0.0073532127		0.0937578027		0.0615522105		0.0119369052

		859.93		0.0429493088		0.0438309602		0.0277054372		0.0066016413		0.1		0.061691848		0.0125836446

		860.23		0.042764977		0.0412316657		0.0281578207		0.0063375756		0.0971910112		0.0616639205		0.0155078591

		860.52		0.040921659		0.0566846142		0.0277543435		0.0084482542		0.0984394507		0.061747703		0.0137739626

		860.82		0.0423963134		0.0219511847		0.0276076245		0.0058759224		0.0934456929		0.0619431955		0.0122344847

		861.11		0.0420276498		0.0559705223		0.0278643827		0.0066016413		0.1012484395		0.061580138		0.0108973609

		861.41		0.0425806452		0.045873263		0.0278766093		0.0054142691		0.1009363296		0.0611612255		0.012432871

		861.7		0.0436866359		0.0466873277		0.0277421169		0.0075249477		0.1056179775		0.061189153		0.0160554053

		862		0.0433179724		0.0412316657		0.0277910232		0.0055989304		0.0946941323		0.0616080655		0.013623189

		862.29		0.042764977		0.0563275682		0.0279132891		0.0067863026		0.0981273408		0.061245008		0.0135755763

		862.59		0.0423963134		0.0237364144		0.0277665701		0.0061529143		0.1003121099		0.061691848		0.0141191548

		862.88		0.041843318		0.0538282466		0.0279132891		0.0067863026		0.1018726592		0.062194543		0.0155594395

		863.18		0.0420276498		0.0412316657		0.0280722347		0.0057835917		0.1034332085		0.061468428		0.0132264163

		863.47		0.0422119816		0.0399034548		0.0279988752		0.0076172784		0.1012484395		0.061635993		0.0149642805

		863.77		0.0433179724		0.0383752981		0.0275098118		0.0068915595		0.0996878901		0.0622783255		0.0132264163

		864.06		0.0422119816		0.0584698439		0.0278521562		0.006139988		0.1009363296		0.062250398		0.0130796104

		864.35		0.0444239631		0.0351618846		0.0275220384		0.0063375756		0.0996878901		0.061971123		0.0146151206

		864.65		0.042764977		0.0488296034		0.0277298903		0.0063246493		0.1056179775		0.0617197755		0.0149642805

		864.94		0.0429493088		0.032662563		0.027534265		0.0068915595		0.1031210986		0.0614963555		0.0150118933

		865.24		0.042764977		0.0477584656		0.0278766093		0.0071556252		0.1012484395		0.062194543		0.015857019

		865.53		0.0433179724		0.0415887116		0.0275709447		0.0071685514		0.1040574282		0.0618314855		0.0143175411

		865.83		0.0420276498		0.0609691655		0.027680984		0.0078942703		0.0975031211		0.062026978		0.0145675079

		866.12		0.0423963134		0.0405175738		0.0278154764		0.0064299063		0.1		0.062082833		0.0125320642

		866.41		0.0429493088		0.0584698439		0.0279377422		0.0083559236		0.1081148564		0.061859413		0.0131788036

		866.71		0.0431336406		0.03908939		0.028121141		0.0058759224		0.1031210986		0.061524283		0.0108457804

		867		0.0412903226		0.0477584656		0.027827703		0.0076172784		0.1018726592		0.0621666155		0.0154602464

		867.3		0.0431336406		0.0608691926		0.027680984		0.0061529143		0.1053058677		0.062306253		0.0173925292

		867.59		0.0416589862		0.0623973493		0.0281578207		0.0074326171		0.1		0.0623341805		0.0176424959

		867.89		0.041843318		0.0490866765		0.0278766093		0.0043063014		0.0884519351		0.062306253		0.0150118933

		868.18		0.041843318		0.051328925		0.0277787967		0.0059553267		0.1024968789		0.0622783255		0.0138731558

		868.47		0.0420276498		0.0430168954		0.0278154764		0.0049526159		0.1009363296		0.0619431955		0.0145159274

		868.77		0.0429493088		0.0488296034		0.0279499688		0.0078942703		0.1009363296		0.0617197755		0.0154602464

		869.06		0.041843318		0.0298061955		0.0281945005		0.0063375756		0.0937578027		0.0613846455		0.0169957565

		869.35		0.042764977		0.0509718791		0.0277787967		0.0060476574		0.0996878901		0.0621107605		0.0131788036

		869.65		0.0401843318		0.0380182522		0.0276198511		0.0067068982		0.0925093633		0.061468428		0.0135239958

		869.94		0.0431336406		0.0524000628		0.0281822739		0.0073402864		0.1040574282		0.061803558		0.0169481438

		870.23		0.0429493088		0.0401605279		0.0277054372		0.0053219385		0.1037453184		0.061971123		0.0164997907

		870.53		0.0429493088		0.0559705223		0.0277910232		0.0053090122		0.1009363296		0.062026978		0.0166505643

		870.82		0.0438709677		0.0412316657		0.0280355549		0.0055989304		0.0959425718		0.0623341805		0.0145159274

		871.12		0.0433179724		0.0534712007		0.0280966878		0.0067863026		0.0993757803		0.0617197755		0.0168489506

		871.41		0.0429493088		0.0383752981		0.0278766093		0.0061529143		0.1		0.0619431955		0.0161030181

		871.7		0.0425806452		0.0520430169		0.0279010625		0.0066939719		0.1012484395		0.0613287905		0.0180392686

		871.99		0.0420276498		0.039446436		0.0281455942		0.0066145676		0.0968789014		0.0613287905		0.0174917223

		872.29		0.0416589862		0.0613262115		0.0279132891		0.0062323187		0.1071785268		0.0610495155		0.0182376549

		872.58		0.0433179724		0.033019609		0.0277298903		0.005968253		0.1028089888		0.061747703		0.0143175411

		872.87		0.0416589862		0.0381182251		0.0279377422		0.0063246493		0.097815231		0.0613846455		0.0174441096

		873.17		0.0422119816		0.0376612062		0.0278032498		0.005968253		0.0975031211		0.0619431955		0.0158054386

		873.46		0.0425806452		0.0527571088		0.0278399296		0.0070632945		0.0987515605		0.061803558		0.0181384618

		873.75		0.0431336406		0.0537282738		0.0280477815		0.005968253		0.1065543071		0.062250398		0.0147143138

		874.05		0.0431336406		0.0652537168		0.0279255157		0.0055860042		0.0987515605		0.0618873405		0.0175433028

		874.34		0.0436866359		0.039446436		0.0277543435		0.0061529143		0.102184769		0.0621107605		0.0152102796

		874.63		0.0420276498		0.0638255331		0.0277665701		0.0068786332		0.1071785268		0.061245008		0.0154602464

		874.92		0.0433179724		0.0537282738		0.0276565308		0.0051372772		0.0937578027		0.0616080655		0.0157062454

		875.22		0.0435023041		0.064182579		0.027680984		0.0052166816		0.0946941323		0.061635993		0.0187336207

		875.51		0.0425806452		0.0348048387		0.0279621954		0.0057835917		0.1056179775		0.0618873405		0.0152102796

		875.8		0.0433179724		0.0548993845		0.0280111017		0.0069709639		0.0981273408		0.062473818		0.0188328139

		876.09		0.0431336406		0.0351618846		0.0279377422		0.0056912611		0.0975031211		0.0623341805		0.0175909155

		876.39		0.0436866359		0.0506148331		0.0280844612		0.0055860042		0.0987515605		0.062082833		0.0188328139

		876.68		0.0420276498		0.0437309873		0.0276687574		0.004398632		0.0956304619		0.0623341805		0.0173925292

		876.97		0.042764977		0.0470443737		0.0281455942		0.0056783348		0.1099875156		0.0615522105		0.0197255524

		877.26		0.0425806452		0.045516217		0.0278521562		0.004675624		0.1131086142		0.0618314855		0.016698177

		877.56		0.0429493088		0.0356189034		0.0279377422		0.0066016413		0.1012484395		0.061859413		0.0189320071

		877.85		0.0425806452		0.0355189306		0.0276443042		0.0056912611		0.0993757803		0.062082833		0.0164005975

		878.14		0.0429493088		0.0499007412		0.0278399296		0.0030930767		0.1131086142		0.062529673		0.0184360412

		878.43		0.0420276498		0.0433739414		0.0281455942		0.0050449466		0.0912609238		0.062138688		0.0186820403

		878.72		0.0446082949		0.0534712007		0.0280111017		0.0067863026		0.0971910112		0.0622783255		0.0189320071

		879.02		0.0440552995		0.039446436		0.0277787967		0.0037523175		0.0953183521		0.0623341805		0.018483654

		879.31		0.0423963134		0.0366900413		0.0279255157		0.006139988		0.102184769		0.0619990505		0.0177416891

		879.6		0.0431336406		0.0323055171		0.0277910232		0.0067068982		0.0981273408		0.0618873405		0.016698177

		879.89		0.0440552995		0.0541852926		0.0279010625		0.0052166816		0.1028089888		0.060854023		0.0165513711

		880.18		0.0433179724		0.032662563		0.0277665701		0.0056912611		0.1034332085		0.0614405005		0.0169957565

		880.48		0.0447926267		0.0466873277		0.0275709447		0.00641698		0.0981273408		0.0617756305		0.0214118361

		880.77		0.0433179724		0.0419457576		0.0277054372		0.0067068982		0.1006242197		0.062082833		0.0183844608

		881.06		0.0429493088		0.0481155115		0.028121141		0.0058629961		0.1056179775		0.0616639205		0.0165513711

		881.35		0.0429493088		0.0369471144		0.0275953979		0.005968253		0.1031210986		0.0622224705		0.0171941428

		881.64		0.0425806452		0.0499007412		0.0279132891		0.0060476574		0.0971910112		0.062082833		0.0196263592

		881.93		0.0444239631		0.0437309873		0.0279010625		0.0069838901		0.1084269663		0.0611053705		0.0186820403

		882.22		0.0442396313		0.0452591439		0.0279499688		0.0063246493		0.0971910112		0.062362108		0.0196263592

		882.52		0.0440552995		0.0615832845		0.027680984		0.0055989304		0.106866417		0.0619990505		0.0198723582

		882.81		0.0438709677		0.0381182251		0.0276320777		0.0055860042		0.1006242197		0.061635993		0.019527166

		883.1		0.0447926267		0.0423028035		0.0278521562		0.0053219385		0.102184769		0.0623341805		0.0168965634

		883.39		0.0442396313		0.0391893629		0.0274609055		0.0054013429		0.1		0.061915268		0.0198247455

		883.68		0.0447926267		0.0348048387		0.0279255157		0.0068915595		0.1043695381		0.061356718		0.0195747787

		883.97		0.0433179724		0.0613262115		0.0279010625		0.0065093106		0.106866417		0.0619990505		0.0228005404

		884.26		0.0433179724		0.0426598495		0.0276076245		0.0033829949		0.1043695381		0.062306253		0.0177893018

		884.55		0.0446082949		0.0284779845		0.0277054372		0.0055860042		0.1018726592		0.061691848		0.0218086088

		884.85		0.0446082949		0.0269498279		0.0279499688		0.0045832933		0.1003121099		0.0614963555		0.0162022112

		885.14		0.0444239631		0.0313343521		0.0280600081		0.0050320203		0.090948814		0.0611612255		0.0223045746

		885.43		0.0446082949		0.0365900684		0.0278154764		0.0060605837		0.0950062422		0.061971123		0.0195747787

		885.72		0.0444239631		0.0598980277		0.0279132891		0.006139988		0.1124843945		0.0616080655		0.020717484

		886.01		0.0446082949		0.0187377712		0.0283534461		0.0065222369		0.0946941323		0.0615522105		0.0237408916

		886.3		0.0442396313		0.0659678087		0.0277787967		0.00641698		0.097815231		0.0619990505		0.0197255524

		886.59		0.0442396313		0.0576557791		0.0279377422		0.0055989304		0.1031210986		0.0619431955		0.0195747787

		886.88		0.0440552995		0.0588268898		0.0276932106		0.0065093106		0.1056179775		0.0616639205		0.0205190977

		887.17		0.0440552995		0.058726917		0.0277910232		0.0060605837		0.1040574282		0.0619990505		0.0195747787

		887.46		0.0449769585		0.0491866493		0.0274975852		0.0063246493		0.1018726592		0.061747703		0.0203207113

		887.75		0.0436866359		0.0490866765		0.0279132891		0.004675624		0.102184769		0.0613287905		0.0208642899

		888.04		0.0438709677		0.051328925		0.0276565308		0.0072479558		0.0971910112		0.061524283		0.0205190977

		888.33		0.0436866359		0.0437309873		0.0279499688		0.0067068982		0.1018726592		0.061356718		0.0183844608

		888.62		0.0455299539		0.0427598223		0.0276198511		0.0055860042		0.1015605493		0.062026978		0.0211142566

		888.91		0.0444239631		0.0480155386		0.0276198511		0.0067992289		0.1028089888		0.062417963		0.0204675172

		889.2		0.0438709677		0.0616832574		0.0275587182		0.0066939719		0.1078027466		0.0618873405		0.0210150635

		889.49		0.0425806452		0.0590839629		0.0275464916		0.0056912611		0.1028089888		0.061356718		0.0182852676

		889.78		0.0447926267		0.0291920764		0.0279255157		0.006139988		0.1062421973		0.061859413		0.0173449164

		890.07		0.0429493088		0.0480155386		0.0275831713		0.0048602853		0.0950062422		0.061356718		0.0197731651

		890.36		0.0444239631		0.0409745926		0.0277176637		0.0056783348		0.1		0.0623900355		0.0218086088

		890.65		0.0458986175		0.0508719062		0.0278766093		0.0053219385		0.0959425718		0.061915268		0.0211618694

		890.94		0.0436866359		0.0638255331		0.0278521562		0.0065093106		0.0987515605		0.0617756305		0.0212134498

		891.23		0.0453456221		0.0290921036		0.0279377422		0.005968253		0.0962546816		0.0612729355		0.0183844608

		891.52		0.0446082949		0.025264571		0.0281945005		0.00641698		0.1084269663		0.0618314855		0.0200231318

		891.81		0.0455299539		0.0498007684		0.0275220384		0.0052296079		0.1006242197		0.061915268		0.0217570283

		892.1		0.0449769585		0.0374041332		0.0275953979		0.0053090122		0.0993757803		0.0618314855		0.020717484

		892.39		0.0440552995		0.0423028035		0.0275587182		0.0043063014		0.1040574282		0.062026978		0.0204675172

		892.68		0.0453456221		0.0466873277		0.0277543435		0.0056783348		0.1012484395		0.061133298		0.0224037678

		892.97		0.0453456221		0.0630114683		0.0276687574		0.0036599869		0.0990636704		0.062306253		0.0185828471

		893.26		0.0466359447		0.0638255331		0.0276443042		0.0078019397		0.1028089888		0.0616639205		0.0208166771

		893.55		0.0436866359		0.0415887116		0.0279377422		0.0053219385		0.1009363296		0.0618873405		0.0218562215

		893.84		0.0446082949		0.0506148331		0.0279255157		0.0066939719		0.0950062422		0.0612170805		0.0226021541

		894.13		0.0464516129		0.0376612062		0.027827703		0.0058759224		0.0981273408		0.0618314855		0.0205667104

		894.42		0.0438709677		0.0409745926		0.0279132891		0.0066016413		0.097815231		0.061747703		0.0228005404

		894.71		0.0464516129		0.0437309873		0.0276076245		0.0051372772		0.097815231		0.061859413		0.0225505736

		894.99		0.0447926267		0.0195518359		0.0276565308		0.0066016413		0.0937578027		0.061691848		0.0205190977

		895.28		0.0446082949		0.0273068738		0.027680984		0.0035676562		0.0968789014		0.061077443		0.0220546078

		895.57		0.0460829493		0.0477584656		0.0277543435		0.0063246493		0.1037453184		0.0618314855		0.0218086088

		895.86		0.0462672811		0.0362330225		0.027827703		0.0054142691		0.1056179775		0.061803558		0.0180868813

		896.15		0.0453456221		0.0677530385		0.0277787967		0.0056783348		0.1053058677		0.0617756305		0.021312643

		896.44		0.0457142857		0.0287350576		0.0280966878		0.0067992289		0.1056179775		0.0615522105		0.0202691309

		896.73		0.0449769585		0.0520430169		0.0279499688		0.0060476574		0.1031210986		0.061915268		0.0220069951

		897.02		0.0440552995		0.0408746197		0.0275953979		0.0034753256		0.0990636704		0.0616639205		0.0211618694

		897.31		0.0468202765		0.0691812222		0.0277543435		0.0054936735		0.1028089888		0.0613287905		0.0216102225

		897.59		0.0460829493		0.0176666333		0.0281945005		0.0051372772		0.0937578027		0.0619431955		0.0222529941

		897.88		0.0462672811		0.031691398		0.0275587182		0.0066939719		0.0965667915		0.0622783255		0.0225029609

		898.17		0.0462672811		0.0290921036		0.0277054372		0.0047679546		0.102184769		0.0615522105		0.0204675172

		898.46		0.0449769585		0.0459732358		0.0277665701		0.0056783348		0.0953183521		0.061021588		0.0228997336

		898.75		0.0457142857		0.0508719062		0.0276198511		0.0048602853		0.0946941323		0.0612729355		0.0199715514

		899.04		0.0458986175		0.0456161899		0.0276076245		0.0071556252		0.0987515605		0.061691848		0.0217094156

		899.33		0.0473732719		0.0433739414		0.0275220384		0.0055989304		0.0965667915		0.0615522105		0.0214594488

		899.61		0.0453456221		0.0484725574		0.0277543435		0.0056783348		0.1003121099		0.061635993		0.0199239387

		899.9		0.0446082949		0.0444450792		0.0280111017		0.0071685514		0.1115480649		0.061691848		0.0205667104

		900.19		0.0471889401		0.0484725574		0.0277054372		0.004847359		0.1084269663		0.061300863		0.0206182908

		900.48		0.0453456221		0.0376612062		0.0274731321		0.0058759224		0.1009363296		0.061356718		0.0223521873

		900.77		0.0466359447		0.0306202602		0.0278888359		0.0050320203		0.1024968789		0.062026978		0.021312643

		901.05		0.0473732719		0.05230009		0.0277543435		0.0048602853		0.1		0.061635993		0.0212610625

		901.34		0.0471889401		0.0623973493		0.027827703		0.0056783348		0.1093632959		0.0617197755		0.0230981199

		901.63		0.0471889401		0.0415887116		0.0277787967		0.003106003		0.0971910112		0.0618314855		0.0218562215

		901.92		0.0481105991		0.0445450521		0.0277054372		0.0066939719		0.1056179775		0.062082833		0.0225029609

		902.21		0.0460829493		0.0448021251		0.0274975852		0.0048602853		0.0975031211		0.0621107605		0.0216578352

		902.49		0.0482949309		0.0563275682		0.0277910232		0.0065093106		0.1034332085		0.0619431955		0.0227013472

		902.78		0.0479262673		0.033019609		0.0277543435		0.006245245		0.1065543071		0.061524283		0.021558642

		903.07		0.0471889401		0.0463302818		0.0277421169		0.0065093106		0.1012484395		0.062417963		0.0242884378

		903.36		0.0466359447		0.0294491495		0.0280355549		0.0043063014		0.1003121099		0.0614405005		0.0210626762

		903.64		0.0462672811		0.0388323169		0.0278888359		0.0053090122		0.1003121099		0.0621107605		0.0242884378

		903.93		0.0481105991		0.0373041603		0.0277665701		0.0066145676		0.0993757803		0.061747703		0.0223521873

		904.22		0.0468202765		0.0766791871		0.0279132891		0.0055860042		0.1099875156		0.061468428		0.0209158703

		904.51		0.0473732719		0.0358759765		0.0276320777		0.006245245		0.1009363296		0.0617756305		0.0217570283

		904.79		0.0479262673		0.0474014196		0.0279866486		0.0058629961		0.1037453184		0.061915268		0.02498279

		905.08		0.0449769585		0.0426598495		0.0279010625		0.0060605837		0.0975031211		0.0622224705		0.0187812334

		905.37		0.0468202765		0.0452591439		0.0277298903		0.0058629961		0.1081148564		0.0616080655		0.0238916652

		905.65		0.0494009217		0.0490866765		0.0279255157		0.0051372772		0.102184769		0.061803558		0.0214594488

		905.94		0.0482949309		0.0402605007		0.027974422		0.0068786332		0.109051186		0.0618314855		0.0222053814

		906.23		0.0494009217		0.0530141819		0.0278399296		0.0051372772		0.1009363296		0.061356718		0.0196739719

		906.52		0.0492165899		0.0777503249		0.0279255157		0.0062323187		0.102184769		0.061747703		0.0226021541

		906.8		0.0492165899		0.0355189306		0.0278521562		0.0065222369		0.0984394507		0.0621666155		0.0214594488

		907.09		0.0492165899		0.0666819006		0.0277665701		0.0070632945		0.0965667915		0.061803558		0.0199239387

		907.38		0.0479262673		0.0376612062		0.0278888359		0.0055989304		0.0996878901		0.0611612255		0.0210626762

		907.66		0.0481105991		0.0427598223		0.0275098118		0.0072479558		0.0996878901		0.0619431955		0.0209158703

		907.95		0.0470046083		0.0255216441		0.0276932106		0.0061529143		0.1074906367		0.0614963555		0.0220546078

		908.24		0.0492165899		0.0527571088		0.027534265		0.0050320203		0.1053058677		0.062026978		0.0203207113

		908.52		0.0494009217		0.0305202874		0.027827703		0.0037523175		0.1		0.061412573		0.0224513805

		908.81		0.0479262673		0.0570416601		0.0277421169		0.0036470606		0.102184769		0.061859413		0.0225029609

		909.1		0.0482949309		0.0283780117		0.0277910232		0.004398632		0.1034332085		0.061524283		0.0200707446

		909.38		0.0486635945		0.0409745926		0.0279132891		0.0063246493		0.1099875156		0.061915268		0.0225029609

		909.67		0.0484792627		0.0401605279		0.0280355549		0.0057835917		0.106866417		0.061356718		0.0202691309

		909.96		0.0505069124		0.0341907197		0.0275831713		0.0066939719		0.1062421973		0.061691848		0.0200231318

		910.24		0.0497695853		0.0233793685		0.0278032498		0.0053219385		0.0987515605		0.0618314855		0.0213602557

		910.53		0.0505069124		0.0420457304		0.0278643827		0.0050320203		0.1034332085		0.0618314855		0.0232965062

		910.81		0.050875576		0.045516217		0.027827703		0.0054142691		0.0971910112		0.062026978		0.0219554147

		911.1		0.0495852535		0.025264571		0.0276320777		0.0063246493		0.097815231		0.0613846455		0.0199239387

		911.39		0.0505069124		0.0358759765		0.0280600081		0.0050449466		0.106866417		0.0617756305		0.0191780061

		911.67		0.0512442396		0.051685971		0.0277176637		0.0054936735		0.1015605493		0.0615522105		0.0183368481

		911.96		0.0506912442		0.0494437224		0.0277787967		0.0050449466		0.1074906367		0.0616080655		0.0182852676

		912.24		0.050875576		0.0491866493		0.0278766093		0.0066016413		0.1012484395		0.0614405005		0.0230981199

		912.53		0.0495852535		0.0462303089		0.027974422		0.0050449466		0.102184769		0.0617756305		0.0187812334

		912.82		0.0510599078		0.0459732358		0.0277543435		0.0058629961		0.0996878901		0.0619990505		0.0223045746

		913.1		0.0497695853		0.0419457576		0.0277910232		0.004675624		0.0987515605		0.061803558		0.0206659035

		913.39		0.0503225806		0.038475271		0.0279621954		0.0068786332		0.1031210986		0.061915268		0.0198247455

		913.67		0.0514285714		0.0437309873		0.0277421169		0.0048602853		0.102184769		0.0619431955		0.0225505736

		913.96		0.0499539171		0.070609406		0.0277421169		0.0054936735		0.0975031211		0.0612729355		0.0214118361

		914.24		0.0514285714		0.0480155386		0.027827703		0.0063375756		0.1028089888		0.061356718		0.0191780061

		914.53		0.0512442396		0.0616832574		0.027534265		0.0063246493		0.0937578027		0.062082833		0.0209158703

		914.82		0.0514285714		0.0376612062		0.0275953979		0.0041216401		0.0987515605		0.0614963555		0.0203683241

		915.1		0.0514285714		0.0520430169		0.0279499688		0.0075249477		0.1028089888		0.061524283		0.0180392686

		915.39		0.0514285714		0.0240934603		0.0277421169		0.0067068982		0.102184769		0.061468428		0.0200707446

		915.67		0.0499539171		0.0402605007		0.0274975852		0.0057706654		0.1049937578		0.0612170805		0.0215110293

		915.96		0.0519815668		0.0476584927		0.0277176637		0.0055065998		0.1062421973		0.0616080655		0.0186820403

		916.24		0.0510599078		0.0245504792		0.0273508663		0.0054013429		0.1046816479		0.061859413		0.0210150635

		916.53		0.0510599078		0.0348048387		0.0278032498		0.0040293094		0.102184769		0.061300863		0.0204675172

		916.81		0.0512442396		0.0491866493		0.0273264131		0.0050320203		0.1078027466		0.0614963555		0.021312643

		917.1		0.0514285714		0.0415887116		0.0275220384		0.004398632		0.0946941323		0.062529673		0.0206659035

		917.38		0.0506912442		0.0491866493		0.0277421169		0.0042933751		0.0987515605		0.0622224705		0.0194279729

		917.67		0.051797235		0.0383752981		0.0278521562		0.0055989304		0.0965667915		0.0616639205		0.0160038249

		917.95		0.0516129032		0.044902098		0.0277176637		0.0062323187		0.1062421973		0.0613846455		0.0199239387

		918.24		0.0523502304		0.0344477927		0.0278766093		0.0048602853		0.1028089888		0.0625576005		0.0196739719

		918.52		0.051797235		0.0570416601		0.0278888359		0.0066016413		0.1043695381		0.062306253		0.0192295865

		918.81		0.0519815668		0.019808909		0.0273753194		0.0040293094		0.1003121099		0.061971123		0.0179876881

		919.09		0.0525345622		0.0663248547		0.0277421169		0.0050320203		0.1056179775		0.0615522105		0.0203207113

		919.38		0.0532718894		0.0683671575		0.0274853587		0.0040293094		0.0996878901		0.061691848		0.018483654

		919.66		0.0530875576		0.0631114412		0.0277910232		0.0068786332		0.0925093633		0.061691848		0.0221061883

		919.94		0.052718894		0.051943044		0.0276932106		0.0055989304		0.0971910112		0.061468428		0.0195747787

		920.23		0.0514285714		0.0524000628		0.0276565308		0.0067863026		0.0953183521		0.061803558		0.0219078019

		920.51		0.051797235		0.0487296305		0.0277054372		0.0052296079		0.1003121099		0.062194543		0.0195747787

		920.8		0.0530875576		0.0559705223		0.0279377422		0.0069709639		0.106866417		0.061635993		0.0191303934

		921.08		0.050875576		0.0487296305		0.027974422		0.0051372772		0.0953183521		0.0615522105		0.0189796198

		921.37		0.0514285714		0.0406175467		0.0278521562		0.0066016413		0.0987515605		0.0618873405		0.0192295865

		921.65		0.0543778802		0.0426598495		0.027974422		0.0051372772		0.0987515605		0.061468428		0.0175909155

		921.93		0.0523502304		0.0441880061		0.0275831713		0.00641698		0.0937578027		0.0619431955		0.0192295865

		922.22		0.0525345622		0.0451591711		0.0275953979		0.0052296079		0.1018726592		0.0622224705		0.017888495

		922.5		0.0540092166		0.0499007412		0.0276687574		0.0049396896		0.1146691635		0.0617197755		0.0175433028

		922.79		0.0532718894		0.0383752981		0.0283778992		0.0054142691		0.0981273408		0.062026978		0.0188804266

		923.07		0.052718894		0.0570416601		0.0275464916		0.0050320203		0.1006242197		0.0614963555		0.0168489506

		923.35		0.053640553		0.0473014468		0.027827703		0.0071685514		0.1015605493		0.061300863		0.0173925292

		923.64		0.0538248848		0.051685971		0.0279499688		0.0068786332		0.1009363296		0.0616080655		0.0202215182

		923.92		0.0532718894		0.0258786901		0.0279010625		0.0055065998		0.1003121099		0.062529673		0.0159046317

		924.21		0.0523502304		0.0584698439		0.0278521562		0.0052166816		0.106866417		0.0622783255		0.0184360412

		924.49		0.0510599078		0.0212370928		0.0278154764		0.004675624		0.106866417		0.062026978		0.0148135069

		924.77		0.0512442396		0.0552564304		0.0275953979		0.0054013429		0.0987515605		0.061524283		0.0169481438

		925.06		0.0525345622		0.0483725846		0.0278032498		0.0031983336		0.1		0.0611053705		0.0156070522

		925.34		0.050875576		0.0559705223		0.0277421169		0.0059553267		0.093133583		0.0617197755		0.0187336207

		925.62		0.053640553		0.0697953413		0.0276687574		0.0056912611		0.102184769		0.0619431955		0.0153094727

		925.91		0.0516129032		0.0441880061		0.0275587182		0.0051243509		0.1031210986		0.0618314855		0.0175433028

		926.19		0.052718894		0.0451591711		0.0279988752		0.0063375756		0.1059300874		0.061915268		0.0179876881

		926.47		0.0512442396		0.0388323169		0.0279010625		0.0066016413		0.1056179775		0.061915268		0.0191303934

		926.76		0.0523502304		0.0258786901		0.0279988752		0.0053219385		0.1049937578		0.062250398		0.0190788129

		927.04		0.0516129032		0.0374041332		0.0276932106		0.0050320203		0.0996878901		0.0613287905		0.0191303934

		927.32		0.0512442396		0.0340907468		0.0277054372		0.0034753256		0.1040574282		0.0612729355		0.0160038249

		927.61		0.0516129032		0.0484725574		0.0276932106		0.004847359		0.1053058677		0.061691848		0.0189320071

		927.89		0.0529032258		0.0419457576		0.0279255157		0.0056912611		0.0990636704		0.0625576005		0.0157062454

		928.17		0.0516129032		0.0713234979		0.0277543435		0.0066016413		0.1065543071		0.0619990505		0.017047337

		928.45		0.0521658986		0.0533712278		0.0281455942		0.0061529143		0.0975031211		0.062194543		0.0155078591

		928.74		0.0516129032		0.0766791871		0.0275587182		0.0055860042		0.0959425718		0.061747703		0.0169481438

		929.02		0.0523502304		0.0462303089		0.0277421169		0.0070762208		0.1078027466		0.061468428		0.0156070522

		929.3		0.051797235		0.0331195818		0.0279377422		0.0056783348		0.0965667915		0.062026978		0.0162537917

		929.59		0.0519815668		0.0373041603		0.0277421169		0.0036599869		0.0993757803		0.062194543		0.0171941428

		929.87		0.0514285714		0.0441880061		0.0277787967		0.0054936735		0.1093632959		0.0617197755		0.0182376549

		930.15		0.0525345622		0.0258786901		0.0279132891		0.0052296079		0.1018726592		0.061803558		0.0160038249

		930.43		0.050875576		0.0406175467		0.027680984		0.0070632945		0.093133583		0.061635993		0.0175433028

		930.72		0.050875576		0.0501578143		0.0276443042		0.0050449466		0.0987515605		0.061635993		0.0134248027

		931		0.0505069124		0.0506148331		0.0279866486		0.0055860042		0.1078027466		0.061859413		0.01526186

		931.28		0.0512442396		0.045873263		0.0282556334		0.0035676562		0.0981273408		0.061580138		0.014218348

		931.56		0.0490322581		0.0306202602		0.0279377422		0.0056783348		0.1018726592		0.061859413		0.0165513711

		931.85		0.0503225806		0.0437309873		0.0276076245		0.0051372772		0.0946941323		0.061691848		0.0140199616

		932.13		0.0505069124		0.0402605007		0.0278399296		0.0068786332		0.0943820225		0.0613846455		0.0177416891

		932.41		0.0501382488		0.0444450792		0.0277421169		0.006245245		0.1096754057		0.061691848		0.0132264163

		932.69		0.0501382488		0.0438309602		0.0274975852		0.004847359		0.1028089888		0.0619431955		0.0125836446

		932.97		0.0501382488		0.0423028035		0.0279866486		0.0045832933		0.0975031211		0.0622224705		0.0156070522

		933.26		0.0506912442		0.0566846142		0.0277054372		0.0055860042		0.1056179775		0.061747703		0.0150634737

		933.54		0.0495852535		0.0180236793		0.0278399296		0.0055989304		0.0984394507		0.062250398		0.0107465873

		933.82		0.0495852535		0.0527571088		0.0275953979		0.0057706654		0.1012484395		0.061803558		0.0137739626

		934.1		0.050875576		0.0383752981		0.0278154764		0.005968253		0.0937578027		0.061524283		0.0146151206

		934.38		0.0490322581		0.0402605007		0.0278643827		0.004847359		0.1003121099		0.062194543		0.0150634737

		934.66		0.0486635945		0.0287350576		0.0278154764		0.0053219385		0.1006242197		0.061803558		0.0141191548

		934.95		0.0503225806		0.0548993845		0.0279988752		0.0056783348		0.0965667915		0.0621666155		0.0159562122

		935.23		0.0492165899		0.0369471144		0.0276932106		0.0042139707		0.1018726592		0.061468428		0.0148135069

		935.51		0.0486635945		0.0413316386		0.0277054372		0.0073402864		0.1084269663		0.0618873405		0.0157578258

		935.79		0.0494009217		0.0601551008		0.0279866486		0.0051372772		0.0993757803		0.0612170805		0.016698177

		936.07		0.0484792627		0.0663248547		0.0278399296		0.0070632945		0.1024968789		0.0613846455		0.0135755763

		936.35		0.0482949309		0.0301632414		0.0279499688		0.0064299063		0.0968789014		0.062362108		0.0143175411

		936.63		0.0486635945		0.0463302818		0.0277787967		0.0072479558		0.097815231		0.0618314855		0.015857019

		936.92		0.0492165899		0.0412316657		0.0279377422		0.0063375756		0.097815231		0.061971123		0.0145159274

		937.2		0.0473732719		0.0416886845		0.0278766093		0.0043857057		0.0975031211		0.062026978		0.0149642805

		937.48		0.0484792627		0.0308773333		0.0281089144		0.0048602853		0.106866417		0.0617197755		0.0121352915

		937.76		0.0495852535		0.0499007412		0.0277176637		0.0062323187		0.0981273408		0.0622783255		0.0149642805

		938.04		0.0484792627		0.0412316657		0.0277298903		0.005968253		0.0990636704		0.0615522105		0.0148135069

		938.32		0.0490322581		0.0374041332		0.0275098118		0.0053090122		0.1031210986		0.0619431955		0.0155594395

		938.6		0.0488479263		0.0405175738		0.027534265		0.0079995273		0.0975031211		0.0625576005		0.0115401326

		938.88		0.0494009217		0.0463302818		0.0279132891		0.00641698		0.1003121099		0.061635993		0.0133771899

		939.16		0.0460829493		0.0490866765		0.0276565308		0.0071685514		0.1043695381		0.061803558		0.0132264163

		939.45		0.0481105991		0.0402605007		0.0278766093		0.0071556252		0.1018726592		0.0616080655		0.0146667011

		939.73		0.0481105991		0.0444450792		0.0279499688		0.0057835917		0.1074906367		0.0618873405		0.0143175411

		940.01		0.0468202765		0.064182579		0.0277910232		0.0058629961		0.1056179775		0.0621666155		0.0125836446

		940.29		0.0471889401		0.0544423656		0.0280355549		0.0056912611		0.1037453184		0.062250398		0.012432871

		940.57		0.0453456221		0.0488296034		0.0277910232		0.0066016413		0.1031210986		0.061803558		0.0142699284

		940.85		0.0468202765		0.0344477927		0.0279988752		0.0054142691		0.0968789014		0.0623341805		0.0133256095

		941.13		0.0464516129		0.0638255331		0.0279132891		0.0074326171		0.1084269663		0.0613287905		0.0146667011

		941.41		0.0462672811		0.0480155386		0.0280111017		0.0068915595		0.097815231		0.061468428		0.0150118933

		941.69		0.0462672811		0.0463302818		0.0276932106		0.0055860042		0.1		0.061635993		0.0135755763

		941.97		0.0470046083		0.0601551008		0.0277910232		0.0054142691		0.0971910112		0.0614963555		0.0100522351

		942.25		0.0462672811		0.0413316386		0.0278643827		0.0065093106		0.0987515605		0.061189153		0.0160554053

		942.53		0.0458986175		0.0355189306		0.0276687574		0.004398632		0.0921972534		0.061803558		0.0113417462

		942.81		0.0462672811		0.0424027764		0.0275831713		0.0056783348		0.0996878901		0.0623341805		0.0128812241

		943.09		0.0449769585		0.0444450792		0.0278399296		0.0048602853		0.1006242197		0.062250398		0.0117385189

		943.37		0.0446082949		0.0524000628		0.0280355549		0.0037393912		0.1049937578		0.0615522105		0.0107981677

		943.65		0.0462672811		0.0533712278		0.0278888359		0.0055065998		0.0962546816		0.061859413		0.0138215753

		943.93		0.0458986175		0.0563275682		0.0276320777		0.007709609		0.1040574282		0.061245008		0.0122860651

		944.21		0.0462672811		0.0398034819		0.0278888359		0.0055989304		0.0950062422		0.061580138		0.012432871

		944.49		0.0470046083		0.0420457304		0.0279132891		0.0055860042		0.1009363296		0.0618314855		0.0134763831

		944.77		0.0451612903		0.0597980548		0.0279132891		0.0051372772		0.0971910112		0.0616080655		0.0095562693

		945.05		0.0466359447		0.0259786629		0.0275220384		0.0051243509		0.0971910112		0.062138688		0.011591713

		945.33		0.0453456221		0.0594410089		0.0277298903		0.0061529143		0.0968789014		0.061803558		0.0109449736

		945.61		0.0447926267		0.0566846142		0.0278766093		0.0055860042		0.1018726592		0.0616639205		0.0146667011

		945.89		0.0462672811		0.051943044		0.0277421169		0.0057835917		0.0990636704		0.061468428		0.0115401326

		946.17		0.0462672811		0.0584698439		0.0279499688		0.0068786332		0.1043695381		0.0616080655		0.0124844515

		946.45		0.0466359447		0.065153744		0.0277421169		0.0044909627		0.0987515605		0.062026978		0.0112425531

		946.73		0.0460829493		0.0713234979		0.0277054372		0.0068786332		0.1		0.061635993		0.0117900993

		947.01		0.0464516129		0.045516217		0.0279255157		0.0034753256		0.093133583		0.061691848		0.0115401326

		947.29		0.0457142857		0.051328925		0.0276687574		0.0047550283		0.0971910112		0.061691848		0.0108973609

		947.56		0.0457142857		0.0365900684		0.0278154764		0.0052296079		0.1040574282		0.0619431955		0.0139207685

		947.84		0.0442396313		0.0284779845		0.0274731321		0.0056783348		0.1065543071		0.0614405005		0.0119884857

		948.12		0.0442396313		0.0305202874		0.0275098118		0.0039369788		0.1049937578		0.0618873405		0.0139207685

		948.4		0.0455299539		0.0263357089		0.0277665701		0.0047550283		0.1		0.0617756305		0.0106989745

		948.68		0.0447926267		0.0401605279		0.0277054372		0.0048602853		0.1071785268		0.0622224705		0.0131272232

		948.96		0.0449769585		0.0459732358		0.0273630928		0.006139988		0.0981273408		0.061300863		0.0116909062

		949.24		0.0458986175		0.0319484711		0.0279866486		0.0048602853		0.0981273408		0.062417963		0.0110441667

		949.52		0.0447926267		0.0441880061		0.0275587182		0.0053090122		0.1043695381		0.0630044405		0.0113933267

		949.8		0.0442396313		0.0362330225		0.0278399296		0.0047679546		0.1065543071		0.061524283		0.0115401326

		950.07		0.0440552995		0.0431168683		0.0276932106		0.0059553267		0.1034332085		0.0617197755		0.0130796104

		950.35		0.0422119816		0.0462303089		0.0274975852		0.0055989304		0.1012484395		0.0619431955		0.0111433599

		950.63		0.0440552995		0.0531141547		0.0277176637		0.0057706654		0.0993757803		0.0613287905		0.0126828378

		950.91		0.0444239631		0.0547994116		0.0278766093		0.0056912611		0.0987515605		0.061859413		0.0119369052

		951.19		0.0453456221		0.0484725574		0.0276687574		0.0072479558		0.1065543071		0.0614963555		0.0131788036

		951.47		0.0442396313		0.0376612062		0.0277787967		0.0045832933		0.0928214732		0.061077443		0.0120360984

		951.75		0.0438709677		0.0477584656		0.0277054372		0.0068786332		0.0975031211		0.060965733		0.0139723489

		952.02		0.0442396313		0.0383752981		0.0276076245		0.0040293094		0.102184769		0.061803558		0.0098538488

		952.3		0.0438709677		0.0673959925		0.0278032498		0.0055860042		0.1043695381		0.061859413		0.010996554

		952.58		0.0444239631		0.0533712278		0.0278888359		0.0041216401		0.1012484395		0.062250398		0.013623189

		952.86		0.0436866359		0.0556134763		0.0278888359		0.0055860042		0.1031210986		0.0608819505		0.0114925198

		953.14		0.0442396313		0.0515859981		0.0274364523		0.0044909627		0.0943820225		0.061691848		0.0100522351

		953.41		0.042764977		0.0506148331		0.0275464916		0.0054013429		0.1034332085		0.0618873405		0.0135755763

		953.69		0.0449769585		0.0469444008		0.0279132891		0.0052296079		0.1		0.062194543		0.0111433599

		953.97		0.0436866359		0.0631114412		0.027827703		0.006139988		0.1040574282		0.0610495155		0.0098062361

		954.25		0.0446082949		0.0487296305		0.0275709447		0.0049526159		0.1071785268		0.0618873405		0.0126312574

		954.53		0.0414746544		0.0541852926		0.0278154764		0.0049396896		0.1006242197		0.061356718		0.0113933267

		954.8		0.0431336406		0.0344477927		0.0276076245		0.0047679546		0.0959425718		0.0617756305		0.0102506214

		955.08		0.0438709677		0.0541852926		0.0279132891		0.0053090122		0.1065543071		0.0618873405		0.011591713

		955.36		0.042764977		0.0469444008		0.0276198511		0.004398632		0.0987515605		0.0622224705		0.0120360984

		955.64		0.0436866359		0.0598980277		0.0277787967		0.0056783348		0.1034332085		0.061077443		0.0128812241

		955.92		0.0435023041		0.0480155386		0.0280233283		0.0044909627		0.0959425718		0.061803558		0.0125320642

		956.19		0.0425806452		0.0559705223		0.028121141		0.0057706654		0.1006242197		0.061468428		0.0150634737

		956.47		0.0435023041		0.0537282738		0.0278643827		0.0053219385		0.0912609238		0.062250398		0.0134248027

		956.75		0.0436866359		0.0616832574		0.0279132891		0.0053090122		0.097815231		0.062138688		0.0134763831

		957.02		0.0433179724		0.0412316657		0.0279255157		0.004675624		0.102184769		0.061580138		0.01302803

		957.3		0.0436866359		0.0520430169		0.0277543435		0.0050320203		0.1071785268		0.0618873405		0.0130796104

		957.58		0.0438709677		0.0626544224		0.0277298903		0.0058759224		0.0990636704		0.0616080655		0.0119369052

		957.86		0.0425806452		0.0538282466		0.0279377422		0.0055860042		0.1012484395		0.061859413		0.0135755763

		958.13		0.0422119816		0.0405175738		0.0279010625		0.0042139707		0.0990636704		0.061245008		0.0131272232

		958.41		0.0431336406		0.0413316386		0.0277054372		0.00641698		0.1043695381		0.060854023		0.0125836446

		958.69		0.0431336406		0.0355189306		0.0279499688		0.0054142691		0.106866417		0.061803558		0.0106473941

		958.96		0.042764977		0.0613262115		0.0277665701		0.0054936735		0.102184769		0.0616639205		0.0114925198

		959.24		0.0423963134		0.0426598495		0.0276076245		0.0061529143		0.1037453184		0.0616639205		0.0104490078

		959.52		0.042764977		0.0524000628		0.0277665701		0.0062323187		0.0971910112		0.0617756305		0.012782031

		959.8		0.0429493088		0.0258786901		0.0279621954		0.0045832933		0.1		0.061580138		0.0105482009

		960.07		0.0431336406		0.051328925		0.0279866486		0.0058629961		0.1031210986		0.062026978		0.0118892925

		960.35		0.0442396313		0.0233793685		0.0280966878		0.0050449466		0.1018726592		0.0623341805		0.0114409394

		960.63		0.0433179724		0.0334766278		0.0279988752		0.0075249477		0.1015605493		0.061971123		0.0131788036

		960.9		0.0420276498		0.0290921036		0.0277421169		0.0049526159		0.1034332085		0.061691848		0.012432871

		961.18		0.0431336406		0.0734657736		0.0277054372		0.0067863026		0.1028089888		0.0623341805		0.012782031

		961.45		0.0431336406		0.0301632414		0.0277543435		0.0055065998		0.1015605493		0.0626134555		0.0118377121

		961.73		0.0429493088		0.0470443737		0.0277298903		0.0059553267		0.1037453184		0.062306253		0.010996554

		962.01		0.0414746544		0.0540853197		0.0277054372		0.0038446481		0.0962546816		0.0622224705		0.0127304505

		962.28		0.0412903226		0.0531141547		0.0278521562		0.0036470606		0.1040574282		0.0616080655		0.0140715421

		962.56		0.0412903226		0.0315914252		0.027680984		0.0057835917		0.1003121099		0.061468428		0.009953042

		962.84		0.0420276498		0.0681100844		0.0277421169		0.006139988		0.0971910112		0.061915268		0.0138731558

		963.11		0.0435023041		0.0440880332		0.0277054372		0.0035676562		0.1062421973		0.0613287905		0.0122344847

		963.39		0.041843318		0.0527571088		0.0280844612		0.0054936735		0.1031210986		0.062306253		0.0136747694

		963.66		0.0425806452		0.0448021251		0.0276687574		0.0031983336		0.0962546816		0.0616639205		0.009953042

		963.94		0.0423963134		0.0491866493		0.0278766093		0.0042933751		0.1040574282		0.0618314855		0.0123852583

		964.22		0.0411059908		0.0376612062		0.0279010625		0.0051372772		0.1049937578		0.061859413		0.0084651445

		964.49		0.0422119816		0.0534712007		0.0278643827		0.0060476574		0.1034332085		0.062194543		0.012782031

		964.77		0.041843318		0.0708664791		0.0278154764		0.0068915595		0.097815231		0.061580138		0.0100522351

		965.04		0.0433179724		0.0499007412		0.0274486789		0.0059553267		0.1062421973		0.0618314855		0.0124844515

		965.32		0.0433179724		0.0348048387		0.0274609055		0.0055065998		0.102184769		0.061915268		0.0091594967

		965.6		0.0416589862		0.0663248547		0.0276443042		0.0060476574		0.1034332085		0.0619431955		0.0139723489

		965.87		0.0423963134		0.0444450792		0.0278643827		0.0045832933		0.0993757803		0.0619431955		0.0096554625

		966.15		0.0433179724		0.0663248547		0.0277054372		0.0052166816		0.1028089888		0.0621107605		0.0097070429

		966.42		0.0416589862		0.0294491495		0.0280722347		0.0056912611		0.0965667915		0.061803558		0.0113417462

		966.7		0.0435023041		0.0495436953		0.0278521562		0.0069709639		0.1034332085		0.0619431955		0.0132779968

		966.97		0.0416589862		0.0426598495		0.0279499688		0.0055989304		0.0950062422		0.061580138		0.0083659514

		967.25		0.040921659		0.0331195818		0.0273997726		0.004570367		0.1024968789		0.0616080655		0.0113933267

		967.52		0.0414746544		0.0419457576		0.0276565308		0.0045832933		0.0959425718		0.0625017455		0.0121352915

		967.8		0.041843318		0.0591839358		0.0277054372		0.0043857057		0.1149812734		0.0619990505		0.012782031

		968.07		0.0423963134		0.0494437224		0.0282189536		0.0063375756		0.1		0.0618873405		0.0113417462

		968.35		0.0422119816		0.0531141547		0.0278521562		0.0065093106		0.102184769		0.061691848		0.0151626669

		968.62		0.0398156682		0.0373041603		0.0275098118		0.0052296079		0.1		0.0622224705		0.0105482009

		968.9		0.041843318		0.0452591439		0.0278888359		0.0027237541		0.1018726592		0.0617197755		0.0105997814

		969.17		0.040921659		0.0365900684		0.0279010625		0.0063375756		0.1056179775		0.062138688		0.0089611103

		969.45		0.0411059908		0.08346306		0.0279377422		0.0046626977		0.1003121099		0.0612729355		0.0113933267

		969.72		0.040921659		0.0323055171		0.0276687574		0.0055065998		0.1024968789		0.061300863		0.0096554625

		970		0.0411059908		0.0402605007		0.027534265		0.0069709639		0.106866417		0.0621666155		0.0137739626

		970.27		0.0435023041		0.0544423656		0.0275953979		0.0060605837		0.0925093633		0.0618873405		0.0106473941

		970.55		0.0411059908		0.0406175467		0.0277176637		0.0054013429		0.0981273408		0.0622224705		0.0123852583

		970.82		0.0420276498		0.0365900684		0.0279010625		0.0058759224		0.0990636704		0.061468428		0.0111433599

		971.1		0.0422119816		0.0470443737		0.0276076245		0.0057706654		0.1112359551		0.0613287905		0.0132779968

		971.37		0.041843318		0.0423028035		0.0279255157		0.005968253		0.0984394507		0.0619990505		0.0118377121

		971.65		0.0414746544		0.0652537168		0.0276443042		0.0041087138		0.1015605493		0.0619431955		0.0105005882

		971.92		0.0403686636		0.0440880332		0.0279010625		0.0067068982		0.1053058677		0.0620549055		0.0110441667

		972.19		0.0414746544		0.0424027764		0.0277054372		0.0053090122		0.0971910112		0.0621107605		0.0102030087

		972.47		0.041843318		0.0365900684		0.0278766093		0.0071685514		0.1009363296		0.0617756305		0.0135239958

		972.74		0.0412903226		0.064182579		0.0276076245		0.0055860042		0.0943820225		0.0618873405		0.012782031

		973.02		0.0416589862		0.0433739414		0.0279866486		0.004675624		0.1046816479		0.0621107605		0.0098538488

		973.29		0.0407373272		0.0431168683		0.0282189536		0.0044780364		0.1009363296		0.0619431955		0.0129804173

		973.56		0.0423963134		0.045516217		0.027827703		0.004675624		0.0981273408		0.0617756305		0.0120360984

		973.84		0.0411059908		0.0470443737		0.0276932106		0.0047550283		0.1040574282		0.0615522105		0.0120876788

		974.11		0.04		0.0269498279		0.0278643827		0.0063375756		0.1053058677		0.062082833		0.0103498146

		974.39		0.0405529954		0.0591839358		0.0276565308		0.004570367		0.0984394507		0.0609936605		0.0159562122

		974.66		0.0403686636		0.0501578143		0.0277176637		0.0064299063		0.0984394507		0.0616080655		0.0101514283

		974.93		0.04		0.0602550736		0.0277421169		0.0059553267		0.090948814		0.0618873405		0.012186872

		975.21		0.0401843318		0.0348048387		0.0275220384		0.005968253		0.097815231		0.061189153		0.0118377121

		975.48		0.0407373272		0.0520430169		0.0280722347		0.006139988		0.0928214732		0.061077443		0.0133771899

		975.76		0.0416589862		0.032662563		0.0278154764		0.0053219385		0.1012484395		0.0614405005		0.0111433599

		976.03		0.0411059908		0.0531141547		0.0278766093		0.004847359		0.1040574282		0.061691848		0.0133771899

		976.3		0.0423963134		0.0530141819		0.0276932106		0.0044909627		0.102184769		0.061635993		0.0105482009

		976.58		0.0411059908		0.0573987061		0.0279377422		0.0063246493		0.0984394507		0.061524283		0.010996554

		976.85		0.0411059908		0.0269498279		0.0276932106		0.006245245		0.1018726592		0.061859413		0.0108457804

		977.12		0.0407373272		0.0402605007		0.0277054372		0.0062323187		0.1018726592		0.0620549055		0.0141707352

		977.4		0.0398156682		0.0448021251		0.0275464916		0.0055065998		0.0943820225		0.062082833		0.0110441667

		977.67		0.0405529954		0.0559705223		0.0276687574		0.0059553267		0.0946941323		0.0617756305		0.0118892925

		977.94		0.0420276498		0.0319484711		0.0277054372		0.0055989304		0.0971910112		0.061691848		0.0095562693

		978.22		0.0420276498		0.064539625		0.0278766093		0.0055860042		0.1028089888		0.0623341805		0.0106989745

		978.49		0.041843318		0.039446436		0.0277421169		0.004398632		0.106866417		0.061859413		0.0108457804

		978.76		0.0416589862		0.0670389466		0.0278766093		0.0069709639		0.0965667915		0.061915268		0.0101038156

		979.03		0.040921659		0.0415887116		0.0280600081		0.0032906643		0.1015605493		0.061245008		0.0104490078

		979.31		0.040921659		0.0631114412		0.027680984		0.0063246493		0.1043695381		0.061524283		0.0118892925

		979.58		0.0405529954		0.0333766549		0.0275220384		0.0051372772		0.0925093633		0.0619990505		0.0109449736

		979.85		0.0412903226		0.0545423385		0.0277910232		0.0052166816		0.1012484395		0.0613287905		0.0133771899

		980.13		0.0405529954		0.0383752981		0.0278032498		0.0048602853		0.0965667915		0.062250398		0.0113417462

		980.4		0.0416589862		0.051685971		0.0277910232		0.006139988		0.1		0.061524283		0.0112941335

		980.67		0.0414746544		0.0423028035		0.0279132891		0.0068915595		0.1006242197		0.061971123		0.0091594967

		980.94		0.0401843318		0.077036233		0.0275709447		0.0067863026		0.1012484395		0.0619431955		0.0092110771

		981.22		0.0407373272		0.0433739414		0.0280477815		0.0040293094		0.1015605493		0.061635993		0.0123336779

		981.49		0.0405529954		0.0499007412		0.0276565308		0.0060476574		0.1015605493		0.061635993		0.0114925198

		981.76		0.0403686636		0.0494437224		0.0279010625		0.0044909627		0.1084269663		0.061971123		0.009953042

		982.03		0.0403686636		0.0484725574		0.0278399296		0.004847359		0.1037453184		0.0618314855		0.0104013951

		982.3		0.04		0.033019609		0.0275464916		0.004398632		0.1028089888		0.0626134555		0.0096554625

		982.58		0.0401843318		0.038475271		0.0279010625		0.0065093106		0.0984394507		0.061747703		0.0116909062

		982.85		0.04		0.0490866765		0.0278766093		0.0064299063		0.1059300874		0.061859413		0.0091594967

		983.12		0.0416589862		0.0445450521		0.0278032498		0.0043857057		0.0975031211		0.062026978		0.0107981677

		983.39		0.0401843318		0.0551564575		0.0277787967		0.0036599869		0.097815231		0.0612729355		0.0108457804

		983.67		0.0407373272		0.0545423385		0.0277176637		0.0067863026		0.0943820225		0.061859413		0.0118892925

		983.94		0.041843318		0.0615832845		0.0278888359		0.0052296079		0.1009363296		0.0618873405		0.0100522351

		984.21		0.0407373272		0.0548993845		0.0277421169		0.0055860042		0.0918851436		0.061189153		0.0130796104

		984.48		0.0398156682		0.0276639198		0.0274975852		0.0061529143		0.0928214732		0.061245008		0.0138215753

		984.75		0.0405529954		0.0520430169		0.0277298903		0.0053090122		0.1177902622		0.0618873405		0.0137739626

		985.02		0.0405529954		0.0423028035		0.0279377422		0.0053219385		0.1056179775		0.0625576005		0.0120360984

		985.3		0.0412903226		0.0420457304		0.0278766093		0.0066016413		0.1018726592		0.061691848		0.011591713

		985.57		0.0407373272		0.0276639198		0.0279377422		0.005968253		0.0968789014		0.061580138		0.0120360984

		985.84		0.0392626728		0.0324054899		0.0275953979		0.0066939719		0.1046816479		0.0611053705		0.0105005882

		986.11		0.04		0.0362330225		0.0278521562		0.0047679546		0.1024968789		0.061803558		0.009953042

		986.38		0.0401843318		0.051328925		0.0277910232		0.0053090122		0.1059300874		0.0620549055		0.0139723489

		986.65		0.0405529954		0.0308773333		0.0280477815		0.0044909627		0.1065543071		0.0616080655		0.0117385189

		986.92		0.041843318		0.0416886845		0.0279988752		0.004847359		0.0940699126		0.0619990505		0.0137739626

		987.2		0.0407373272		0.0337337009		0.0276565308		0.004398632		0.1034332085		0.061803558		0.0125320642

		987.47		0.0405529954		0.0374041332		0.0278032498		0.0062323187		0.1031210986		0.062082833		0.0128812241

		987.74		0.039078341		0.0280209657		0.0277421169		0.0056912611		0.1012484395		0.0616639205		0.0109449736

		988.01		0.0401843318		0.0474014196		0.0278399296		0.0052166816		0.0993757803		0.061691848		0.0114925198

		988.28		0.0405529954		0.0551564575		0.0280355549		0.0041216401		0.1009363296		0.062362108		0.0128296437

		988.55		0.0394470046		0.0391893629		0.0278521562		0.0055860042		0.1006242197		0.0616080655		0.0128812241

		988.82		0.0388940092		0.0269498279		0.0277543435		0.0051372772		0.0943820225		0.062473818		0.0109449736

		989.09		0.0414746544		0.0399034548		0.0276198511		0.0039240525		0.102184769		0.0611053705		0.0139723489

		989.36		0.04		0.0483725846		0.0277054372		0.0052296079		0.1034332085		0.062026978		0.012432871

		989.63		0.0411059908		0.0573987061		0.0278032498		0.0050320203		0.0990636704		0.061635993		0.0104013951

		989.91		0.04		0.0448021251		0.0277543435		0.0047679546		0.0996878901		0.0618314855		0.0105482009

		990.18		0.0401843318		0.0506148331		0.0279988752		0.0051243509		0.1081148564		0.061803558		0.0126828378

		990.45		0.040921659		0.0380182522		0.0277176637		0.0040293094		0.1012484395		0.062026978		0.0134248027

		990.72		0.0401843318		0.051685971		0.0275464916		0.0065093106		0.1012484395		0.061189153		0.012782031

		990.99		0.0403686636		0.0423028035		0.0276565308		0.0055065998		0.0956304619		0.0620549055		0.0102506214

		991.26		0.0405529954		0.0566846142		0.0277543435		0.0057706654		0.1018726592		0.061859413		0.0100046224

		991.53		0.0398156682		0.05230009		0.0276932106		0.0045832933		0.0993757803		0.062026978		0.0105482009

		991.8		0.0416589862		0.0470443737		0.0279255157		0.0057706654		0.1003121099		0.0625576005		0.0131788036

		992.07		0.040921659		0.0533712278		0.0275709447		0.0050449466		0.0950062422		0.062753093		0.0109449736

		992.34		0.0394470046		0.0441880061		0.0273753194		0.0054013429		0.0996878901		0.061356718		0.010996554

		992.61		0.0392626728		0.0412316657		0.0279621954		0.0047679546		0.1009363296		0.0616639205		0.0115401326

		992.88		0.0414746544		0.0613262115		0.0275098118		0.0068786332		0.1009363296		0.062194543		0.0105997814

		993.15		0.0405529954		0.0398034819		0.0277176637		0.0063375756		0.1006242197		0.0624458905		0.0109449736

		993.42		0.0405529954		0.0545423385		0.0278032498		0.0051243509		0.1003121099		0.0615522105		0.0124844515

		993.69		0.0401843318		0.0426598495		0.0277176637		0.0045832933		0.1037453184		0.061635993		0.0134248027

		993.96		0.0392626728		0.044902098		0.0273630928		0.0055860042		0.0990636704		0.0618314855		0.011591713

		994.23		0.040921659		0.0362330225		0.0278521562		0.0055065998		0.0987515605		0.062026978		0.0105482009

		994.5		0.0396313364		0.0638255331		0.0275953979		0.0049396896		0.1209113608		0.061915268		0.0120876788

		994.77		0.04		0.032662563		0.02826786		0.0055989304		0.1049937578		0.0623900355		0.0139207685

		995.04		0.040921659		0.0606121196		0.0279866486		0.0066016413		0.0968789014		0.062194543		0.0149642805

		995.31		0.0403686636		0.0398034819		0.0278643827		0.0044909627		0.1003121099		0.0618314855		0.0100522351

		995.58		0.040921659		0.0509718791		0.0277176637		0.0063246493		0.1037453184		0.061300863		0.0125836446

		995.85		0.0394470046		0.0408746197		0.0278888359		0.0043063014		0.1012484395		0.0616639205		0.0098538488

		996.12		0.04		0.0409745926		0.0275953979		0.0063246493		0.1037453184		0.062138688		0.0122860651

		996.39		0.0411059908		0.0405175738		0.027827703		0.0051372772		0.1040574282		0.0622224705		0.0127304505

		996.65		0.0401843318		0.0349048116		0.0276198511		0.0060476574		0.1003121099		0.0616639205		0.0123852583

		996.92		0.0416589862		0.0362330225		0.0279010625		0.0043063014		0.1018726592		0.0620549055		0.0106473941

		997.19		0.0403686636				0.0275464916		0.0058629961		0.1037453184		0.0616080655		0.0129804173

		997.46		0.0401843318				0.0276443042		0.0050449466		0.1012484395		0.061859413		0.0132264163

		997.73		0.039078341				0.0280355549		0.0044780364		0.0968789014		0.0613846455		0.0116909062

		998		0.0416589862				0.0274609055		0.0055065998		0.0965667915		0.061691848		0.0104490078

		998.27		0.0412903226				0.027827703		0.0066939719		0.102184769		0.0621666155		0.0131788036

		998.54		0.0411059908				0.0276932106		0.0042139707		0.0990636704		0.062082833		0.0110441667

		998.81		0.0401843318				0.0275831713		0.0055860042		0.1003121099		0.0617197755		0.0105005882

		999.08		0.0412903226				0.0278766093		0.0061529143		0.0975031211		0.061524283		0.0090603035

		999.34		0.0396313364				0.0277787967		0.0071556252		0.1003121099		0.061971123		0.0140715421

		999.61		0.0405529954				0.0277665701		0.0058759224		0.1015605493		0.062473818		0.0111433599

		999.88		0.0403686636				0.0277665701		0.0078019397		0.1037453184		0.0613287905		0.0120876788

		1000.15		0.0396313364				0.0279010625		0.0051372772		-0.65		0.0615522105		0.0117385189





Sheet1

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0

		0		0		0		0		0		0		0



white

yellow

red

ultraviolet

green

laser

blue

wavelength(nm)

ratio

Spectrum of LEDs

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0


_1081418068.xls
Chart2

		Red

		Yellow

		Green

		Blue

		Utraviolet

		White (*10)

		Laser (*100)



light source

intensity(mcd)

223

80.5

115.8

125.7

59

346

409.6



Sheet1

		Red		223

		Yellow		80.5

		Green		115.8

		Blue		125.7

		Utraviolet		59

		White (*10)		346

		Laser (*100)		409.6





Sheet1

		0

		0

		0

		0

		0

		0

		0



light source

intensity(mcd)



Sheet2

		





Sheet3

		






_1080149509.unknown

